## Annexure-III 1 to 3
Annexure-III
SH 1/3
Pro-forma for furnishing Actual annual performance/operational data for the Hydro Electric generating stations for the 5-year period from 2012-13 to 2016-17
| Particulars |  | Units | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | Name of Company |  |  | NHPC LTD.
2 | Name of Station |  |  | Dhauliganga Power Station
3 | Installed Capacity and Configuration |  | (MW) | 280
4 | Station Location |  | Under ground or Surface | Under Ground
5 | Type of Excitation System |  |  | Static
6 | Live Storage Capacity |  | (Million Cubic) | 2.51 | 2.51 | 2.51 | 2.51 | 2.51
7 | Rated Head |  | Metres | 297 M | 298 M | 299 M | 300 M | 301 M
8 | Head at Full Reservoir Level (FRL) |  | Metres | 311.0 M | 311.0 M | 311.0 M | 311.0 M | 311.0 M
9 | Head at Minimum Draw down Level (MDDL) |  | Metres | 295.50 M | 295.50 M | 295.50 M | 295.50 M | 295.50 M
10 | MW Capability at FRL |  | MW | 280 M | 280 M | 280 M | 280 M | 280 M
11 | MW Capability at MDDL |  | MW | 266 M | 266 M | 266 M | 266 M | 266 M
12 | Cost of spares :
12.1 | Cost of spares capitalized in books of accounts |  | (Rs. Lakhs) | 0 | 2.29 | 407.56 | 127.1 | 1593.77
12.2 | Cost of spares included in the capital cost for the purpose of tariff |  | (Rs. Lakhs) | 0 | 0 | 0 | 0 | 0
Period
13 | Generation :
13.1 | Actual Gross Generation at Generator Terminals |  | (MU) | 1136.39 | 282.3 | 743.5014 | 1089.7462 | 956.0505
13.2 | Actual Net Generation Ex-bus including free power |  | (MU) | 1122.375 | 278.9041 | 734.0784 | 1077.6922 | 944.6633
13.3 | Scheduled generation Ex-bus including free power |  | (MU) | 1122.2936 | 278.1465 | 720.196 | 1034.9371 | 920.2766
14 | Actual Auxiliary Energy Consumption excluding colony consumption |  | (MU) | 0 | 2.29 | 407.56 | 127.1 | 1593.77
15 | Actual Energy supplied to Colony from the station |  | (MU) | 0 | 0 | 0 | 0 | 0
16 | Average Declared Capacity (DC) during the year |  | (MW)
Annexure-III
SH 2/3
| Period |  | Units | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
17 | Weighted Average duration of outages ( Unit-wise details)
17.1 | Scheduled outages |  | (Days) | 93.9057 | 2.9826 | 357.0925 | 150.1632 | 124.0486
17.2 | Forced outages |  | (Days) | 34.0469 | 1152.8667 | 256.4806 | 43.484 | 100.2306
18 | Cost of spares actually consumed |  | (Rs. Lakhs) | 0 | 0 | 0 | 0 | 106.23
19 | Average stock of spares |  | (Rs. Lakhs) | 91.86 | 88.81 | 286.58 | 547.6 | 1353.77
Month wise Design Energy
Month |  | Period | Design Energy as approved by CEA (MU) |  | Month | Period | Design Energy as approved by CEA (MU)
April |  | 1-10 | 13.22 |  | October | 1-10 | 36.75
|  | 11-20 | 18.99 | 18.99 |  | 11-20 | 30.75 | 30.75
|  | 21-30 | 23.87 | 23.87 |  | 21-31 | 26.9 | 26.9
May |  | 1-10 | 24.96 | 24.96 | November | 1-10 | 20.68 | 20.68
|  | 11-20 | 28.12 | 28.12 |  | 11-20 | 17.31 | 17.31
|  | 21-31 | 38.18 | 38.18 |  | 21-30 | 14.49 | 14.49
June |  | 1-10 | 42.41 | 42.41 | December | 1-10 | 10.76 | 10.76
|  | 11-20 | 37.16 | 37.16 |  | 11-20 | 10.34 | 10.34
|  | 21-30 | 64.76 | 64.76 |  | 21-31 | 10.59 | 10.59
July |  | 1-10 | 67.2 | 67.2 | January | 1-10 | 10.76 | 10.76
|  | 11-20 | 67.2 | 67.2 |  | 11-20 | 10.27 | 10.27
|  | 21-31 | 73.92 | 73.92 |  | 21-31 | 10.59 | 10.59
August |  | 1-10 | 67.2 | 67.2 | February | 1-10 | 9.21 | 9.21
|  | 11-20 | 67.2 | 67.2 |  | 11-20 | 9.13 | 9.13
|  | 21-31 | 73.92 | 73.92 |  | 21-28 | 7.55 | 7.55
September |  | 1-10 | 67.2 | 67.2 | March | 1-10 | 9.6 | 9.6
|  | 11-20 | 53.06 | 53.06 |  | 11-20 | 9.2 | 9.2
|  | 21-30 | 39.74 | 39.74 |  | 21-31 | 11.5 | 11.5
[5 empty] | Total |  | 1134.69
Storage Hydro plants shall also furnish actual monthly average peaking generation in MW achieved during the period 2012-13 to 2016-17 against the monthly average peaking capability approved by CEAas per following format:
Month |  | Expected Avg. of daily 3-hour peaking capacity as approved by CEA |  |  | Actual monthly average of daily 3-hour peaking (MW) for the period 2012-13 to 2016-17
April |  | 276.64 |  |  |  | 194.9155
May |  | 276.64 |  |  |  | 225.2167
June |  | 276.64 |  |  |  | 204.3597
July |  | 276.64 |  |  |  | 165.0286
August |  | 276.64 |  |  |  | 174.105
September |  | 276.64 |  |  |  | 191.0645
October |  | 276.64 |  |  |  | 199.1853
November |  | 276.64 |  |  |  | 189.2132
December |  | 276.64 |  |  |  | 142.8308
January |  | 276.64 |  |  |  | 138.4149
February |  | 276.64 |  |  |  | 138.2695
March |  | 276.64 |  |  |  | 167.1772
Annexure III
SH 3/3
1 | List of beneficiaries/customers along with allocation by GoI including (allocation of unallocated share) / capacity as contracted should also be furnished separately for each generating station.
2 | Declared Capacity should be as per Regulation 31(3) of CERC Tariff Regulations for the period 2014-19 including month wise information may be furnished.
3 | Any relevant point or a specific fact having bearing on performance or operating parameters may also be highlighted or brought to the notice of the Commission.

## Annexure-IV
Annexure –IV
PLANT AVAILABILITY/SCHEDULED PLANT LOAD FACTOR ACHIEVED Generating company: NHPC LTD. Name of Generating station: Dhauliganga Power Station Installed Capacity (MW) : 280 MW Normative Annual Plant Availability Factor (%) approved by Commission : 90%
Plant Availability Factor Achieved (%)
Month | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | Reasons for shortfall in PAF achieved vis-a-vis NAPAF
April | 97.2371 | 101.6604 | 0 | 65.2266 | 101.2146 | DURING 2013-14 & 2014-15 : COMPLETE SHUTDOWN OF POWER STATION W.E.F 17-JUN-2013 TO 03-MAY-2014 DUE TO FLOODING OF POWERHOUSE. | 194.9155
May | 100.1418 | 100.7948 | 45.0918 | 82.2368 | 93.8684 |  | 225.2167
June | 100.1663 | 50.4627 | 49.4913 | 90.4214 | 92.4988 |  | 204.3597
July | 100.1301 | 0 | 29.0913 | 98.0857 | 82.0133 |  | 165.0286
August | 91.0258 | 0 | 62.8747 | 97.0654 | 75.3667 |  | 174.105
September | 96.9732 | 0 | 74.3415 | 99.7193 | 87.0867 |  | 191.0645
October | 101.0047 | 0 | 71.2004 | 100.4663 | 100.6704 |  | 199.1853
November | 98.0335 | 0 | 73.1657 | 95.3806 | 88.0707 |  | 189.2132
December | 79.9105 | 0 | 44.6202 | 61.0144 | 82.1688 |  | 142.8308
January | 82.6741 | 0 | 48.4763 | 61.3545 | 66.9322 |  | 138.4149
February | 82.7339 | 0 | 50.2157 | 75.6078 | 50.6073 |  | 138.2695
March | 94.5913 | 0 | 68.742 | 81.4496 | 68.5647 |  | 167.1772
Annual | 93.7608 | 21.0639 | 51.4767 | 84.008 | 82.576
DURING 2015-16: a. Unit # I was under outage w.e.f 28.06.2014 due to problem in GT R-phase and after replacement of HV coil, the Unit was restored on 24-May-2015. b. Complete shutdown of power station for testing & inspection of GIS due to fault in circuit breaker of unit#3 (phase-b) w.e.f 03-Dec-2015 to 05-Dec-2015 subsequently Unit#3 was under outage for testing & inspection of GIS due to fault in circuit breaker w.e.f 03-Dec-15 to 18-Dec-2015. c. Less inflow during the month of Feb 16 & Mar 16, Power Station could not declare full capacity i.e. 280 MW which resulted in less PAF during FY 2015-16.
DURING 2016-17: a. Complete shutdown of power station w.e.f 15-Jul-2016 to 19-Jul-2016 & 02-Aug-2016 to 05-Aug-2016 due High Silt / Reservoir Flushing. b. Outage of U#3 w.e.f 01-Aug-2016 to 12-Aug-2016 for Inspection and repair of Runner. Unit restored on 12-Aug-2017. c. Outage of U#2 w.e.f 22-Aug-2016 to 12-Sept-2016 for replacement of R-phase Transformer and XLPE cable. d. Outage of U#1 & U#2 w.e.f 17-Jan-2017 to 20-Mar-2017 due to problem in pressure shaft Gate #1. However, Annual maintenance of U#1 was carried out w.e.f 04-Jan-2017 to 23-Jan-2017. And Annual maintenance of U#2 was carried out w.e.f 09-Feb-2017 to 20-Mar-2017.
Plant Load Factor Achieved (%)
Month | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | Reasons for shortfall in PLF achieved vis-a-vis Target PLF
April
May
June
July | NA
August
September
October
November
December
January
February
March
Annual

## Annexure-XIX (DHAULIGANGA)
Annexure-XIX
Name of the Utility |  | NHPC LTD.
Name of the Generating Station |  | Dhauliganga Power Station
Station/ Stage/ Unit |  | 4 x 70 MW
Fuel Type (Coal/ Lignite/ Gas/ Liquid Fuel/ Nuclear/ Hydro | [7 empty] | Hydro
Capacity of Plant (MW) |  | 280MW
COD |  | 2005-11-01
|  | 2004-05 | 2005-06 | 2006-07 | 2007-08 | 2008-09 | 2009-10 | 2010-11 | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | Plant Availability Factor (PAF) (%) | NA | 98.02 | 77.5834 | 92.834 | 89.95 | 92.7351 | 92.0805 | 93.8319 | 93.7608 | 21.0639 | 51.4767 | 84.008 | 82.576
2 | Plant Load Factors (PLF) (%)
3 | Scheduled Energy (MU) |  | 232.0256 | 1081.6036 | 1150.6141 | 1101.2002 | 1126.8754 | 1119.7403 | 1141.3876 | 1121.9188 | 278.1464 | 720.1957 | 1034.8011 | 920.2716
4 | Scheduled Generation (MU)
5 | Actual Generation (MU) |  | 315.45 | 1094 | 1186.06 | 1116.56 | 1134.33 | 1134 | 1156.682 | 1136.39 | 282.3 | 743.5014 | 1089.7462 | 956.0505
6 | Quantum of coal consumption (MT) | 2005-11-01 2004-05: Not Applicable
7 | Value of coal (Rs. Lakh)
8 | Specific Coal Consumption (kg/kwh)
9 | Gross Calorific Value of Coal (Kcal/ Kg)
10 | Heat Contribution of Coal (Kcal/ kwh)
11 | Cost Of Specific Coal Consumption (Rs./Kwh) – Finally admitted by CERC
12 | Quantum of Oil Consumption (Lit.)
13 | Value of Oil (Rs. lakh)
14 | Gross calorific value of oil (kcal/lit)
15 | Specific Oil Consumption (ml/ kwh)
16 | Cost Of Specific Oil Consumption (Rs./Kwh) – Finally admitted by CERC
17 | Heat Contribution of Oil (Kcal/ kwh)
18 | Station Heat Rate (kcal/kwh)
19 | Auxiliary Energy Consumption (%) | NA | 0.31384 | 0.27148 | 0.24198 | 1.2225 | 1.1989 | 1.1861 | 1.1853 | 1.1853 | 0.99185 | 1.33 | 1.382 | 1.391
20 | Debt at the end of the year (Rs. Crore) |  | 1241.0227 | 1255.2004 | 1237.6943 | 1195.2977 | 1111.3362 | 1026.2501 | 1026.2501 | 839.7167 | 743.707 | 654.5522 | 566.0366 | 478.6208
21 | Equity (Rs. Crore) |  | 458.1881 | 468.5201 | 472.4754 | 473.0189 | 475.4012 | 477.4506 | 475.586 | 474.6365 | 471.8599 | 471.9221 | 472.2733 | 473.1403
22 | Working Capital (Rs. Crore) – finally admitted by CERC |  | 58.267 | 48.7901 | 50.3519 | 51.6432 | 62.3786 | 63.0567 | 63.6534 | 61.8968 | 63.5622 | 65.0901 | 66.5899 | 68.2404
23 | Capital cost (Rs. Crore) – finally admitted by CERC |  | 1703.9744 | 1738.4144 | 1751.5986 | 1753.4102 | 1761.3514 | 1768.1827 | 761.9673 | 1758.8022 | 1749.5468 | 1749.7542 | 1750.9251 | 1753.8151
24 | Capacity Charges/ Annual Fixed Cost (AFC)
(a) Return on equity – pre tax (admitted by CERC)
| Absolute value |  | 27.204 | 64.8696 | 65.8697 | 66.1846 | 111.3493 | 110.5785 | 109.3324 | 93.5447 | 98.7953 | 98.512 | 98.5551 | 98.6823
| Rate (%) |  | 14% | 14% | 14% | 14% | 23.48% | 23.21% | 22.94% | 19.69% | 20.88% | 20.88% | 20.88% | 20.88%
(b) interest on Loan
| Absolute value |  | 17.5858 | 41.4802 | 41.3923 | 40.3343 | 37.3256 | 34.3878 | 31.2 | 28.5703 | 24.8212 | 21.576 | 18.8421 | 16.0788
| Rate (%) – Weighted Average Rate |  | 3.324% | 3.323% | 3.323% | 3.323% | 3.236% | 3.217% | 3.187% | 3.225% | 3.135% | 3.086% | 3.087% | 3.078%
(c) Depreciation (finally allowed by CERC)
| Absolute value |  | 16.603 | 39.4584 | 40.0043 | 40.1762 | 89.5204 | 89.868 | 90.0424 | 89.9247 | 89.5309 | 89.3 | 89.3352 | 89.4388
| Rate (%) |  | 2.292% | 2.292% | 2.292% | 2.292% | 5.094% | 5.092% | 5.101% | 5.108% | 5.104% | 5.104% | 5.104% | 5.104%
(d) Interest on working Capital
| Absolute value |  | 2.0839 | 5.001 | 5.1611 | 5.2934 | 7.6414 | 7.7244 | 7.7975 | 7.5824 | 7.7864 | 8.7872 | 8.9896 | 9.2125
| Rate (%) |  | 10.25% | 10.25% | 10.25% | 10.25% | 12.25% | 12.25% | 12.25% | 12.25% | 12.25% | 13.5% | 13.5% | 13.5%
(e) Operation and maintenance cost (finally admitted by CERC)
| Absolute value |  | 10.6384 | 25.4498 | 26.4678 | 27.5265 | 53.5145 | 56.5755 | 59.8116 | 63.2328 | 66.8498 | 71.8189 | 76.5905 | 81.6792
Rate (%)
(f) Compensation Allowances | bar: 2005-11-01 2004-05
25 | AFC (Rs. Crores) |  | 74.1151 | 176.259 | 178.8952 | 179.515 | 299.3512 | 299.1342 | 298.1839 | 282.8549 | 287.7836 | 289.9941 | 292.3125 | 295.0916 | 986.5536
26 | Energy Charge (Rs./Kwh) |  |  | 0.89331 | 0.90667 | 0.90981 | 1.5172 | 1.5161 | 1.5112 | 1.4336 | 1.4585 | 1.4697 | 1.4815 | 1.4956
27 | Total tariff (Rs. Kwh) |  |  | 1.7866 | 1.8133 | 1.8196 | 3.0343 | 3.0321 | 3.0225 | 2.8671 | 2.9171 | 2.9395 | 2.963 | 2.9911
28 | Revenue realisation before tax (Rs. Crore) |  | 90.3765 | 174.4785 | 202.8878 | 226.5663 | 283.712 | 311.6201 | 410.4706 | 365.8259 | 117.4173 | 216.0377 | 356.5935 | 320.751
29 | Revenue realisation after tax (Rs. Crore) #
30 | Profit/ loss before tax (Rs. Crore) |  | 34.9977 | 49.4543 | 70.9144 | 76.1646 | 72.1646 | 115.0683 | 186.4173 | 110.7607 | 5.9238 | -25.382 | 191.4153 | 62.9423
31 | DSM Generation (MU) |  | 4.0778 | 10.4632 | 26.03 | 4.1146 | -0.27135 | 0.93938 | 1.4453 | 0.081432 | 0.75762 | 13.8825 | 42.7551 | 24.3866
32 | DSM Rate (Ps/Kwh)
33 | Revenue from DSM (Rs. Crore) |  |  | 5.65 | 11.26 | 23.058 | 11.16 | 10.4656 | 0.024482 | 5.3444 | 0.87636 | -1.8634 | 8.6947 | 5.676
Note:
1. The data at Sl No. 20 to 27 has been filled based on CERC orders dated 26.04.2016, 24.02.2016, 26.02.2014 & 20.05.2010
2. The capital cost sl no. 23 & equity at sl no. 21 has been considered as closing equity & capital cost respectively as on 31st March of respective year.
3. The depreciation at Sl No. 24(c) for the period 2004-09 is inclusive of Advance Against Depreciation (AAD)
4. * The Return On Equity (ROE) at Sl No. 24(a) for the period 2004-09 is exclusive of Tax as the same was not part of AFC & separately reimbursable from beneficiaries.
5. # NHPC calculate Corporate Tax as a whole after considering all the admissible deductions, exemptions etc. as per Income Tax Act. Therefore unitwise calculation has not been made.
Note: Generating Companies are required to submit data for all generating stations.
This is a general format. Plants of different fuel users have to fill the cells as applicable to them. Tariff for the Hydro may be understood as composite tariff.
The data provided for the corresponding years need to mention as Actual or provisional.
Data for each Unit and Stage is required to be submitted in additional sheets as per the format.

## 2012-13 vs 2013-14
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
Name of the Company : NHPC Ltd
Name of Power Station: DHAULIGANGA POWER STATION
Sl. No. | ITEMS | 2012-13 | 2013-14 | Variation (%) | Justification/Reason
1
(A) | Breakup of O&M Expenses
1 | Consumption of stores & spares | 13744848 | 15030099 | 9.3508
|  | 0 | 0
2 | Repair & Maintenance | 0 | 0
2.1 | For Dam,Intake,WCS,De-silting chamber | 7367444 | 4211561 | -42.8355 | Expenditure reduced as a result of loss at Dhauliganga Power Station due to flood in June 2013
2.2 | For Power House and all other works | 35190567 | 26438758 | -24.8698 | Expenditure reduced as a result of loss at Dhauliganga Power Station due to flood in June 2013
| Sub-Total (Repair and Maintenance) | 42558011 | 30650319 | -27.9799 | Expenditure reduced as a result of loss at Dhauliganga Power Station due to flood in June 2013
|  | 0 | 0
3 | Insurance | 28692009 | 34887138 | 21.5918 | 1). Increase in premium rates on account of deteriorating claim ratio as a result of loss at Dhauliganga & TanakPur Power Station due to flood in June 2013 and other factors in the reinsurance market. 2). Increase in sum-insured due to Increase in reinstatement cost of assets on Valuation. 3).Increase in premium rates of CPM Policy on account of deteriorating claim ratio as a result of loss at Dhauliganga Power Station due to flood in June 2013 and increase in Sum-insured.
4 | Security Expenses | 50990103 | 51904792 | 1.7939
|  | 0 | 0
5 | Administrative Expenses | 0 | 0
5.1 | Rent | 11399445 | 12955103 | 13.6468 | Hike in Hiring of Vehicle & increse in Lease rent of employee
5.2 | Electricity charges | 9516683 | 8382089 | -11.9222 | Decreased load of Tapovan colony/site
5.3 | Travelling & Conveyance | 2475541 | 2920865 | 17.989 | Increase due to Transfer TA Bill on Transfer of Employee
5.4 | Telephone, Telex & Postage (Communication) | 4379633 | 5617141 | 28.256 | Increase due to Satellite Communication Exp Rs. 11.17 Lacs which is based on CO Advice.
5.5 | Advertisement | 858725 | 1009884 | 17.6027 | Expenditure increased due to huge increase in tendering. Increase in tendering leads to higher expenditure under the head advertisement tenders. These tenders were floated to complete the work of restoration and to procure the intitial spares
5.6 | Donation | 0 | 0
5.7 | Entertainment | 11400 | 25100 | 120.1754 | Vary due decrease/ increase in nos of Chief Engineers and above.
|  | 0 | 0
| Sub-total (Administrative expenses) | 28641427 | 30910182 | 7.9212
6 | Employee Cost | 0 | 0
6.1a | Salaries,wages & allow. -Project | 320537418 | 163286297 | -49.0586 | Due to decrease in no of employees.
6.2 | Staff welfare expenses | 17392733 | 23655409 | 36.0074 | Decrease due to Reduction in RETIRED EMPLOYEES MEDICAL BENEFIT ACTUARIAL VALUATION PROVISION and medical expenses in comparison to 2014-15
6.3 | Productivity Linked incentive | 18311558 | 9086337 | -50.3792 | Due to generation loss PLI reduced
6.4 | VRS-Ex-gratia | 11802191 | 2875131 | -75.639 | Less employee opted VRS.
6.5 | Ex-gratia | 0 | 0
6.6 | Performance related pay (PRP) | 11257026 | 7215387 | -35.9033 | Increase in expenditure during F.Y 2012-13 was due to payment of PRP for F.Y 2010-11 & F.Y 2011-12 during F.Y 2012-13.
| Sub-total (Employee Cost) | 379300926 | 206118561 | -45.6583
7 | Loss of Store | 14312 | 14611 | 2.0892
|  | 0 | 0
|  | 0 | 0
9.1 | Allocation of CO Office expenses | 109624660 | 95269334 | -13.095
|  | 0 | 0
10 | Others (Specify items) | 34955557 | 31569055 | -9.688
11 | Total (1 to 10) | 688521853 | 496354091 | -27.9102
12 | Revenue /Recoveries | 20889426 | 9422931 | -54.8914 | Decrease in Exchange rate variation (Gain), Other Income & Prov not req written back
13 | Net Expenses | 667632427 | 486931160 | -27.066
14 | Capital spares consumed not included in A(1) above and not claimed/allowed by commission for capitalisation

## 2013-14 vs 2014-15
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
Name of the Company : NHPC Ltd
| Name of Power Station: | DHAULIGANGA POWER STATION
Sl. No. | ITEMS | 2013-14 | 2014-15 | Variation (%) | Justification/Reason
1
(A) | Breakup of O&M Expenses
1 | Consumption of stores & spares | 15030099 | 18360146 | 22.1559 | Restoration work was carried out after flood at Dhauliganga Power station.
|  | 0 | 0
2 | Repair & Maintenance | 0 | 0
2.1 | For Dam,Intake,WCS,De-silting chamber | 4211561 | 14157980 | 236.1694 | Restoration work was carried out after flood at Dhauliganga Power station.
2.2 | For Power House and all other works | 26438758 | 70740958 | 167.5654 | Restoration work was carried out after flood at Dhauliganga Power station.
| Sub-Total (Repair and Maintenance) | 30650319 | 84898938 | 176.992 | Restoration work was carried out after flood at Dhauliganga Power station.
|  | 0 | 0
3 | Insurance | 34887138 | 40306398 | 15.5337 | 1). Increase in premium rates on account of deteriorating claim ratio as a result of loss at Dhauliganga & Tanak Pur Power Station due to flood in June 2013 and other factors in the reinsurance market. 2). Increase in sum-insured due to Increase in reinstatement cost of assets on Valuation. 3).Increase in premium rates of CPM Policy on account of deteriorating claim ratio as a result of loss at Dhauliganga Power Station due to flood in June 2013.
4 | Security Expenses | 51904792 | 57920822 | 11.5905 | Hike in wage revision of CISF
|  | 0 | 0
5 | Administrative Expenses | 0 | 0
5.1 | Rent | 12955103 | 14855453 | 14.6687 | Hike in Hiring of Vehicle & increse in Lease rent of employee
5.2 | Electricity charges | 8382089 | 14400976 | 71.8065 | Inecreased load of site Dam,HRT, TRT, due to restoration work
5.3 | Travelling & Conveyance | 2920865 | 4936671 | 69.014 | Several tours were under taken by employees for Restoration work.
5.4 | Telephone, Telex & Postage (Communication) | 5617141 | 7964581 | 41.7907 | Increase due to Satellite Communication Exp Rs. 11.84 Lacs which is based on CO Advice.
5.5 | Advertisement | 1009884 | 1660177 | 64.3928 | Expenditure increased due to huge increase in tendering. Increase in tendering leads to higher expenditure under the head advertisement tenders. These tenders were floated to complete the work of restoration and to procure the intitial spares
5.6 | Donation | 0 | 0
5.7 | Entertainment | 25100 | 25800 | 2.7888
|  | 0 | 0
| Sub-total (Administrative expenses) | 30910182 | 43843658 | 41.8421
6 | Employee Cost | 0 | 0
6.1a | Salaries,wages & allow. -Project | 163286297 | 309285237 | 89.4129 | Restoration of PH , DAM, TRT Retirement, employes increased
6.2 | Staff welfare expenses | 23655409 | 26258715 | 11.0051 | Iecrease due to increase in RETIRED EMPLOYEES MEDICAL BENEFIT ACTUARIAL VALUATION PROVISION and medical expenses in comparison to 2014-15
6.3 | Productivity Linked incentive | 9086337 | 13371898 | 47.1649 | PLI increased on basis of generation
6.4 | VRS-Ex-gratia | 2875131 | 0 | -100 | No VRS Policy Opened in FY 2014-15
6.5 | Ex-gratia | 0 | 0
6.6 | Performance related pay (PRP) | 7215387 | 11698427 | 62.1317 | Expenditure depend upon the rating of NHPC, KPA and nos of empolyees in the project
| Sub-total (Employee Cost) | 206118561 | 360614277 | 74.9548
7 | Loss of Store | 14611 | 2052 | -85.9558 | Negative Counting Difference of Store in FY 13-14
|  | 0 | 0
|  | 0 | 0
9.1 | Allocation of CO Office expenses | 95269334 | 87060570 | -8.6164
|  | 0 | 0
10 | Others (Specify items) | 31569055 | 22183580 | -29.73 | Decrease in Exchange rate variation & Exp on staff car
11 | Total (1 to 10) | 496354091 | 715190441 | 44.0888
12 | Revenue /Recoveries | 9422931 | 24140792 | 156.192 | Increase other income by 162.23 Lacs
13 | Net Expenses | 486931160 | 691049649 | 41.9194
14 | Capital spares consumed not included in A(1) above and not claimed/allowed by commission for capitalisation

## 2014-15 vs 2015-16
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
Name of the Company : NHPC Ltd
| Name of Power Station: | DHAULIGANGA POWER STATION
Sl. No. | ITEMS | 2014-15 | 2015-16 | %age Variation 15-16 | Justification/Reason
1
(A) | Breakup of O&M Expenses
1 | Consumption of stores & spares | 18360146 | 18310057 | -0.27281
|  | 0 | 0
2 | Repair & Maintenance | 0 | 0
2.1 | For Dam,Intake,WCS,De-silting chamber | 14157980 | 60368307 | 326.3907 | Restoration work was carried out after flood at Dhauliganga Power station.
2.2 | For Power House and all other works | 70740958 | 126517688 | 78.8464 | Restoration work was carried out after flood at Dhauliganga Power station.
| Sub-Total (Repair and Maintenance) | 84898938 | 186885995 | 120.1276 | Restoration work was carried out after flood at Dhauliganga Power station.
|  | 0 | 0
3 | Insurance | 40306398 | 68969608 | 71.1133
4 | Security Expenses | 57920822 | 71547954 | 23.5272 | Hike in wage revision of CISF staff.
|  | 0 | 0
5 | Administrative Expenses | 0 | 0
5.1 | Rent | 14855453 | 13800793 | -7.0995
5.2 | Electricity charges | 14400976 | 13688486 | -4.9475
5.3 | Travelling & Conveyance | 4936671 | 7186261 | 45.569 | Several tours were under taken by employees for Restoration work.
5.4 | Telephone, Telex & Postage (Communication) | 7964581 | 6773133 | -14.9593 | Decrease due to Satellite Communication Exp Rs. 6.73 Lacs which is based on CO Advice.
5.5 | Advertisement | 1660177 | 2116083 | 27.4613 | Expenditure increased due to huge increase in tendering. Increase in tendering leads to higher expenditure under the head advertisement tenders. These tenders were floated to complete the work of restoration and to procure the intitial spares.
5.6 | Donation | 0 | 0
5.7 | Entertainment | 25800 | 22050 | -14.5349 | Vary due decrease/ increase in nos of Chief Engineers and above.
|  | 0 | 0
| Sub-total (Administrative expenses) | 43843658 | 43586806 | -0.58584
6 | Employee Cost | 0 | 0
6.1a | Salaries,wages & allow. -Project | 309285237 | 352939576 | 14.1146 | Normal , hike in DA etc
6.2 | Staff welfare expenses | 26258715 | 36364011 | 38.4836 | Decrease due to Reduction in RETIRED EMPLOYEES MEDICAL BENEFIT ACTUARIAL VALUATION PROVISION and medical expenses in comparison to 2014-15
6.3 | Productivity Linked incentive | 13371898 | 13934232 | 4.2053
6.4 | VRS-Ex-gratia | 0 | 0
6.5 | Ex-gratia | 0 | 0
6.6 | Performance related pay (PRP) | 11698427 | 13081636 | 11.8239 | Expenditure depend upon the rating of NHPC, KPA and nos of empolyees in the project
| Sub-total (Employee Cost) | 360614277 | 416319455 | 15.4473
7 | Loss of Store | 2052 | 759 | -63.0117
|  | 0 | 0
|  | 0 | 0
9.1 | Allocation of CO Office expenses | 87060570 | 87904110 | 0.96891
|  | 0 | 0
10 | Others (Specify items) | 22183580 | 89186855 | 302.04 | Mainly due to booking of Water Cess & Environment Protection Cess
11 | Total (1 to 10) | 715190441 | 982711599 | 37.4056
12 | Revenue /Recoveries | 24140792 | 22400461 | -7.2091
13 | Net Expenses | 691049649 | 960311138 | 38.9641
14 | Capital spares consumed not included in A(1) above and not claimed/allowed by commission for capitalisation

## 2015-16 vs 2016-17
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
Name of the Company : NHPC Ltd
| Name of Power Station: | DHAULIGANGA POWER STATION
Sl. No. | ITEMS | 2015-16 | 2016-17 | %age Variation 16-17 | Justification/Reason
1
(A) | Breakup of O&M Expenses
1 | Consumption of stores & spares | 18310057 | 19275362 | 5.272
|  | 0 | 0
2 | Repair & Maintenance | 0 | 0
2.1 | For Dam,Intake,WCS,De-silting chamber | 60368307 | 100333633 | 66.2025 | Restoration work was carried out after flood at Dhauliganga Power station.
2.2 | For Power House and all other works | 126517688 | 230439848 | 82.1404 | Restoration work was carried out after flood at Dhauliganga Power station.
| Sub-Total (Repair and Maintenance) | 186885995 | 330773481 | 76.9921 | Restoration work was carried out after flood at Dhauliganga Power station.
|  | 0 | 0
3 | Insurance | 68969608 | 66068054 | -4.207
4 | Security Expenses | 71547954 | 80107540 | 11.9634 | Hike in wage revision of CISF staff.
|  | 0 | 0
5 | Administrative Expenses | 0 | 0
5.1 | Rent | 13800793 | 16664022 | 20.7468
5.2 | Electricity charges | 13688486 | 12185061 | -10.9831
5.3 | Travelling & Conveyance | 7186261 | 5966490 | -16.9737
5.4 | Telephone, Telex & Postage (Communication) | 6773133 | 11926211 | 76.0812 | Increase due to Satellite Communication Exp through PGCIL Rs. 49.92 Lacs which is based on CO Advice.
5.5 | Advertisement | 2116083 | 1376847 | -34.9342
5.6 | Donation | 0 | 0
5.7 | Entertainment | 22050 | 29950 | 35.8277 | Vary due decrease/ increase in nos of Chief Engineers and above.
|  | 0 | 0
| Sub-total (Administrative expenses) | 43586806 | 48148581 | 10.466
6 | Employee Cost | 0 | 0
6.1a | Salaries,wages & allow. -Project | 352939576 | 469950544 | 33.1533
6.2 | Staff welfare expenses | 36364011 | 19026758 | -47.677 | Decrease due to Reduction in RETIRED EMPLOYEES MEDICAL BENEFIT ACTUARIAL VALUATION PROVISION and medical expenses in comparison to 2015-16
6.3 | Productivity Linked incentive | 13934232 | 33034437 | 137.074 | Increase due to payment of arear of PLGI at revised rate from F.Y 2010-11 to F.Y 2013-14 and provision of PLGI for Q4 of FY 2016-17 made on revised pay
6.4 | VRS-Ex-gratia | 0 | 0
6.5 | Ex-gratia | 0 | 0
6.6 | Performance related pay (PRP) | 13081636 | 15006559 | 14.7147 | Expenditure depend upon the rating of NHPC, KPA and nos of empolyees in the project
| Sub-total (Employee Cost) | 416319455 | 537018298 | 28.9919
7 | Loss of Store | 759 | 12989 | 1611.3307
|  | 0 | 0
|  | 0 | 0
9.1 | Allocation of CO Office expenses | 87904110 | 158348380 | 80.1376
|  | 0 | 0
10 | Others (Specify items) | 89186855 | 34745858 | -61.0415
11 | Total (1 to 10) | 982711599 | 1274498543 | 29.692
12 | Revenue /Recoveries | 22400461 | 97521706 | 335.3558
13 | Net Expenses | 960311138 | 1176976837 | 22.562
14 | Capital spares consumed not included in A(1) above and not claimed/allowed by commission for capitalisation