## Annexure-III 1 to 3
Annexure-III
SH 1/3
Pro-forma for furnishing Actual annual performance/operational data for the Hydro Electric generating stations for the 5-year period from 2012-13 to 2016-17
| Particulars |  | Units | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | Name of Company |  |  | NHPC LTD.
2 | Name of Station |  |  | Teesta-V Power Station
3 | Installed Capacity and Configuration |  | (MW) | 510
4 | Station Location |  | Under ground or Surface | Under Ground
5 | Type of Excitation System |  |  | Static
6 | Live Storage Capacity |  | (Million Cubic) | 5.4367 | 5.4367 | 5.4367 | 5.4367 | 5.4367
7 | Rated Head |  | Metres | 197 M | 198 M | 199 M | 200 M | 201 M
8 | Head at Full Reservoir Level (FRL) |  | Metres | 200.0 M | 200.0 M | 200.0 M | 200.0 M | 200.0 M
9 | Head at Minimum Draw down Level (MDDL) |  | Metres | 189.0 M | 189.0 M | 189.0 M | 189.0 M | 189.0 M
10 | MW Capability at FRL |  | MW | 510 MW | 510 MW | 510 MW | 510 MW | 510 MW
11 | MW Capability at MDDL |  | MW | 482 MW | 482 MW | 482 MW | 482 MW | 482 MW
12 | Cost of spares :
12.1 | Cost of spares capitalized in books of accounts |  | (Rs. Lakhs) | NIL | NIL | 114.12 | 183.31 | 506.32
12.2 | Cost of spares included in the capital cost for the purpose of tariff |  | (Rs. Lakhs) | NIL | NIL | NIL | NIL | NIL
Period
13 | Generation :
13.1 | Actual Gross Generation at Generator Terminals |  | (MU) | 2268.45 | 2299.52 | 2586.7337 | 2710.196 | 2773.1658
13.2 | Actual Net Generation Ex-bus including free power |  | (MU) | 2238.1915 | 2272.941 | 2562.2445 | 2686.182 | 2750.8363
13.3 | Scheduled generation Ex-bus including free power |  | (MU) | 2234.251 | 2272.4689 | 2494.4116 | 2591.9984 | 2678.3122
14 | Actual Auxiliary Energy Consumption excluding colony consumption |  | (MU) | 30.2585 | 29.82 | 27.48 | 26.7665 | 24.9286
15 | Actual Energy supplied to Colony from the station |  | (MU) | NIL | NIL | NIL | NIL | NIL
16 | Average Declared Capacity (DC) during the year |  | (MW) | 441.1744 | 415.3959 | 476.0745 | 470.3085 | 484.0087
Annexure-III
SH 2/3
| Period |  | Units | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
17 | Weighted Average duration of outages ( Unit-wise details)
17.1 | Scheduled outages |  | (Days) | 118.1116 | 210.8916 | 55.5189 | 68.1827 | 53.5694
17.2 | Forced outages |  | (Days) | 41.6316 | 7.6653 | 2.0326 | 15.8755 | 6.2883
18 | Cost of spares actually consumed |  | (Rs. Lakhs) | NIL | 359.67 | 131.72 | 135.17 | 35.02
19 | Average stock of spares |  | (Rs. Lakhs) | NIL | NIL | 57.06 | 148.72 | 344.82
Month wise Design Energy
Month |  | Period | Design Energy as approved by CEA (MU) |  | Month | Period | Design Energy as approved by CEA (MU)
April |  | 1-10 | 61.08 |  | October | 1-10 | 116.28
|  | 11-20 | 42.66 | 42.66 |  | 11-20 | 90.39 | 90.39
|  | 21-30 | 56.39 | 56.39 |  | 21-31 | 77.64 | 77.64
May |  | 1-10 | 63.76 | 63.76 | November | 1-10 | 64.89 | 64.89
|  | 11-20 | 70.92 | 70.92 |  | 11-20 | 57.73 | 57.73
|  | 21-31 | 91.55 | 91.55 |  | 21-30 | 49.86 | 49.86
June |  | 1-10 | 81.72 | 81.72 | December | 1-10 | 44.63 | 44.63
|  | 11-20 | 116.28 | 116.28 |  | 11-20 | 41.11 | 41.11
|  | 21-30 | 116.28 | 116.28 |  | 21-31 | 33.34 | 33.34
July |  | 1-10 | 116.28 | 116.28 | January | 1-10 | 26.46 | 26.46
|  | 11-20 | 116.28 | 116.28 |  | 11-20 | 24.91 | 24.91
|  | 21-31 | 127.91 | 127.91 |  | 21-31 | 25.7 | 25.7
August |  | 1-10 | 116.28 | 116.28 | February | 1-10 | 22.15 | 22.15
|  | 11-20 | 116.28 | 116.28 |  | 11-20 | 21.94 | 21.94
|  | 21-31 | 127.91 | 127.91 |  | 21-28 | 19.26 | 19.26
September |  | 1-10 | 116.28 | 116.28 | March | 1-10 | 22.48 | 22.48
|  | 11-20 | 116.28 | 116.28 |  | 11-20 | 26.67 | 26.67
|  | 21-30 | 116.28 | 116.28 |  | 21-31 | 36.84 | 36.84
[5 empty] | Total |  | 2572.7
Storage Hydro plants shall also furnish actual monthly average peaking generation in MW achieved during the period 2012-13 to 2016-17 against the monthly average peaking capability approved by CEAas per following format:
Month |  | Expected Avg. of daily 3-hour peaking capacity as approved by CEA |  |  | Actual monthly average of daily 3-hour peaking (MW) for the period 2012-13 to 2016-17
April |  | 503.88 |  |  |  | 489.3555
May |  | 503.88 |  |  |  | 472.4315
June |  | 503.88 |  |  |  | 465.1651
July |  | 503.88 |  |  |  | 483.7916
August |  | 503.88 |  |  |  | 494.2465
September |  | 503.88 |  |  |  | 476.3493
October |  | 503.88 |  |  |  | 502.8335
November |  | 503.88 |  |  |  | 492.7493
December |  | 503.88 |  |  |  | 414.4351
January |  | 503.88 |  |  |  | 310.4448
February |  | 503.88 |  |  |  | 341.3814
March |  | 503.88 |  |  |  | 483.1221
Annexure III
SH 3/3
1 | List of beneficiaries/customers along with allocation by GoI including (allocation of unallocated share) / capacity as contracted should also be furnished separately for each generating station.
2 | Declared Capacity should be as per Regulation 31(3) of CERC Tariff Regulations for the period 2014-19 including month wise information may be furnished.
3 | Any relevant point or a specific fact having bearing on performance or operating parameters may also be highlighted or brought to the notice of the Commission.

## Annexure-IV
Annexure –IV
PLANT AVAILABILITY/SCHEDULED PLANT LOAD FACTOR ACHIEVED Generating company: NHPC LTD. Name of Generating station: Teesta-V Power Station Installed Capacity (MW) : 510 MW Normative Annual Plant Availability Factor (%) approved by Commission : 85%
Plant Availability Factor Achieved (%)
Month | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | Reasons for shortfall in PAF achieved vis-a-vis NAPAF
April | 98.8894 | 100 | 100 | 86.6741 | 100.0238 | DURING 2013-14 : COMPLETE SHUTDOWN W.E.F 04-JAN-2014 TO 06-MAR-2014 DUE TO REPAIR WORKS AT DAM. | 489.3555
May | 82.8935 | 96.7742 | 100 | 92.3287 | 96.7972 |  | 472.4315
June | 92.317 | 96.6667 | 93.3275 | 87.782 | 91.49 |  | 465.1651
July | 92.1153 | 90.3226 | 96.7742 | 101.6819 | 99.1724 |  | 483.7916
August | 96.2308 | 100 | 96.7742 | 100.043 | 97.3926 |  | 494.2465
September | 78.8902 | 93.3333 | 100 | 99.918 | 100.5398 |  | 476.3493
October | 100 | 100 | 95.7002 | 102.1108 | 101.1506 |  | 502.8335
November | 88.8902 | 100 | 97.9863 | 100.1694 | 101.9092 |  | 492.7493
December | 71.6963 | 100 | 100.0238 | 67.7581 | 71.7657 |  | 414.4351
January | 69.8172 | 12.5448 | 74.1905 | 74.2112 | 77.2905 |  | 310.4448
February | 68.6629 | 0 | 67.8591 | 100.0238 | 102.2069 |  | 341.3814
March | 98.3875 | 83.871 | 97.8536 | 96.7757 | 102.5142 |  | 483.1221
Annual | 86.6781 | 81.6134 | 93.535 | 92.4022 | 95.0939
Plant Load Factor Achieved (%)
Month | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | Reasons for shortfall in PLF achieved vis-a-vis Target PLF
April
May
June
July
August
September
October
November
December
January
February
March
Annual

## Annexure-XIX (TEESTA-V)
Annexure-XIX
Name of the Utility |  | NHPC LTD.
Name of the Generating Station |  | Teesta-V Power Station
Station/ Stage/ Unit |  | 3x170 MW
Fuel Type (Coal/ Lignite/ Gas/ Liquid Fuel/ Nuclear/ Hydro | [7 empty] | Hydro
Capacity of Plant (MW) |  | 510 MW
COD |  | 2008-04-10
|  | 2004-05 | 2005-06 | 2006-07 | 2007-08 | 2008-09 | 2009-10 | 2010-11 | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | Plant Availability Factor (PAF) (%) | Not Commissioned |  |  | 43.44 | 75.5 | 93.9652 | 89.4378 | 87.5509 | 86.6781 | 81.6134 | 93.5308 | 92.4022 | 95.0939
2 | Plant Load Factors (PLF) (%)
3 | Scheduled Energy (MU) | Not Commissioned |  |  | 59.9693 | 1851.3334 | 2573.6292 | 2583.9381 | 2526.6603 | 2234.2532 | 2272.968 | 2494.7091 | 2592.0241 | 2678.3122
4 | Scheduled Generation (MU)
5 | Actual Generation (MU) | Not Commissioned |  |  | 92.51 | 1886.74 | 2597.51 | 2624 | 2567.8491 | 2268.45 | 2299.52 | 2586.7337 | 2710.196 | 2773.1658
6 | Quantum of coal consumption (MT) | 2008-04-10 2004-05: Not Applicable
7 | Value of coal (Rs. Lakh)
8 | Specific Coal Consumption (kg/kwh)
9 | Gross Calorific Value of Coal (Kcal/ Kg)
10 | Heat Contribution of Coal (Kcal/ kwh)
11 | Cost Of Specific Coal Consumption (Rs./Kwh) – Finally admitted by CERC
12 | Quantum of Oil Consumption (Lit.)
13 | Value of Oil (Rs. lakh)
14 | Gross calorific value of oil (kcal/lit)
15 | Specific Oil Consumption (ml/ kwh)
16 | Cost Of Specific Oil Consumption (Rs./Kwh) – Finally admitted by CERC
17 | Heat Contribution of Oil (Kcal/ kwh)
18 | Station Heat Rate (kcal/kwh)
19 | Auxiliary Energy Consumption (%) | Not Commissioned |  |  |  | 0.7 | 0.71 | 1.31 | 1.25 | 1.45 | 1.28 | 1.09 | 0.96 | 0.87
20 | Debt at the end of the year (Rs. Crore) |  |  |  | 422.8989 | 1469.2681 | 1424.5928 | 1299.8754 | 1166.2606 | 1031.4318 | 915.9876 | 788.025 | 652.7125 | 521.9231
21 | Equity (Rs. Crore) |  |  |  | 366.34 | 1099.02 | 1102.6805 | 1108.0172 | 1109.861 | 1111.3049 | 1121.6391 | 1127.1915 | 1129.8972 | 1134.8215
22 | Working Capital (Rs. Crore) – finally admitted by CERC |  |  |  | 2.2835 | 83.4092 | 108.8003 | 108.9397 | 108.7724 | 103.4522 | 107.0264 | 105.0485 | 106.5779 | 108.2133
23 | Capital cost (Rs. Crore) – finally admitted by CERC |  |  |  | 789.2389 | 2628.8611 | 2669.1518 | 2686.9405 | 2693.0865 | 2697.8996 | 2732.347 | 2750.855 | 2759.874 | 2776.2882
24 | Capacity Charges/ Annual Fixed Cost (AFC)
(a) Return on equity – pre tax (admitted by CERC)
| Absolute value * |  |  |  | 4.344 | 152.3171 | 258.4907 | 256.5515 | 254.435 | 218.6627 | 233.0747 | 234.7329 | 235.5949 | 236.3913
| Rate (%) |  |  |  | 14% | 14% | 23.48% | 23.21% | 22.94% | 19.69% | 20.88% | 20.88% | 20.88% | 20.88%
(b) interest on Loan
| Absolute value |  |  |  | 1.9402 | 80.4446 | 77.4424 | 69.3922 | 59.6435 | 53.1512 | 47.0594 | 41.3223 | 35.4926 | 29.5245
| Rate (%) – Weighted Average Rate |  |  |  | 5.42% | 5.68% | 5.253% | 5.094% | 4.837% | 4.837% | 4.833% | 4.85% | 4.927% | 5.027%
(c) Depreciation (finally allowed by CERC)
| Absolute value |  |  |  | 1.622 | 61.4566 | 135.947 | 137.1695 | 137.917 | 138.1979 | 139.5573 | 140.9183 | 141.6257 | 142.2794
| Rate (%) |  |  |  | 2.427% | 2.427% | 5.132% | 5.122% | 5.127% | 5.127% | 5.14% | 5.14% | 5.14% | 5.14%
(d) Interest on working Capital
| Absolute value |  |  |  | 0.2797 | 10.2176 | 13.328 | 13.3451 | 13.3246 | 12.6729 | 13.1107 | 14.1815 | 14.388 | 14.6088
| Rate (%) |  |  |  | 12.25% | 12.25% | 12.25% | 12.25% | 12.25% | 12.25% | 12.25% | 13.5% | 13.5% | 13.5%
(e) Operation and maintenance cost (finally admitted by CERC)
| Absolute value |  |  |  | 1.0027 | 36.4208 | 69.8306 | 73.8249 | 78.0477 | 82.512 | 87.2317 | 82.9732 | 88.4859 | 94.365
Rate (%)
(f) Compensation Allowances | bar: 2008-04-10 2004-05
25 | AFC (Rs. Crores) |  |  |  | 9.1886 | 340.8567 | 555.0387 | 550.2832 | 543.3678 | 505.1967 | 520.0338 | 514.1282 | 515.5871 | 517.169 | 2236.7822
26 | Energy Charge (Rs./Kwh) | [5 empty] | 1.2407 | 1.2301 | 1.2146 | 1.1293 | 1.1625 | 1.1493 | 1.1525 | 1.1561
27 | Total tariff (Rs. Kwh) | [5 empty] | 2.4814 | 2.4602 | 2.4292 | 2.2586 | 2.3249 | 2.2985 | 2.305 | 2.3121
28 | Revenue realisation before tax (Rs. Crore) |  |  |  | 6.7342 | 283.7831 | 530.0905 | 537.7539 | 662.6641 | 545.9093 | 596.9778 | 688.6085 | 622.0212 | 638.8194
29 | Revenue realisation after tax (Rs. Crore) #
30 | Profit/ loss before tax (Rs. Crore) |  |  |  | -7.2459 | 53.0688 | 221.8478 | 333.8279 | 373.9988 | 226.8718 | 355.0499 | 279.7827 | 293.3682 | 264.5751
31 | DSM Generation (MU) |  |  |  | 18.7306 | 16.3173 | 9.4152 | 11.3267 | 12.0626 | 3.9405 | 0.47207 | 67.8329 | 94.1836 | 72.5241
32 | DSM Rate (Ps/Kwh)
33 | Revenue from DSM (Rs. Crore) |  |  |  |  | 12.916 | 20.35 | 11.8024 | 0.15431 | 8.2232 | 3.5295 | 24.8984 | 24.0681 | 15.82
1. The data at Sl No. 20 to 27 has been filled based on CERC orders dated 16.08.2016, 25.03.2013 & 05.01.2010
2. The capital cost sl no. 23 & equity at sl no. 21 has been considered as closing equity & capital cost respectively as on 31st March of respective year.
3. The depreciation at Sl No. 24(c) for the period 2004-09 is inclusive of Advance Against Depreciation (AAD)
4. * The Return On Equity (ROE) at Sl No. 24(a) for the period 2004-09 is exclusive of Tax as the same was not part of AFC & separately reimbursable from beneficiaries.
5. # NHPC calculate Corporate Tax as a whole after considering all the admissible deductions, exemptions etc. as per Income Tax Act. Therefore unitwise calculation has not been made.
Note: Generating Companies are required to submit data for all generating stations.
This is a general format. Plants of different fuel users have to fill the cells as applicable to them. Tariff for the Hydro may be understood as composite tariff.
The data provided for the corresponding years need to mention as Actual or provisional.
Data for each Unit and Stage is required to be submitted in additional sheets as per the format.

## 2016-17
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
Name of the Company : NHPC Ltd
Name of Power Station: Teesta-V Power Station, Singtam.
Sl. No. | ITEMS |  | 2015-16 | 2016-17 | Variance 2015-16 to 2016-17 |  | Reason for variance
|  | Group |  |  | Amount | %
(A) | Breakup of O&M Expenses
1 | Consumption of stores & spares | 9201 | 21617987 | 19281196 | -2336791 | -10.8095 | Due to less consumption of under water componet due to HP-HVOF coating applied in previous years as well as general downward trend in prices..
2 | Repair & Maintenance
2.1 | For Dam,Intake,WCS,De-silting chamber | 9203, 9208 | 143213077 | 117083570 | -26129507 | -18.2452 | The variance of (-) 18.25 % is due to the fact that, in FY- 2015-16, in addition to other repair work, special repair work of glacis of spillway glacis of bay S-1, S-2, S-5 and portion of S-3 were executed. However, during the FY-2016-17, apart from other miscellaneous work the repair of bay S-4 and portion of bay S-3 amounting to Rs. 9,86,67,884.00 only were executed.
2.2 | For Power House and all other works | 9202,9204 to 9207 | 121741232 | 111091580 | -10649652 | -8.7478
| Sub-Total (Repair and Maintenance) |  | 264954309 | 228175150
3 | Insurance | 9213 | 106683699 | 111934312 | 5250613 | 4.9217
4 | Security Expenses | 9214 | 46945553 | 55874925 | 8929372 | 19.0207 | Due to increase in DA and various arrear payments for uniforms, ammunition etc.
5 | Administrative Expenses
5.1 | Rent | 9211 | 17912388 | 19338529 | 1426141 | 7.9618
5.2 | Electricity charges | 9215 | 25920497 | 27046846 | 1126349 | 4.3454
5.3 | Travelling & Conveyance | 9216 | 8799855 | 8086059 | -713796 | -8.1115
5.4 | Telephone, Telex & Postage (Communication) | 9220 | 5949607 | 8891812 | 2942205 | 49.4521 | Installation of 4 MBPS of MPLS link and 8 MBPS of internet lease lines throgh PGCIL OPGW.
5.5 | Advertisement | 9221 | 3022453 | 3585882 | 563429 | 18.6414 | Due to increase in tender advertisement
5.6 | Donation |  | 0 | 0 | 0 | 0
5.7 | Entertainment | 9222 | 18750 | 21600 | 2850 | 15.2 | As per actual. However, the amount is minor
| Sub-total (Administrative expenses) |  | 61623550 | 66970728 | 5347178 | 8.6772
6 | Employee Cost
6.1a | Salaries,wages & allow. -Project | 9001,02,06 | 348082265 | 429350073 | 81267808 | 23.3473 | Provision of wage revision due to 3rd PRC and due to change in ceiling of Gratuity from 10 lacs to 20 lacs
6.2 | Staff welfare expenses* | 9004 | 24931683 | 21099363 | -3832320 | -15.3713 | The variance is mainly due to less provision under REHS as compared to previous year.
6.3 | Productivity Linked incentive | 900185 | 11180890 | 23112107 | 11931217 | 106.7108 | Increase due to payment of arear of PLGI at revised rate from F.Y 2010-11 to F.Y 2013-14 and provision of PLGI for Q4 of FY 2016-17 made on revised pay
6.4 | VRS-Ex-gratia | 9203 | 0 | 0 | 0
6.5 | Ex-gratia |  | 0 | 0 | 0 | 0
6.6 | Performance related pay (PRP) | 900129,59 | 16080660 | 20356360 | 4275700 | 26.5891 | Incresed due to 1. Normal increase in salary as compared to previous year. 2. Provision made on revised pay for Q4 (F.Y 2016-17)
| Sub-total (Employee Cost) |  | 400275498 | 493917903
7 | Loss of Store |  | 0 | 0 | 0 | 0
8 | Provisions |  | 0 | 0 | 0 | 0
9.1 | Allocation of CO Office expenses | 84,90,92,93,94,959999,959998 | 210043698 | 397621971 | 187578273 | 89.3044 | As per CO advice
10 | Others (Specify items)** |  | 71042101 | 70119121 | -922980 | -1.2992
11 | Total (1 to 10) |  | 1183186395 | 1443895306 | 260708911 | 22.0345
12 | Revenue /Recoveries*** | 84XXXX | 41610639 | 14041597 | -27569042 | -66.2548 | The variance is mainly due to the fact that CO advice on ERV income on Foreign Currency Loan was booked in previous year.
13 | Net Expenses |  | 1141575756 | 1429853709 | 288277953 | 25.2526
14 | Capital spares consumed not included in A(1) above and not claimed/allowed by commission for capitalisation

## 2015-16
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
Name of the Company : NHPC Ltd
Name of Power Station: Teesta-V Power Station, Singtam.
Sl. No. | ITEMS |  | 2014-15 | 2015-16 | Variance 2014-15 to 2015-16 |  | Reason for variance
|  | Group |  |  | Amount | %
(A) | Breakup of O&M Expenses
1 | Consumption of stores & spares | 9201 | 27936426 | 21617987 | -6318439 | -22.6172 | The variance is mainly on account of less consumption of under water components due to HP-HVOF coating applied in previous years as well as general downward trend in prices.
2 | Repair & Maintenance
2.1 | For Dam,Intake,WCS,De-silting chamber | 9203, 9208 | 16914179 | 143213077 | 126298898 | 746.7043 | The variation is mainly due to special repair of spillway glacis for Rs 10.26 Crore related to S1, S2 & S5 of Dam Structure on the recommendation of D&E Division Corporate Office which was severely damaged .
2.2 | For Power House and all other works | 9202,9204 to 9207 | 80629242 | 121741232 | 41111990 | 50.9889 | The variance is mainly due to repair of roads at Dam and colony for Rs. 1.07 crore, repair of Res. Building, GH & Field Hostel for Rs. 0.68 crore, repair of Guidevane & Generating Unit for Rs. 0.71 crore, Repair of under water component damaged due to impact of foregin material in Unit-III, etc as well as increase in other R&M exp and various other works.
| Sub-Total (Repair and Maintenance) |  | 97543421 | 264954309
3 | Insurance | 9213 | 74604959 | 106683699 | 32078740 | 42.9981 | In case of Mega Insurance Police 1. Increase in premium rates on account of deteriorating claim ratio as a result of loss due Fire incident at Uri-II Power Station and submergence of Chutak power Station in November 2014 and June 2015 respectively and other claims during policy period 2014-15 2. Increase in sum-insured due to increase in reinstatement cost of assets on Valuation. 3. Increase in the rate of Service Tax and WCT from 12.36% to 14% and 10.5% to 12.6% respectively. In case of CPM policy, Increase in Sum insured due to valuation of Assets, additional Construction equipment purchased and increase in premium rates & Service Tax/WCT rates as above.
4 | Security Expenses | 9214 | 42558060 | 46945553 | 4387493 | 10.3094 | Due to increase in DA.
5 | Administrative Expenses
5.1 | Rent | 9211 | 16809596 | 17912388 | 1102792 | 6.5605
5.2 | Electricity charges | 9215 | 23256049 | 25920497 | 2664448 | 11.457 | Due to increase in consumption of power.
5.3 | Travelling & Conveyance | 9216 | 8158905 | 8799855 | 640950 | 7.8558
5.4 | Telephone, Telex & Postage (Communication) | 9220 | 4484868 | 5949607 | 1464739 | 32.6596 | Bandwidth upgradation of VSAT of DAM.
5.5 | Advertisement | 9221 | 3059885 | 3022453 | -37432 | -1.2233
5.6 | Donation |  | 0 | 0 | 0 | 0
5.7 | Entertainment | 9222 | 27050 | 18750 | -8300 | -30.6839 | As per actual. However, the amount is minor
| Sub-total (Administrative expenses) |  | 55796353 | 61623550 | 5827197 | 10.4437
6 | Employee Cost
6.1a | Salaries,wages & allow. -Project | 9001,02,06 | 314487694 | 348082265 | 33594571 | 10.6823 | Due to normal increase in DA and annual increments
6.2 | Staff welfare expenses* | 9004 | 23664035 | 24931683 | 1267648 | 5.3569
6.3 | Productivity Linked incentive | 900185 | 10486390 | 11180890 | 694500 | 6.6229
6.4 | VRS-Ex-gratia | 9203 | 6315077 | 0 | -6315077 | -100 | Due to no VRS in FY 2015-16.
6.5 | Ex-gratia |  | 0 | 0 | 0 | 0
6.6 | Performance related pay (PRP) | 900129,59 | 14263234 | 16080660 | 1817426 | 12.742 | Normal increase in PRP due to increase of salary.
| Sub-total (Employee Cost) |  | 369216430 | 400275498
7 | Loss of Store |  | 0 | 0 | 0 | 0
8 | Provisions |  | 0 | 0 | 0 | 0
9.1 | Allocation of CO Office expenses | 84,90,92,93,94,959999,959998 | 193351356 | 210043698 | 16692342 | 8.6332
10 | Others (Specify items)** |  | 58205859 | 71042101 | 12836242 | 22.0532 | The Variance is mainly due to more expenditure on account of ERV , increase in Kendriya Vidyalaya exp, Operation of Guest House as well as rectification of booking of Running Expenses of Hospital from 920216 to 925032
11 | Total (1 to 10) |  | 919212864 | 1183186395 | 263973531 | 28.7173
12 | Revenue /Recoveries*** | 84XXXX | 14528361 | 41610639 | 27082278 | 186.4097 | The variation is mainly due to booking of CO advice in r/o ERV on Foreign Currency Loan for FY 2007-08 TO 2016-17(Q1)
13 | Net Expenses |  | 904684503 | 1141575756 | 236891253 | 26.185
14 | Capital spares consumed not included in A(1) above and not claimed/allowed by commission for capitalisation

## 2014-15
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
Name of the Company : NHPC Ltd
Name of Power Station: Teesta-V Power Station, Singtam.
Sl. No. | ITEMS |  | 2013-14 | 2014-15 | Variance 2013-14 to 2014-15 |  | Reason for variance
|  | Group |  |  | Amount | %
(A) | Breakup of O&M Expenses
1 | Consumption of stores & spares | 9201 | 47301311 | 27936426 | -19364885 | -40.9394 | Negative deviation is due to additional expenditure incurred in previous year.
2 | Repair & Maintenance
2.1 | For Dam,Intake,WCS,De-silting chamber | 9203, 9208 | 139991758 | 16914179 | -123077579 | -87.9177 | The variance of -87.92 % is due to the fact that some major/special repair works of spillway glacis were executed during the FY-2013-14 but in the FY -2014-15 no such major/special repair works were executed except for the regular R&M & minor works.
2.2 | For Power House and all other works | 9202,9204 to 9207 | 118234118 | 80629242 | -37604876 | -31.8054 | Special repair in GPM including transformer for Rs 1.84 Crore was incurred in previous financial years,which was not required in FY 2014-15.
| Sub-Total (Repair and Maintenance) |  | 258225876 | 97543421 | -160682455 | -62.2255
3 | Insurance | 9213 | 57782602 | 74604959 | 16822357 | 29.1132 | 1). Increase in premium rates on account of deteriorating claim ratio as a result of loss at Dhauliganga & Tanak Pur Power Station due to flood in June 2013 and other factors in the reinsurance market. 2). Increase in sum-insured due to Increase in reinstatement cost of assets on Valuation 3).Increase in premium rates of CPM Policy on account of deteriorating claim ratio as a result of loss at Dhauliganga Power Station due to flood in June 2013.
4 | Security Expenses | 9214 | 41647959 | 42558060 | 910101 | 2.1852
5 | Administrative Expenses
5.1 | Rent | 9211 | 15443369 | 16809596 | 1366227 | 8.8467
5.2 | Electricity charges | 9215 | 22959642 | 23256049 | 296407 | 1.291
5.3 | Travelling & Conveyance | 9216 | 6613874 | 8158905 | 1545031 | 23.3605 | As per administrative requirement
5.4 | Telephone, Telex & Postage (Communication) | 9220 | 5624065 | 4484868 | -1139197 | -20.2558 | No such major IT&C infrastructural facilities are set up during FY 2014-15 as comparision to previous Fys
5.5 | Advertisement | 9221 | 3559728 | 3059885 | -499843 | -14.0416 | Due to decrease in advertisement for Tender.
5.6 | Donation |  | 0 | 0 | 0 | 0
5.7 | Entertainment | 9222 | 33250 | 27050 | -6200 | -18.6466 | As per actual. However, the amount is minor
| Sub-total (Administrative expenses) |  | 54233928 | 55796353
6 | Employee Cost
6.1a | Salaries,wages & allow. -Project | 9001,02,06 | 305319785 | 314487694 | 9167909 | 3.0027
6.2 | Staff welfare expenses* | 9004 | 20774521 | 23664035 | 2889514 | 13.9089 | The variance is mainly due to increase in Medical Claim and Retired Employees Medical Benefit Actuarial Valuation Provision.
6.3 | Productivity Linked incentive | 900185 | 7244027 | 10486390 | 3242363 | 44.7591 | PLGI limit was enhanced to 20% from 12.5% of basic pay.
6.4 | VRS-Ex-gratia | 9203 | 4629908 | 6315077 | 1685169 | 36.3975 | Due to payment of Ex-Gratia under VRS
6.5 | Ex-gratia |  | 0 | 0 | 0 | 0
6.6 | Performance related pay (PRP) | 900129,59 | 8184610 | 14263234 | 6078624 | 74.269 | 1). Increased in Expenditure is due to Provision for incremental profit was not taken in F.Y 2013-14. Incremental profit was taken while providing for F.Y 2014-15.
| Sub-total (Employee Cost) |  | 346152851 | 369216430
7 | Loss of Store |  | 0 | 0 | 0
8 | Provisions |  | 0 | 0 | 0
9.1 | Allocation of CO Office expenses | 84,90,92,93,94,959999,959998 | 181169028 | 193351356 | 12182328 | 6.7243 | NA
10 | Others (Specify items)** |  | 69234015 | 58205859 | -11028156 | -15.9288 | The Variance is mainly due to less expenditure on account of ERV, Consultancy Charges and more expenditure on operation of DG Set.
11 | Total (1 to 10) |  | 1055747570 | 919212864 | -136534706 | -12.9325
12 | Revenue /Recoveries*** | 84XXXX | 32868939 | 14528361 | -18340578 | -55.7991 | The variance is mainly due to the fact that recovery was made from M/s Mitsui & M/s Alsthom in FY 2013-14
13 | Net Expenses |  | 1022878631 | 904684503 | -118194128 | -11.555
14 | Capital spares consumed not included in A(1) above and not claimed/allowed by commission for capitalisation

## 2013-14
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
Name of the Company : NHPC Ltd
Name of Power Station: Teesta-V Power Station, Singtam.
Sl. No. | ITEMS |  | 2012-13 | 2013-14 | Variance 2012-13 to 2013-14 |  | Reason for variance
|  | Group |  |  | Amount | %
(A) | Breakup of O&M Expenses
1 | Consumption of stores & spares | 9201 | 5835199 | 47301311 | 41466112 | 710.62 | The variation is mainly due to booking of expenditure of Rs. 1.91 crore on account of under water components purchased in previous years and other expenditure of Rs. 1.04 crore (approx.) on account of purchase of Battery Bank, VFD etc.
2 | Repair & Maintenance
2.1 | For Dam,Intake,WCS,De-silting chamber | 9203, 9208 | 16680775 | 139991758 | 123310983 | 739.24 | The variance is mainly due to: 1. Repair of Rs. 10.35 crore (Approx.) in glacis of bay No. 3 & 4 of dam structure to avoid deterioration in the stability of the structure. 2. To carry out RIM treatment work for Rs. 2.62 crore (Approx.) on the left bank of Teesta River from RD 2450.00m to RD 2700.00m from Dam axis due to land slide during earthquake of 18.09.2011 as per instruction of Dam Safety Team.
2.2 | For Power House and all other works | 9202,9204 to 9207 | 124231672 | 118234118 | -5997554 | -4.83
| Sub-Total (Repair and Maintenance) |  | 140912447 | 258225876
3 | Insurance | 9213 | 46606753 | 57782602 | 11175849 | 23.979 | 1). Increase in premium rates on account of deteriorating claim ratio as a result of loss at Dhauliganga & Tanak Pur Power Station due to flood in June 2013 and other factors in the reinsurance market. 2). Increase in sum-insured due to Increase in reinstatement cost of assets on Valuation. 3).Increase in premium rates of CPM Policy on account of deteriorating claim ratio as a result of loss at Dhauliganga Power Station due to flood in June 2013 and increase in Sum-insured.
4 | Security Expenses | 9214 | 36786483 | 41647959 | 4861476 | 13.2154 | Due to increase in DA and various arrear payments for uniforms, ammunition etc.
5 | Administrative Expenses
5.1 | Rent | 9211 | 13358357 | 15443369 | 2085012 | 15.6083 | Due to increase in hiring cost of vehicles
5.2 | Electricity charges | 9215 | 16145870 | 22959642 | 6813772 | 42.2013 | Reasons of variation is mainly increase of Tarriff rates from Rs 3.30 per uinit to Rs 4.10 per unit and increase in consumption due to special repair work.
5.3 | Travelling & Conveyance | 9216 | 5006745 | 6613874 | 1607129 | 32.0993 | As per administrative requirement
5.4 | Telephone, Telex & Postage (Communication) | 9220 | 2744024 | 5624065 | 2880041 | 104.9568 | Variation is mainly due to installation of additional VSAT and Bandwidth upgradation.
5.5 | Advertisement | 9221 | 2466625 | 3559728 | 1093103 | 44.3157 | Due to increase in tender advertisement
5.6 | Donation |  | 0 | 0 | 0 | 0
5.7 | Entertainment | 9222 | 14000 | 33250 | 19250 | 137.5 | As per actual. However, the amount is minor
| Sub-total (Administrative expenses) |  | 39735621 | 54233928 | 14498307 | 36.4869
6 | Employee Cost
6.1a | Salaries,wages & allow. -Project | 9001,02,06 | 288111221 | 305319785 | 17208564 | 5.9729 | NA
6.2 | Staff welfare expenses* | 9004 | 20285057 | 20774521 | 489464 | 2.4129 | NA
6.3 | Productivity Linked incentive | 900185 | 13320134 | 7244027 | -6076107 | -45.616 | Decrease in expenditure because during F.Y 2012-13, PLGI was paid from 2007-2010 on revised pay.
6.4 | VRS-Ex-gratia | 9203 | 0 | 4629908 | 4629908 |  | Because no VRS taken in previous year.
6.5 | Ex-gratia |  | 0 | 0 | 0 | 0
6.6 | Performance related pay (PRP) | 900129,59 | 13898084 | 8184610 | -5713474 | -41.1098 | Decrease in expenditure because PRP for F.Y 2010-11 & F.Y 2011-12 was paid in F.Y 2012-13,.
| Sub-total (Employee Cost) |  | 335614496 | 346152851
7 | Loss of Store |  | 0 | 0 | 0 | 0
8 | Provisions |  | 0 | 0 | 0 | 0
9.1 | Allocation of CO Office expenses | 84,90,92,93,94,959999,959998 | 196267202 | 181169028 | -15098174 | -7.6927 | NA
10 | Others (Specify items)** |  | 86441799 | 69234015 | -17207784 | -19.9068 | The Variance is mainly due to less expenditure on account of Exchange Rate Variation & Self regulated CERS / VERS.
11 | Total (1 to 10) |  | 888200000 | 1055747570 | 167547570 | 18.8637
12 | Revenue /Recoveries*** | 84XXXX | 9905009 | 32868939 | 22963930 | 231.8416 | The variance is mainly due to recovery from M/s Mitsui for repair of transformer & M/s Alsthom for fabrication & supply of wearing rings
13 | Net Expenses |  | 878294991 | 1022878631 | 144583640 | 16.4619
14 | Capital spares consumed not included in A(1) above and not claimed/allowed by commission for capitalisation