## Annexure-III 1 to 3
Annexure-III
SH 1/3
Pro-forma for furnishing Actual annual performance/operational data for the Hydro Electric generating stations for the 5-year period from 2012-13 to 2016-17
| Particulars |  | Units | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | Name of Company |  |  | NHPC LTD.
2 | Name of Station |  |  | Chutak Power Station
3 | Installed Capacity and Configuration |  | (MW) | 44
4 | Station Location |  | Under ground or Surface | Under Ground
5 | Type of Excitation System |  |  | Static
6 | Live Storage Capacity |  | (Million Cubic)
7 | Rated Head |  | Metres | 52 M | 53 M | 54 M | 55 M | 56 M
8 | Head at Full Reservoir Level (FRL) |  | Metres | 63.70 M | 63.70 M | 63.70 M | 63.70 M | 63.70 M
9 | Head at Minimum Draw down Level (MDDL) |  | Metres | 52.00 M | 52.00 M | 52.00 M | 52.00 M | 52.00 M
10 | MW Capability at FRL |  | MW | 44 MW | 44 MW | 44 MW | 44 MW | 44 MW
11 | MW Capability at MDDL |  | MW | NA | NA | NA | NA | NA
12 | Cost of spares :
12.1 | Cost of spares capitalized in books of accounts |  | (Rs. Lakhs) | Not Available | Not Available | Not Available | 190.98 | 557.88
12.2 | Cost of spares included in the capital cost for the purpose of tariff |  | (Rs. Lakhs) | Not Available | Not Available | Not Available | Not Available | Not Available
Period
13 | Generation :
13.1 | Actual Gross Generation at Generator Terminals |  | (MU) | 25.56 | 34.221 | 35.4917 | 36.9283 | 44.0481
13.2 | Actual Net Generation Ex-bus including free power |  | (MU) | 25.42 | 33.305 | 33.9434 | 30.933 | 40.7634
13.3 | Scheduled generation Ex-bus including free power |  | (MU) | 14.4264 | 33.305 | 33.9434 | 30.933 | 40.7634
14 | Actual Auxiliary Energy Consumption excluding colony consumption |  | (MU) | 0.033 | 0.9 | 1.7745 | 2.3816 | 2.5876
15 | Actual Energy supplied to Colony from the station |  | (MU) | Not Available | Not Available | 0.5291 | 0.6627 | 0.7089
16 | Average Declared Capacity (DC) during the year |  | (MW) | 12.7448 | 21.9115 | 25.7723 | 17.4915 | 25.1836
Annexure-III
SH 2/3
| Period |  | Units | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
17 | Weighted Average duration of outages ( Unit-wise details)
17.1 | Scheduled outages |  | (Days) | 16.9535 | 130.5104 | 258.7256 | 183.1083 | 150.6861
17.2 | Forced outages |  | (Days) | 3.2993 | 205.6694 | 147.1659 | 439.5694 | 0.22222
18 | Cost of spares actually consumed |  | (Rs. Lakhs) | - | - | - | - | -
19 | Average stock of spares |  | (Rs. Lakhs) | - | - | - | 95.49 | 374.43
Month wise Design Energy
Month |  | Period | Design Energy as approved by CEA (MU) |  | Month | Period | Design Energy as approved by CEA (MU)
April |  | 1-10 | 3.29 |  | October | 1-10 | 6.171
|  | 11-20 | 3.3043 | 3.3043 |  | 11-20 | 4.5027 | 4.5027
|  | 21-30 | 3.9236 | 3.9236 |  | 21-31 | 4.4032 | 4.4032
May |  | 1-10 | 5.0711 | 5.0711 | November | 1-10 | 4.3819 | 4.3819
|  | 11-20 | 6.635 | 6.635 |  | 11-20 | 3.9586 | 3.9586
|  | 21-31 | 9.6708 | 9.6708 |  | 21-30 | 3.7783 | 3.7783
June |  | 1-10 | 10.032 | 10.032 | December | 1-10 | 2.8614 | 2.8614
|  | 11-20 | 10.032 | 10.032 |  | 11-20 | 2.7563 | 2.7563
|  | 21-30 | 10.032 | 10.032 |  | 21-31 | 3.0239 | 3.0239
July |  | 1-10 | 10.032 | 10.032 | January | 1-10 | 2.749 | 2.749
|  | 11-20 | 10.032 | 10.032 |  | 11-20 | 2.749 | 2.749
|  | 21-31 | 11.0352 | 11.0352 |  | 21-31 | 3.0239 | 3.0239
August |  | 1-10 | 10.032 | 10.032 | February | 1-10 | 2.749 | 2.749
|  | 11-20 | 9.9332 | 9.9332 |  | 11-20 | 2.749 | 2.749
|  | 21-31 | 11.0352 | 11.0352 |  | 21-28 | 2.1992 | 2.1992
September |  | 1-10 | 10.032 | 10.032 | March | 1-10 | 2.9733 | 2.9733
|  | 11-20 | 9.1482 | 9.1482 |  | 11-20 | 3.1869 | 3.1869
|  | 21-30 | 7.7521 | 7.7521 |  | 21-31 | 3.6939 | 3.6939
[5 empty] | Total |  | 212.9332
Storage Hydro plants shall also furnish actual monthly average peaking generation in MW achieved during the period 2012-13 to 2016-17 against the monthly average peaking capability approved by CEAas per following format:
Month |  | Expected Avg. of daily 3-hour peaking capacity as approved by CEA |  |  | Actual monthly average of daily 3-hour peaking (MW) for the period 2012-13 to 2016-17
April
May
June
July
August
September
October
November
December
January
February
March
Annexure III
SH 3/3
1 | List of beneficiaries/customers along with allocation by GoI including (allocation of unallocated share) / capacity as contracted should also be furnished separately for each generating station.
2 | Declared Capacity should be as per Regulation 31(3) of CERC Tariff Regulations for the period 2014-19 including month wise information may be furnished.
3 | Any relevant point or a specific fact having bearing on performance or operating parameters may also be highlighted or brought to the notice of the Commission.

## Annexure-IV
Annexure –IV
PLANT AVAILABILITY/SCHEDULED PLANT LOAD FACTOR ACHIEVED Generating company: NHPC LTD. Name of Generating station: Chutak Power Station Installed Capacity (MW) : 44 MW Normative Annual Plant Availability Factor (%) approved by Commission : 50%
Plant Availability Factor Achieved (%)
Month | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | Reasons for shortfall in PAF achieved vis-a-vis NAPAF
April | 0 | 27.4506 | 25.6104 | 46.3555 | 30.6195 | DURING 2012-13 : LESS PAF DUE TO PART YEAR OPERATION DURING 2013-14: OUTAGE OF U#3 W.E.F 01-APR-2013 TO 09-SEP-2014 FOR RECTIFICATION OF HIGH VIBRATION IN TGB. DURING 2015-16: COMPLETE SHUTDOWN OF POWER STATION W.E.F 28-JUN-2015 TO 26-AUG-2015 DUE TO INGRESS OF WATER IN POWER HOUSE.
May | 0 | 54.7627 | 87.2568 | 52.5166 | 95.6103
June | 0 | 69.0099 | 99.9954 | 49.0155 | 100.0184
July | 0 | 75.9109 | 99.9954 | 0 | 98.6634
August | 0 | 75.9109 | 99.9954 | 20.0478 | 98.6308
September | 0 | 92.734 | 99.9954 | 96.3762 | 100.0184
October | 0 | 74.8716 | 34.6779 | 83.439 | 75.1413
November | 33.7382 | 28.3247 | 29.172 | 35.8817 | 28.9873
December | 33.7382 | 24.9326 | 50.0092 | 22.4277 | 17.6968
January | 33.7382 | 24.8584 | 25.0046 | 25.5228 | 14.8594
February | 25.3036 | 25.2626 | 24.6973 | 24.8272 | 12.9718
March | 25.3036 | 22.9477 | 25.2369 | 22.8218 | 11.6659
Annual | 29.0235 | 49.8986 | 58.6909 | 39.833 | 57.3502
Plant Load Factor Achieved (%)
Month | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | Reasons for shortfall in PLF achieved vis-a-vis Target PLF
April
May
June
July
August | NA
September
October
November
December
January
February
March
Annual

## Annexure-XIX (CHUTAK)
Annexure-XIX
Name of the Utility |  | NHPC LTD.
Name of the Generating Station |  | Chutak Power Station
Station/ Stage/ Unit |  | 4x11 MW
Fuel Type (Coal/ Lignite/ Gas/ Liquid Fuel/ Nuclear/ Hydro | [7 empty] | Hydro
Capacity of Plant (MW) |  | 44 MW
COD |  | 2013-02-01
|  | 2004-05 | 2005-06 | 2006-07 | 2007-08 | 2008-09 | 2009-10 | 2010-11 | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | Plant Availability Factor (PAF) (%) | 2013-02-01 2012-13: 29.0235; 2013-02-01 2013-14: 49.8986; 2013-02-01 2014-15: 58.6909; 2013-02-01 2015-16: 39.8456; 2013-02-01 2016-17: 57.3502
2 | Plant Load Factors (PLF) (%)
3 | Scheduled Energy (MU) | 2013-02-01 2004-05: Not Commissioned; 2013-02-01 2012-13: 14.4264; 2013-02-01 2013-14: 33.2845; 2013-02-01 2014-15: 33.9314; 2013-02-01 2015-16: 34.1497; 2013-02-01 2016-17: 40.7634
4 | Scheduled Generation (MU)
5 | Actual Generation (MU) | 2013-02-01 2004-05: Not Commissioned; 2013-02-01 2012-13: 25.56; 2013-02-01 2013-14: 34.21; 2013-02-01 2014-15: 35.4917; 2013-02-01 2015-16: 36.9283; 2013-02-01 2016-17: 44.0481
6 | Quantum of coal consumption (MT) | 2013-02-01 2004-05: Not Applicable
7 | Value of coal (Rs. Lakh)
8 | Specific Coal Consumption (kg/kwh)
9 | Gross Calorific Value of Coal (Kcal/ Kg)
10 | Heat Contribution of Coal (Kcal/ kwh)
11 | Cost Of Specific Coal Consumption (Rs./Kwh) – Finally admitted by CERC
12 | Quantum of Oil Consumption (Lit.)
13 | Value of Oil (Rs. lakh)
14 | Gross calorific value of oil (kcal/lit)
15 | Specific Oil Consumption (ml/ kwh)
16 | Cost Of Specific Oil Consumption (Rs./Kwh) – Finally admitted by CERC
17 | Heat Contribution of Oil (Kcal/ kwh)
18 | Station Heat Rate (kcal/kwh)
19 | Auxiliary Energy Consumption (%) | 2013-02-01 2004-05: Not Commissioned; 2013-02-01 2012-13: 3.12; 2013-02-01 2013-14: 2.89; 2013-02-01 2014-15: 4.98; 2013-02-01 2015-16: 6.45; 2013-02-01 2016-17: 5.87
20 | Debt at the end of the year (Rs. Crore) | 2013-02-01 2012-13: 577.7921; 2013-02-01 2013-14: 553.2672; 2013-02-01 2014-15: 544.3283; 2013-02-01 2015-16: 511.6152; 2013-02-01 2016-17: 464.4606
21 | Equity (Rs. Crore) | 2013-02-01 2012-13: 252.7429; 2013-02-01 2013-14: 260.5964; 2013-02-01 2014-15: 275.9945; 2013-02-01 2015-16: 281.9696; 2013-02-01 2016-17: 281.9696
22 | Working Capital (Rs. Crore) – finally admitted by CERC | 2013-02-01 2012-13: 7.4131; 2013-02-01 2013-14: 27.5068; 2013-02-01 2014-15: 28.386; 2013-02-01 2015-16: 29.3897; 2013-02-01 2016-17: 29.8241
23 | Capital cost (Rs. Crore) – finally admitted by CERC | 2013-02-01 2012-13: 842.4763; 2013-02-01 2013-14: 868.6546; 2013-02-01 2014-15: 919.9817; 2013-02-01 2015-16: 939.8988; 2013-02-01 2016-17: 939.8988
24 | Capacity Charges/ Annual Fixed Cost (AFC)
(a) Return on equity – pre tax (admitted by CERC)
| Absolute value | 2013-02-01 2012-13: 13.8699; 2013-02-01 2013-14: 50.3329; 2013-02-01 2014-15: 52.6127; 2013-02-01 2015-16: 54.7084; 2013-02-01 2016-17: 55.2942
| Rate (%) | 2013-02-01 2012-13: 19.38%; 2013-02-01 2013-14: 19.61%; 2013-02-01 2014-15: 19.61%; 2013-02-01 2015-16: 19.61%; 2013-02-01 2016-17: 19.61%
(b) interest on Loan
| Absolute value | 2013-02-01 2012-13: 4.4686; 2013-02-01 2013-14: 20.5482; 2013-02-01 2014-15: 19.5427; 2013-02-01 2015-16: 18.2625; 2013-02-01 2016-17: 16.2224
| Rate (%) – Weighted Average Rate | 2013-02-01 2012-13: 3.635%; 2013-02-01 2013-14: 3.633%; 2013-02-01 2014-15: 3.561%; 2013-02-01 2015-16: 3.459%; 2013-02-01 2016-17: 3.324%
(c) Depreciation (finally allowed by CERC)
| Absolute value | 2013-02-01 2012-13: 11.9413; 2013-02-01 2013-14: 42.8497; 2013-02-01 2014-15: 44.8679; 2013-02-01 2015-16: 46.655; 2013-02-01 2016-17: 47.1547
| Rate (%) | 2013-02-01 2012-13: 5.003%; 2013-02-01 2013-14: 5.008%; 2013-02-01 2014-15: 5.017%; 2013-02-01 2015-16: 5.017%; 2013-02-01 2016-17: 5.017%
(d) Interest on working Capital
| Absolute value | 2013-02-01 2012-13: 1.0008; 2013-02-01 2013-14: 3.7134; 2013-02-01 2014-15: 3.8321; 2013-02-01 2015-16: 3.9676; 2013-02-01 2016-17: 4.0263
| Rate (%) | 2013-02-01 2012-13: 13.5%; 2013-02-01 2013-14: 13.5%; 2013-02-01 2014-15: 13.5%; 2013-02-01 2015-16: 13.5%; 2013-02-01 2016-17: 13.5%
(e) Operation and maintenance cost (finally admitted by CERC)
| Absolute value | 2013-02-01 2012-13: 5.4992; 2013-02-01 2013-14: 19.8319; 2013-02-01 2014-15: 20.6086; 2013-02-01 2015-16: 21.977; 2013-02-01 2016-17: 23.4363
Rate (%) | bar: 2013-02-01 2012-13
(f) Compensation Allowances | bar: 2013-02-01 2004-05
25 | AFC (Rs. Crore) | 2013-02-01 2012-13: 36.7798; 2013-02-01 2013-14: 137.2761; 2013-02-01 2014-15: 141.464; 2013-02-01 2015-16: 145.5705; 2013-02-01 2016-17: 146.1339 | 183.0261
26 | Energy Charge (Rs./Kwh) | 2013-02-01 2013-14: 3.7502; 2013-02-01 2014-15: 3.8646; 2013-02-01 2015-16: 3.9768; 2013-02-01 2016-17: 3.9922
27 | Total tariff (Rs. Kwh) | 2013-02-01 2013-14: 7.5004; 2013-02-01 2014-15: 7.7292; 2013-02-01 2015-16: 7.9535; 2013-02-01 2016-17: 7.9843
28 | Revenue realisation before tax (Rs. Crore) | 2013-02-01 2012-13: 25.7893; 2013-02-01 2013-14: 114.9133; 2013-02-01 2014-15: 148.8848; 2013-02-01 2015-16: 94.255; 2013-02-01 2016-17: 28.7347
29 | Revenue realisation after tax (Rs. Crore) #
30 | Profit/ loss before tax (Rs. Crore) | 2013-02-01 2012-13: -6.1532; 2013-02-01 2013-14: 22.803; 2013-02-01 2014-15: 51.6155; 2013-02-01 2015-16: -4.3551; 2013-02-01 2016-17: 98.8764
31 | DSM Generation (MU) | 2013-02-01 2012-13: NIL
32 | DSM Rate (Ps/Kwh)
33 | Revenue from DSM (Rs. Crore)
Note:
1. The data at Sl No. 20 to 27 has been filled based on CERC orders dated 19.04.2017 & 21.03.2017
2. The capital cost sl no. 23 & equity at sl no. 21 has been considered as closing equity & capital cost respectively as on 31st March of respective year.
3. Composite tariff shown at sl no. 27 is exclusive of J&K water usage charges.
4. # NHPC calculate Corporate Tax as a whole after considering all the admissible deductions, exemptions etc. as per Income Tax Act. Therefore unitwise calculation has not been made.
Note: Generating Companies are required to submit data for all generating stations.
This is a general format. Plants of different fuel users have to fill the cells as applicable to them. Tariff for the Hydro may be understood as composite tariff.
The data provided for the corresponding years need to mention as Actual or provisional.
Data for each Unit and Stage is required to be submitted in additional sheets as per the format.

## 2012-13 to 2013-14
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
Name of the Company : NHPC Ltd.
CHUTAK POWER STATION
Sl. No. | ITEMS | 2012-13 | 2013-14 | Variance (%) | Reason for Variance
1
(A) | Breakup of O&M Expenses
1 | Consumption of stores & spares | 0 | 4979122 | 49791.22 | The COD of 3 units i.e. 29.11.12 & for 4th Unit 01.02.2013. Hence, it is not comparasible with the respective year.
|  | 0 | 0
2 | Repair & Maintenance | 0 | 0
2.1 | For Dam,Intake,WCS,De-silting chamber | 4638273 | 6005197 | 29.4705 | R&M expenses increased due to frquent breakdown of machines, due to running on low load during peak and off peak load, due to non availability of Grid, adverse weather condition, purchase of essential spare etc. [Non-Comparable due to EDC Adjutments in FY 2012-13]
2.2 | For Power House and all other works | 6396331 | 22562367 | 252.7392
| Sub-Total (Repair and Maintenance) | 11034604 | 28567564
|  | 0 | 0
3 | Insurance | 2389106 | 12177763 | 409.7205 | Amount of Rs. 1.21 crore of Industrial All Risk Policy of Power Station for 2013-14 [Non-Comparable due EDC adjustment in the Year 2012-13]
4 | Security Expenses | 5723871 | 15319552 | 167.6432 | Payment to J&k Police. [Non-Comparable due EDC adjustment in the Year 2012-13]
|  | 0 | 0
5 | Administrative Expenses | 0 | 0
5.1 | Rent | 3477655 | 12570821 | 261.4741 | Hiring of GH/FH at srinagar and increase in number of sanctioned strength of inspection vehicle given by CO in 2013-14. [Non-Comparable due EDC adjustment in the Year 2012-13]
5.2 | Electricity charges | 38788 | 1729997 | 4360.1346 | Payment of electricity bill of Hotel Kargil Continental (Temp. Accomodation) [Non-Comparable due EDC adjustment in the Year 2012-13]
5.3 | Travelling & Conveyance | 2728646 | 6529840 | 139.307 | Increase in tours & EPC/Spl. LTC in FY 2013-14. [Non-Comparable due EDC adjustment in the Year 2012-13]
5.4 | Telephone, Telex & Postage (Communication) | 977118 | 3401717 | 248.1378 | Based on advice from Co for KU band VSAT charges & Project Expenses. [Non-Comparable due EDC adjustment in the Year 2012-13]
5.5 | Advertisement | 30384 | 583247 | 1819.586 | Increase in NIT publications expenses due to floating of tenders for infrastructure works in 2013-14 [Non-Comparable due EDC adjustment in the Year 2012-13]
5.6 | Donation | 0 | 0
5.7 | Entertainment | 75125 | 12000 | -84.0266 | VIP Visits during Q-1 of FY 2012-13
|  | 0 | 0
| Sub-total (Administrative expenses) | 7327716 | 24827622
6 | Employee Cost | 0 | 0
6.1a | Salaries,wages & allow. -Project | -146895 | 100315314 | -68390.4891 | Non-Comparable due EDC adjustment in the Year 2012-13]
6.2 | Staff welfare expenses | 7343762 | 5796646 | -21.0671 | Due to payment of Project Commissioning Award in 2012-13
6.3 | Productivity Linked incentive | 2248365 | 1238839 | -44.9004 | Decrease in expenditure because during F.Y 2012-13, PLGI was paid from 2007-2010 on revised pay.
6.4 | VRS-Ex-gratia | 0 | 0
6.5 | Ex-gratia | 0 | 0
6.6 | Performance related pay (PRP) | 4120187 | 3522093 | -14.5162 | Decrease in expenditure because during F.Y 2012-13, PRP for F.Y 2010-11 & F.Y 2011-12 was paid.
| Sub-total (Employee Cost) | 13565419 | 110872892
7 | Loss of Store | 0 | 0
|  | 0 | 0
|  | 0 | 0
9.1 | Allocation of CO Office expenses | 47652448 | 55949009 | 17.4106 | Based on advices from CO/RO [Non-Comparable due EDC adjustment in the Year 2012-13]
|  | 0 | 0
10 | Others (Specify items) | -17442733 | 12605846 | -172.2699 | Non-Comparable due EDC adjustment in the Year 2012-13
11 | Total (1 to 10) | 70250431 | 265299370
12 | Revenue /Recoveries | 7416074 | 1417353 | -80.8881 | 56.4 lacs amt of liability/Prov. Not required written back in FY 2012-13
13 | Net Expenses | 62834357 | 263882017
14 | Capital spares consumed not included in A(1) above and not claimed/allowed by commission for capitalisation

## 2013-14 to 2014-15
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
Name of the Company : NHPC Ltd.
CHUTAK POWER STATION
Sl. No. | ITEMS | 2013-14 | 2014-15 | Variance (%) | Reason for Variance
1
(A) | Breakup of O&M Expenses
1 | Consumption of stores & spares | 4979122 | 11860697 | 138.2086 | Increase due to Procurement & Consumption of Stores & Spares-Power Plant Equipment
|  | 0 | 0
2 | Repair & Maintenance | 0 | 0
2.1 | For Dam,Intake,WCS,De-silting chamber | 6005197 | 8029120 | 33.7029 | 1. Rs. 53.99 lacs increase in R&M Building due to R&M of field Hostel-II and revision of PSR 2014-15 resulting in increase in cost of R&M contract for housekeeping, maintenance of GH, administrative block, FH etc. 2. Rs. 48.78 lacs increase on R&M expenses due to frequent breakdown of machines, due to running on low load during peak and off peak load, due to non availability of Grid, adverse weather condition, purchase of essential spares etc. 3. Rs.66.15 lacs increase in R&M Dam & Res. water supply installation Road bridges culvert heavy vehicles R&M others etc.
2.2 | For Power House and all other works | 22562367 | 37476212 | 66.1005
| Sub-Total (Repair and Maintenance) | 28567564 | 45505332
|  | 0 | 0
3 | Insurance | 12177763 | 17122895 | 40.6079 | 1). Increase in premium rates on account of deteriorating claim ratio as a result of loss at Dhauliganga & Tanak Pur Power Station due to flood in June 2013 and other factors in the reinsurance market. 2). Increase in sum-insured due to Increase in reinstatement cost of assets on Valuation 3).Increase in premium rates of CPM Policy on account of deteriorating claim ratio as a result of loss at Dhauliganga Power Station due to flood in June 2013.
4 | Security Expenses | 15319552 | 15642662 | 2.1091 | Within 10% variation
|  | 0 | 0
5 | Administrative Expenses | 0 | 0
5.1 | Rent | 12570821 | 14643929 | 16.4914 | Rs. 9.00 lacs increase due to hiring of GH/FH at Srinagar and Rs. 10.00 lacs increase due to Increase in no. of inspection vehicles (sanctioned by CO) and balance due to increase in hiring of accommodation at Kargil for employees posted in chutak PS.
5.2 | Electricity charges | 1729997 | 5910110 | 241.6254 | Paid to Asst Exe Eng., PDD, KARGIL for domestic electricity consumption for 2014-15
5.3 | Travelling & Conveyance | 6529840 | 8401550 | 28.6639 | Increase in Tour TA due to increase in TA/DA rates wef Apr14 and deployment of officials on tour due to frequent breakdown of generating units.
5.4 | Telephone, Telex & Postage (Communication) | 3401717 | 3531795 | 3.8239 | Within 10% variation
5.5 | Advertisement | 583247 | 1308412 | 124.3324 | Increase in NIT Publication exps due to floating of tenders of infrastructure works in Q1&Q2 of 2014-15 and Employment Notice in Q2 - 2014-15 .
5.6 | Donation | 0 | 0
5.7 | Entertainment | 12000 | 6750 | -43.75 | As claimed by HOP
|  | 0 | 0
| Sub-total (Administrative expenses) | 24827622 | 33802546
6 | Employee Cost | 0 | 0
6.1a | Salaries,wages & allow. -Project | 100315314 | 93070704 | -7.2218 | Within 10% variation [Dealt at CO]
6.2 | Staff welfare expenses | 5796646 | 4600297 | -20.6386 | Due to Decrease in Acturial Valuation for Retired Employees Medical Benefits and decrease in Medical claims of employees.
6.3 | Productivity Linked incentive | 1238839 | 986343 | -20.3817 | PLGI limit was enhanced to 20% from 12.5% of basic pay but no of workman decreased in comparision to last year.
6.4 | VRS-Ex-gratia | 0 | 0
6.5 | Ex-gratia | 0 | 0
6.6 | Performance related pay (PRP) | 3522093 | 6390391 | 81.4373 | 1). Increased in Expenditure is due to Provision for incremental profit was not taken in F.Y 2013-14. Incremental profit was taken while providing for F.Y 2014-15.
| Sub-total (Employee Cost) | 110872892 | 105047735 | -5.2539
7 | Loss of Store | 0 | 0
|  | 0 | 0
|  | 0 | 0
9.1 | Allocation of CO Office expenses | 55949009 | 57987157 | 3.6429 | Based on advices from CO/RO
|  | 0 | 0
10 | Others (Specify items) | 12605846 | 24911956 | 97.6222 | 1. Increase in Consultancy charges Based on Debit advices from CO for arbitration case between NHPC & HCC Ltd 2. Rs. 95.87 pertains to the visit of Hon'ble PM on 12thAug 2014 for dedicating Chutak PS to the Nation.
11 | Total (1 to 10) | 265299370 | 311880980
12 | Revenue /Recoveries | 1417353 | 2843506 | 100.6209 | Rs. 3.69 Lacs deposited by Sh Mohsin on account of service bond in Jun14. Rs. 2.50 Lacs deposited by Sh Arnab on account of service bond in Nov14.
13 | Net Expenses | 263882017 | 309037474
14 | Capital spares consumed not included in A(1) above and not claimed/allowed by commission for capitalisation

## 2014-15 to 2015-16
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
Name of the Company : NHPC Ltd.
CHUTAK POWER STATION
Sl. No. | ITEMS | 2014-15 | 2015-16 | Variance (%) | Reason for Variance
1
(A) | Breakup of O&M Expenses
1 | Consumption of stores & spares | 11860697 | 3986305 | -66.3906 | Decrease due to shut down of Plant w.e.f. 28..06.15 to 10.09.2015 having corresponding impact on Procurement & consumption of stores and spares-power plant equipment
|  | 0 | 0
2 | Repair & Maintenance | 0 | 0
2.1 | For Dam,Intake,WCS,De-silting chamber | 8029120 | 10319350 | 28.524 | Rs. 89.61 lacs increase in R&M Building due to R&M of field Hostel- I&II , renovation of Badminton hall and revision of PSR 2014-15 resulting in increase in cost of R&M contract for housekeeping, maintenance of GH, administrative block, FH and power house building etc. Rs. 132.20 lacs increase on R&M Machinery due to frequent breakdown of machines, due to running on low load during peak and off peak load, due to non availability of Grid, adverse weather condition, purchase of essential spares etc. Rs.18.19lacs increase in R&M of HM Works,road, building, culvert & decrease in R&M of DAM & Barrages and R&M of DG sets.
2.2 | For Power House and all other works | 37476212 | 59083738 | 57.6566
| Sub-Total (Repair and Maintenance) | 45505332 | 69403088
|  | 0 | 0
3 | Insurance | 17122895 | 24530883 | 43.2636 | In case of Mega Insurance Police 1. Increase in premium rates on account of deteriorating claim ratio as a result of loss due Fire incident at Uri-II Power Station and submergence of Chutak power Station in November 2014 and June 2015 respectively and other claims during policy period 2014-15 2. Increase in sum-insured due to increase in reinstatement cost of assets on Valuation. 3. Increase in the rate of Service Tax and WCT from 12.36% to 14% and 10.5% to 12.6% respectively. In case of CPM policy, Increase in Sum insured due to valuation of Assets, additional Construction equipment purchased and increase in premium rates & Service Tax/WCT rates as above.
4 | Security Expenses | 15642662 | 19529409 | 24.8471 | Rs. 12.08 Lac DA ARREAR for JAN-14 TO MAR-15 paid to J&K Armed Police. Besides that increase in Salary , wages & allowances of Rs. 26.78 lacs upto Dec. 2015 as per Govt. notification.
|  | 0 | 0
5 | Administrative Expenses | 0 | 0
5.1 | Rent | 14643929 | 11091921 | -24.2558 | Rs. 27.01 lacs decrease due to discontinuation as Field Hostel in r/o Hotel Kargil Continental and Rs. 8.25 lacs decrease in expenditure on inspection vehicles due to implementation of economy instructions.
5.2 | Electricity charges | 5910110 | 3048488 | -48.4191 | Decrease in liability for domestic electricity consumption in r/o Asst Exe Eng., PDD, KARGIL for the year ending 31.03.2016
5.3 | Travelling & Conveyance | 8401550 | 7385862 | -12.0893 | Decrease in Tour TA exps. Is due to decrease in Inland Travel
5.4 | Telephone, Telex & Postage (Communication) | 3531795 | 3488812 | -1.217 | Within 10% variation
5.5 | Advertisement | 1308412 | 1421614 | 8.6519 | Within 10% variation
5.6 | Donation | 0 | 0
5.7 | Entertainment | 6750 | 0 | -100 | As claimed by HOP
|  | 0 | 0
| Sub-total (Administrative expenses) | 33802546 | 26436697
6 | Employee Cost | 0 | 0
6.1a | Salaries,wages & allow. -Project | 93070704 | 89914052 | -3.3917 | Within 10% variation [Dealt at Co]
6.2 | Staff welfare expenses | 4600297 | 7737144 | 68.1879 | Due to Increase in RETIRED EMPLOYEES MEDICAL BENEFIT ACTUARIAL VALUATION PROVISION and Medical Claims of Employees.
6.3 | Productivity Linked incentive | 986343 | 161125 | -83.6644 | No of workman decreased in comparision to last year.
6.4 | VRS-Ex-gratia | 0 | 0
6.5 | Ex-gratia | 0 | 0
6.6 | Performance related pay (PRP) | 6390391 | 7353884 | 15.0772 | Due to increase in salary and increase in no. of executives.
| Sub-total (Employee Cost) | 105047735 | 105166205 | 0.11278
7 | Loss of Store | 0 | 0
|  | 0 | 0
|  | 0 | 0
9.1 | Allocation of CO Office expenses | 57987157 | 60633715 | 4.564 | Within 10% variation [Based on advices from CO/RO]
|  | 0 | 0
10 | Others (Specify items) | 24911956 | 9130610 | -63.3485 | 1. Decrease of Rs, 53.70 lacs Based on Debit Advices from CO for Arbitration case between NHPC-HCC Ltd. 2. Rs. 95.87 occured due to PM visit in FY 2014-15 3. Decrease in Traing exp., Celebration exp. On non-festive occasions.exp, petition fee, Misc. Exp. Etc. and increae in Operating Expenses of DG Set-Other than Residential.
11 | Total (1 to 10) | 311880980 | 318816912
12 | Revenue /Recoveries | 2843506 | 4569480 | 60.6988 | Increae due to deposit of service bond at the time of resignation by the employee. Besides that LD of 10% has been imposed on supply contracts due to delay in receipt of materials and in some cases EMD of Contractors have been forfeited due to non-execution of work.
13 | Net Expenses | 309037474 | 314247432
14 | Capital spares consumed not included in A(1) above and not claimed/allowed by commission for capitalisation

## 2015-16 to 2016-17
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
Name of the Company : NHPC Ltd.
CHUTAK POWER STATION
Sl. No. | ITEMS | 2015-16 | 2016-17 | Variance (%) | Reason for Variance
1
(A) | Breakup of O&M Expenses
1 | Consumption of stores & spares | 3986305 | 4628595 | 16.1124 | Project was made operational after shutdown on 10-09-2015 and power house remained operational throughtout the year.
|  | 0 | 0
2 | Repair & Maintenance | 0 | 0
2.1 | For Dam,Intake,WCS,De-silting chamber | 10319350 | 11097939 | 7.5449 | Purchase of spares and consumables items for operation and maintenenace Power House
2.2 | For Power House and all other works | 59083738 | 68125103 | 15.3026
| Sub-Total (Repair and Maintenance) | 69403088 | 79223042
|  | 0 | 0
3 | Insurance | 24530883 | 25125101 | 2.4223 | Within 10% variation
4 | Security Expenses | 19529409 | 22232923 | 13.8433 | Increases due to increase in Salary , wages & allowances & Arrears of J&K Police
|  | 0 | 0
5 | Administrative Expenses | 0 | 0
5.1 | Rent | 11091921 | 11374801 | 2.5503 | Within 10% variation
5.2 | Electricity charges | 3048488 | 1394611 | -54.2524 | Paid to Asst Exe Eng., PDD, KARGIL for domestic electricity consumption for 2016-17
5.3 | Travelling & Conveyance | 7385862 | 5411826 | -26.7272 | Decrease in Tour TA exps. Is due to decrease in Inland Travel
5.4 | Telephone, Telex & Postage (Communication) | 3488812 | 3541839 | 1.5199 | Within 10% variation
5.5 | Advertisement | 1421614 | 1521874 | 7.0525 | Within 10% variation
5.6 | Donation | 0 | 0
5.7 | Entertainment | 0 | 13500 | 13500 | As claimed by HOP
|  | 0 | 0
| Sub-total (Administrative expenses) | 26436697 | 23258451
6 | Employee Cost | 0 | 0
6.1a | Salaries,wages & allow. -Project | 89914052 | 105395771 | 17.2184
6.2 | Staff welfare expenses | 7737144 | 4766570 | -38.3937 | Due to Decrease in RETIRED EMPLOYEES MEDICAL BENEFIT ACTUARIAL VALUATION PROVISION and Medical Claims of Employees.
6.3 | Productivity Linked incentive | 161125 | 1844651 | 1044.8571 | Increase due to payment of arear of PLGI at revised rate from F.Y 2010-11 to F.Y 2013-14 and provision of PLGI for Q4 of FY 2016-17 made on revised pay
6.4 | VRS-Ex-gratia | 0 | 0
6.5 | Ex-gratia | 0 | 0
6.6 | Performance related pay (PRP) | 7353884 | 8768365 | 19.2345 | Due to normal increase in salary
| Sub-total (Employee Cost) | 105166205 | 120775357 | 14.8424
7 | Loss of Store | 0 | 0
|  | 0 | 0
|  | 0 | 0
9.1 | Allocation of CO Office expenses | 60633715 | 113050531 | 86.4483 | Based on advices from CO/RO
|  | 0 | 0
10 | Others (Specify items) | 9130610 | 9694289 | 6.1735 | Within 10% variation
11 | Total (1 to 10) | 318816912 | 397988289
12 | Revenue /Recoveries | 4569480 | 7926744 | 73.4715 | Increased on account of LIABILITY NOT REQUIRED WRITTEN BACK
13 | Net Expenses | 314247432 | 390061545
14 | Capital spares consumed not included in A(1) above and not claimed/allowed by commission for capitalisation