## Annexure-III 1 to 3
Annexure-III
SH 1/3
Pro-forma for furnishing Actual annual performance/operational data for the Hydro Electric generating stations for the 5-year period from 2012-13 to 2016-17
| Particulars |  | Units | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | Name of Company |  |  | NHPC LTD.
2 | Name of Station |  |  | Nimmo-Bazgo Power Station
3 | Installed Capacity and Configuration |  | (MW) | 45
4 | Station Location |  | Under ground or Surface | Surface
5 | Type of Excitation System |  |  | Static
6 | Live Storage Capacity |  | (Million Cubic) | 9.2
7 | Rated Head |  | Metres | 34.8 M | 34.8 M | 34.8 M | 34.8 M | 34.8 M
8 | Head at Full Reservoir Level (FRL) |  | Metres | 38.81 M | 38.81 M | 38.81 M | 38.81 M | 38.81 M
9 | Head at Minimum Draw down Level (MDDL) |  | Metres | 32.77 M | 32.77 M | 32.77 M | 32.77 M | 32.77 M
10 | MW Capability at FRL |  | MW |  |  | 16.92 MW | 16.92 MW | 16.92 MW
11 | MW Capability at MDDL |  | MW |  |  | 15.38 MW | 15.38 MW | 15.38 MW
12 | Cost of spares :
12.1 | Cost of spares capitalized in books of accounts |  | (Rs. Lakhs) | - | 1616.95 | 46.52 | 272.09 | 984.42
12.2 | Cost of spares included in the capital cost for the purpose of tariff |  | (Rs. Lakhs) | - | 1616.95 | 46.52 | 272.09 | 984.42
Period
13 | Generation :
13.1 | Actual Gross Generation at Generator Terminals |  | (MU) | 15.7064 | 71.952 | 75.5532 | 90.7124 | 95.1021
13.2 | Actual Net Generation Ex-bus including free power |  | (MU) | 15.0749 | 68.529 | 68.704 | 75.0744 | 88.003
13.3 | Scheduled generation Ex-bus including free power |  | (MU) | 0.63153 | 68.529 | 68.704 | 83.662 | 88.003
14 | Actual Auxiliary Energy Consumption excluding colony consumption |  | (MU) |  | 3.4232 | 0.68842 | 5.2043 | 4.9038
15 | Actual Energy supplied to Colony from the station |  | (MU) |  |  | 1.39 | 1.92 | 2.22
16 | Average Declared Capacity (DC) during the year |  | (MW) |  |  | 34.74 | 34.91 | 34.53
Annexure-III
SH 2/3
| Period |  | Units | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
17 | Weighted Average duration of outages ( Unit-wise details)
17.1 | Scheduled outages |  | (Days) | 0 | 3.1965 | 56.6354 | 61.8161 | 57.5694
17.2 | Forced outages |  | (Days) | 0 | 0.45139 | 4.166 | 0 | 6.1465
18 | Cost of spares actually consumed |  | (Rs. Lakhs) | - | 0 | 0 | 0 | 0
19 | Average stock of spares |  | (Rs. Lakhs) | - | 1616.95 | 46.52 | 272.09 | 984.42
Month wise Design Energy
Month |  | Period | Design Energy as approved by CEA (MU) |  | Month | Period | Design Energy as approved by CEA (MU)
April |  | 1-10 | 3.54 |  | October | 1-10 | 7.79
|  | 11-20 | 3.75 | 3.75 |  | 11-20 | 5.99 | 5.99
|  | 21-30 | 4.02 | 4.02 |  | 21-31 | 6.05 | 6.05
May |  | 1-10 | 4.85 | 4.85 | November | 1-10 | 5.26 | 5.26
|  | 11-20 | 6.81 | 6.81 |  | 11-20 | 4.93 | 4.93
|  | 21-31 | 11.29 | 11.29 |  | 21-30 | 4.6 | 4.6
June |  | 1-10 | 10.23 | 10.23 | December | 1-10 | 4.38 | 4.38
|  | 11-20 | 10.26 | 10.26 |  | 11-20 | 4.37 | 4.37
|  | 21-30 | 10.26 | 10.26 |  | 21-31 | 4.73 | 4.73
July |  | 1-10 | 10.26 | 10.26 | January | 1-10 | 3.88 | 3.88
|  | 11-20 | 10.26 | 10.26 |  | 11-20 | 3.69 | 3.69
|  | 21-31 | 11.29 | 11.29 |  | 21-31 | 3.9 | 3.9
August |  | 1-10 | 10.26 | 10.26 | February | 1-10 | 3.42 | 3.42
|  | 11-20 | 10.26 | 10.26 |  | 11-20 | 3.36 | 3.36
|  | 21-31 | 11.29 | 11.29 |  | 21-28 | 3.03 | 3.03
September |  | 1-10 | 10.26 | 10.26 | March | 1-10 | 3.36 | 3.36
|  | 11-20 | 10.26 | 10.26 |  | 11-20 | 3.37 | 3.37
|  | 21-30 | 10.26 | 10.26 |  | 21-31 | 3.81 | 3.81
[5 empty] | Total |  | 239.33
Storage Hydro plants shall also furnish actual monthly average peaking generation in MW achieved during the period 2012-13 to 2016-17 against the monthly average peaking capability approved by CEAas per following format:
Month |  | Expected Avg. of daily 3-hour peaking capacity as approved by CEA |  |  | Actual monthly average of daily 3-hour peaking (MW) for the period 2012-13 to 2016-17
April
May
June
July
August
September
October
November
December
January
February
March
Annexure III
SH 3/3
1 | List of beneficiaries/customers along with allocation by GoI including (allocation of unallocated share) / capacity as contracted should also be furnished separately for each generating station.
2 | Declared Capacity should be as per Regulation 31(3) of CERC Tariff Regulations for the period 2014-19 including month wise information may be furnished.
3 | Any relevant point or a specific fact having bearing on performance or operating parameters may also be highlighted or brought to the notice of the Commission.

## Annexure-IV
Annexure –IV
PLANT AVAILABILITY/SCHEDULED PLANT LOAD FACTOR ACHIEVED Generating company: NHPC LTD. Name of Generating station: Nimoo BazgoPower Station Installed Capacity (MW) : 45 MW Normative Annual Plant Availability Factor (%) approved by Commission : 65%
Plant Availability Factor Achieved (%)
Month | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | Reasons for shortfall in PAF achieved vis-a-vis NAPAF
April |  |  | 100 | 100 | 100
May |  |  | 100.1629 | 96.7742 | 100
June |  |  | 100 | 100 | 100
July |  |  | 100 | 100 | 100
August |  |  | 100 | 100 | 100
September |  |  | 100 | 97.7778 | 93.3333
October |  | 100 | 75.3521 | 67.7419 | 69.8925
November |  | 100 | 60.2319 | 72.2222 | 87.7778
December |  | 74.1718 | 53.6548 | 55.746 | 83.8044
January |  | 43.59 | 43.7348 | 36.0943 | 43.695
February |  | 42.9694 | 46.0157 | 32.7815 | 48.1041
March |  | 53.0031 | 56.4788 | 86.456 | 48.8324
Annual | 0 | 67.6119 | 78.0994 | 78.9012 | 81.406
Plant Load Factor Achieved (%)
Month | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | Reasons for shortfall in PLF achieved vis-a-vis Target PLF
April
May
June
July
August
September
October
November
December
January
February
March
Annual

## Annexure-XIX (NIMMO)
Annexure-XIX
Name of the Utility |  | NHPC LTD.
Name of the Generating Station |  | Nimoo Bazgo Power Station
Station/ Stage/ Unit |  | 3x15 MW
Fuel Type (Coal/ Lignite/ Gas/ Liquid Fuel/ Nuclear/ Hydro | [7 empty] | Hydro
Capacity of Plant (MW) |  | 45 MW
COD |  | 2013-10-01
|  | 2004-05 | 2005-06 | 2006-07 | 2007-08 | 2008-09 | 2009-10 | 2010-11 | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | Plant Availability Factor (PAF) (%) | 2013-10-01 2004-05: Not Commissioned; 2013-10-01 2013-14: 67.6119; 2013-10-01 2014-15: 78.0994; 2013-10-01 2015-16: 78.9012; 2013-10-01 2016-17: 81.406
2 | Plant Load Factors (PLF) (%)
3 | Scheduled Energy (MU) | 2013-10-01 2013-14: 68.529; 2013-10-01 2014-15: 68.704; 2013-10-01 2015-16: 83.662; 2013-10-01 2016-17: 88.003
4 | Scheduled Generation (MU)
5 | Actual Generation (MU) | 2013-10-01 2013-14: 71.94; 2013-10-01 2014-15: 75.5532; 2013-10-01 2015-16: 90.7124; 2013-10-01 2016-17: 95.1021
6 | Quantum of coal consumption (MT) | 2013-10-01 2013-14: Not Applicable
7 | Value of coal (Rs. Lakh)
8 | Specific Coal Consumption (kg/kwh)
9 | Gross Calorific Value of Coal (Kcal/ Kg)
10 | Heat Contribution of Coal (Kcal/ kwh)
11 | Cost Of Specific Coal Consumption (Rs./Kwh) – Finally admitted by CERC
12 | Quantum of Oil Consumption (Lit.)
13 | Value of Oil (Rs. lakh)
14 | Gross calorific value of oil (kcal/lit)
15 | Specific Oil Consumption (ml/ kwh)
16 | Cost Of Specific Oil Consumption (Rs./Kwh) – Finally admitted by CERC
17 | Heat Contribution of Oil (Kcal/ kwh)
18 | Station Heat Rate (kcal/kwh)
19 | Auxiliary Energy Consumption (%) | 2013-10-01 2013-14: 5.35; 2013-10-01 2014-15: 7.24; 2013-10-01 2015-16: 5.75; 2013-10-01 2016-17: 5.16
20 | Debt at the end of the year (Rs. Crore)
21 | Equity (Rs. Crore) | 2013-10-01 2013-14: 294.3063; 2013-10-01 2014-15: 305.8407; 2013-10-01 2015-16: 308.3871; 2013-10-01 2016-17: 316.1263
22 | Working Capital (Rs. Crore) – finally admitted by CERC | 2013-10-01 2013-14: 32.8885; 2013-10-01 2014-15: 35.0006; 2013-10-01 2015-16: 35.6938; 2013-10-01 2016-17: 36.1474
23 | Capital cost (Rs. Crore) – finally admitted by CERC | 2013-10-01 2013-14: 981.0208; 2013-10-01 2014-15: 1019.469; 2013-10-01 2015-16: 1027.957; 2013-10-01 2016-17: 1053.7541
24 | Capacity Charges/ Annual Fixed Cost (AFC)
(a) Return on equity – pre tax (admitted by CERC)
| Absolute value | 2013-10-01 2013-14: 57.2024; 2013-10-01 2014-15: 62.6433; 2013-10-01 2015-16: 64.1131; 2013-10-01 2016-17: 65.1867
| Rate (%) | 2013-10-01 2013-14: 20.88%; 2013-10-01 2014-15: 20.88%; 2013-10-01 2015-16: 20.88%; 2013-10-01 2016-17: 20.88%
(b) interest on Loan
| Absolute value | 2013-10-01 2013-14: 45.4928; 2013-10-01 2014-15: 39.688; 2013-10-01 2015-16: 37.5855; 2013-10-01 2016-17: 34.5538
| Rate (%) – Weighted Average Rate | 2013-10-01 2013-14: 7.237%; 2013-10-01 2014-15: 6.082%; 2013-10-01 2015-16: 6.076%; 2013-10-01 2016-17: 5.965%
(c) Depreciation (finally allowed by CERC)
| Absolute value | 2013-10-01 2013-14: 45.4499; 2013-10-01 2014-15: 49.773; 2013-10-01 2015-16: 50.9408; 2013-10-01 2016-17: 51.7938
| Rate (%) | 2013-10-01 2013-14: 4.976%; 2013-10-01 2014-15: 4.976%; 2013-10-01 2015-16: 4.976%; 2013-10-01 2016-17: 4.976%
(d) Interest on working Capital
| Absolute value | 2013-10-01 2013-14: 4.3413; 2013-10-01 2014-15: 4.7251; 2013-10-01 2015-16: 4.8187; 2013-10-01 2016-17: 4.8799
| Rate (%) | 2013-10-01 2013-14: 13.2%; 2013-10-01 2014-15: 13.5%; 2013-10-01 2015-16: 13.5%; 2013-10-01 2016-17: 13.5%
(e) Operation and maintenance cost (finally admitted by CERC)
| Absolute value | 2013-10-01 2013-14: 19.2405; 2013-10-01 2014-15: 22.1559; 2013-10-01 2015-16: 23.6271; 2013-10-01 2016-17: 25.1959
Rate (%)
(f) Compensation Allowances
25 | AFC (Rs. Crores) | 2013-10-01 2013-14: 171.7269; 2013-10-01 2014-15: 178.9853; 2013-10-01 2015-16: 181.0851; 2013-10-01 2016-17: 181.6101 | 206.1349
26 | Energy Charge (Rs./Kwh) | 2013-10-01 2013-14: 4.1654; 2013-10-01 2014-15: 4.3415; 2013-10-01 2015-16: 4.3924; 2013-10-01 2016-17: 4.4051
27 | Total tariff (Rs. Kwh) | 2013-10-01 2013-14: 8.3308; 2013-10-01 2014-15: 8.6829; 2013-10-01 2015-16: 8.7848; 2013-10-01 2016-17: 8.8103
28 | Revenue realisation before tax (Rs. Crore) | 2013-10-01 2013-14: 79.6967; 2013-10-01 2014-15: 151.9865; 2013-10-01 2015-16: 250.9215; 2013-10-01 2016-17: 29.9666
29 | Revenue realisation after tax (Rs. Crore) #
30 | Profit/ loss before tax (Rs. Crore) | 2013-10-01 2013-14: 12.0017; 2013-10-01 2014-15: 27.6358; 2013-10-01 2015-16: 141.5757; 2013-10-01 2016-17: 166.084
31 | DSM Generation (MU) | 2013-10-01 2013-14: 0; 2013-10-01 2014-15: 0; 2013-10-01 2015-16: 0; 2013-10-01 2016-17: 0
32 | DSM Rate (Ps/Kwh)
33 | Revenue from DSM (Rs. Crore) | 2013-10-01 2013-14: 0; 2013-10-01 2014-15: 0; 2013-10-01 2015-16: 0; 2013-10-01 2016-17: 0
Note:
1. The data at Sl No. 20 to 27 has been filled based on CERC orders dated 22.09.2016 & 13.10.2015
2. The capital cost sl no. 23 & equity at sl no. 21 has been considered as closing equity & capital cost respectively as on 31st March of respective year.
3. Composite tariff shown at sl no. 27 is exclusive of J&K water usage charges.
4. # NHPC calculate Corporate Tax as a whole after considering all the admissible deductions, exemptions etc. as per Income Tax Act. Therefore unitwise calculation has not been made.
Note: Generating Companies are required to submit data for all generating stations.
This is a general format. Plants of different fuel users have to fill the cells as applicable to them. Tariff for the Hydro may be understood as composite tariff.
The data provided for the corresponding years need to mention as Actual or provisional.
Data for each Unit and Stage is required to be submitted in additional sheets as per the format.

## 2012-13 vs 2013-14
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
Name of the Company : NHPC LTD
Name of Power Station: | NIMMO BAZGO POWER STATION
Sl. No. | ITEMS | 2012-13 | 2013-14
1
(A) | Breakup of O&M Expenses
1 | Consumption of stores & spares |  | 0
0
2 | Repair & Maintenance |  | 0
2.1 | For Dam,Intake,WCS,De-silting chamber |  | 3721064
2.2 | For Power House and all other works |  | 7111684
| Sub-Total (Repair and Maintenance) | 0 | 10832748
0
3 | Insurance |  | 9367884
4 | Security Expenses |  | 1644726
0
5 | Administrative Expenses |  | 0
5.1 | Rent |  | 4567065
5.2 | Electricity charges |  | 4105369
5.3 | Travelling & Conveyance |  | 3345946
5.4 | Telephone, Telex & Postage (Communication) |  | 676664
5.5 | Advertisement |  | 425834
5.6 | Donation |  | 0
5.7 | Entertainment |  | 9750
0
| Sub-total (Administrative expenses) | 0 | 13130628
6 | Employee Cost |  | 0
6.1a | Salaries,wages & allow. -Project |  | 22679541
6.2 | Staff welfare expenses |  | 6253233
6.3 | Productivity Linked incentive |  | 1037262
6.4 | VRS-Ex-gratia |  | 0
6.5 | Ex-gratia |  | 0
6.6 | Performance related pay (PRP) |  | 3603061
| Sub-total (Employee Cost) | 0 | 33573097
7 | Loss of Store |  | 1200
0
0
9.1 | Allocation of CO Office expenses |  | 68692160
0
10 | Others (Specify items) |  | -57018368
11 | Total (1 to 10) | 0 | 80224075
12 | Revenue /Recoveries |  | 1942628
13 | Net Expenses | 0 | 78281447
14 | Capital spares consumed not included in A(1) above and not claimed/allowed by commission for capitalisation | 0 | 0

## 2013-14 vs 2014-15
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
Name of the Company : NHPC LTD
Name of Power Station: | NIMMO BAZGO POWER STATION
Sl. No. | ITEMS | 2013-14 | 2014-15
1
(A) | Breakup of O&M Expenses
1 | Consumption of stores & spares | 0 | 88779
|  | 0 | 0
2 | Repair & Maintenance | 0 | 0
2.1 | For Dam,Intake,WCS,De-silting chamber | 3721064 | 4017239
2.2 | For Power House and all other works | 7111684 | 28083534
| Sub-Total (Repair and Maintenance) | 10832748 | 32100773
|  | 0 | 0
3 | Insurance | 9367884 | 18508508
4 | Security Expenses | 1644726 | 5055189
|  | 0 | 0
5 | Administrative Expenses | 0 | 0
5.1 | Rent | 4567065 | 9775502
5.2 | Electricity charges | 4105369 | 5888778
5.3 | Travelling & Conveyance | 3345946 | 9022441
5.4 | Telephone, Telex & Postage (Communication) | 676664 | 2551806
5.5 | Advertisement | 425834 | 2966976
5.6 | Donation | 0 | 0
5.7 | Entertainment | 9750 | 8250
|  | 0 | 0
| Sub-total (Administrative expenses) | 13130628 | 30213753
6 | Employee Cost | 0 | 0
6.1a | Salaries,wages & allow. -Project | 22679541 | 118283093
6.2 | Staff welfare expenses | 6253233 | 8120980
6.3 | Productivity Linked incentive | 1037262 | 1318944
6.4 | VRS-Ex-gratia | 0 | 0
6.5 | Ex-gratia | 0 | 0
6.6 | Performance related pay (PRP) | 3603061 | 8046864
| Sub-total (Employee Cost) | 33573097 | 135769881
7 | Loss of Store | 1200 | 0
|  | 0 | 0
|  | 0 | 0
9.1 | Allocation of CO Office expenses | 68692160 | 65074929
|  | 0 | 0
10 | Others (Specify items) | -57018368 | 17506225
11 | Total (1 to 10) | 80224075 | 304318037
12 | Revenue /Recoveries | 1942628 | 2654273
13 | Net Expenses | 78281447 | 301663764
14 | Capital spares consumed not included in A(1) above and not claimed/allowed by commission for capitalisation | 0 | 0

## 2014-15 vs 2015-16
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
Name of the Company : NHPC LTD
Name of Power Station: NIMMO BAZGO POWER STATION
Sl. No. | ITEMS | 2014-15 | 2015-16 | Variance (%) | Reason
1
(A) | Breakup of O&M Expenses
1 | Consumption of stores & spares | 88779 | 1877856 | 2015.2 | Since Commission, Power Station is operating in Islanding Mode, fulfilling the entire Power requirement of Leh District, feeding Power to JK PDD as no regional /National transmission grid is available in the Leh-Laddakh Region. Being operating in islanding mode, sub- zero condition continuously since commissioning, any disturbance in the distribution network has direct impact on the Generating Unit along with auxiliaries, which are prone to more wear & tear. Due to this reason, spares/consumables items & various materials were purchased additionally for the O&M of Generating Units & associated auxiliaries in the FY 2015-16 & FY 2016-17.
|  | 0 | 0
2 | Repair & Maintenance | 0 | 0
2.1 | For Dam,Intake,WCS,De-silting chamber | 4017239 | 6676776 | 66.2 | Services of Divers were availed during FY 2015-16. Further, the work of "Various Repair works at Dam top in connecting with the Dam Safety Team observations at NBPS, Leh-Ladakh, J&K" was carried out in FY 2015-16.
2.2 | For Power House and all other works | 28083534 | 37229551 | 32.57 | Spares/consumables of Submersible Pumps & Various materials were procured additionallly for the maintenance of power house in FY 2015-16.
| Sub-Total (Repair and Maintenance) | 32100773 | 43906327
|  | 0 | 0
3 | Insurance | 18508508 | 27291467 | 47.45 | In case of Mega Insurance Police 1. Increase in premium rates on account of deteriorating claim ratio as a result of loss due Fire incident at Uri-II Power Station and submergence of Chutak power Station in November 2014 and June 2015 respectively and other claims during policy period 2014-15 2. Increase in sum-insured due to increase in reinstatement cost of assets on Valuation. 3. Increase in the rate of Service Tax and WCT from 12.36% to 14% and 10.5% to 12.6% respectively. In case of CPM policy, Increase in Sum insured due to valuation of Assets, additional Construction equipment purchased and increase in premium rates & Service Tax/WCT rates as above.
4 | Security Expenses | 5055189 | 18872618 | 273.33 | (1) The work of Repair of external Drainage system of HCC pre fab structures located on left bank upper bench at NPBS, was executed in FY 2015-16 for security personnel. (2) Further, the work of Construction of Armory room for IRBN security in NHPC Colony at NBPS, Alchi, Leh was carried out in FY 2015-16 for security personnel. (3) Moreover, the work of Providing and Fixing of UV stablized fiber glass reinforced plastic sheet around the verandah of HCC prefab buildings occupied by IRBn security on upper banch left bank at NBPS, AlchiLeh-Ladakh,J&K. was also done in FY 2015-16 to cater the need of security personnel.
|  | 0 | 0
5 | Administrative Expenses | 0 | 0
5.1 | Rent | 9775502 | 11275474 | 15.34 | During 2015-16, hiring service of construction equipment was availed. Further, hiring of bus service was also availed in FY 2015-16.Moreover, expense on hiring of vehicles is incresed in FY 2015-16 due to increase in rate of POL.
5.2 | Electricity charges | 5888778 | 8089425 | 37.37 | Expenses of electricity depends on the consumption of electricity, which is unpredictable & uncontrollable in nature particulary in this power station where temperature varies between -15 degree celcius to -30 degree celcius in extreme cold weather.
5.3 | Travelling & Conveyance | 9022441 | 10903203 | 20.85 | The expense of travelling & conveyance depends on the frequency of travel of employees, which is unpredictable & uncontrollable in nature. Further the air fare of Leh Region is abnormal during Summer Season.
5.4 | Telephone, Telex & Postage (Communication) | 2551806 | 2398206 | -6.02
5.5 | Advertisement | 2966976 | 4459622 | 50.31 | The expense of Advertisement depends on the publication of tenders which further depends on the volume of execution of works.
5.6 | Donation | 0 | 0
5.7 | Entertainment | 8250 | 9000 | 9.09
|  | 0 | 0
| Sub-total (Administrative expenses) | 30213753 | 37134930
6 | Employee Cost | 0 | 0
6.1a | Salaries,wages & allow. -Project | 118283093 | 132184531 | 11.75 | Due to increase of COMPANY'S CONTRIBUTION TO SUPERANNUATION /PENSION FUND (Executive ) and GRATUITY ACTUARIAL VALUATION EXPENSE respectively as compared to Corresponding previous period
6.2 | Staff welfare expenses | 8120980 | 10551607 | 29.93 | Decrease due to increase in RETIRED EMPLOYEES MEDICAL BENEFIT ACTUARIAL VALUATION PROVISION and Leave travel concession in comparison to 2014-15
6.3 | Productivity Linked incentive | 1318944 | 1376256 | 4.35
6.4 | VRS-Ex-gratia | 0 | 0
6.5 | Ex-gratia | 0 | 0
6.6 | Performance related pay (PRP) | 8046864 | 9305802 | 15.65
| Sub-total (Employee Cost) | 135769881 | 153418196
7 | Loss of Store | 0 | 0
|  | 0 | 0
|  | 0 | 0
9.1 | Allocation of CO Office expenses | 65074929 | 68012718 | 4.51
|  | 0 | 0
10 | Others (Specify items) | 17506225 | 21367354 | 22.06 | Increase in consultancy charges & operation expenses of guest house and transit accommodation
11 | Total (1 to 10) | 304318037 | 371881466
12 | Revenue /Recoveries | 2654273 | 3558016 | 34.05
13 | Net Expenses | 301663764 | 368323450
14 | Capital spares consumed not included in A(1) above and not claimed/allowed by commission for capitalisation | 0 | 0

## 2015-16 vs 2016-17
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
Name of the Company : NHPC LTD
Name of Power Station: NIMMO BAZGO POWER STATION
Sl. No. | ITEMS | 2015-16 | 2016-17 | KIRU | RE LEH | RE-JAMMU | RE-SRINAGAR | R-BANIKHET | Variance (%) | Reason
1
(A) | Breakup of O&M Expenses
1 | Consumption of stores & spares | 1877856 | 13371619 | 0 | 0 | 0 | 0 | 0 | 612.07 | Since Commission, Power Station is operating in Islanding Mode, fulfilling the entire Power requirement of Leh District, feeding Power to JK PDD as no regional /National transmission grid is available in the Leh-Laddakh Region. Being operating in islanding mode, sub- zero condition continuously since commissioning, any disturbance in the distribution network has direct impact on the Generating Unit along with auxiliaries, which are prone to more wear & tear. Due to this reason, spares/consumables items & various materials were purchased additionally for the O&M of Generating Units & associated auxiliaries in the FY 2015-16 & FY 2016-17.
|  | 0 | 0
2 | Repair & Maintenance | 0 | 0
2.1 | For Dam,Intake,WCS,De-silting chamber | 6676776 | 10285702 | 0 | 0 | 0 | 0 | 0 | 54.05 | Service of Divers has been availed during AMC of Power House.
2.2 | For Power House and all other works | 37229551 | 48882070 | #REF! | #REF! | #REF! | #REF! | #REF! | 31.3 | The work of Ceramic coating on spiral casing,Stay vanes and stay ring of unit 2 at NBPS,Alchi was done additionally in FY 2016-17
| Sub-Total (Repair and Maintenance) | 43906327 | 59167772 | #REF! | #REF! | #REF! | #REF! | #REF!
3 | Insurance | 27291467 | 27676424 | #REF! | #REF! | #REF! | #REF! | #REF! | 1.41
4 | Security Expenses | 18872618 | 23219385 | #REF! | #REF! | #REF! | #REF! | #REF! | 23.03 | (A) During FY 2016-17, 20 Nos. Of Bullet Proof Jackets amounting to Rs.1160180 was purchased for safeguard of security personnel (B)Additional Security Expenses to the extent of Rs.3174345 was incurred in FY 2016-17 in comparison to FY 2015-16 due to annual increment of salary of security personnel and due to the fact that in case of JK Police, salary was released for 12 months in FY 2016-17 while same was released for 10 months in FY 2015-16 due to their deployment from June'15 onwards.
|  | 0 | 0
5 | Administrative Expenses | 0 | 0
5.1 | Rent | 11275474 | 12104746 | #REF! | #REF! | #REF! | #REF! | #REF! | 7.35
5.2 | Electricity charges | 8089425 | 90966 | #REF! | #REF! | #REF! | #REF! | #REF! | -98.88
5.3 | Travelling & Conveyance | 10903203 | 11627492 | #REF! | #REF! | #REF! | #REF! | #REF! | 6.64
5.4 | Telephone, Telex & Postage (Communication) | 2398206 | 2899381 | #REF! | #REF! | #REF! | #REF! | #REF! | 20.9 | Expenses on Broadband Services were incurred by C.O. On behalf of project.
5.5 | Advertisement | 4459622 | 3706765 | #REF! | #REF! | #REF! | #REF! | #REF! | -16.88 | Mainly expenditure increase under Misc public relation incurred for maintaining good rapport with State officials.
5.6 | Donation | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 9797545496
5.7 | Entertainment | 9000 | 11000 | #REF! | #REF! | #REF! | #REF! | #REF! | 22.22 | Vary due decrease/ increase in nos of Chief Engineers and above.
|  | 0 | 0
| Sub-total (Administrative expenses) | 37134930 | 30440350 | #REF! | #REF! | #REF! | #REF! | #REF!
6 | Employee Cost | 0 | 0
6.1a | Salaries,wages & allow. -Project | 132184531 | 147665389 | [5 empty] | 11.71
6.2 | Staff welfare expenses | 10551607 | 8628448 | [5 empty] | -18.23
6.3 | Productivity Linked incentive | 1376256 | 2240021 | [5 empty] | 62.76
6.4 | VRS-Ex-gratia | 0 | 0
6.5 | Ex-gratia | 0 | 0
6.6 | Performance related pay (PRP) | 9305802 | 10844644 | [5 empty] | 16.54
| Sub-total (Employee Cost) | 153418196 | 169378502 | 0 | 0 | 0 | 0 | 0
7 | Loss of Store | 0 | 0
|  | 0 | 0
|  | 0 | 0
9.1 | Allocation of CO Office expenses | 68012718 | 127162515 | [5 empty] | 86.97
|  | 0 | 0
10 | Others (Specify items) | 21367354 | 24168670 | [5 empty] | 13.11 | increase in consultancy charges & operation expenses of guest house and transit accommodation
11 | Total (1 to 10) | 371881466 | 474585237 | #REF! | #REF! | #REF! | #REF! | #REF!
12 | Revenue /Recoveries | 3558016 | 21859643 | 3924611 | 2482346 | 3202229 | 1586839 | 26786964 | 514.38
13 | Net Expenses | 368323450 | 452725594 | #REF! | #REF! | #REF! | #REF! | #REF!
14 | Capital spares consumed not included in A(1) above and not claimed/allowed by commission for capitalisation | 0 | 0