## Annexure-III 1 to 3
Annexure-III
SH 1/3
Pro-forma for furnishing Actual annual performance/operational data for the Hydro Electric generating stations for the 5-year period from 2012-13 to 2016-17
| Particulars |  | Units | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | Name of Company |  |  | NHPC LTD.
2 | Name of Station |  |  | Chamera-I Power Station
3 | Installed Capacity and Configuration |  | (MW) | 540
4 | Station Location |  | Under ground or Surface | Under Ground
5 | Type of Excitation System |  |  | Static
6 | Live Storage Capacity |  | (Million Cubic) | 86.9
7 | Rated Head |  | Metres | 185.00 M | 185.00 M | 185.00 M | 185.00 M | 185.00 M
8 | Head at Full Reservoir Level (FRL) |  | Metres | 207.00 M | 207.00 M | 207.00 M | 207.00 M | 207.00 M
9 | Head at Minimum Draw down Level (MDDL) |  | Metres | 197.65 M | 197.65 M | 197.65 M | 197.65 M | 197.65 M
10 | MW Capability at FRL |  | MW | 540 MW | 540 MW | 540 MW | 540 MW | 540 MW
11 | MW Capability at MDDL |  | MW | 515.6 MW | 515.6 MW | 515.6 MW | 515.6 MW | 515.6 MW
12 | Cost of spares :
12.1 | Cost of spares capitalized in books of accounts |  | (Rs. Lakhs) | 344.43 | 59.44 | 63.85 | 107.76 | 139.68
12.2 | Cost of spares included in the capital cost for the purpose of tariff |  | (Rs. Lakhs) | 0 | 0 | 0 | 0 | 0
Period
13 | Generation :
13.1 | Actual Gross Generation at Generator Terminals |  | (MU) | 2442.26 | 2340.84 | 2551.7839 | 2623.72 | 2224.4216
13.2 | Actual Net Generation Ex-bus including free power |  | (MU) | 2444.0178 | 2344.6397 | 2553.7223 | 2622.6988 | 2205.8459
13.3 | Scheduled generation Ex-bus including free power |  | (MU) | 2437.8785 | 2331.6061 | 2516.7841 | 2554.1333 | 2142.1648
14 | Actual Auxiliary Energy Consumption excluding colony consumption |  | (MU) | 17.0958 | 15.9 | 18.2594 | 18.5483 | 15.847
15 | Actual Energy supplied to Colony from the station |  | (MU) | NIL | NIL | NIL | NIL | NIL
16 | Average Declared Capacity (DC) during the year |  | (MW) | 522.75 | 520.08 | 515.7 | 512.7 | 512.5
Annexure-III
SH 2/3
| Period |  | Units | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
17 | Weighted Average duration of outages ( Unit-wise details)
17.1 | Scheduled outages |  | (Days) | 37.1243 | 33.6174 | 42.4792 | 47.2806 | 29.7722
17.2 | Forced outages |  | (Days) | 3.9736 | 11.0764 | 1.5292 | 2.1424 | 5.0062
18 | Cost of spares actually consumed |  | (Rs. Lakhs) | 274.61 | 40.6 | 0 | 96.26 | 107.01
19 | Average stock of spares |  | (Rs. Lakhs) | 1514.49 | 1410.62 | 1459.89 | 1436.13 | 1392.64
Month wise Design Energy
Month |  | Period | Design Energy as approved by CEA (MU) |  | Month | Period | Design Energy as approved by CEA (MU)
April |  | 1-10 | 21.08 |  | October | 1-10 | 34.822
|  | 11-20 | 25.57 | 25.57 |  | 11-20 | 30.052 | 30.052
|  | 21-30 | 52.37 | 52.37 |  | 21-31 | 32.052 | 32.052
May |  | 1-10 | 57.17 | 57.17 | November | 1-10 | 24.01 | 24.01
|  | 11-20 | 54.85 | 54.85 |  | 11-20 | 20.96 | 20.96
|  | 21-31 | 72.52 | 72.52 |  | 21-30 | 20.94 | 20.94
June |  | 1-10 | 56 | 56 | December | 1-10 | 16.11 | 16.11
|  | 11-20 | 65.2 | 65.2 |  | 11-20 | 20.89 | 20.89
|  | 21-30 | 62.26 | 62.26 |  | 21-31 | 22.93 | 22.93
July |  | 1-10 | 93.705 | 93.705 | January | 1-10 | 20.83 | 20.82
|  | 11-20 | 80.805 | 80.805 |  | 11-20 | 20.78 | 20.78
|  | 21-31 | 105.11 | 105.11 |  | 21-31 | 22.85 | 22.85
August |  | 1-10 | 105.525 | 105.525 | February | 1-10 | 20.79 | 20.79
|  | 11-20 | 116.2 | 116.2 |  | 11-20 | 20.72 | 20.72
|  | 21-31 | 118.525 | 118.525 |  | 21-28 | 16.62 | 16.62
September |  | 1-10 | 71.66 | 71.66 | March | 1-10 | 20.032 | 20.032
|  | 11-20 | 54.33 | 54.33 |  | 11-20 | 20.892 | 20.892
|  | 21-30 | 42.18 | 42.18 |  | 21-31 | 23.222 | 23.222
[5 empty] | Total |  | 1664.562
Storage Hydro plants shall also furnish actual monthly average peaking generation in MW achieved during the period 2012-13 to 2016-17 against the monthly average peaking capability approved by CEAas per following format:
Month |  | Expected Avg. of daily 3-hour peaking capacity as approved by CEA |  |  | Actual monthly average of daily 3-hour peaking (MW) for the period 2012-13 to 2016-17
April |  | 533.52 |  |  |  | 529.76
May |  | 533.52 |  |  |  | 535.3161
June |  | 533.52 |  |  |  | 536.94
July |  | 533.52 |  |  |  | 524.5935
August |  | 533.52 |  |  |  | 532.3785
September |  | 533.52 |  |  |  | 534.3667
October |  | 533.52 |  |  |  | 535.0387
November |  | 533.52 |  |  |  | 536.66
December |  | 533.52 |  |  |  | 431.3194
January |  | 533.52 |  |  |  | 494.5742
February |  | 533.52 |  |  |  | 497.9906
March |  | 533.52 |  |  |  | 530.7484
Annexure III
SH 3/3
1 | List of beneficiaries/customers along with allocation by GoI including (allocation of unallocated share) / capacity as contracted should also be furnished separately for each generating station.
2 | Declared Capacity should be as per Regulation 31(3) of CERC Tariff Regulations for the period 2014-19 including month wise information may be furnished.
3 | Any relevant point or a specific fact having bearing on performance or operating parameters may also be highlighted or brought to the notice of the Commission.

## Annexure-IV
Annexure –IV
PLANT AVAILABILITY/SCHEDULED PLANT LOAD FACTOR ACHIEVED Generating company: NHPC LTD. Name of Generating station: Chamera-I Power Station Installed Capacity (MW) : 540 MW Normative Annual Plant Availability Factor (%) approved by Commission : 90%
Plant Availability Factor Achieved (%)
Month | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | Reasons for shortfall in PAF achieved vis-a-vis NAPAF
April | 100.09 | 94.6544 | 101.1021 | 100.4274 | 100.2024 |  | 529.76
May | 100.09 | 100.1262 | 100.2472 | 100.6583 | 100.5616 |  | 535.3161
June | 100.1087 | 101.2146 | 100.2961 | 100.3711 | 101.2146 |  | 536.94
July | 89.3457 | 100.5253 | 100.1746 | 100.3741 | 101.2146 |  | 524.5935
August | 98.1229 | 99.0863 | 100.09 | 100.4165 | 101.2146 |  | 532.3785
September | 98.9966 | 100.2149 | 100.2149 | 100.1524 | 101.2146 |  | 534.3667
October | 100.3621 | 100.9909 | 100.09 | 100.9425 | 99.0379 |  | 535.0387
November | 102.5016 | 101.2833 | 98.9779 | 101.2146 | 98.9654 |  | 536.66
December | 86.634 | 75.1007 | 67.2648 | 101.2146 | 74.0064 |  | 431.3194
January | 99.576 | 93.687 | 88.7895 | 85.3129 | 96.1357 |  | 494.5742
February | 94.3531 | 101.228 | 100.1167 | 69.7212 | 101.2837 |  | 497.9906
March | 103.0889 | 101.2146 | 100.09 | 91.1657 | 101.8434 |  | 530.7484
Annual | 97.7715 | 97.3919 | 96.3839 | 96.0915 | 98.0227
Plant Load Factor Achieved (%)
Month | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | Reasons for shortfall in PLF achieved vis-a-vis Target PLF
April
May
June
July
August
September
October
November
December
January
February
March
Annual

## Annexure-XIX (CH-I)
Annexure-XIX
Name of the Utility |  | NHPC LTD
Name of the Generating Station |  | Chamera-I Power Station
Station/ Stage/ Unit |  | 3 x 180 MW
Fuel Type (Coal/ Lignite/ Gas/ Liquid Fuel/ Nuclear/ Hydro | [7 empty] | Hydro
Capacity of Plant (MW) |  | 540 MW
COD |  | 1994-05-01
|  | 2004-05 | 2005-06 | 2006-07 | 2007-08 | 2008-09 | 2009-10 | 2010-11 | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | Plant Availability Factor (PAF) (%) | 91.6 | 98.63 | 95.6166 | 98.042 | 97.64 | 97.6934 | 99.1708 | 87.2722 | 97.7715 | 97.3919 | 96.3839 | 96.0915 | 98.0227
2 | Plant Load Factors (PLF) (%)
3 | Scheduled Energy (MU) | 2061.6795 | 2309.7113 | 2329.383 | 2078.5991 | 2138.9451 | 2057.7778 | 2407.2543 | 2649.4308 | 2437.8797 | 2331.5117 | 2516.7844 | 2554.133 | 2142.1658
4 | Scheduled Generation (MU)
5 | Actual Generation (MU) | 2104.69 | 2343.18 | 2365.666 | 2101.3 | 2142.23 | 2064.65 | 2408.4 | 2659.5588 | 2442.26 | 2340.84 | 2551.7839 | 2623.72 | 2224.4216
6 | Quantum of coal consumption (MT) | 1994-05-01 2004-05: Not Applicable
7 | Value of coal (Rs. Lakh)
8 | Specific Coal Consumption (kg/kwh)
9 | Gross Calorific Value of Coal (Kcal/ Kg)
10 | Heat Contribution of Coal (Kcal/ kwh)
11 | Cost Of Specific Coal Consumption (Rs./Kwh) – Finally admitted by CERC
12 | Quantum of Oil Consumption (Lit.)
13 | Value of Oil (Rs. lakh)
14 | Gross calorific value of oil (kcal/lit)
15 | Specific Oil Consumption (ml/ kwh)
16 | Cost Of Specific Oil Consumption (Rs./Kwh) – Finally admitted by CERC
17 | Heat Contribution of Oil (Kcal/ kwh)
18 | Station Heat Rate (kcal/kwh)
19 | Auxiliary Energy Consumption (%) | 0.33 | 0.23 | 0.21 | 0.24 | 0.21 | 0.2 | 0.18 | 0.16 | 0.17 | 0.18 | 0.72 | 0.71 | 0.71
20 | Debt at the end of the year (Rs. Crore) ^ | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | Equity (Rs. Crore) | 627.0897 | 628.6748 | 629.1959 | 630.4336 | 630.2194 | 632.2668 | 632.1765 | 632.7114 | 633.2369 | 633.6504 | 635.3953 | 648.5315 | 648.7335
22 | Working Capital (Rs. Crore) – finally admitted by CERC | 70.0081 | 72.6951 | 75.5242 | 78.5093 | 81.6336 | 68.5913 | 70.4669 | 72.4045 | 71.2592 | 75.034 | 73.3381 | 76.7811 | 80.3739
23 | Capital cost (Rs. Crore) – finally admitted by CERC | 2022.2883 | 2027.5718 | 2029.3088 | 2033.4343 | 2032.7204 | 2039.5455 | 2039.2444 | 2041.0276 | 2042.7793 | 2044.1575 | 2049.9737 | 2093.7613 | 2094.4346
24 | Capacity Charges/ Annual Fixed Cost (AFC)
(a) Return on equity – pre tax (admitted by CERC)
| Absolute value | 87.7469 | 87.9035 | 88.0509 | 88.174 | 88.2457 | 148.2222 | 146.7386 | 145.1079 | 124.6263 | 132.2377 | 132.463 | 134.0163 | 135.4085
| Rate (%) * | 14% | 14% | 14% | 14% | 14% | 23.48% | 23.21% | 22.94% | 19.69% | 19.69% | 20.88% | 20.88% | 20.88%
(b) interest on Loan
| Absolute value | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Rate (%) – Weighted Average Rate | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(c) Depreciation (finally allowed by CERC)
| Absolute value | 36.4436 | 36.5984 | 36.7316 | 36.8971 | 36.9769 | 41.3708 | 41.6631 | 41.7682 | 41.8654 | 42.0073 | 41.7059 | 43.3405 | 44.8833
| Rate (%) | 1994-05-01 2009-10: As the power Station has already completed 12 years, remaining depreciation is uniformily distributed over the balance useful life.
(d) Interest on working Capital
| Absolute value | 7.1758 | 7.4512 | 7.7412 | 8.0472 | 8.3674 | 8.4024 | 8.6322 | 8.8696 | 8.7292 | 9.1917 | 9.9006 | 10.3655 | 10.8505
| Rate (%) | 10.25% | 10.25% | 10.25% | 10.25% | 10.25% | 12.25% | 12.25% | 12.25% | 12.25% | 12.25% | 13.5% | 13.5% | 13.5%
(e) Operation and maintenance cost (finally admitted by CERC)
| Absolute value | 59.34 | 61.71 | 64.18 | 66.75 | 69.42 | 88.9802 | 94.0698 | 99.4506 | 105.1392 | 111.1531 | 106.6495 | 113.7353 | 121.2919
Rate (%)
(f) Compensation Allowances | bar: 1994-05-01 2004-05
25 | AFC (Rs. Crores)) | 190.7063 | 193.6631 | 196.7037 | 199.8683 | 203.01 | 286.9756 | 291.1037 | 295.1963 | 280.3601 | 294.5898 | 290.719 | 301.4576 | 312.4342
26 | Energy Charge (Rs./Kwh) | 0.65887 | 0.66908 | 0.67959 | 0.69052 | 0.70138 | 0.99147 | 1.0057 | 1.0199 | 0.96861 | 1.0178 | 1.0044 | 1.0415 | 1.0794 | 1447.2264
27 | Total tariff (Rs. Kwh) | 1.3177 | 1.3382 | 1.3592 | 1.381 | 1.4028 | 1.9829 | 2.0115 | 2.0397 | 1.9372 | 2.0355 | 2.0088 | 2.083 | 2.1588
28 | Revenue realisation before tax (Rs. Crore) | 275.8376 | 311.5751 | 294.6827 | 298.1022 | 304.7815 | 277.3192 | 358.7408 | 415.75 | 409.4432 | 367.1024 | 409.5788 | 454.7553 | 405.8129
29 | Revenue realisation after tax (Rs. Crore) #
30 | Profit/ loss before tax (Rs. Crore) | 183.2426 | 192.545 | 224.9387 | 232.1094 | 167.4756 | 127.5366 | 247.6014 | 273.8925 | 460.4807 | 222.7847 | 262.2384 | 280.9773 | 231.5583
31 | DSM Generation (MU) | 40.3355 | 29.4702 | 30.4007 | 22.8987 | -0.10728 | 4.9531 | 0.78185 | 10.8614 | 6.1394 | 13.0336 | 36.9382 | 68.5655 | 63.6811
32 | DSM Rate (Ps/Kwh)
33 | Revenue from DSM (Rs. Crore) |  |  | 17.5 | 22.47 | 36.31 | 17.16 | 21.676 | -0.063259 | 11.098 | 5.9112 | 16.153 | 16.8991 | 13.5659
Note:
1. The data at Sl No. 20 to 27 has been filled based on CERC orders dated 04.09.2015, 04.12.2015 & 11.11.2013
2. The capital cost sl no. 23 & equity at sl no. 21 has been considered as closing equity & capital cost respectively as on 31st March of respective year.
3. The depreciation at Sl No. 24(c) for the period 2004-09 is inclusive of Advance Against Depreciation (AAD)
4. * The Return On Equity (ROE) at Sl No. 24(a) for the period 2004-09 is exclusive of Tax as the same was not part of AFC & separately reimbursable from beneficiaries.
5. ^ The Normative debt at the end of the year (sl no.20) has been considered as ZERO from 2005-06 onwards as the gross normative loan is fully repaid & allowed depreciation in respectve years are more than 70% of admitted additional capitalization.
6. # NHPC calculate Corporate Tax as a whole after considering all the admissible deductions, exemptions etc. as per Income Tax Act. Therefore unitwise calculation has not been made.
Note: Generating Companies are required to submit data for all generating stations.
This is a general format. Plants of different fuel users have to fill the cells as applicable to them. Tariff for the Hydro may be understood as composite tariff.
The data provided for the corresponding years need to mention as Actual or provisional.
Data for each Unit and Stage is required to be submitted in additional sheets as per the format.
04.09.2015
04.12.2015

## 15-16&16-17
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
Name of the Company : NHPC Ltd
| Name of Power Station: | CHAMERA I POWER STATION
Sl. No. | ITEMS | 2015-16 | URI - II | KISHANGANGA | BURSUR | PAKAL DUL | NIMMO BAZGO | 2016-17 | Variance | % Variance | Reasons for Variance
1
(A) | Breakup of O&M Expenses
1 | Consumption of stores & spares | 6323495 | [5 empty] | 3353483 | -2970012 | -46.9679 | Due to decrease in major spares consumption in GIS
|  | 0 | [5 empty] | 0
2 | Repair & Maintenance | 0 | [5 empty] | 0
2.1 | For Dam,Intake,WCS,De-silting chamber | 11117931 | [5 empty] | 14914277 | 3796346 | 34.1462 | Due to increase in minimum wages and DA rates
2.2 | For Power House and all other works | 163718230 | [5 empty] | 92998948 | -70719282 | -43.1957 | Due to decrease in manpower deployed from maintenance work. In 2015-16 additional manpower deployed for GIS Mainenance
| Sub-Total (Repair and Maintenance) | 174836161 | 0 | 0 | 0 | 0 | 0 | 107913225 | -66922936 | -38.2775
|  | 0 | [5 empty] | 0 | 0
3 | Insurance | 95929077 | [5 empty] | 101149159 | 5220082 | 5.4416
4 | Security Expenses | 99831853 | [5 empty] | 105268915 | 5437062 | 5.4462
|  | 0 | [5 empty] | 0 | 0
5 | Administrative Expenses | 0 | [5 empty] | 0 | 0
5.1 | Rent | 10011085 | [5 empty] | 8535811 | -1475274 | -14.7364 | Decrease due to shifting RO Office, Banikhet in 2015-16
5.2 | Electricity charges | 38810363 | [5 empty] | 33674777 | -5135586 | -13.2325 | Decrease due to shifting RO Office, Banikhet in 2015-16
5.3 | Travelling & Conveyance | 8837445 | [5 empty] | 5367999 | -3469446 | -39.2585 | Decrease due to shifting RO Office, Banikhet in 2015-16
5.4 | Telephone, Telex & Postage (Communication) | 4300214 | [5 empty] | 9512057 | 5211843 | 121.1996 | Due to increase in satelite expenses by Rs.44 lacs as per debit advice from corporate office due to PGCIL line arrangement during 2016-17 for better communication
5.5 | Advertisement | 2237787 | [5 empty] | 1926660 | -311127 | -13.9033 | Decrease due to shifting RO Office, Banikhet in 2015-16
5.6 | Donation | 0 | [5 empty] | 0 | 0
5.7 | Entertainment | 40050 | [5 empty] | 34800 | -5250 | -13.1086 | Decrease due to shifting RO Office, Banikhet in 2015-16
|  | 0 | [5 empty] | 0 | 0
| Sub-total (Administrative expenses) | 64236944 | 0 | 0 | 0 | 0 | 0 | 59052104 | -5184840 | -8.0714
6 | Employee Cost | 0 | [5 empty] | 0 | 0
6.1a | Salaries,wages & allow. -Project | 616202056 | [5 empty] | 553244153 | -62957903 | -10.2171
6.2 | Staff welfare expenses | 38698107 | [5 empty] | 25125326 | -13572781 | -35.0735 | due to shifting RO Office, Banikhet
6.3 | Productivity Linked incentive | 25698834 | [5 empty] | 50943914 | 25245080 | 98.2343 | Increase due to payment of arear of PLGI at revised rate from F.Y 2010-11 to F.Y 2013-14 and provision of PLGI for Q4 of FY 2016-17 made on revised pay
6.4 | VRS-Ex-gratia | 1836902 | [5 empty] | 0 | -1836902 | -100 | Due to no employee opted VRS in 2016-17
6.5 | Ex-gratia | 0 | [5 empty] | 0 | 0
6.6 | Performance related pay (PRP) | 21651845 | [5 empty] | 17752931 | -3898914 | -18.0073 | Due to decrease in no. of employee
| Sub-total (Employee Cost) | 704087744 | 0 | 0 | 0 | 0 | 0 | 647066324 | -57021420 | -8.0986
7 | Loss of Store | 39017 | [5 empty] | 45273 | 6256 | 16.034 | as per actual
|  | 0 | [5 empty] | 0 | 0
|  | 0 | [5 empty] | 0 | 0
9.1 | Allocation of CO Office expenses | 33491319 | [5 empty] | 317434333 | 283943014 | 847.8108
|  | 0 | [5 empty] | 0 | 0
10 | Others (Specify items) | 47785713 | [5 empty] | 51612719 | 3827006 | 8.0087
11 | Total (1 to 10) | 1226561323 | 0 | 0 | 0 | 0 | 0 | 1392895535 | 166334212 | 13.561
12 | Revenue /Recoveries | 24602024 | [5 empty] | 37268563 | 12666539 | 51.4858 | Due to Provision not required written back Rs. 1.55 in comparison to 0.40 crore in 2015-16.
13 | Net Expenses | 1201959299 | 0 | 0 | 0 | 0 | 0 | 1355626972 | 153667673 | 12.7848
14 | Capital spares consumed not included in A(1) above and not claimed/allowed by commission for capitalisation | [7 empty] | 0

## 14-15%15-16
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
Name of the Company : NHPC Ltd
| Name of Power Station: | CHAMERA I POWER STATION
Sl. No. | ITEMS | 2014-15 | 2015-16 | Variance | % Variance | Reasons for Variance | KIRU | RE LEH | RE-JAMMU | RE-SRINAGAR | R-BANIKHET
1
(A) | Breakup of O&M Expenses
1 | Consumption of stores & spares | 12451381 | 6323495 | -6127886 | -49.2145 | Due to decrease in consumption of spares during maintenance | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0
2 | Repair & Maintenance | 0 | 0 | 0
2.1 | For Dam,Intake,WCS,De-silting chamber | 9749611 | 11117931 | 1368320 | 14.0346 | Due to increase in minimum wages | 0 | 0 | 0 | 0 | 0
2.2 | For Power House and all other works | 61107080 | 163718230 | 102611150 | 167.9202 | due to revision of minimum wages upto 1.5 times | #REF! | #REF! | #REF! | #REF! | #REF!
| Sub-Total (Repair and Maintenance) | 70856691 | 174836161 | 103979470 | 181.9548 |  | #REF! | #REF! | #REF! | #REF! | #REF!
|  | 0 | 0 | 0
3 | Insurance | 68647464 | 95929077 | 27281613 | 39.7416 | In case of Mega Insurance Police 1. Increase in premium rates on account of deteriorating claim ratio as a result of loss due Fire incident at Uri-II Power Station and submergence of Chutak power Station in November 2014 and June 2015 respectively and other claims during policy period 2014-15 2. Increase in sum-insured due to increase in reinstatement cost of assets on Valuation. 3. Increase in the rate of Service Tax and WCT from 12.36% to 14% and 10.5% to 12.6% respectively. In case of CPM policy, Increase in Sum insured due to valuation of Assets, additional Construction equipment purchased and increase in premium rates & Service Tax/WCT rates as above. | #REF! | #REF! | #REF! | #REF! | #REF!
4 | Security Expenses | 79377758 | 99831853 | 20454095 | 25.768 | Due to addition of Region Office, Banikhet and PID Pathankot security Expenses | #REF! | #REF! | #REF! | #REF! | #REF!
|  | 0 | 0 | 0
5 | Administrative Expenses | 0 | 0 | 0
5.1 | Rent | 6869749 | 10011085 | 3141336 | 45.7271 | Due to increase in cost of hiring charges of vehicle and cost of POL | #REF! | #REF! | #REF! | #REF! | #REF!
5.2 | Electricity charges | 35172901 | 38810363 | 3637462 | 10.3417 |  | #REF! | #REF! | #REF! | #REF! | #REF!
5.3 | Travelling & Conveyance | 7400666 | 8837445 | 1436779 | 19.4142 | Due to foreign visit of 4 nos. employees for inspection of GIS spares | #REF! | #REF! | #REF! | #REF! | #REF!
5.4 | Telephone, Telex & Postage (Communication) | 3458005 | 4300214 | 842209 | 24.3553 | Due to increase in satelite expenses | #REF! | #REF! | #REF! | #REF! | #REF!
5.5 | Advertisement | 2612274 | 2237787 | -374487 | -14.3357 | Due to decrease in no of tender | #REF! | #REF! | #REF! | #REF! | #REF!
5.6 | Donation | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0
5.7 | Entertainment | 0 | 40050 | 40050 |  |  | #REF! | #REF! | #REF! | #REF! | #REF!
|  | 0 | 0 | 0
| Sub-total (Administrative expenses) | 55513595 | 64236944 | 8723349 | 85.5026 | 0 | #REF! | #REF! | #REF! | #REF! | #REF!
6 | Employee Cost | 0 | 0 | 0
6.1a | Salaries,wages & allow. -Project | 483930183 | 616202056 | 132271873 | 27.3328 | Due to shifting of Region Office, Banikhet
6.2 | Staff welfare expenses | 41198668 | 38698107 | -2500561 | -6.0695
6.3 | Productivity Linked incentive | 22758020 | 25698834 | 2940814 | 12.9221 | Due to shifting of Region Office, Banikhet and normal increase in Salary
6.4 | VRS-Ex-gratia | 3363404 | 1836902 | -1526502 | -45.3856 | Decrease in no of employee opted
6.5 | Ex-gratia | 0 | 0 | 0
6.6 | Performance related pay (PRP) | 15228437 | 21651845 | 6423408 | 42.1803 | Due to shifting of Region Office, Banikhet and normal increase in Salary
| Sub-total (Employee Cost) | 566478712 | 704087744 | 137609032 | 30.9801 | 0 | 0 | 0 | 0 | 0 | 0
7 | Loss of Store | 56844 | 39017 | -17827 | -31.3613 | as per actual
|  | 0 | 0 | 0
|  | 0 | 0 | 0
9.1 | Allocation of CO Office expenses | 171381601 | 33491319 | -137890282 | -80.458
|  | 0 | 0 | 0
10 | Others (Specify items) | 35939935 | 47785713 | 11845778 | 32.9599 | Due to increase in cost of KV expenses and Guest House Rennovation and Maintenance and Hospital Exps.
11 | Total (1 to 10) | 1060703981 | 1226561323 | 165857342 | 235.8734 |  | #REF! | #REF! | #REF! | #REF! | #REF!
12 | Revenue /Recoveries | 78581064 | 24602024 | -53979040 | -68.6922 | Due to Provision not required written back Rs. 0.40 in comparison to 6.97 crore in 2014-15. | 3924611 | 2482346 | 3202229 | 1586839 | 26786964
13 | Net Expenses | 982122917 | 1201959299 | 219836382 | 304.5655 |  | #REF! | #REF! | #REF! | #REF! | #REF!
14 | Capital spares consumed not included in A(1) above and not claimed/allowed by commission for capitalisation |  |  | 0

## 13-14 & 14-15
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
Name of the Company : NHPC Ltd
Name of Power Station: CHAMERA I POWER STATION
Sl. No. | ITEMS | 2013-14 | 2014-15 | Variance | % Variance | Reasons For Variation | KIRU | RE LEH | RE-JAMMU | RE-SRINAGAR | R-BANIKHET
1
(A) | Breakup of O&M Expenses
1 | Consumption of stores & spares | 11578220 | 12451381 | 873161 | 7.5414 |  | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0
2 | Repair & Maintenance | 0 | 0 | 0
2.1 | For Dam,Intake,WCS,De-silting chamber | 5375506 | 9749611 | 4374105 | 81.371 | Outsourcing of technical manpower due to shortage of regular employee | 0 | 0 | 0 | 0 | 0
2.2 | For Power House and all other works | 36596339 | 61107080 | 24510741 | 66.9759 | Outsourcing of technical manpower due to shortage of regular employee | #REF! | #REF! | #REF! | #REF! | #REF!
| Sub-Total (Repair and Maintenance) | 41971845 | 70856691 | 28884846 | 68.8196 |  | #REF! | #REF! | #REF! | #REF! | #REF!
|  | 0 | 0 | 0
3 | Insurance | 52636805 | 68647464 | 16010659 | 30.4172 | 1). Increase in premium rates on account of deteriorating claim ratio as a result of loss at Dhauliganga & Tanak Pur Power Station due to flood in June 2013 and other factors in the reinsurance market. 2). Increase in sum-insured due to Increase in reinstatement cost of assets on Valuation 3).Increase in premium rates of CPM Policy on account of deteriorating claim ratio as a result of loss at Dhauliganga Power Station due to flood in June 2013. | #REF! | #REF! | #REF! | #REF! | #REF!
4 | Security Expenses | 73183721 | 79377758 | 6194037 | 8.4637 |  | #REF! | #REF! | #REF! | #REF! | #REF!
|  | 0 | 0 | 0
5 | Administrative Expenses | 0 | 0 | 0
5.1 | Rent | 9245083 | 6869749 | -2375334 | -25.6929 | Due to extra ordinary payment of lease rent (railway sliding) in 2013-14 | #REF! | #REF! | #REF! | #REF! | #REF!
5.2 | Electricity charges | 32545715 | 35172901 | 2627186 | 8.0723 |  | #REF! | #REF! | #REF! | #REF! | #REF!
5.3 | Travelling & Conveyance | 2360474 | 7400666 | 5040192 | 213.5246 | Due to revision of travelling expenses and tainings to meet MOU target | #REF! | #REF! | #REF! | #REF! | #REF!
5.4 | Telephone, Telex & Postage (Communication) | 2786187 | 3458005 | 671818 | 24.1125 | Due to increase in satelite expenses | #REF! | #REF! | #REF! | #REF! | #REF!
5.5 | Advertisement | 3340903 | 2612274 | -728629 | -21.8093 | Due to decrease in no of tenders | #REF! | #REF! | #REF! | #REF! | #REF!
5.6 | Donation | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0
5.7 | Entertainment | 0 | 0 | 0 |  |  | #REF! | #REF! | #REF! | #REF! | #REF!
|  | 0 | 0 | 0
| Sub-total (Administrative expenses) | 50278362 | 55513595 | 5235233 | 10.4125 |  | #REF! | #REF! | #REF! | #REF! | #REF!
6 | Employee Cost | 0 | 0 | 0
6.1a | Salaries,wages & allow. -Project | 460435285 | 483930183 | 23494898 | 5.1028
6.2 | Staff welfare expenses | 39807011 | 41198668 | 1391657 | 3.496
6.3 | Productivity Linked incentive | 13432393 | 22758020 | 9325627 | 69.4264 | PLGI limit was enhanced to 20% from 12.5% of basic pay.
6.4 | VRS-Ex-gratia | 2862369 | 3363404 | 501035 | 17.5042 | increase in no. of employees opted
6.5 | Ex-gratia | 0 | 0 | 0
6.6 | Performance related pay (PRP) | 8100227 | 15228437 | 7128210 | 88.0001 | 1). Increased in Expenditure is due to Provision for incremental profit was not taken in F.Y 2013-14. Incremental profit was taken while providing for F.Y 2014-15.
| Sub-total (Employee Cost) | 524637285 | 566478712 | 41841427 | 7.9753 |  | 0 | 0 | 0 | 0 | 0
7 | Loss of Store | 58088 | 56844 | -1244 | -2.1416
|  | 0 | 0 | 0
|  | 0 | 0 | 0
9.1 | Allocation of CO Office expenses | 229738359 | 171381601 | -58356758 | -25.4014
|  | 0 | 0 | 0
10 | Others (Specify items) | 33801977 | 35939935 | 2137958 | 6.3249
11 | Total (1 to 10) | 1017884662 | 1060703981 | 42819319 | 4.2067 |  | #REF! | #REF! | #REF! | #REF! | #REF!
12 | Revenue /Recoveries | 49752604 | 78581064 | 28828460 | 57.9436 | Due to Provision not required written back Rs. 6.97 in comparison to 3.33 crore in 2013-14. | 3924611 | 2482346 | 3202229 | 1586839 | 26786964
13 | Net Expenses | 968132058 | 982122917 | 13990859 | 1.4451 |  | #REF! | #REF! | #REF! | #REF! | #REF!
14 | Capital spares consumed not included in A(1) above and not claimed/allowed by commission for capitalisation |  |  | 0

## 12-13& 13-14
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
Name of the Company : NHPC Ltd
| Name of Power Station: | CHAMERA I POWER STATION
Sl. No. | ITEMS | 2012-13 | 2013-14 | Variance | % Variance | Reasons | KIRU | RE LEH | RE-JAMMU | RE-SRINAGAR | R-BANIKHET
1
(A) | Breakup of O&M Expenses
1 | Consumption of stores & spares | 29419306 | 11578220 | -17841086 | -60.6441 | In financial year 2012-13 Digital Exciitation System was installed amounting approx. Rs.1.50 crore resulting in increase in expenditure during 2012-13. | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0
2 | Repair & Maintenance | 0 | 0 | 0
2.1 | For Dam,Intake,WCS,De-silting chamber | 4688227 | 5375506 | 687279 | 14.6597 | Increase is due to considering minimum wages of contract labours as per Central Govt. notification | 0 | 0 | 0 | 0 | 0
2.2 | For Power House and all other works | 31191760 | 36596339 | 5404579 | 17.3269 | Increase is due to considering minimum wages of contract labours as per Central Govt. notification | #REF! | #REF! | #REF! | #REF! | #REF!
| Sub-Total (Repair and Maintenance) | 35879987 | 41971845 | 6091858 |  |  | #REF! | #REF! | #REF! | #REF! | #REF!
|  | 0 | 0 | 0
3 | Insurance | 40696902 | 52636805 | 11939903 | 29.3386 | 1). Increase in premium rates on account of deteriorating claim ratio as a result of loss at Dhauliganga & Tanak Pur Power Station due to flood in June 2013 and other factors in the reinsurance market. 2). Increase in sum-insured due to Increase in reinstatement cost of assets on Valuation. 3).Increase in premium rates of CPM Policy on account of deteriorating claim ratio as a result of loss at Dhauliganga Power Station due to flood in June 2013 and increase in Sum-insured. | #REF! | #REF! | #REF! | #REF! | #REF!
4 | Security Expenses | 72094046 | 73183721 | 1089675 | 1.5115 |  | #REF! | #REF! | #REF! | #REF! | #REF!
|  | 0 | 0 | 0
5 | Administrative Expenses | 0 | 0 | 0
5.1 | Rent | 4113924 | 9245083 | 5131159 | 124.7266 | Due to payment of lease rent Rs.39.86 lacs for railway sliding on behalf of ED region, Banikhet | #REF! | #REF! | #REF! | #REF! | #REF!
5.2 | Electricity charges | 28016381 | 32545715 | 4529334 | 16.1667 | Due to rate of electricity charges revised by HPSEB | #REF! | #REF! | #REF! | #REF! | #REF!
5.3 | Travelling & Conveyance | 2465176 | 2360474 | -104702 | -4.2472 |  | #REF! | #REF! | #REF! | #REF! | #REF!
5.4 | Telephone, Telex & Postage (Communication) | 1902186 | 2786187 | 884001 | 46.4729 | Due to increase in satelite expenses by Rs. 8 lakhs. | #REF! | #REF! | #REF! | #REF! | #REF!
5.5 | Advertisement | 2594027 | 3340903 | 746876 | 28.7921 | Due to increse in no. of tenders for works and supplies. | #REF! | #REF! | #REF! | #REF! | #REF!
5.6 | Donation | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0
5.7 | Entertainment | 0 | 0 | 0 |  |  | #REF! | #REF! | #REF! | #REF! | #REF!
|  | 0 | 0 | 0
| Sub-total (Administrative expenses) | 39091694 | 50278362 | 11186668 |  |  | #REF! | #REF! | #REF! | #REF! | #REF!
6 | Employee Cost | 0 | 0 | 0
6.1a | Salaries,wages & allow. -Project | 451407458 | 460435285 | 9027827 | 1.9999
6.2 | Staff welfare expenses | 27748085 | 39807011 | 12058926 | 43.4586 | Due to increase in Acturial Valuation for Retired Employees Medical Benefits from Rs.60.28 lakhs to 171.12 lakhs
6.3 | Productivity Linked incentive | 31277913 | 13432393 | -17845520 | -57.0547 | Decrease in expenditure because during F.Y 2012-13, PLGI was paid from 2007-2010 on revised pay.
6.4 | VRS-Ex-gratia | 4453766 | 2862369 | -1591397 | -35.7315 | Lesser employee opted VRS in 2013-14.
6.5 | Ex-gratia | 0 | 0 | 0
6.6 | Performance related pay (PRP) | 12538171 | 8100227 | -4437944 | -35.3955 | Decrease in expenditure because during F.Y 2012-13, PRP for F.Y 2010-11 & F.Y 2011-12 was paid.
| Sub-total (Employee Cost) | 527425393 | 524637285 | -2788108 | -0.52863 |  | 0 | 0 | 0 | 0 | 0
7 | Loss of Store | 55184 | 58088 | 2904 | 5.2624
|  | 0 | 0 | 0
|  | 0 | 0 | 0
9.1 | Allocation of CO Office expenses | 243308342 | 229738359 | -13569983 | -5.5773
|  | 0 | 0 | 0
10 | Others (Specify items) | 30055359 | 33801977 | 3746618 | 12.4657 | due to increase in operation and running expenses of KV and Training Expenses.
11 | Total (1 to 10) | 1018026213 | 1017884662 | -141551 | -0.013904 |  | #REF! | #REF! | #REF! | #REF! | #REF!
12 | Revenue /Recoveries | 945853912 | 49752604 | -896101308 | -94.7399 | Due to Provision not required written back Rs. 93.12 Crore in 2012-13. | 3924611 | 2482346 | 3202229 | 1586839 | 26786964
13 | Net Expenses | 72172301 | 968132058 | 895959757 | 1241.4178 |  | #REF! | #REF! | #REF! | #REF! | #REF!
14 | Capital spares consumed not included in A(1) above and not claimed/allowed by commission for capitalisation |  |  | 0