## Annexure-III 1 to 3
Annexure-III
SH 1/3
Pro-forma for furnishing Actual annual performance/operational data for the Hydro Electric generating stations for the 5-year period from 2012-13 to 2016-17
| Particulars |  | Units | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | Name of Company |  |  | NHPC LTD.
2 | Name of Station |  |  | Chamera-II Power Station
3 | Installed Capacity and Configuration |  | (MW) | 300
4 | Station Location |  | Under ground or Surface | Under Ground
5 | Type of Excitation System |  |  | Static
6 | Live Storage Capacity |  | (Million Cubic) | 1.4 | 1.4 | 1.4 | 1.4 | 1.4
7 | Rated Head |  | Metres | 243 M | 244 M | 245 M | 246 M | 247 M
8 | Head at Full Reservoir Level (FRL) |  | Metres | 252.34 M | 252.34 M | 252.34 M | 252.34 M | 252.34 M
9 | Head at Minimum Draw down Level (MDDL) |  | Metres | 234.28 M | 234.28 M | 234.28 M | 234.28 M | 234.28 M
10 | MW Capability at FRL |  | MW | 300 MW | 300 MW | 300 MW | 300 MW | 300 MW
11 | MW Capability at MDDL |  | MW | 278.53 MW | 278.53 MW | 278.53 MW | 278.53 MW | 278.53 MW
12 | Cost of spares :
12.1 | Cost of spares capitalized in books of accounts |  | (Rs. Lakhs) | 566.63 | 232.77 | 65.79 | 178.38 | 276.07
12.2 | Cost of spares included in the capital cost for the purpose of tariff |  | (Rs. Lakhs) | 0 | 0 | 23.34 | 37.88 | 16.39
Period
13 | Generation :
13.1 | Actual Gross Generation at Generator Terminals |  | (MU) | 1433.5 | 1396.02 | 1498.6911 | 1523.9811 | 1444.0465
13.2 | Actual Net Generation Ex-bus including free power |  | (MU) | 1430.3365 | 1391.8354 | 1494.0755 | 1518.9712 | 1440.2898
13.3 | Scheduled generation Ex-bus including free power |  | (MU) | 1426.9539 | 1390.6603 | 1467.7993 | 1472.2003 | 1391.7604
14 | Actual Auxiliary Energy Consumption excluding colony consumption |  | (MU) | 11.7 | 11.67 | 12.1512 | 12.1559 | 12.0634
15 | Actual Energy supplied to Colony from the station |  | (MU) | NIL | NIL | NIL | NIL | NIL
16 | Average Declared Capacity (DC) during the year |  | (MW) | 290 | 288 | 283 | 283 | 289
Annexure-III
SH 2/3
| Period |  | Units | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
17 | Weighted Average duration of outages ( Unit-wise details)
17.1 | Scheduled outages |  | (Days) | 51.1854 | 55.4421 | 60.2625 | 58.8882 | 44.4521
17.2 | Forced outages |  | (Days) | 9.8161 | 1.8693 | 4.3915 | 15.8146 | 0.72153
18 | Cost of spares actually consumed |  | (Rs. Lakhs) | 113.73 | 329.36 | 265.28 | 263.42 | 115.75
19 | Average stock of spares |  | (Rs. Lakhs) | 141.11 | 150.31 | 141.16 | 159.44 | 176.62
Month wise Design Energy
Month |  | Period | Design Energy as approved by CEA (MU) |  | Month | Period | Design Energy as approved by CEA (MU)
April |  | 1-10 | 62.87 |  | October | 1-10 | 26.06
|  | 11-20 | 63.24 | 63.24 |  | 11-20 | 20.61 | 20.61
|  | 21-30 | 62.54 | 62.54 |  | 21-31 | 23.28 | 23.28
May |  | 1-10 | 68.4 | 68.4 | November | 1-10 | 18.19 | 18.19
|  | 11-20 | 68.4 | 68.4 |  | 11-20 | 15.84 | 15.84
|  | 21-31 | 75.24 | 75.24 |  | 21-30 | 14.95 | 14.95
June |  | 1-10 | 40.19 | 40.19 | December | 1-10 | 13 | 13
|  | 11-20 | 51.01 | 51.01 |  | 11-20 | 12.78 | 12.78
|  | 21-30 | 58.11 | 58.11 |  | 21-31 | 13.77 | 13.77
July |  | 1-10 | 68.4 | 68.4 | January | 1-10 | 12.61 | 12.61
|  | 11-20 | 68.4 | 68.4 |  | 11-20 | 12.36 | 12.36
|  | 21-31 | 75.24 | 75.24 |  | 21-31 | 14.32 | 14.32
August |  | 1-10 | 68.4 | 68.4 | February | 1-10 | 15.48 | 15.48
|  | 11-20 | 68.4 | 68.4 |  | 11-20 | 20.83 | 20.83
|  | 21-31 | 75.24 | 75.24 |  | 21-28 | 20.12 | 20.12
September |  | 1-10 | 68.4 | 68.4 | March | 1-10 | 30.14 | 30.14
|  | 11-20 | 49.33 | 49.33 |  | 11-20 | 35.15 | 35.15
|  | 21-30 | 34.5 | 34.5 |  | 21-31 | 54.09 | 54.09
[5 empty] | Total |  | 1499.89
Storage Hydro plants shall also furnish actual monthly average peaking generation in MW achieved during the period 2012-13 to 2016-17 against the monthly average peaking capability approved by CEAas per following format:
Month |  | Expected Avg. of daily 3-hour peaking capacity as approved by CEA |  |  | Actual monthly average of daily 3-hour peaking (MW) for the period 2012-13 to 2016-17
April |  | 296.4 |  |  |  | 300.9555
May |  | 296.4 |  |  |  | 300.3613
June |  | 296.4 |  |  |  | 297.0283
July |  | 296.4 |  |  |  | 295.6091
August |  | 296.4 |  |  |  | 295.346
September |  | 296.4 |  |  |  | 297.8461
October |  | 296.4 |  |  |  | 299.4484
November |  | 296.4 |  |  |  | 264.8244
December |  | 296.4 |  |  |  | 273.071
January |  | 296.4 |  |  |  | 276.4001
February |  | 296.4 |  |  |  | 229.0786
March |  | 296.4 |  |  |  | 297.5785
Annexure III
SH 3/3
1 | List of beneficiaries/customers along with allocation by GoI including (allocation of unallocated share) / capacity as contracted should also be furnished separately for each generating station.
2 | Declared Capacity should be as per Regulation 31(3) of CERC Tariff Regulations for the period 2014-19 including month wise information may be furnished.
3 | Any relevant point or a specific fact having bearing on performance or operating parameters may also be highlighted or brought to the notice of the Commission.

## Annexure-IV
Annexure –IV
PLANT AVAILABILITY/SCHEDULED PLANT LOAD FACTOR ACHIEVED Generating company: NHPC LTD. Name of Generating station: Chamera-II Power Station Installed Capacity (MW) : 300 MW Normative Annual Plant Availability Factor (%) approved by Commission : 90%
Plant Availability Factor Achieved (%)
Month | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | Reasons for shortfall in PAF achieved vis-a-vis NAPAF
April | 100.2024 | 104.5884 | 101.2146 | 101.2146 | 100.4648 |  | 300.9555
May | 100.2024 | 102.8362 | 101.2146 | 101.2146 | 101.2146 |  | 300.3613
June | 97.5709 | 104.0148 | 101.8697 | 97.1848 | 100.4198 |  | 297.0283
July | 98.7658 | 100.6922 | 100.3348 | 95.2968 | 103.5762 |  | 295.6091
August | 92.406 | 98.7658 | 102.2594 | 101.2146 | 103.5762 |  | 295.346
September | 101.2146 | 100.09 | 100.2193 | 97.8408 | 103.0749 |  | 297.8461
October | 99.3862 | 101.2146 | 100.1262 | 100.8518 | 103.5636 |  | 299.4484
November | 102.2267 | 101.2146 | 84.5328 | 69.1633 | 89.5974 |  | 264.8244
December | 102.2267 | 101.2146 | 85.4338 | 99.7635 | 72.0075 |  | 273.071
January | 93.4983 | 83.8013 | 97.7683 | 91.329 | 99.865 |  | 276.4001
February | 73.5975 | 69.8863 | 67.1751 | 72.1997 | 103.5762 |  | 229.0786
March | 97.7863 | 99.0379 | 100.6704 | 100.9425 | 103.5508 |  | 297.5785
Annual | 96.7386 | 97.4479 | 95.4466 | 94.1664 | 98.6707
Plant Load Factor Achieved (%)
Month | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | Reasons for shortfall in PLF achieved vis-a-vis Target PLF
April
May
June
July
August
September
October
November
December
January
February
March
Annual

## Annexure-XIX (CH-II)
Annexure-XIX
Name of the Utility |  | NHPC LTD.
Name of the Generating Station |  | Chamera-II Power Station
Station/ Stage/ Unit |  | 3x100 MW
Fuel Type (Coal/ Lignite/ Gas/ Liquid Fuel/ Nuclear/ Hydro | [7 empty] | Hydro
Capacity of Plant (MW) |  | 300 MW
COD |  | 2004-03-31
|  | 2004-05 | 2005-06 | 2006-07 | 2007-08 | 2008-09 | 2009-10 | 2010-11 | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | Plant Availability Factor (PAF) (%) | 86.689 | 96.11 | 95.904 | 96.903 | 98.45 | 97.8228 | 94.9864 | 96.7346 | 96.7386 | 97.4479 | 95.4466 | 94.1664 | 98.6707
2 | Plant Load Factors (PLF) (%)
3 | Scheduled Energy (MU) | 1339.2573 | 1468.5452 | 1414.6221 | 1382.9982 | 1369.1657 | 1364.212 | 1435.1427 | 1514.8536 | 1427.0159 | 1390.6615 | 1467.7918 | 1472.7781 | 1391.7603
4 | Scheduled Generation (MU)
5 | Actual Generation (MU) | 1347.56 | 1490.46 | 1431.585 | 1408.14 | 1372.42 | 1368.84 | 1439 | 1521.7559 | 1433.5 | 1396.02 | 1498.6911 | 1523.9811 | 1444.0465
6 | Quantum of coal consumption (MT) | 2004-03-31 2004-05: Not Applicable
7 | Value of coal (Rs. Lakh)
8 | Specific Coal Consumption (kg/kwh)
9 | Gross Calorific Value of Coal (Kcal/ Kg)
10 | Heat Contribution of Coal (Kcal/ kwh)
11 | Cost Of Specific Coal Consumption (Rs./Kwh) – Finally admitted by CERC
12 | Quantum of Oil Consumption (Lit.)
13 | Value of Oil (Rs. lakh)
14 | Gross calorific value of oil (kcal/lit)
15 | Specific Oil Consumption (ml/ kwh)
16 | Cost Of Specific Oil Consumption (Rs./Kwh) – Finally admitted by CERC
17 | Heat Contribution of Oil (Kcal/ kwh)
18 | Station Heat Rate (kcal/kwh)
19 | Auxiliary Energy Consumption (%) | 0.805 | 0.7475 | 0.8562 | 0.8786 | 0.8639 | 0.8794 | 0.8023 | 0.2854 | 1.0875 | 0.8266 | 0.8133 | 0.7976 | 0.8174
20 | Debt at the end of the year (Rs. Crore) | 1306.6351 | 1246.1474 | 1126.2619 | 978.6531 | 835.1196 | 731.6578 | 627.5317 | 524.586 | 421.7175 | 317.4044 | 216.8745 | 115.1586 | 94.8823
21 | Equity (Rs. Crore) | 607.8453 | 609.9721 | 611.0196 | 611.684 | 614.1963 | 614.094 | 613.7019 | 613.8174 | 613.9719 | 613.5103 | 613.7561 | 614.4337 | 616.1313
22 | Working Capital (Rs. Crore) – finally admitted by CERC | 70.4292 | 73.6861 | 83.8292 | 86.1121 | 85.689 | 80.9058 | 77.7072 | 79.1456 | 76.3818 | 78.3209 | 72.9913 | 74.2221 | 61.7552
23 | Capital cost (Rs. Crore) – finally admitted by CERC | 1982.1775 | 1989.267 | 1992.7588 | 1994.9733 | 2003.3477 | 2003.0068 | 2001.6998 | 2002.0846 | 2002.5995 | 2001.061 | 2001.8802 | 2004.139 | 2009.7975
24 | Capacity Charges/ Annual Fixed Cost (AFC)
(a) Return on equity – pre tax (admitted by CERC)
| Absolute value | 84.5499 | 85.2472 | 85.4694 | 85.5893 | 85.8116 | 144.2074 | 142.4857 | 140.821 | 120.8697 | 128.1246 | 128.1021 | 128.1984 | 128.4464
| Rate (%) * | 14% | 14% | 14% | 14% | 14% | 23.48% | 23.21% | 22.94% | 19.69% | 20.88% | 20.88% | 20.88% | 20.88%
(b) interest on Loan
| Absolute value | 114.7722 | 114.6669 | 107.0235 | 94.9896 | 81.7486 | 69.9383 | 43.8263 | 44.3772 | 37.9591 | 31.4049 | 22.6175 | 18.0891 | 11.443
| Rate (%) – Weighted Average Rate | 8.928% | 8.984% | 9.022% | 9.026% | 9.014% | 8.928% | 6.449% | 7.704% | 8.023% | 8.498% | 8.433% | 10.9% | 10.9%
(c) Depreciation (finally allowed by CERC)
| Absolute value | 54.641 | 64.4588 | 122.4036 | 137.9625 | 138.1176 | 103.2231 | 103.2112 | 103.2151 | 103.2289 | 103.2362 | 103.2176 | 103.297 | 24.2373
| Rate (%) | 2.77% | 2.77% | 2.77% | 2.77% | 2.77% | 5.153% | 5.154% | 5.156% | 5.236% | 5.236% | 5.157% | 5.157%
(d) Interest on working Capital
| Absolute value | 7.219 | 7.5528 | 8.5925 | 8.8265 | 8.7831 | 9.911 | 9.5191 | 9.6953 | 9.3568 | 9.5943 | 9.8538 | 10.02 | 8.337
| Rate (%) | 10.25% | 10.25% | 10.25% | 10.25% | 10.25% | 12.25% | 12.25% | 12.25% | 12.25% | 12.25% | 13.5% | 13.5% | 13.5%
(e) Operation and maintenance cost (finally admitted by CERC)
| Absolute value | 29.34 | 30.51 | 31.73 | 33 | 34.32 | 65.8978 | 69.6671 | 73.6521 | 77.865 | 82.3189 | 72.5654 | 77.3866 | 82.5282
Rate (%)
(f) Compensation Allowances | bar: 2004-03-31 2004-05
25 | AFC (Rs. Crores) | 290.5221 | 302.4357 | 355.219 | 360.3679 | 348.7809 | 393.1776 | 368.7094 | 371.7607 | 349.2795 | 354.6789 | 336.3564 | 336.9911 | 254.9919 | 1304.0644
26 | Energy Charge (Rs./Kwh) | 1.1139 | 1.1596 | 1.362 | 1.3817 | 1.3373 | 1.5075 | 1.4137 | 1.4254 | 1.3392 | 1.3599 | 1.2896 | 1.2921 | 0.97768
27 | Total tariff (Rs. Kwh) | 2.2278 | 2.3192 | 2.7239 | 2.7634 | 2.6746 | 3.015 | 2.8274 | 2.8508 | 2.6784 | 2.7198 | 2.5793 | 2.5842 | 1.9554
28 | Revenue realisation before tax (Rs. Crore) | 277.2318 | 346.6343 | 428.0422 | 396.7536 | 392.9192 | 449.6627 | 385.2222 | 530.8765 | 464.0397 | 442.0692 | 436.5952 | 438.5411 | 279.5633
29 | Revenue realisation after tax (Rs. Crore) #
30 | Profit/ loss before tax (Rs. Crore) | 55.1886 | 147.3312 | 155.7245 | 96.0698 | 115.7681 | 164.9965 | 197.3256 | 302.4296 | 179.4358 | 210.157 | 183.8602 | 213.4033 | 160.417
31 | DSM Generation (MU) | 3.7188 | 18.4868 | 12.2909 | 21.0635 | -0.67 | 0.20234 | -0.78075 | 3.5243 | 3.3826 | 1.1751 | 26.2762 | 46.7709 | 48.5295
32 | DSM Rate (Ps/Kwh)
33 | Revenue from DSM (Rs. Crore) |  |  | 6.61 | 7.45 | 7.28 | 6.76 | 8.3047 | 0.4717 | 6.6206 | 6.2185 | 8.939 | 10.373 | 9.8783
Note:
1. The data at Sl No. 20 to 27 has been filled based on CERC orders dated 17.06.2016, 27.01.2015, 07.09.2010 & 09.06.2009
2. The capital cost sl no. 23 & equity at sl no. 21 has been considered as closing equity & capital cost respectively as on 31st March of respective year.
3. The depreciation at Sl No. 24(c) for the period 2004-09 is inclusive of Advance Against Depreciation (AAD)
4. * The Return On Equity (ROE) at Sl No. 24(a) for the period 2004-09 is exclusive of Tax as the same was not part of AFC & separately reimbursable from beneficiaries.
5. # NHPC calculate Corporate Tax as a whole after considering all the admissible deductions, exemptions etc. as per Income Tax Act. Therefore unitwise calculation has not been made.
Note: Generating Companies are required to submit data for all generating stations.
This is a general format. Plants of different fuel users have to fill the cells as applicable to them. Tariff for the Hydro may be understood as composite tariff.
The data provided for the corresponding years need to mention as Actual or provisional.
Data for each Unit and Stage is required to be submitted in additional sheets as per the format.

## CHAMERA-II 12-13 vs 13-14
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
Name of the Company : NHPC LIMITED
Name of Power Station: CHAMERA II POWER STATION
Sl. No. | ITEMS | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | KIRU | RE LEH | RE-JAMMU | RE-SRINAGAR | R-BANIKHET | Variance (%) | [5 empty] | Variance reason
1
(A) | Breakup of O&M Expenses
1 | Consumption of stores & spares | 11373107 | 32950057 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 189.719 | #REF! | #REF! | #REF! | Power House | 9201XX | Rs. 72.59 lacs capital spares consumed and Rs. 17.59 lacs pumps charged off to exp and remaining due to increase in consumption of other spares as per requirement | Decrease is due to less consumption of capital spares by Rs. 103.28 lacs and more consumption of other spares by Rs. 39.21 lacs as per requirement |  | Decrease is due to less consumption of capital spares by Rs. 140.64 lacs and less consumption of other spares by Rs. 7.00 lacs as per requirement
|  | 0 | 0 | #REF! | #REF! | #REF!
2 | Repair & Maintenance | 0 | 0 | #REF! | #REF! | #REF!
2.1 | For Dam,Intake,WCS,De-silting chamber | 26609551 | 18730620 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | -29.6094 | #REF! | #REF! | #REF! | Dam | 9203XX, 920613, 920802-03 | Decrease of expenditure is mainly due to non-recurring nature of special repairs to water regulating system which were taken place in 2012-13 for an amount of Rs. 1.86 Cr. | Most of the repairs undertaken during the year 2013-14 are non-recurring in nature and to that extent expenditure has been decreased during 2014-15 | Increase of exp in r/o: Special Repairs-Water Regulating System by Rs. 24.25 lacs, R&M-Water Supply Installation by Rs. 14.63 lacs, R&M-Hydro Mechanical Works by Rs. 53.60 lacs and remaining by other repairs | Decrease of expenditure is mainly due to non-recurring nature of special repairs to- water regulating system for Rs. 25.10 lacs, Hydro-Mechanical Works for Rs. 40.83 lacs and R&M-Dam for Rs. 7.72 lacs during 2016-17
2.2 | For Power House and all other works | 42295898 | 57128721 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 35.0692 | #REF! | #REF! | #REF! | Power House | 9202XX, 9204XX, 9206XX except 920613, 9207XX, 9208XX except 920802-03 | Increase of exp in r/o: Special Repairs-Others for Rs. 107.42 lacs, R&M-Others for Rs. 20.22 lacs and R&M-Other Power Plant Equipment for Rs. 20.36 lacs | Decrease of expenditure is mainly due to non-recurring nature of special repairs - Others which were undertaken in 2013-14 for an amount of Rs. 112.89 lacs | Increase of exp in r/o: Special Repairs-Others for Rs. 53.56 lacs, Special Repairs-GPM for Rs. 26.18 lacs, R&M-Other Power Plant Equipment for Rs. 49.15 lacs, R&M-Road, Bridges & Culverts for Rs. 44.49 lacs, R&M-Other Building for Rs. 28.16 lacs, R&M-Residential Building for Rs. 20.07 lacs and R&M-Power Plant Building for Rs. 11.80 lacs as per requirement | Most of the repairs that were undertaken during 2015-16 amounting to Rs. 108.91 lacs are non-recurring in nature and to that extent expenditure during 2016-17 has been decreased
| Sub-Total (Repair and Maintenance) | 68905449 | 75859341 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | 0 | 0 | #REF! | #REF! | #REF!
3 | Insurance | 37884245 | 51164476 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 35.0548 | #REF! | #REF! | #REF! | Finance | 9213XX | Based on net asset addition, inflation index and insurance premium rates | Based on net asset addition, inflation index and insurance premium rates | Based on net asset addition, inflation index and insurance premium rates
4 | Security Expenses | 54828985 | 60915491 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 11.1009 | #REF! | #REF! | #REF! | HR | 9214XX | Increase due to DA rate enhancement and actual deployment of CISF | Increase due to DA rate enhancement and actual deployment of CISF |  | Increase due to wage revision of CISF from 01.01.2016 and increase in DGR rate in r/o Private Security from Jan, 17.
|  | 0 | 0 | #REF! | #REF! | #REF!
5 | Administrative Expenses | 0 | 0 | #REF! | #REF! | #REF!
5.1 | Rent | 5359715 | 6405701 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 19.5157 | #REF! | #REF! | #REF! | Workshop | 9211XX | Increase due to revision in hire charges, POL expenses based on actual running |  | Increase due to revision in hire charges, POL expenses based on actual running | Increase due to revision in hire charges, POL expenses based on actual running
5.2 | Electricity charges | 18389790 | 22494413 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 22.3201 | #REF! | #REF! | #REF! | ECM | 9215XX | Increase in consumption as well as rate revision by H.P.S.E.B from Rs. 4 to Rs. 4.35 per unit w.e.f May'13. Before that unit rate is changed from Rs. 3.50 to Rs. 4 w.e.f Jun'12.
5.3 | Travelling & Conveyance | 2834607 | 2393374 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | -15.5659 | #REF! | #REF! | #REF! | Finance | 9216XX | Decrease due to less no. of outside trainings | Increase due to more no. of trainings to meet MOU target and increase in Hotel and DA rates |  | Increase due to more no. of outside trainings and rate increase in transfer grant and baggage allowance
5.4 | Telephone, Telex & Postage (Communication) | 3093340 | 3941326 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 27.4133 | #REF! | #REF! | #REF! | ECM/HR | 9220XX | Increase is due to raise in receipt of debit advices from C.O regarding satellite communication expenses |  | Increase is due to raise in telephone bills by Rs. 1.53 lac and satellite communication expenses by Rs. 4.70 lac as per debit advices from C.O. | Satellite Communication expenses increased by Rs. 44 lacs through debit advice of C.O due to PGCIL line arrangement during 2016-17 for better communication
5.5 | Advertisement | 815132 | 973094 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 19.3787 | #REF! | #REF! | #REF! | HR | 9221XX | General increase in tender advertisements, misc. public relation and exhibition expenses by Rs. 1.58 lacs | Increase in exp mainly due to publication of more no. of tenders in news papers amounting to Rs. 11.65 lacs | Net increase of Rs. 8.09 lacs due to more no. of tender advertisements and publicity newspapers | Net decrease of Rs. 8.22 lacs mainly due to less no. of tender advertisements this year when compared to last year
5.6 | Donation | 0 | 0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
5.7 | Entertainment | 25392 | 17671 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | -30.4072 | #REF! | #REF! | #REF! | Finance | 9222XX | Hospitality expenses less spent as per no. of outsiders |  | Hospitality expenses less spent as per no. of outsiders
|  | 0 | 0 | #REF! | #REF! | #REF!
| Sub-total (Administrative expenses) | 30517976 | 36225579 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
6 | Employee Cost | 0 | 0 | #REF! | #REF! | #REF!
6.1a | Salaries,wages & allow. -Project | 354178024 | 365740199 | #REF! | #REF! | #REF! | [5 empty] | 3.2645 | #REF! | #REF! | #REF! | HR | 900XXX except R33 to R37 |  |  |  | Increase mainly due to wage revision w.e.f 01.01.2017
6.2 | Staff welfare expenses | 18932627 | 26057176 | #REF! | #REF! | #REF! | [5 empty] | 37.6311 | #REF! | #REF! | #REF! | HR | Row No. 66 to 107 | Increase due to Retired Employees Medical Benefit Actuarial valuation Provision by Rs. 57.63 lacs and remaining increase of Rs. 13.62 lacs mainly pertains to medical reimbursement indoor and outdoor | Increase due to Retired Employees Medical Benefit Actuarial valuation Provision by Rs. 17.84 lacs and increase of Rs. 12.56 lacs against Liveries and Uniforms and decrease of Rs. 2.64 lacs against medical reimbursement | Decrease due to Retired Employees Medical Benefit Actuarial valuation Provision by Rs. 67.04 lacs and decrease of Rs. 11.88 lacs against Liveries and Uniforms and decrease of Rs. 21.55 lacs against medical reimbursement | Decrease due to Retired Employees Medical Benefit Actuarial valuation Provision by Rs. 33.58 lacs and increase of Rs. 3.49 lacs against Cost of medicine
6.3 | Productivity Linked incentive | 19410591 | 9931729 | #REF! | #REF! | #REF! | [5 empty] | -48.8335 | #REF! | #REF! | #REF! | Finance | 900185 | Decrease of exp due to overall true performance of Power Station | Increase of exp due to overall true performance of Power Station |  | Increase of exp due to overall true performance of Power Station
6.4 | VRS-Ex-gratia | 0 | 0 | #REF! | #REF! | #REF! | [7 empty] | #REF! |  | HR | 900305 |  | VRS option is exercised only in 2014-15 | VRS option is exercised only in 2014-15
6.5 | Ex-gratia | 0 | 0 | #REF! | #REF! | #REF!
6.6 | Performance related pay (PRP) | 14694089 | 7507850 | #REF! | #REF! | #REF! | [5 empty] | -48.9056 | #REF! | #REF! | #REF! | Finance | 900129, 900159 | Decrease of exp due to overall true performance of employee as well as company | Increase of exp due to overall true performance of employee as well as company |  | Increase of exp due to overall true performance of employee as well as company
| Sub-total (Employee Cost) | 407215331 | 409236954 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
7 | Loss of Store | 34771 | 5912 | #REF! | #REF! | #REF! | [5 empty] | -82.9973 | #REF! | #REF! | #REF! | Stores | 923401, 950901 | Rs. 0.28 lac store written-off during 2012-13 only and remaining is reduction in normal loss | Increase in normal loss but which is very minimal | Increase in normal loss but which is very minimal | Increase in normal loss but which is very minimal
|  | 0 | 0 | #REF! | #REF! | #REF!
|  | 0 | 0 | #REF! | #REF! | #REF!
9.1 | Allocation of CO Office expenses | 233698869 | 220409059 | #REF! | #REF! | #REF!
|  | 0 | 0 | #REF! | #REF! | #REF!
10 | Others (Specify items) | 30500309 | 30040271 | #REF! | #REF! | #REF! | [5 empty] | -1.5083 | #REF! | #REF! | #REF! | Finance | Row No. 111 to 168
11 | Total (1 to 10) | 874959042 | 916807140 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
12 | Revenue /Recoveries | 19357656 | 14563490 | #REF! | #REF! | #REF! | 3924611 | 2482346 | 3202229 | 1586839 | 26786964 | -24.7663 | #REF! | #REF! | #REF! | Finance | 8407XX, 8409XX, 8410XX, 8412XX, 8416XX, 8417XX | Decrease mainly due to Provision not required written back is very much less during this year when compared to 2012-13 | Decrease mainly due to Other Income (GL Head 841001) is very much less during this year when compared to 2013-14 | Increase mainly due to Other Income (GL Head 841001) is increased by Rs. 84.62 lacs and slight increase in lease recovery during this year when compared to 2014-15 | Decrease mainly due to Other Income (GL Head 841001) is less received by Rs. 68.11 lacs and remaining decrease is due to less recovery of guest house and township recoveries during this year when compared to 2015-16
13 | Net Expenses | 855601386 | 902243650 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
14 | Capital spares consumed not included in A(1) above and not claimed/allowed by commission for capitalisation | 0 | 0 | 0 | 0 | 0

## CHAMERA-II 13-14 vs 14-15
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
Name of the Company : NHPC LIMITED
| Name of Power Station: CHAMERA II POWER STATION | CHAMERA II POWER STATION
Sl. No. | ITEMS | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | KIRU | RE LEH | RE-JAMMU | RE-SRINAGAR | R-BANIKHET | 13-14 | Variance (%) | [5 empty] | Variance reason
1
(A) | Breakup of O&M Expenses
1 | Consumption of stores & spares | #REF! | 32950057 | 26528314 | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | #REF! | -19.4893 | #REF! | #REF! | Power House | 9201XX | Rs. 72.59 lacs capital spares consumed and Rs. 17.59 lacs pumps charged off to exp and remaining due to increase in consumption of other spares as per requirement | Decrease is due to less consumption of capital spares by Rs. 103.28 lacs and more consumption of other spares by Rs. 39.21 lacs as per requirement |  | Decrease is due to less consumption of capital spares by Rs. 140.64 lacs and less consumption of other spares by Rs. 7.00 lacs as per requirement
|  | #REF! | 0 | 0 | #REF! | #REF!
2 | Repair & Maintenance | #REF! | 0 | 0 | #REF! | #REF!
2.1 | For Dam,Intake,WCS,De-silting chamber | #REF! | 18730620 | 8508867 | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | #REF! | -54.5724 | #REF! | #REF! | Dam | 9203XX, 920613, 920802-03 | Decrease of expenditure is mainly due to non-recurring nature of special repairs to water regulating system which were taken place in 2012-13 for an amount of Rs. 1.86 Cr. | Most of the repairs undertaken during the year 2013-14 are non-recurring in nature and to that extent expenditure has been decreased during 2014-15 | Increase of exp in r/o: Special Repairs-Water Regulating System by Rs. 24.25 lacs, R&M-Water Supply Installation by Rs. 14.63 lacs, R&M-Hydro Mechanical Works by Rs. 53.60 lacs and remaining by other repairs | Decrease of expenditure is mainly due to non-recurring nature of special repairs to- water regulating system for Rs. 25.10 lacs, Hydro-Mechanical Works for Rs. 40.83 lacs and R&M-Dam for Rs. 7.72 lacs during 2016-17
2.2 | For Power House and all other works | #REF! | 57128721 | 51609611 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | -9.6608 | #REF! | #REF! | Power House | 9202XX, 9204XX, 9206XX except 920613, 9207XX, 9208XX except 920802-03 | Increase of exp in r/o: Special Repairs-Others for Rs. 107.42 lacs, R&M-Others for Rs. 20.22 lacs and R&M-Other Power Plant Equipment for Rs. 20.36 lacs | Decrease of expenditure is mainly due to non-recurring nature of special repairs - Others which were undertaken in 2013-14 for an amount of Rs. 112.89 lacs | Increase of exp in r/o: Special Repairs-Others for Rs. 53.56 lacs, Special Repairs-GPM for Rs. 26.18 lacs, R&M-Other Power Plant Equipment for Rs. 49.15 lacs, R&M-Road, Bridges & Culverts for Rs. 44.49 lacs, R&M-Other Building for Rs. 28.16 lacs, R&M-Residential Building for Rs. 20.07 lacs and R&M-Power Plant Building for Rs. 11.80 lacs as per requirement | Most of the repairs that were undertaken during 2015-16 amounting to Rs. 108.91 lacs are non-recurring in nature and to that extent expenditure during 2016-17 has been decreased
| Sub-Total (Repair and Maintenance) | #REF! | 75859341 | 60118478 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | #REF! | 0 | 0 | #REF! | #REF!
3 | Insurance | #REF! | 51164476 | 65287670 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 27.6035 | #REF! | #REF! | Finance | 9213XX | Based on net asset addition, inflation index and insurance premium rates | Based on net asset addition, inflation index and insurance premium rates | Based on net asset addition, inflation index and insurance premium rates
4 | Security Expenses | #REF! | 60915491 | 68013130 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 11.6516 | #REF! | #REF! | HR | 9214XX | Increase due to DA rate enhancement and actual deployment of CISF | Increase due to DA rate enhancement and actual deployment of CISF |  | Increase due to wage revision of CISF from 01.01.2016 and increase in DGR rate in r/o Private Security from Jan, 17.
|  | #REF! | 0 | 0 | #REF! | #REF!
5 | Administrative Expenses | #REF! | 0 | 0 | #REF! | #REF!
5.1 | Rent | #REF! | 6405701 | 6484101 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 1.2239 | #REF! | #REF! | Workshop | 9211XX | Increase due to revision in hire charges, POL expenses based on actual running |  | Increase due to revision in hire charges, POL expenses based on actual running | Increase due to revision in hire charges, POL expenses based on actual running
5.2 | Electricity charges | #REF! | 22494413 | 23358790 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 3.8426 | #REF! | #REF! | ECM | 9215XX | Increase in consumption as well as rate revision by H.P.S.E.B from Rs. 4 to Rs. 4.35 per unit w.e.f May'13. Before that unit rate is changed from Rs. 3.50 to Rs. 4 w.e.f Jun'12.
5.3 | Travelling & Conveyance | #REF! | 2393374 | 4638202 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 93.7934 | #REF! | #REF! | Finance | 9216XX | Decrease due to less no. of outside trainings | Increase due to more no. of trainings to meet MOU target and increase in Hotel and DA rates |  | Increase due to more no. of outside trainings and rate increase in transfer grant and baggage allowance
5.4 | Telephone, Telex & Postage (Communication) | #REF! | 3941326 | 4053799 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 2.8537 | #REF! | #REF! | ECM/HR | 9220XX | Increase is due to raise in receipt of debit advices from C.O regarding satellite communication expenses |  | Increase is due to raise in telephone bills by Rs. 1.53 lac and satellite communication expenses by Rs. 4.70 lac as per debit advices from C.O. | Satellite Communication expenses increased by Rs. 44 lacs through debit advice of C.O due to PGCIL line arrangement during 2016-17 for better communication
5.5 | Advertisement | #REF! | 973094 | 2515093 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 158.4635 | #REF! | #REF! | HR | 9221XX | General increase in tender advertisements, misc. public relation and exhibition expenses by Rs. 1.58 lacs | Increase in exp mainly due to publication of more no. of tenders in news papers amounting to Rs. 11.65 lacs | Net increase of Rs. 8.09 lacs due to more no. of tender advertisements and publicity newspapers | Net decrease of Rs. 8.22 lacs mainly due to less no. of tender advertisements this year when compared to last year
5.6 | Donation | #REF! | 0 | 0 | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
5.7 | Entertainment | #REF! | 17671 | 18000 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 1.8618 | #REF! | #REF! | Finance | 9222XX | Hospitality expenses less spent as per no. of outsiders |  | Hospitality expenses less spent as per no. of outsiders
|  | #REF! | 0 | 0 | #REF! | #REF!
| Sub-total (Administrative expenses) | #REF! | 36225579 | 41067985 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
6 | Employee Cost | #REF! | 0 | 0 | #REF! | #REF!
6.1a | Salaries,wages & allow. -Project | #REF! | 365740199 | 377436182 | #REF! | #REF! | [5 empty] | #REF! | 3.1979 | #REF! | #REF! | HR | 900XXX except R33 to R37 |  |  |  | Increase mainly due to wage revision w.e.f 01.01.2017
6.2 | Staff welfare expenses | #REF! | 26057176 | 28832793 | #REF! | #REF! | [5 empty] | #REF! | 10.652 | #REF! | #REF! | HR | Row No. 66 to 107 | Increase due to Retired Employees Medical Benefit Actuarial valuation Provision by Rs. 57.63 lacs and remaining increase of Rs. 13.62 lacs mainly pertains to medical reimbursement indoor and outdoor | Increase due to Retired Employees Medical Benefit Actuarial valuation Provision by Rs. 17.84 lacs and increase of Rs. 12.56 lacs against Liveries and Uniforms and decrease of Rs. 2.64 lacs against medical reimbursement | Decrease due to Retired Employees Medical Benefit Actuarial valuation Provision by Rs. 67.04 lacs and decrease of Rs. 11.88 lacs against Liveries and Uniforms and decrease of Rs. 21.55 lacs against medical reimbursement | Decrease due to Retired Employees Medical Benefit Actuarial valuation Provision by Rs. 33.58 lacs and increase of Rs. 3.49 lacs against Cost of medicine
6.3 | Productivity Linked incentive | #REF! | 9931729 | 14946779 | #REF! | #REF! | [5 empty] | #REF! | 50.4952 | #REF! | #REF! | Finance | 900185 | Decrease of exp due to overall true performance of Power Station | Increase of exp due to overall true performance of Power Station |  | Increase of exp due to overall true performance of Power Station
6.4 | VRS-Ex-gratia | #REF! | 0 | 618723 | #REF! | #REF! | [7 empty] | #REF! |  | HR | 900305 |  | VRS option is exercised only in 2014-15 | VRS option is exercised only in 2014-15
6.5 | Ex-gratia | #REF! | 0 | 0 | #REF! | #REF!
6.6 | Performance related pay (PRP) | #REF! | 7507850 | 12611200 | #REF! | #REF! | [5 empty] | #REF! | 67.9735 | #REF! | #REF! | Finance | 900129, 900159 | Decrease of exp due to overall true performance of employee as well as company | Increase of exp due to overall true performance of employee as well as company |  | Increase of exp due to overall true performance of employee as well as company
| Sub-total (Employee Cost) | #REF! | 409236954 | 434445677 | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
7 | Loss of Store | #REF! | 5912 | 7429 | #REF! | #REF! | [5 empty] | #REF! | 25.6597 | #REF! | #REF! | Stores | 923401, 950901 | Rs. 0.28 lac store written-off during 2012-13 only and remaining is reduction in normal loss | Increase in normal loss but which is very minimal | Increase in normal loss but which is very minimal | Increase in normal loss but which is very minimal
|  | #REF! | 0 | 0 | #REF! | #REF!
|  | #REF! | 0 | 0 | #REF! | #REF!
9.1 | Allocation of CO Office expenses | #REF! | 220409059 | 185652705 | #REF! | #REF!
|  | #REF! | 0 | 0 | #REF! | #REF!
10 | Others (Specify items) | #REF! | 30040271 | 31308374 | #REF! | #REF! | [5 empty] | #REF! | 4.2213 | #REF! | #REF! | Finance | Row No. 111 to 168
11 | Total (1 to 10) | #REF! | 916807140 | 912429762 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
12 | Revenue /Recoveries | #REF! | 14563490 | 8903743 | #REF! | #REF! | 3924611 | 2482346 | 3202229 | 1586839 | 26786964 | #REF! | -38.8626 | #REF! | #REF! | Finance | 8407XX, 8409XX, 8410XX, 8412XX, 8416XX, 8417XX | Decrease mainly due to Provision not required written back is very much less during this year when compared to 2012-13 | Decrease mainly due to Other Income (GL Head 841001) is very much less during this year when compared to 2013-14 | Increase mainly due to Other Income (GL Head 841001) is increased by Rs. 84.62 lacs and slight increase in lease recovery during this year when compared to 2014-15 | Decrease mainly due to Other Income (GL Head 841001) is less received by Rs. 68.11 lacs and remaining decrease is due to less recovery of guest house and township recoveries during this year when compared to 2015-16
13 | Net Expenses | #REF! | 902243650 | 903526019 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
14 | Capital spares consumed not included in A(1) above and not claimed/allowed by commission for capitalisation | 0 | 0 | 0 | 0 | 0

## CHAMERA-II 14-15 vs 15-16
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
Name of the Company : NHPC LIMITED
Name of Power Station: CHAMERA II POWER STATION
Sl. No. | ITEMS | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | KIRU | RE LEH | RE-JAMMU | RE-SRINAGAR | R-BANIKHET | 13-14 | 14-15 | Variance (%) | [5 empty] | Variance reason
1
(A) | Breakup of O&M Expenses
1 | Consumption of stores & spares | #REF! | #REF! | 26528314 | 26341553 | #REF! | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | -0.70401 | #REF! | Power House | 9201XX | Rs. 72.59 lacs capital spares consumed and Rs. 17.59 lacs pumps charged off to exp and remaining due to increase in consumption of other spares as per requirement | Decrease is due to less consumption of capital spares by Rs. 103.28 lacs and more consumption of other spares by Rs. 39.21 lacs as per requirement |  | Decrease is due to less consumption of capital spares by Rs. 140.64 lacs and less consumption of other spares by Rs. 7.00 lacs as per requirement
|  | #REF! | #REF! | 0 | 0 | #REF!
2 | Repair & Maintenance | #REF! | #REF! | 0 | 0 | #REF!
2.1 | For Dam,Intake,WCS,De-silting chamber | #REF! | #REF! | 8508867 | 21109101 | #REF! | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | 148.0836 | #REF! | Dam | 9203XX, 920613, 920802-03 | Decrease of expenditure is mainly due to non-recurring nature of special repairs to water regulating system which were taken place in 2012-13 for an amount of Rs. 1.86 Cr. | Most of the repairs undertaken during the year 2013-14 are non-recurring in nature and to that extent expenditure has been decreased during 2014-15 | Increase of exp in r/o: Special Repairs-Water Regulating System by Rs. 24.25 lacs, R&M-Water Supply Installation by Rs. 14.63 lacs, R&M-Hydro Mechanical Works by Rs. 53.60 lacs and remaining by other repairs | Decrease of expenditure is mainly due to non-recurring nature of special repairs to- water regulating system for Rs. 25.10 lacs, Hydro-Mechanical Works for Rs. 40.83 lacs and R&M-Dam for Rs. 7.72 lacs during 2016-17
2.2 | For Power House and all other works | #REF! | #REF! | 51609611 | 74950259 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 45.2254 | #REF! | Power House | 9202XX, 9204XX, 9206XX except 920613, 9207XX, 9208XX except 920802-03 | Increase of exp in r/o: Special Repairs-Others for Rs. 107.42 lacs, R&M-Others for Rs. 20.22 lacs and R&M-Other Power Plant Equipment for Rs. 20.36 lacs | Decrease of expenditure is mainly due to non-recurring nature of special repairs - Others which were undertaken in 2013-14 for an amount of Rs. 112.89 lacs | Increase of exp in r/o: Special Repairs-Others for Rs. 53.56 lacs, Special Repairs-GPM for Rs. 26.18 lacs, R&M-Other Power Plant Equipment for Rs. 49.15 lacs, R&M-Road, Bridges & Culverts for Rs. 44.49 lacs, R&M-Other Building for Rs. 28.16 lacs, R&M-Residential Building for Rs. 20.07 lacs and R&M-Power Plant Building for Rs. 11.80 lacs as per requirement | Most of the repairs that were undertaken during 2015-16 amounting to Rs. 108.91 lacs are non-recurring in nature and to that extent expenditure during 2016-17 has been decreased
| Sub-Total (Repair and Maintenance) | #REF! | #REF! | 60118478 | 96059360 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | #REF! | #REF! | 0 | 0 | #REF!
3 | Insurance | #REF! | #REF! | 65287670 | 90025905 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 37.8911 | #REF! | Finance | 9213XX | Based on net asset addition, inflation index and insurance premium rates | Based on net asset addition, inflation index and insurance premium rates | Based on net asset addition, inflation index and insurance premium rates
4 | Security Expenses | #REF! | #REF! | 68013130 | 71739642 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 5.4791 | #REF! | HR | 9214XX | Increase due to DA rate enhancement and actual deployment of CISF | Increase due to DA rate enhancement and actual deployment of CISF |  | Increase due to wage revision of CISF from 01.01.2016 and increase in DGR rate in r/o Private Security from Jan, 17.
|  | #REF! | #REF! | 0 | 0 | #REF!
5 | Administrative Expenses | #REF! | #REF! | 0 | 0 | #REF!
5.1 | Rent | #REF! | #REF! | 6484101 | 8602378 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 32.6688 | #REF! | Workshop | 9211XX | Increase due to revision in hire charges, POL expenses based on actual running |  | Increase due to revision in hire charges, POL expenses based on actual running | Increase due to revision in hire charges, POL expenses based on actual running
5.2 | Electricity charges | #REF! | #REF! | 23358790 | 23003955 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | -1.5191 | #REF! | ECM | 9215XX | Increase in consumption as well as rate revision by H.P.S.E.B from Rs. 4 to Rs. 4.35 per unit w.e.f May'13. Before that unit rate is changed from Rs. 3.50 to Rs. 4 w.e.f Jun'12.
5.3 | Travelling & Conveyance | #REF! | #REF! | 4638202 | 4226258 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | -8.8815 | #REF! | Finance | 9216XX | Decrease due to less no. of outside trainings | Increase due to more no. of trainings to meet MOU target and increase in Hotel and DA rates |  | Increase due to more no. of outside trainings and rate increase in transfer grant and baggage allowance
5.4 | Telephone, Telex & Postage (Communication) | #REF! | #REF! | 4053799 | 4678160 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 15.4019 | #REF! | ECM/HR | 9220XX | Increase is due to raise in receipt of debit advices from C.O regarding satellite communication expenses |  | Increase is due to raise in telephone bills by Rs. 1.53 lac and satellite communication expenses by Rs. 4.70 lac as per debit advices from C.O. | Satellite Communication expenses increased by Rs. 44 lacs through debit advice of C.O due to PGCIL line arrangement during 2016-17 for better communication
5.5 | Advertisement | #REF! | #REF! | 2515093 | 3089984 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 22.8576 | #REF! | HR | 9221XX | General increase in tender advertisements, misc. public relation and exhibition expenses by Rs. 1.58 lacs | Increase in exp mainly due to publication of more no. of tenders in news papers amounting to Rs. 11.65 lacs | Net increase of Rs. 8.09 lacs due to more no. of tender advertisements and publicity newspapers | Net decrease of Rs. 8.22 lacs mainly due to less no. of tender advertisements this year when compared to last year
5.6 | Donation | #REF! | #REF! | 0 | 0 | #REF! | 0 | 0 | 0 | 0 | 0
5.7 | Entertainment | #REF! | #REF! | 18000 | 16150 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | -10.2778 | #REF! | Finance | 9222XX | Hospitality expenses less spent as per no. of outsiders |  | Hospitality expenses less spent as per no. of outsiders
|  | #REF! | #REF! | 0 | 0 | #REF!
| Sub-total (Administrative expenses) | #REF! | #REF! | 41067985 | 43616885 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
6 | Employee Cost | #REF! | #REF! | 0 | 0 | #REF!
6.1a | Salaries,wages & allow. -Project | #REF! | #REF! | 377436182 | 380981528 | #REF! | [5 empty] | #REF! | #REF! | 0.93932 | #REF! | HR | 900XXX except R33 to R37 |  |  |  | Increase mainly due to wage revision w.e.f 01.01.2017
6.2 | Staff welfare expenses | #REF! | #REF! | 28832793 | 18785311 | #REF! | [5 empty] | #REF! | #REF! | -34.8474 | #REF! | HR | Row No. 66 to 107 | Increase due to Retired Employees Medical Benefit Actuarial valuation Provision by Rs. 57.63 lacs and remaining increase of Rs. 13.62 lacs mainly pertains to medical reimbursement indoor and outdoor | Increase due to Retired Employees Medical Benefit Actuarial valuation Provision by Rs. 17.84 lacs and increase of Rs. 12.56 lacs against Liveries and Uniforms and decrease of Rs. 2.64 lacs against medical reimbursement | Decrease due to Retired Employees Medical Benefit Actuarial valuation Provision by Rs. 67.04 lacs and decrease of Rs. 11.88 lacs against Liveries and Uniforms and decrease of Rs. 21.55 lacs against medical reimbursement | Decrease due to Retired Employees Medical Benefit Actuarial valuation Provision by Rs. 33.58 lacs and increase of Rs. 3.49 lacs against Cost of medicine
6.3 | Productivity Linked incentive | #REF! | #REF! | 14946779 | 16046447 | #REF! | [5 empty] | #REF! | #REF! | 7.3572 | #REF! | Finance | 900185 | Decrease of exp due to overall true performance of Power Station | Increase of exp due to overall true performance of Power Station |  | Increase of exp due to overall true performance of Power Station
6.4 | VRS-Ex-gratia | #REF! | #REF! | 618723 | 0 | #REF! | [7 empty] | -100 |  | HR | 900305 |  | VRS option is exercised only in 2014-15 | VRS option is exercised only in 2014-15
6.5 | Ex-gratia | #REF! | #REF! | 0 | 0 | #REF!
6.6 | Performance related pay (PRP) | #REF! | #REF! | 12611200 | 13683393 | #REF! | [5 empty] | #REF! | #REF! | 8.5019 | #REF! | Finance | 900129, 900159 | Decrease of exp due to overall true performance of employee as well as company | Increase of exp due to overall true performance of employee as well as company |  | Increase of exp due to overall true performance of employee as well as company
| Sub-total (Employee Cost) | #REF! | #REF! | 434445677 | 429496679 | #REF! | 0 | 0 | 0 | 0 | 0
7 | Loss of Store | #REF! | #REF! | 7429 | 10407 | #REF! | [5 empty] | #REF! | #REF! | 40.0861 | #REF! | Stores | 923401, 950901 | Rs. 0.28 lac store written-off during 2012-13 only and remaining is reduction in normal loss | Increase in normal loss but which is very minimal | Increase in normal loss but which is very minimal | Increase in normal loss but which is very minimal
|  | #REF! | #REF! | 0 | 0 | #REF!
|  | #REF! | #REF! | 0 | 0 | #REF!
9.1 | Allocation of CO Office expenses | #REF! | #REF! | 185652705 | 111858810 | #REF!
|  | #REF! | #REF! | 0 | 0 | #REF!
10 | Others (Specify items) | #REF! | #REF! | 31308374 | 29779783 | #REF! | [5 empty] | #REF! | #REF! | -4.8824 | #REF! | Finance | Row No. 111 to 168
11 | Total (1 to 10) | #REF! | #REF! | 912429762 | 898929024 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
12 | Revenue /Recoveries | #REF! | #REF! | 8903743 | 17380539 | #REF! | 3924611 | 2482346 | 3202229 | 1586839 | 26786964 | #REF! | #REF! | 95.2049 | #REF! | Finance | 8407XX, 8409XX, 8410XX, 8412XX, 8416XX, 8417XX | Decrease mainly due to Provision not required written back is very much less during this year when compared to 2012-13 | Decrease mainly due to Other Income (GL Head 841001) is very much less during this year when compared to 2013-14 | Increase mainly due to Other Income (GL Head 841001) is increased by Rs. 84.62 lacs and slight increase in lease recovery during this year when compared to 2014-15 | Decrease mainly due to Other Income (GL Head 841001) is less received by Rs. 68.11 lacs and remaining decrease is due to less recovery of guest house and township recoveries during this year when compared to 2015-16
13 | Net Expenses | #REF! | #REF! | 903526019 | 881548485 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
14 | Capital spares consumed not included in A(1) above and not claimed/allowed by commission for capitalisation | 0 | 0 | 0 | 0 | 0

## CHAMERA-II 15-16 vs 16-17
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
Name of the Company : NHPC LIMITED
Name of Power Station: CHAMERA II POWER STATION
Sl. No. | ITEMS | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | KIRU | RE LEH | RE-JAMMU | RE-SRINAGAR | R-BANIKHET | 13-14 | 14-15 | 15-16 | Variance (%) | [5 empty] | Variance reason
1
(A) | Breakup of O&M Expenses
1 | Consumption of stores & spares | #REF! | #REF! | #REF! | 26341553 | 11575270 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | -56.057 | Power House | 9201XX | Rs. 72.59 lacs capital spares consumed and Rs. 17.59 lacs pumps charged off to exp and remaining due to increase in consumption of other spares as per requirement | Decrease is due to less consumption of capital spares by Rs. 103.28 lacs and more consumption of other spares by Rs. 39.21 lacs as per requirement |  | Decrease is due to less consumption of capital spares by Rs. 140.64 lacs and less consumption of other spares by Rs. 7.00 lacs as per requirement
|  | #REF! | #REF! | #REF! | 0 | 0
2 | Repair & Maintenance | #REF! | #REF! | #REF! | 0 | 0
2.1 | For Dam,Intake,WCS,De-silting chamber | #REF! | #REF! | #REF! | 21109101 | 13744598 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | -34.8878 | Dam | 9203XX, 920613, 920802-03 | Decrease of expenditure is mainly due to non-recurring nature of special repairs to water regulating system which were taken place in 2012-13 for an amount of Rs. 1.86 Cr. | Most of the repairs undertaken during the year 2013-14 are non-recurring in nature and to that extent expenditure has been decreased during 2014-15 | Increase of exp in r/o: Special Repairs-Water Regulating System by Rs. 24.25 lacs, R&M-Water Supply Installation by Rs. 14.63 lacs, R&M-Hydro Mechanical Works by Rs. 53.60 lacs and remaining by other repairs | Decrease of expenditure is mainly due to non-recurring nature of special repairs to- water regulating system for Rs. 25.10 lacs, Hydro-Mechanical Works for Rs. 40.83 lacs and R&M-Dam for Rs. 7.72 lacs during 2016-17
2.2 | For Power House and all other works | #REF! | #REF! | #REF! | 74950259 | 64059590 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | -14.5305 | Power House | 9202XX, 9204XX, 9206XX except 920613, 9207XX, 9208XX except 920802-03 | Increase of exp in r/o: Special Repairs-Others for Rs. 107.42 lacs, R&M-Others for Rs. 20.22 lacs and R&M-Other Power Plant Equipment for Rs. 20.36 lacs | Decrease of expenditure is mainly due to non-recurring nature of special repairs - Others which were undertaken in 2013-14 for an amount of Rs. 112.89 lacs | Increase of exp in r/o: Special Repairs-Others for Rs. 53.56 lacs, Special Repairs-GPM for Rs. 26.18 lacs, R&M-Other Power Plant Equipment for Rs. 49.15 lacs, R&M-Road, Bridges & Culverts for Rs. 44.49 lacs, R&M-Other Building for Rs. 28.16 lacs, R&M-Residential Building for Rs. 20.07 lacs and R&M-Power Plant Building for Rs. 11.80 lacs as per requirement | Most of the repairs that were undertaken during 2015-16 amounting to Rs. 108.91 lacs are non-recurring in nature and to that extent expenditure during 2016-17 has been decreased
| Sub-Total (Repair and Maintenance) | #REF! | #REF! | #REF! | 96059360 | 77804188 | #REF! | #REF! | #REF! | #REF! | #REF!
|  | #REF! | #REF! | #REF! | 0 | 0
3 | Insurance | #REF! | #REF! | #REF! | 90025905 | 93494730 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 3.8531 | Finance | 9213XX | Based on net asset addition, inflation index and insurance premium rates | Based on net asset addition, inflation index and insurance premium rates | Based on net asset addition, inflation index and insurance premium rates
4 | Security Expenses | #REF! | #REF! | #REF! | 71739642 | 87811455 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 22.403 | HR | 9214XX | Increase due to DA rate enhancement and actual deployment of CISF | Increase due to DA rate enhancement and actual deployment of CISF |  | Increase due to wage revision of CISF from 01.01.2016 and increase in DGR rate in r/o Private Security from Jan, 17.
|  | #REF! | #REF! | #REF! | 0 | 0
5 | Administrative Expenses | #REF! | #REF! | #REF! | 0 | 0
5.1 | Rent | #REF! | #REF! | #REF! | 8602378 | 9602924 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 11.631 | Workshop | 9211XX | Increase due to revision in hire charges, POL expenses based on actual running |  | Increase due to revision in hire charges, POL expenses based on actual running | Increase due to revision in hire charges, POL expenses based on actual running
5.2 | Electricity charges | #REF! | #REF! | #REF! | 23003955 | 23914972 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 3.9603 | ECM | 9215XX | Increase in consumption as well as rate revision by H.P.S.E.B from Rs. 4 to Rs. 4.35 per unit w.e.f May'13. Before that unit rate is changed from Rs. 3.50 to Rs. 4 w.e.f Jun'12.
5.3 | Travelling & Conveyance | #REF! | #REF! | #REF! | 4226258 | 4788884 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 13.3126 | Finance | 9216XX | Decrease due to less no. of outside trainings | Increase due to more no. of trainings to meet MOU target and increase in Hotel and DA rates |  | Increase due to more no. of outside trainings and rate increase in transfer grant and baggage allowance
5.4 | Telephone, Telex & Postage (Communication) | #REF! | #REF! | #REF! | 4678160 | 9069463 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 93.8682 | ECM/HR | 9220XX | Increase is due to raise in receipt of debit advices from C.O regarding satellite communication expenses |  | Increase is due to raise in telephone bills by Rs. 1.53 lac and satellite communication expenses by Rs. 4.70 lac as per debit advices from C.O. | Satellite Communication expenses increased by Rs. 44 lacs through debit advice of C.O due to PGCIL line arrangement during 2016-17 for better communication
5.5 | Advertisement | #REF! | #REF! | #REF! | 3089984 | 2063374 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | -33.2238 | HR | 9221XX | General increase in tender advertisements, misc. public relation and exhibition expenses by Rs. 1.58 lacs | Increase in exp mainly due to publication of more no. of tenders in news papers amounting to Rs. 11.65 lacs | Net increase of Rs. 8.09 lacs due to more no. of tender advertisements and publicity newspapers | Net decrease of Rs. 8.22 lacs mainly due to less no. of tender advertisements this year when compared to last year
5.6 | Donation | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0
5.7 | Entertainment | #REF! | #REF! | #REF! | 16150 | 14950 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | -7.4303 | Finance | 9222XX | Hospitality expenses less spent as per no. of outsiders |  | Hospitality expenses less spent as per no. of outsiders
|  | #REF! | #REF! | #REF! | 0 | 0
| Sub-total (Administrative expenses) | #REF! | #REF! | #REF! | 43616885 | 49454567 | #REF! | #REF! | #REF! | #REF! | #REF!
6 | Employee Cost | #REF! | #REF! | #REF! | 0 | 0
6.1a | Salaries,wages & allow. -Project | #REF! | #REF! | #REF! | 380981528 | 456468743 | [5 empty] | #REF! | #REF! | #REF! | 19.8139 | HR | 900XXX except R33 to R37 |  |  |  | Increase mainly due to wage revision w.e.f 01.01.2017
6.2 | Staff welfare expenses | #REF! | #REF! | #REF! | 18785311 | 15775845 | [5 empty] | #REF! | #REF! | #REF! | -16.0203 | HR | Row No. 66 to 107 | Increase due to Retired Employees Medical Benefit Actuarial valuation Provision by Rs. 57.63 lacs and remaining increase of Rs. 13.62 lacs mainly pertains to medical reimbursement indoor and outdoor | Increase due to Retired Employees Medical Benefit Actuarial valuation Provision by Rs. 17.84 lacs and increase of Rs. 12.56 lacs against Liveries and Uniforms and decrease of Rs. 2.64 lacs against medical reimbursement | Decrease due to Retired Employees Medical Benefit Actuarial valuation Provision by Rs. 67.04 lacs and decrease of Rs. 11.88 lacs against Liveries and Uniforms and decrease of Rs. 21.55 lacs against medical reimbursement | Decrease due to Retired Employees Medical Benefit Actuarial valuation Provision by Rs. 33.58 lacs and increase of Rs. 3.49 lacs against Cost of medicine
6.3 | Productivity Linked incentive | #REF! | #REF! | #REF! | 16046447 | 38124352 | [5 empty] | #REF! | #REF! | #REF! | 137.5875 | Finance | 900185 | Decrease of exp due to overall true performance of Power Station | Increase of exp due to overall true performance of Power Station |  | Increase of exp due to overall true performance of Power Station
6.4 | VRS-Ex-gratia | #REF! | #REF! | #REF! | 0 | 0 | [7 empty] | #REF! |  | HR | 900305 |  | VRS option is exercised only in 2014-15 | VRS option is exercised only in 2014-15
6.5 | Ex-gratia | #REF! | #REF! | #REF! | 0 | 0
6.6 | Performance related pay (PRP) | #REF! | #REF! | #REF! | 13683393 | 16368096 | [5 empty] | #REF! | #REF! | #REF! | 19.6202 | Finance | 900129, 900159 | Decrease of exp due to overall true performance of employee as well as company | Increase of exp due to overall true performance of employee as well as company |  | Increase of exp due to overall true performance of employee as well as company
| Sub-total (Employee Cost) | #REF! | #REF! | #REF! | 429496679 | 526737036 | 0 | 0 | 0 | 0 | 0
7 | Loss of Store | #REF! | #REF! | #REF! | 10407 | 21266 | [5 empty] | #REF! | #REF! | #REF! | 104.3432 | Stores | 923401, 950901 | Rs. 0.28 lac store written-off during 2012-13 only and remaining is reduction in normal loss | Increase in normal loss but which is very minimal | Increase in normal loss but which is very minimal | Increase in normal loss but which is very minimal
|  | #REF! | #REF! | #REF! | - | -
|  | #REF! | #REF! | #REF! | - | -
9.1 | Allocation of CO Office expenses | #REF! | #REF! | #REF! | 111858810 | 303572342
|  | #REF! | #REF! | #REF! | - | -
10 | Others (Specify items) | #REF! | #REF! | #REF! | 29779783 | 38621999 | [5 empty] | #REF! | #REF! | #REF! | 29.692 | Finance | Row No. 111 to 168
11 | Total (1 to 10) | #REF! | #REF! | #REF! | 898929024 | 1189092853 | #REF! | #REF! | #REF! | #REF! | #REF!
12 | Revenue /Recoveries | #REF! | #REF! | #REF! | 17380539 | 10453660 | 3924611 | 2482346 | 3202229 | 1586839 | 26786964 | #REF! | #REF! | #REF! | -39.8542 | Finance | 8407XX, 8409XX, 8410XX, 8412XX, 8416XX, 8417XX | Decrease mainly due to Provision not required written back is very much less during this year when compared to 2012-13 | Decrease mainly due to Other Income (GL Head 841001) is very much less during this year when compared to 2013-14 | Increase mainly due to Other Income (GL Head 841001) is increased by Rs. 84.62 lacs and slight increase in lease recovery during this year when compared to 2014-15 | Decrease mainly due to Other Income (GL Head 841001) is less received by Rs. 68.11 lacs and remaining decrease is due to less recovery of guest house and township recoveries during this year when compared to 2015-16
13 | Net Expenses | #REF! | #REF! | #REF! | 881548485 | 1178639193 | #REF! | #REF! | #REF! | #REF! | #REF!
14 | Capital spares consumed not included in A(1) above and not claimed/allowed by commission for capitalisation | 0 | 0 | 0 | 0 | 0