## Annexure-I
[9 empty] | Annexure –I |  | SH 1/4
Pro-forma for furnishing Actual annual performance/operational data for the
coal/lignite based thermal generating stations for the 5-year period from 2012-13 to 2016-17
| Particulars | Units | 2012-13 |  | 2013-14 |  | 2014-15 |  | 2015-16 | 2016-17
1 | Name of Company |  | NLC India Limited, Neyveli
2 | Name of Station/ Pit head or Non- Pit head |  | T.P.S - II Expansion / Pit head station
3 | Installed Capacity and Configuration | MW | 500 MW ( 2 x 250 MW )
4 | Rated Steam Parameters (Also state the type of Steam turbine and Boiler) |  | Rated Steam parameters :- 1.MS Pressure at Turbine I/L - 170 Ksc 2. MS Temperature at Turbine I/L - 537oC 3. MS flow - 758.252 T/hr Type of Boiler : CFBC Boiler Type of Turbine : Tandem compound Multi cylinder Straight condensing Single reheat Regenerative Feed water heating reaction Turbine.
5 | Type of BFP |  | Electrical driven
6 | Circulating water system |  | Closed Cycle
7 | Any other Site specific feature |  | Nil
8 | Fuels :
8.1 | Primary Fuel : |  | Lignite
8.1.1 | Annual Allocation or/ and Requirement | MT | Requirement - 32,19,300
8.1.2 | Sources of supply/ procurement along with contracted quantity and grade of coal |  | Linked Mine (Mine-II)
8.1.2. | FSA | MT | - | - |  | - |  | - |  | -
8.1.2. | Imported | MT | - | - |  | - |  | - |  | -
8.1.2. | Spot Market/e-auction | MT | - | - |  | - |  | - |  | -
8.1.3 | Transportation Distance of the station from the sources of supply | km | 5 KM
8.1.4 | Mode of Transport |  | Conveyor
8.1.5 | Maximum Station capability to stock primary fuel | Days & MT | 7 lac tonnes including Mines Storage
8.1.6 | Maximum stock maintained for primary fuel |  | 0 | 0 |  | 0 |  | 276192.9808 |  | 646246.3608
8.1.7 | Minimum Stock maintained for primary fuel |  | 0 | 0 |  | 0 |  | 72500 |  | 72500
8.1.8 | Average stock maintained for primary fuel |  | 0 | 0 |  | 0 |  | 174346.4904 |  | 359373.1804
8.2 | Secondary Fuel :
8.2.1 | Annual Allocation/Requirement | Klit. | Allocation : HFO - 6862 KL / LDO - 1518 KL
8.2.2 | Sources of supply |  | BPCL / HPCL, Chennai / Cochin
8.2.3 | Transportation Distance of the station from the sources of supply | km | 250 KM / 503 KM
8.2.4 | Mode of Transport |  | Road
8.2.5 | Maximum Station capability to stock secondary fuels | Klit. | HFO - 1000 KL / LDO - 200 KL
8.2.6 | Maximum Stock of secondary oil actually maintained | K.lit. | HFO - 1000 KL / LDO - 200 KL
8.2.7 | Minimum Stock of secondary oil actually maintained | K.lit. | HFO - 700 KL / LDO - 150 KL
8.2.8 | Average Stock of secondary oil actually maintained | K.lit. | HFO - 850 KL / LDO - 175 KL
9 | Cost of Spares :
9.1 | Cost of Spares capitalized in the books of accounts | (Rs. Lakh) | - |  | - |  | - |  | 79.51 | 85.68
9.2 | Cost of spares included in capital cost for the purpose of tariff | (Rs. Lakh) | - |  | - |  | -

## Annexure-I (2)
NLC TPS II EX 500 MW Annexure-I | [9 empty] | SH 2/4
| Period |  |  | Unit | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
10 | Generation :
10.1 | -Actual Gross Generation at generator terminals |  |  | MU | - | - | - | 747.94 | 1373.228
10.2 | -Actual Net Generation Ex-bus |  |  | MU | - | - | - | 578.292 | 1128.294
10.3 | -Scheduled Generation Ex-bus |  |  | MU | - | - | - | 597.2484 | 1188.6502
11 | Average Declared Capacity (DC) |  |  | MW | - | - | - | 87 | 139
12 | Actual Auxiliary Energy Consumption excluding colony consumption |  |  | MU | - | - | - | 169.64 | 244.934
13 | Actual Energy supplied to Colony from the station |  |  | MU | - | - | - | Nil | Nil
14 | Primary Fuel : |  |  |  | - | - | -
14.1 | Consumption : |  |  |  | - | - | -
2014-01-01 | Domestic coal | From linked mines |  | MT | - | - | - | 902468.222 | 1631461.71
|  | Non-linked mines |  | MT | - | - | - | - | -
2014-01-02 | Imported coal* |  |  | MT | - | - | - | - | -
2014-01-03 | Spot market/e-auction coal* |  |  | MT | - | - | - | - | -
14.2 | Gross Calorific Value (GCV) : |  |  |  | - | - | -
2014-02-01 | Domestic Coal |  | (As Billed) | kCal/kg | - | - | - | - | -
|  |  | (As Received) | kCal/kg | - | - | - | 2632 | 2643
|  |  | ( As Fired ) | kCal/kg | - | - | - | - | -
2014-02-02 | Imported Coal |  | (As Billed) | kCal/kg | - | - | - | - | -
|  |  | (As Received) | kCal/kg | - | - | - | - | -
2014-02-03 | Spot market/e- auction coal |  | (As Billed) | kCal/kg | - | - | - | - | -
|  |  | (As Received) | kCal/kg | - | - | - | - | -
2014-02-04 | Weighted Average Gross Calorific value (As Billed) |  |  | (kCal /Kg) | - | - | - | - | -
2014-02-05 | Weighted Average Gross Calorific value (As Received) |  |  | (kCal /Kg) | - | - | - | 2632 | 2643
2014-02-06 | Weighted Average Gross Calorific value (As Fired) |  |  | (kCal /Kg) | - | - | - | - | -
14.3 | Price of coal : |  |  |  | - | - | -
2014-03-01 | Weighted Average Landed price of Domestic coal |  |  | (Rs/MT) | - | - | - | 2305.17 | 2606.17 |  | 2305.17 | 2606.17
2014-03-02 | Weighted Average Landed Price of Imported coal |  |  | (Rs/MT) | - | - | - | - | -
2014-03-03 | Weighted Average Landed Price of Spot market/e-auction coal |  |  | (Rs/MT) | - | - | - | - | -
2014-03-04 | Weighted Average Landed Price of all the Coals |  |  | (Rs/MT) | - | - | - | 2305.17 | 2606.17
14.4 | Blending : |  |  | % and MT ( of the total coal consumed ) | - | - | -
2014-04-01 | Blending ratio of imported coal with domestic coal |  |  | Equivalent to domestic coal | - | - | - | - | -
2014-04-02 | Proportion of e-auction coal in the blending |  |  |  | - | - | - | - | -
14.5 | Actual Average Coal stock maintained |  |  | Days and MT | - | - | - | 174346.4904 | 359373.1804
14.5 | Actual Transit & Handling Losses for coal/Lignite |  |  | (%) | - | - | - | - | -
2014-05-01 | Pit- Head Station |  |  |  | - | - | - | - | -
14.5.1.1 | Transit loss from linked mines |  |  |  | - | - | - | Nil | Nil
14.5.1.2 | Transit loss from non-linked mines including e-auction coal mines. |  |  |  | - | - | - | - | -
14.5.1.3 | Transit loss of imported coal |  |  |  | - | - | - | - | -
2014-05-02 | Non-Pit Head station |  |  |  | - | - | -
14.5.2.1 | Transit loss from linked mines |  |  |  | - | - | - | - | -
14.5.2.2 | Transit loss from non-linked mines including e-auction coal mines. |  |  |  | - | - | - | - | -
14.5.2.3 | Transit loss of imported coal |  |  |  | - | - | - | - | -
[5 empty] | - | - | -
15 | Secondary Fuel Oil : HFO ( If more than one fuel usedthen give details of all the fuels separately) |  |  |  | - | - | -
15.1 | Consumption |  |  | (KL) | - | - | - | 6818.396 | 4587.449
15.2 | Weighted Average Gross Calorific value (As received) |  |  | (kCal /Lit.) | - | - | - | 10107.065 | 10091.8917
15.3 | Weighted Average Price |  |  | (Rs per KL) | - | - | - | 23202.668 | 26846.804
15.4 | Actual Average stock maintained |  |  | (KL) | - | - | - | 771.211 | 860.49
15(a) | Secondary Fuel Oil : LDO
15.1 | Consumption |  |  | (KL) | - | - | - | 801.755 | 570.537
15.2 | Weighted Average Gross Calorific value (As received) |  |  | (kCal / Lit.) | - | - | - | 10107.065 | 10403.2197
15.3 | Weighted Average Price |  |  | (Rs per KL) | - | - | - | 33184.359 | 40782.528
15.4 | Actual Average stock maintained |  |  | (KL) | - | - | - | 150.097 | 159.94
16 | Weighted average duration of outages( unit-wise details): |  |  |  | - | - | -
16.1 | Planned Outages |  |  | (Days) | - | - | - | Nil | 57(U#1&2)
16.2 | Forced Outages (2 Units) |  |  | (Days) | - | - | - | 472.44 | 326.16
16.3 | Number of tripping |  |  |  | - | - | - | 53 | 43
16.4 | Number of start-ups: |  |  |  | - | - | - | 53 | 45
2016-04-01 | Cold Start-up |  |  |  | - | - | - | 31 | 30
2016-04-02 | Warm Start-up |  |  |  | - | - | - | - | -
2016-04-03 | Hot start-up |  |  |  | - | - | - | 22 | 15
17 | NOx , SOx ,and other particulate matter emission in : |  | Nox | mg/Nm3 | - | - | - | - | 191
|  |  | Sox | mg/Nm3 |  |  |  | - | 164
|  |  | Other Particulate matter | mg/Nm3 |  |  |  | - | 48
17.1 | Design value of emission control equipment |  | SPM | mg/Nm3 | - | - | - | 100
|  |  | SOx | mg/Nm3 | - | - | - | 200
|  |  | NOx | mg/Nm3 | - | - | - | 300

## Annexure-I (3)
NLC TPS II EX 500 MW Annexure-I | [6 empty] | SH 4/4
| Period | Unit | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
17.2 | Actual emission - Sox | ppm or mg/Nm3 |  |  |  | - | 191
| -Nox |  |  |  |  | - | 164
| Other particular matter |  | - | - | - | - | 48
19 | Detail of Ash utilization % of fly ash produced | Qty Produced | - | - | - | 42585 | 58520
19.1 | Conversion of value added product | (%) | - | - | - | 45.56 | 69.53
19.2 | For making roads &embarkment | (%) | - | - | - | - | -
19.3 | Land filling | (%) | - | - | - | 54.44 | 30.47
19.4 | Used in plant site in one or other form or used in some other site | (%) | - | - | - | - | -
19.5 | Any other use , Please specify | Qty. and Usage | - | - | - | - | -
20 | Cost of spares actually consumed | ( Rs. Lakh) | - | - | - | 184.25 | 474.45
21 | Average stock of spares | (Rs. Lakhs) | - | - | - | 189.72 | 456.97
22 | Number of employees deployed in O&M |  | - | - | - | 224 | 231
22.1 | - Executives |  | - | - | - | 138 | 144
22.2 | - Non Executives |  | - | - | - | 107 | 108
22.3 | - Corporate office |  | - | - | - | 128 | 125
23 | Man-MW ratio | Man/MW | - | - | - | 0.746 | 0.754
Note :- * Not applicable to lignite based thermal power station.
Note:
1. List of beneficiaries/customers along with allocation by GoI including variable (allocation of unallocated share) / capacity as contracted shall also be furnished separately.In case of two or more secondary fuels, information should be furnished for each of the secondary fuel.
2. In case of two or more stages or two or more unit sizes, information should be furnished separately to the extent possible.
3. A brief write-up on the methodology to arrive at the above performance & operation parameters should also be furnished.
4. Any relevant point or a specific fact having bearing on performance or operating parameters may also be highlighted or brought to the notice of the Commission.
5. A note on stock of primary fuel maintained giving details of stacking etc. should be furnished.
6. Details of the instances where the generating stations has invoked the 2014 Tariff Regulations blending with imported or open market coal (within the 30% limit of ECR) with/ without consent of beneficiaries.
7. The declared capacity for peak and off peak period should be given separately as per respective RLDC.

## ANNEXURE IV
Annexure –IV
PLANT AVAILABILITY/SCHEDULED PLANT LOAD FACTOR ACHIEVED Generating company: M/S NLCIL, Neyveli Name of Generating station: T.P.S.II Expansion Installed Capacity (MW) : 500 MW (2 x 250 MW) Normative Annual Plant Availability Factor (%) approved by Commission : 75 %
Plant Availability Factor Achieved (%)
Month | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | Reasons for shortfall in PAF achieved vis-a-vis NAPAF
April | - | - | - | 56.535 | 28.456 | TPS2 Expansion Boilers are based on CFBC Technology, which is fairly new in the field and is first in India for a capacity of 250 MW. The Commercial Operation Declaration (COD) of TPS2 Expansion of Unit -1 & 2 has been declared on 05.07.2015 and 22.04.2015 respectively after resolving the initial stages of operation and the teething problems. As the Boilers are based on CFBC Technology, any repair works inside the Boilers could not be attended immediately after shutdown of the Units. This is because in CFBC Boilers, additional equipments like Primary Air Fans, Secondary Air fans, Blowers of Fluidized Bed Heat Exchangers, Empty Chamber, Purge and Seal, Seal Pot, Ash Cooler are to be run up to 3 to 6 days after shutdown of the unit for cooling the Boiler to carry out any maintenance works in boilers increases duration of Outages to very great extent. The forced outages have caused a substantial reduction in availability of the Units and hence the target set for Gross Generation of Electricity could not be met. The reasons for the outages of Units are a) water wall puncture, b) S/H coil puncture in FBHEs, c) Steam Cooled wall hanger tube puncture and d) Refractory failures in FBHEs, Cyclones, target and non target wall etc.
May | - | - | - | 27.142 | 20.133
June | - | - | - | -0.407 | 35.473
July | - | - | - | 20.252 | 47.846
August | - | - | - | 39.332 | 16.2
September | - | - | - | 15.631 | 43.949
October | - | - | - | 6.609 | 22.339
November | - | - | - | 24.429 | 5.879
December | - | - | - | 10.696 | 42.77
January | - | - | - | 29.78 | 44.733
February | - | - | - | 6.015 | 44.934
March | - | - | - | 7.553 | 19.426
Annual | - | - | - | 19.392 | 30.925
Scheduled Plant Load Factor Achieved (%)
Month | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | Reasons for shortfall in PLF achieved vis-a-vis Target PLF
April | - | - | - | 56.535 | 28.425
May | - | - | - | 27.142 | 19.913
June | - | - | - | -0.407 | 34.463
July | - | - | - | 20.243 | 47.831
August | - | - | - | 39.321 | 15.43
September | - | - | - | 15.541 | 43.069
October | - | - | - | 6.609 | 22.629
November | - | - | - | 24.419 | 5.705
December | - | - | - | 10.556 | 40.62
January | - | - | - | 29.543 | 42.539
February | - | - | - | 6.006 | 43.944
March | - | - | - | 7.553 | 19.25
Annual | - | - | - | 19.369 | 30.189

## ANNEXURE VC
Annexure-V (C)
Name of Generating Station : TPS-II Expansion 500 MW
COD of Units/Station:
Details of expenditure incurred from Compensation Allowance and Special Allowance during Tariff Period 2009-14
FY Year | Add- cap allowed by the Commis sion under the provisio n of Regulati on 9(2) | Compens atory allowance allowed by the Commissi on, if any | Special allowanc e allowed by the Commiss ion, if any | Details of Asset/Work wise Capitalisation based on the Expenditure allowed by the Commission in the tariff period 2009-14 | [5 empty] | Capitali sation done which has not been claime d/ allowed in the tariff | Total Addi tion during the year | Total Additi on durin g the year as per duly audit ed Sche dule of Fixed Asset | Variati on if any to be recon ciled /justifi ed.
|  |  |  | Capitalisation out of add cap allowed under Regulation 9(2) |  | Capitalisation out of Compensati on allowance in the stations wherever applicable |  | Capitalisa tion out of Special Allowanc e allowed in the stations where applicable
|  |  |  | Asset / work | (Rs.la kh) | Asset /work | (Rs. lak h) | Ass et/ wo rk | (Rs. lak h)
2009-10
2010-11
2011-12
2012-13
2013-14
2014-15 | [10 empty] | 7951.0594
2015-16 | [10 empty] | 62.9912
2016-17 | [10 empty] | 154.3135
Note :Asset details enclosed

## ANNEXURE VC DETAILS PG 1
Annexure - V C
NLC INDIA LIMITED
2X250 MW - THERMAL POWER STATION II EXPN
Details of Initial spares procured and capitalised for Thermal Power Station - II Expn
Material Code | Material Long Description | Qty | Amount
741010001 | 250 MW -STEAM TURBINE-H.P.ROTOR COMPLETELY ASSEMBLED ROTOR WITH BLADING, SEAL RINGS ETC SUITABLE FOR 250 MW BHEL MAKE TURBINE TYPE: H30-40 WO NO 10235 P 10801 AND 10236 P 10801 WITH THE FOLLOWING ACCESSORIES I. MOP SHAFT II. COUPLING BOLTS AND NUTS (HP/IP COUPLING & HP/MOP SHAFT COUPLING) III. SPEED GOVERNOR | 1 SET | 68402806
741020001 | 250 MW -STEAM TURBINE-I.P.ROTOR COMPLETELY ASSEMBLED ROTOR WITH BLADING, SEAL RINGS ETC SUITABLE FOR 250 MW BHEL MAKE TURBINE TYPE :M30-25 WO NO 10235 P 10801 AND 10236 P 10801 WITH THE FOLLOWING ACCESSORIES I. I.P. SHAFT/ 0 10201 42000 00000 II. BLADING OF IP ROTOR/ 0 10202 18000 00000 III. BLADE PLAN IPT/ 0 10204 18000 00000 IV. I.P.SHAFT SEALING/ 0 10605 42000 00000 V. ARRG.OF HP/IP BRG .PEDESTAL/ 0 11723 24000 00000 VI. ARRNGMT .DRG.OF.BRG PED.LP/GEN/ 0 11833 46000 00000 VII. HAND BARRING GEAR/ 1 11505 21000 00000 VIII. HYDRAULIC TURNING MOTOR/ 1 11501 46000 00000 IX. IP/LP COUPLING BOLTS | 1 SET | 102604209
741030001 | 250 MW -STEAM TURBINE-L.P.ROTOR COMPLETELY ASSEMBLED ROTOR WITH BLADING,SEAL RINGS ETC SUITABLE FOR 250 MW BHEL MAKE TURBINE TYPE : N 30-2X6.3 - WO NO 10235 P 10801 AND 10236 P 10801 WITH THE FOLLOWING ACCESSORIES I) I.P. ROTOR SHAFT/0 10301 46000 00000 II) L.P.ROTOR BLADING DRUM STAGE/1 10306 46000 00000 III) BLADING MODULE STAGE/0 10303 07460 00000 IV) BLADE PLAN LPT/9 10304 46000 00000 V) LP SHAFT SEALING FRONT/0 10766 18000 00000 VI) LP SHAFT SEALING REAR/0 10767 18000 00000 VII) COUPLING BOLTS AND NUTS/0 11803 18000 00000 | 1 SET | 387167601
750010001 | GENERATOR ROTOR FOR BHEL MAKE 250 MW TURBO GENERATOR TYPE THRI / 108 /44 AS PER DRAWING NO. 0-136-06-01033-0000 DETAILED SPECIFICATION ENCLOSED | 1 No | 236931325
| Total |  | 795105941
| Initial Spares procured and capitalised |  | 795105941
| Insurance spares/Capital spares consumed - 2014 to 2017 |  | 61683255.8
| Total |  | 856789196.8
| Total value in lakhs |  | 8567.892
General Manager/TPS - II Expn

## ANNEXURE VC DETAILS PG 2
THERMAL POWER STATION-II EXPANSION
Materials Consumed during the FY - 2015-16
Sl No | Material Code | Material Description | SR Document No. | SR Date | Rate | Quantity | Amount | Voucher No. | SK Issue Date | Account Center ID | Scheme ID | Division ID | GL Code | Material ID | Notional Value | Additional Value | SR No. | Subhead | CPF No | Name | Designation
1 | 741150026 | BEACON PUMP SDA 16/20 B - MECHANICAL SEAL. PART NO. 7. | 1516005995 | 2015-06-01 14:00 | 139084.95 | 1 | 139084.95 | 0 | 2015-06-01 15:21 | 26 | 68 | 51 | 3253 | 233466 | 139084.95 | 0 | 433981 | 74 | 34767 | A.KANAKASABAPATHI | CHIEF MANAGER
2 | 742000001 | Bucket wheel boom Luffing cylinder | 1516008718 | 2015-06-27 10:28 | 1336419 | 2 | 2672838 | 0 | 2015-06-27 11:46 | 26 | 68 | 51 | 3253 | 252349 | 2672838 | 0 | 436704 | 74 | 30618 | S.ARJUNAN | DEPUTY GENERAL MANAGER
3 | 745000209 | THRUST BEARING ASSEMBLY 2 TBH | 1516011676 | 2015-08-25 10:47 | 189768.31 | 1 | 189768.31 | 0 | 2015-08-28 13:11 | 26 | 68 | 51 | 3253 | 246430 | 189768.31 | 0 | 439662 | 74 | 33172 | T.MANIVANNAN | ADDITIONAL CHIEF MANAGER
4 | 768400001 | Flame Scanner, Make: Durag, Model: D-LE 603 UA-P | 1516013990 | 2015-09-15 16:19 | 158355 | 2 | 316710 | 0 | 2015-09-15 16:19 | 26 | 68 | 51 | 3253 | 258062 | 316710 | 0 | 441976 | 76 | 32421 | S.RAMASAMY | ADDITIONAL CHIEF MANAGER
5 | 768400002 | Flame Scanner Control Unit, Make:Durag, Model:D-UG 660 (110V AC ) | 1516013990 | 2015-09-15 16:19 | 179491.95 | 2 | 358983.9 | 0 | 2015-09-15 16:19 | 26 | 68 | 51 | 3253 | 258063 | 358983.9 | 0 | 441976 | 76 | 32421 | S.RAMASAMY | ADDITIONAL CHIEF MANAGER
6 | 768400004 | LPG Ignitor, Make: DURAG / HEGWEIN, Model: ZA-1-180P/K0K5M | 1516013990 | 2015-09-15 16:19 | 488490.9 | 2 | 976981.8 | 0 | 2015-09-15 16:19 | 26 | 68 | 51 | 3253 | 258065 | 976981.5 | 0.3 | 441976 | 76 | 32421 | S.RAMASAMY | ADDITIONAL CHIEF MANAGER
7 | 751010154 | Dynamic Breaking Unit, MLFB No. 6SE70280ES872DA1 | 1516028011 | 2016-01-20 10:34 | 126945 | 1 | 126945 | 0 | 2016-01-20 10:34 | 26 | 60 | 51 | 3253 | 261634 | 126945 | 0 | 455997 | 75 | 26512 | M.P. SUSHEEL KUMAR | ADDL.DEPUTY GENERAL MANAGER
8 | 751010160 | Common Unit Vector Control Unit | 1516028011 | 2016-01-20 10:34 | 189357.5 | 1 | 189357.5 | 0 | 2016-01-20 10:34 | 26 | 60 | 51 | 3253 | 261640 | 189357 | 0.5 | 455997 | 75 | 26512 | M.P. SUSHEEL KUMAR | ADDL.DEPUTY GENERAL MANAGER
9 | 768400005 | Ionisation Flame Monitor, Tr. Fr. Panel of Ignitor ZA1-180P/K0K5M | 1516032758 | 2016-03-02 15:19 | 143437.5 | 2 | 286875 | 0 | 2016-03-02 15:19 | 26 | 60 | 51 | 3253 | 265725 | 286875 | 0 | 460744 | 76 | 32421 | S.RAMASAMY | ADDITIONAL CHIEF MANAGER
10 | 741150026 | BEACON PUMP SDA 16/20 B - MECHANICAL SEAL. PART NO. 7. | 1516035729 | 2016-03-28 09:26 | 139084.95 | 1 | 139084.95 | 0 | 2016-03-28 10:34 | 26 | 60 | 51 | 3253 | 233466 | 139084.95 | 0 | 463715 | 74 | 32899 | P.L.SARAVANAN | ADDITIONAL CHIEF MANAGER
11 | 768270301 | FISHER CV Positioner - DVC6200 205-AD-ATEXIS-G160B (DVC-825) | 1516036090 | 2016-03-30 15:22 | 155552.09 | 2 | 311104.18 | 0 | 2016-03-30 15:22 | 26 | 60 | 51 | 3253 | 257806 | 311104.18 | 0 | 464076 | 76 | 32421 | S.RAMASAMY | ADDITIONAL CHIEF MANAGER
12 | 768270302 | FISHER CV Positioner - DVC6200-204-AD-ATEXIS-G60B (DVC-820) | 1516036090 | 2016-03-30 15:22 | 147847.5475 | 4 | 591390.19 | 0 | 2016-03-30 15:22 | 26 | 60 | 51 | 3253 | 257810 | 611565.88 | -20175.69 | 464076 | 76 | 32421 | S.RAMASAMY | ADDITIONAL CHIEF MANAGER
TOTAL AMOUNT | [6 empty] | 6299123.78
Materials Consumed during the FY - 2016-17
Sl No | Material Code | Material Description | SR Document No. | SR Date | Rate | Quantity Issued | Total Value | Voucher No. | SK Issue Date | Account Center ID | Scheme ID | Division ID | GL Code | Material ID | Notional Value | Additional Value | SR No. | Subhead | CPF No | Name | Designation
1 | 742000049 | COOLING FAN FOR STACKER CUM RECLAIMER | 1617001223 | 2016-04-13 10:44 | 104496 | 2 | 208992 | 0 | 2016-04-13 12:25 | 26 | 60 | 51 | 3253 | 262799 | 208992 | 0 | 465677 | 74 | 45550 | D.ELANGO | DEPUTY CHIEF ENGINEER
2 | 743000200 | TPS2E AHS - Oil Separator for GA 250W Air Compressor | 1617001537 | 2016-04-16 19:18 | 131045.2 | 2 | 262090.4 | 0 | 2016-04-20 16:07 | 26 | 60 | 14 | 3253 | 253369 | 262090.4 | 0 | 465991 | 74 | 34725 | G.SELVAM | DEPUTY CHIEF ENGINEER
3 | 740130003 | Torque Limiter 5/451.725.0 with Nenflex coupling | 1617003540 | 2016-05-04 15:47 | 284310.65 | 2 | 568621.3 | 0 | 2016-05-04 15:47 | 26 | 60 | 51 | 3253 | 255492 | 581721.98 | -13100.68 | 467994 | 74 | 31044 | M.RAMAKRISHNAN | CHIEF MANAGER
4 | 740130323 | Complete conveying chain for Lignite Extraction Feeders | 1617010640 | 2016-07-06 10:45 | 638779 | 1 | 638779 | 0 | 2016-07-06 10:45 | 26 | 60 | 51 | 3253 | 266163 | 666612.32 | -27833.32 | 475094 | 74 | 31044 | M.RAMAKRISHNAN | CHIEF MANAGER
5 | 742050113 | Flexible disc with fasterners at out put side for SC 12. | 1617019788 | 2016-09-19 10:01 | 100004.49 | 1 | 100004.49 | 0 | 2016-09-21 11:43 | 26 | 60 | 51 | 3253 | 255105 | 100004.49 | 0 | 484242 | 74 | 32327 | N.SWAMINATHAN | SR. FOREMAN
6 | 750510010 | Geared Motor for Rotary Lignite Air lock Feeder | 1617020609 | 2016-09-24 15:58 | 367008 | 2 | 734016 | 0 | 2016-09-24 15:58 | 26 | 60 | 52 | 3253 | 268163 | 734015.52 | 0.48 | 485063 | 75 | 24767 | G.SUBRAMANIAN | CHIEF MANAGER
7 | 740090001 | Combustor to Cyclone Non Metallic Expansion Joint | 1617023333 | 2016-10-18 10:27 | 212625 | 1 | 212625 | 0 | 2016-10-18 13:17 | 26 | 60 | 51 | 3253 | 253040 | 212625 | 0 | 487787 | 74 | 31044 | M.RAMAKRISHNAN | CHIEF MANAGER
8 | 740130221 | Lignite Transport Conveyor C&D - Gear box H3-180 | 1617024969 | 2016-10-31 11:17 | 223383.89 | 1 | 223383.89 | 0 | 2016-10-31 11:17 | 26 | 60 | 51 | 3253 | 262923 | 237171.38 | -13787.49 | 489423 | 74 | 26674 | N.SUBRAMANIAN | DEPUTY CHIEF ENGINEER
9 | 740130322 | Lignite Extraction Feeder Gear box H4-225 | 1617024969 | 2016-10-31 11:17 | 340158.11 | 1 | 340158.11 | 0 | 2016-10-31 11:17 | 26 | 60 | 51 | 3253 | 265545 | 361153.03 | -20994.92 | 489423 | 74 | 26674 | N.SUBRAMANIAN | DEPUTY CHIEF ENGINEER
10 | 743000041 | AHT2E-Oil Separator Kit for GA 250W CAC | 1617027051 | 2016-11-17 11:09 | 172135.74 | 1 | 172135.74 | 0 | 2016-11-17 11:09 | 26 | 60 | 50 | 3253 | 269591 | 172135.74 | 0 | 491505 | 74 | 44301 | C.MANIKANDAN | JUNIOR ENGINEER-GR.II
11 | 740130227 | Transmission Sprocket with shear pin hub for LTC A&B | 1617027829 | 2016-11-23 11:29 | 236156.11 | 4 | 944624.44 | 0 | 2016-11-23 11:29 | 26 | 60 | 51 | 3253 | 269610 | 944622 | 2.44 | 492283 | 74 | 26674 | N.SUBRAMANIAN | DEPUTY CHIEF ENGINEER
12 | 740130229 | Transmission Sprocket with shear pin hub for LTC C&D | 1617027829 | 2016-11-23 11:29 | 141468.39 | 4 | 565873.56 | 0 | 2016-11-23 11:29 | 26 | 60 | 51 | 3253 | 269612 | 565873.56 | 0 | 492283 | 74 | 26674 | N.SUBRAMANIAN | DEPUTY CHIEF ENGINEER
13 | 740130325 | Transmission Sprocket with shear pin hub for Extraction Feeder | 1617027829 | 2016-11-23 11:29 | 140816.15 | 3 | 422448.45 | 0 | 2016-11-23 11:29 | 26 | 60 | 51 | 3253 | 269608 | 422448.45 | 0 | 492283 | 74 | 26674 | N.SUBRAMANIAN | DEPUTY CHIEF ENGINEER
14 | 740090001 | Combustor to Cyclone Non Metallic Expansion Joint | 1617029384 | 2016-12-06 11:17 | 212625 | 2 | 425250 | 0 | 2016-12-06 12:30 | 26 | 60 | 51 | 3253 | 253040 | 425250 | 0 | 493838 | 74 | 31044 | M.RAMAKRISHNAN | CHIEF MANAGER
15 | 740160001 | Service Air Compressor ZR 900 VSD - HP Screw Element | 1617029599 | 2016-12-07 15:26 | 2681918.06 | 1 | 2681918.06 | 0 | 2016-12-07 15:26 | 26 | 60 | 51 | 3253 | 269919 | 2681917.62 | 0.44 | 494053 | 74 | 26674 | N.SUBRAMANIAN | DEPUTY CHIEF ENGINEER
16 | 750510010 | Geared Motor for Rotary Lignite Air lock Feeder | 1617030941 | 2016-12-17 16:14 | 367008 | 1 | 367008 | 0 | 2016-12-17 16:14 | 26 | 60 | 52 | 3253 | 268163 | 367007.76 | 0.24 | 495395 | 75 | 24767 | G.SUBRAMANIAN | CHIEF MANAGER
17 | 741190060 | ESP AC PLANT CONDENSER WATER PUMP | 1617035063 | 2017-01-21 15:08 | 102714 | 1 | 102714 | 0 | 2017-01-27 10:16 | 26 | 60 | 53 | 3253 | 268984 | 102714 | 0 | 499517 | 74 | 32899 | P.L.SARAVANAN | ADDITIONAL CHIEF MANAGER
18 | 754510002 | 48V,300AH,Plante type lead acid battery | 1617035191 | 2017-01-23 16:05 | 477970 | 1 | 477970 | 0 | 2017-01-23 16:05 | 26 | 60 | 52 | 3253 | 269642 | 499798.31 | -21828.31 | 499645 | 75 | 37519 | P.SUYAMBU | ADDITIONAL CHIEF MANAGER
19 | 754010129 | Torque Switch Assembly for SMB-2 | 1617041260 | 2017-03-16 10:31 | 173392.13 | 1 | 173392.13 | 0 | 2017-03-16 10:31 | 26 | 60 | 52 | 3253 | 267488 | 173392.13 | 0 | 505714 | 75 | 26581 | T.N.SRIDHARAN | CHIEF MANAGER
20 | 754010130 | Gear Limit Switch Assembly for SMB-2 | 1617041260 | 2017-03-16 10:31 | 302747.2 | 1 | 302747.2 | 0 | 2017-03-16 10:31 | 26 | 60 | 52 | 3253 | 267489 | 302747.2 | 0 | 505714 | 75 | 26581 | T.N.SRIDHARAN | CHIEF MANAGER
21 | 754010131 | Torque Switch Assembly for SMB-3 | 1617041260 | 2017-03-16 10:31 | 185580.42 | 2 | 371160.84 | 0 | 2017-03-16 10:31 | 26 | 60 | 52 | 3253 | 267490 | 371160.84 | 0 | 505714 | 75 | 26581 | T.N.SRIDHARAN | CHIEF MANAGER
22 | 754010132 | Gear Limit Switch Assembly for SMB-3 | 1617041260 | 2017-03-16 10:31 | 286644.04 | 2 | 573288.08 | 0 | 2017-03-16 10:31 | 26 | 60 | 52 | 3253 | 267491 | 646407.82 | -73119.74 | 505714 | 75 | 26581 | T.N.SRIDHARAN | CHIEF MANAGER
23 | 754010133 | Torque Switch Assembly for SMB-4 | 1617041260 | 2017-03-16 10:31 | 211243.19 | 1 | 211243.19 | 0 | 2017-03-16 10:31 | 26 | 60 | 52 | 3253 | 267492 | 211243.19 | 0 | 505714 | 75 | 26581 | T.N.SRIDHARAN | CHIEF MANAGER
24 | 754010134 | Gear Limit Switch Assembly for SMB-4 | 1617041260 | 2017-03-16 10:31 | 352051.56 | 1 | 352051.56 | 0 | 2017-03-16 10:31 | 26 | 60 | 52 | 3253 | 267493 | 352051.56 | 0 | 505714 | 75 | 26581 | T.N.SRIDHARAN | CHIEF MANAGER
25 | 750510016 | 75 KW SEAL POT BLOWER MOTOR. | 1617042887 | 2017-03-30 09:49 | 161604 | 2 | 323208 | 0 | 2017-03-30 09:49 | 26 | 60 | 52 | 3253 | 270255 | 323208 | 0 | 507341 | 75 | 24767 | G.SUBRAMANIAN | CHIEF MANAGER
26 | 740130224 | Complete conveying chain for Lignite Transport Feeders A or B | 1617043015 | 2017-03-31 11:27 | 3172837 | 1 | 3172837 | 0 | 2017-03-31 11:27 | 26 | 60 | 51 | 3253 | 266162 | 3172837.5 | -0.5 | 507469 | 74 | 26674 | N.SUBRAMANIAN | DEPUTY CHIEF ENGINEER
27 | 742000051 | Pump element with O ring for CGS of SCR | 1617043020 | 2017-03-31 11:37 | 148807.8 | 1 | 148807.8 | 0 | 2017-03-31 11:37 | 26 | 60 | 13 | 3253 | 271935 | 148807.8 | 0 | 507474 | 74 | 30382 | S.RADHAKRISHNAN | SR FOREMAN SG3 GRADE
28 | 742000056 | Change over valve for CGS of SCR | 1617043020 | 2017-03-31 11:37 | 354003.96 | 1 | 354003.96 | 0 | 2017-03-31 11:37 | 26 | 60 | 13 | 3253 | 271940 | 354003.75 | 0.21 | 507474 | 74 | 30382 | S.RADHAKRISHNAN | SR FOREMAN SG3 GRADE
TOTAL AMOUNT | [6 empty] | 15431352.2

## ANNEXURE VIA
Annexure VI(A)
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
(To be filled for each of the Thermal /Hydro Generating Station)
Name of the Company: NLC INDIA LIMITED
Name of the Power Station TPS-II Expansion
(Rs. In Lakhs)
Sl.No. | ITEM |  |  | MIS | CTB | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | 2 |  |  |  |  | 3 | 4 | 5 | 6 | 7
(A) | Breakup of O&M expenses :
1 | Consumption of Stores and Spares |  |  | Stores & Spares |  | 0 |  |  | 184.2478 | 474.4455
2 | Repair and Maintenance |  |  | Outside Services |  | 0 |  |  | 1126.1137 | 1320.7917
3 | Insurance |  |  | Other Expenditure | Insurance |  |  |  | 26.5172 | 43.7949
4 | Security (normal)
4.1 | Additional Security it any on the advise of Govt. Agency/ Statutory Authority | [7 empty] | 625.1304 | 877.9077
5 | Water Charges |  |  | Internal Services |  |  |  |  | 28.0697 | 80.0607
6 | Administrative Expenses : |  |  | Other Expenditure
6.1 | - Rent |  |  | Other Expenditure
6.2 | - Electricity Charges |  |  | Other Expenditure
6.3 | - Traveling and conveyance |  |  | Other Expenditure |  |  |  |  | 10.9792 | 16.9156
6.4 | - Communication expenses |  |  | Other Expenditure |  |  |  |  | 0.35836 | 0.15704
6.5 | - Advertising |  |  | Other Expenditure
6.6 | - Foundation laying and inauguration |  |  | Other Expenditure
6.7 | - Donations |  |  | Other Expenditure
6.8 | - Entertainment |  |  | Other Expenditure |  |  |  |  | 5.0773 | 1.5495
6.9 | -Filing Fees |  |  | Other Expenditure
| Sub-Total (Administrative Expenses) |  |  | Other Expenditure |  | 0 | 0 | 0 | 16.4148 | 18.6221
7 | Employee Cost |  |  | Remuneration & Benefits
7.1 | -Salaries, wages and allowances |  |  | Remuneration & Benefits | Emp. Remuneration |  |  |  | 3155.249 | 3858.6182
7.2 | -Staff welfare expenses |  |  | Remuneration & Benefits | Welfare Expenses |  |  |  | 6.272 | 97.8542
7.3 | -Productivity linked incentive |  |  | Remuneration & Benefits | Bonus & Incentives |  |  |  | 485.7031 | 503.7842
7.4 | - Expenditure on VRS |  |  | Remuneration & Benefits |  |  |  |  | 62.02 | 0.068152
7.5 | -Ex-gratia |  |  | Remuneration & Benefits | Superannuation Benefits ,CPF & Gratuity |  |  |  | 482.0535 | 779.6842
7.6 | -Performance related pay (PRP) |  |  | Remuneration & Benefits
| Sub-Total (Employee Cost) |  |  | Remuneration & Benefits |  | 0 | 0 | 0 | 4191.2976 | 5240.0091
8 | Loss of store
9 | Provisions |  |  | Other Expenditure | Provisions
10 | Prior Period Adjustment , if any
11 | Corporate office expenses allocation |  |  | Common Charges | Common Charges |  |  |  | 1947.5164 | 2118.3804
12 | - Others (Specify items) | [7 empty] | 203.1885 | 317.0833
14 | Total (1 to 12) |  |  |  |  | 0 | 0 | 0 | 8348.4961 | 10491.0953
14.1 | Revenue/ Recoveries, if any |  |  | Recovery -Others | Recovery |  |  |  | 16.3583 | 395.7315
15 | Net Expenses | [7 empty] | 8332.1378 | 10095.3638
16 | Capital spares consumed not included in (A) (1) above and not claimed /allowed by Commission for
NOTES TO ANNEXURE VIA
1. Corporate expenses have been allocated as furnished in Annexure VIII
2. Reasons for variation in excess of 10%: Increase of 1. Salary & Wages 2.Stores and Spares and Repair & Maintenance Expenditure
3.O & M Expenses, which includes Lignite Handling System expenditure have been reconciled with audited Balance Sheet.
4.Break up of employees expenditure furnished below
5.Break up of Staff welfare expenses furnished
6.No.Abnormal expenses
7.No of Employees for VRS: 4
8.Details of water charges furnished in Annexure VIC
[9 empty] | 8332.1378 | 10095.3638
[9 empty] | 0 | 0
|  |  | Other Expenses (Breakup) |  |  | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
|  |  | Internal Services |  |  | 0 | 0 | 0 | 77.4272 | 194.2822
|  |  | Canteen Expenses | [5 empty] | 58.2628 | 78.3309
|  |  | Licence Fees | [5 empty] | 29.1692 | 13.2562
|  |  | Tender Advertisement | [5 empty] | 7.1572 | 9.2954
|  |  | Safety Expenses | [5 empty] | 0.38975 | 1.4573
|  |  | Other Expenses | [5 empty] | 30.7824 | 20.4613
|  |  | Total |  |  | 0 | 0 | 0 | 203.1885 | 317.0833
[9 empty] | 0 | 0
|  |  | Ex-Gratia Breakup |  |  | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
|  |  | Gratuity | [5 empty] | 0.89842 | 99.9174
|  |  | CPF | [5 empty] | 308.9629 | 323.1685
|  |  | Superannuation Benefits | [5 empty] | 172.1921 | 356.5983
|  |  | Total |  |  | 0 | 0 | 0 | 482.0535 | 779.6843 | 0
[9 empty] | 0 | 0
IUSS Canteen
|  |  | Salaries & Wages |  |  | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
|  |  | EL Encashment | [5 empty] | 246.8593 | 203.8167

## STAFF WELFARE EXPENSES
STAFF WELFARE EXPENSES TSII EXPANSION
| 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
Description | (Rs.in Lakhs)
MEDICAL REFERRAL PAYMENT |  |  |  |  | 69.0285 | 4302
EMPLOYEES WELFARE EXPENSES - MEDICAL EXP.OTHERS |  |  |  | 0.091 | 2.544 | 4303/4317
REIMBURSMENT OF MEMBER.FEE FOR PROFL. BODIES-EXE. |  |  |  | 0.032 |  | 4308
EMPLOYEES WELFARE EXPENSES - UNIFORMS & LIVERIES | [5 empty] | 4311
SCHOLARSHIPS TO WARD | [5 empty] | 4313
[5 empty] | 0.48882 | 4305
SAFETY PERSONAL PROTECTIVE EQUIPMENTS |  |  |  | 0.14849 | 1.2455 | 4314
EMPLOYEES WELFARE EXPENSES - OTHER EXPENSES | [5 empty] | 4315
PMT UNDER POST RETIREMENT |  |  |  | -0.0085 | -0.006 | 4322
T.A.MEDICAL |  |  |  | 0.40282 | 0.67302 | 4325
T.A.SUPERANNUATION. |  |  |  | 5.3822 | 23.492 | 4326
LOCAL PURCHASE-MEDICINES |  |  |  | 0.224 | 0.3883 | 3258
IUSS Canteen Expenses | [5 empty] | 8960/8961/8962
Total | 0 | 0 | 0 | 6.272 | 97.8542
Cont. Fig |  |  |  | 6.27 | 97.85

## ANNEXURE VIC
Annexure-VI (C)
DETAILS OF WATER CHARGES
(To be filled for each of the Thermal Generating Station )
Name of the Company: NLCIL
Name of the Power Station : T.P.S.II Expansion
(Rs. In Lakhs)
Sl.No. | ITEM |  |  | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | 2 |  |  | 3 | 4 | 5 | 6 | 7
(A) | Plant
1 | Type of Plant |  |  | - | - | - | Lignite fired CFBC Boiler
2 | Type of Cooling Tower |  |  | - | - | - | Natural Draft
3 | Type of Cooling Water System |  |  | - | - | - | Closed Cycle with soft water
4 | Any Special Features which may increase/reduce water consumption |  |  | - | - | - | Raw water from Mine-II was pre treated and is being used
(B) | Quantum of Water : ( Cubic Meter) |  |  | - | - | - | 14024732 | 14400520
5 | Contracted Quantum |  |  | - | - | - | NA
6 | Allocation of Water |  |  | - | - | - | - | -
7 | Actual water Consumption |  |  | - | - | - | 14024732 | 14400520
8 | Rate of Water Charges (Rs. / M3) |  |  | - | - | - | 0.2619 | 0.2619 | 3673077.3108 | 3771496.188
9 | Other charges/Fees , if paid as part of Water Charges (in Rs) |  |  | - | - | - | 1407712 | 1439089 | 1407712 | 1439089
| Total water Charges Paid (Rs in Lakhs) |  |  | - | - | - | 28.07 | 80.06 | 5080789.3108 | 5210585.188 | 10291374.4988
Note::
Any abnormal increase in Water consumption & water Charges on any year shall be explained separately

## ANNEXURE VI D
Annexure VI (D)
DETAILS OF CAPITAL SPARES
(To be filled for each of the Thermal Generating Station or Transmission System in each Region) ( For ULDC scheme to be filled up separately )
Name of the Company: NLCIL
Name of the Power Station : T.P.S.II Expansion
(Rs. In Lakhs)
Sl.No. | ITEM |  | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | 2 |  | 3 | 4 | 5 | 6 | 7
(A) | Details of Capital Spares in opening Stock |  | - | - | - | 29.0028 | 54.6732
1 | … |  | - | - | -
2 | … |  | - | - | -
3 | … |  | - | - | -
4 | … |  | - | - | -
| … |  | - | - | -
(B) | Details of Capital Spares procured during the year |  | - | - | - | 88.6616 | 191.8612
1 | … |  | - | - | -
2 | … |  | - | - | -
3 | … |  | - | - | -
4 | … |  | - | - | -
|  |  | - | - | -
(C) | Details of capital spares consumed during the year |  | - | - | - | 62.9912 | 154.3135
1 | … |  | - | - | -
2 | … |  | - | - | -
3 | … |  | - | - | -
4 | … |  | - | - | -
| … |  | - | - | -
(D) | Details of capital spares closing at the end of the |  | - | - | - | 54.6732 | 92.2208
1 | … |  | - | - | -
2 | … |  | - | - | -
3 | … |  | - | - | -
4 | … |  | - | - | -
| … |  | - | - | -
|  |  | - | - | -
|  |  | - | - | -
|  |  | - | - | -
|  |  | - | - | -
|  |  | - | - | -

## ANNEXURE XVI A
Annexure XVI A
Details of Incidental Expenses during Construction (IDEC) with break-up for the
Generating stations for which COD is declared after 1.4.2014 |  |  |  | RS IN LAKHS
Sl. No. | Item-wise details of expenditure with break-up | Expenditure as on SCOD | Expenditure as on actual COD of unit/ station | Time Overrun
1 | Establishment & others | 4352.52 | 27655 | Unit I- 77 Months Unit II-71 Months
| Total |  | 27655

## ANNEXURE XIX
Annexure-XIX
Name of the Utility : NLCIL
Name of the Generating Station : T.P.S.II Expansion
Station/ Stage/ Unit
Fuel Type (Coal/ Lignite/ Gas/ Liquid Fuel/ Nuclear/ Hydro) : Lignite
Capacity of Plant (MW) : 500 MW ( 2 x 250 MW )
COD : Unit-I - 05.07.2015 ; Unit-II - 22.04.2015
|  | 2015- 16 | 2016- 17
1 | Plant Availability Factor (PAF) (%) | 19.392 | 30.925
2 | Plant Load Factors (PLF) (%) | 19.369 | 30.189
3 | Scheduled Energy (MU) | 597.2484 | 1188.6502
4 | Scheduled Generation (MU) | 597.2484 | 1188.6502
5 | Actual Generation (Export) (MU) | 578.292 | 1128.294
6 | Quantum of coal consumption (MT) | 902468.222 | 1631461.71
7 | Value of coal (Rs. Lakh) | 20803.4284 | 42518.6656
8 | Specific Coal Consumption (kg/kwh) | 1.2066 | 1.188
9 | Gross Calorific Value of Coal (Kcal/ Kg) | 2632 | 2643
10 | Heat Contribution of Coal (Kcal/kwh) | 3175.802 | 3140.013
11 | Cost Of Specific Coal Consumption (Rs./Kwh) – Finally admitted by CERC | 2.2421 | 2.5243
12 | Quantum of Oil Consumption (Lit.) | 7620151 | 5157986
13 | Value of Oil (Rs. lakh) | 1902.2305 | 1276.14
14 | Gross calorific value of oil (kcal/lit) | 10107.065 | 10126.3284
15 | Specific Oil Consumption (ml/KwHr) | 10.1882 | 3.7561
16 | Cost Of Specific Oil Consumption (Rs./Kwh) –Finally admitted by CERC | 0.024963 | 0.024741
17 | Heat Contribution of Oil (Kcal/kwh) | 102.973 | 38.0341
18 | Station Heat Rate (kcal/kwh) | 3278 | 3178
19 | Auxiliary Energy Consumption (%) | 22.68 | 17.84
20 | Debt at the end of the year (Rs. Crore) | 2079.33 | 1991.2
21 | Equity/IR (Rs. Crore) | 930.83 | 950.75
22 | Working Capital (Rs. Crore) – finally admitted by CERC | 268.13 | 365.77
23 | Capital cost (Rs. Crore) – finally admitted by CERC | 3169.16 | 3353.54
24 | Capacity Charges/ Annual Fixed Cost (AFC) | 544.44 | 745.54
(a) Return on equity – pre tax (admitted by CERC)
| Absolute value | 137.26 | 192.79
| Rate (%) | 19.705 | 19.705
(b) interest on Loan
| Absolute value | 154.65 | 196.645
| Rate (%) – Weighted Average Rate | 9.867 | 9.773
(c) Depreciation (finally allowed by CERC)
| Absolute value | 121.55 | 170.73
| Rate (%) | 5.24 | 5.24
(d) Interest on working Capital
| Absolute value | 36.2 | 49.38
| Rate (%) | 13.5 | 13.5
(e) Operation and maintenance cost (finally admitted by CERC)
| Absolute value | 94.51 | 135.64
Rate (%)
(f) Compensation Allowances
25 | AFC (Rs. Kwh0 | 1.842 | 2.522
26 | Energy Charge (Rs./Kwh) | 2.518 | 2.785
27 | Total tariff (Rs. Kwh) | 4.36 | 5.307
28 | Revenue realisation before tax (Rs. Crore) | 288.3942 | 640.0676
29
30 | Profit/ loss (Rs. Crore0 | -244.0781 | -164.9177
31 | DSM Generation (MU) | -19.9935 | -61.7691
32 | DSM Rate (Ps/Kwh) | 219.7913 | 198.7675
33 | Revenue from DSM (Rs. Crore) | -4.3944 | -12.2777
Note: Generating Companies are required to submit data for all generating stations.
This is a general format. Plants of different fuel users have to fill the cells as applicable to them. Tariff for the Hydro may be understood as composite tariff.
The data provided for the corresponding years need to mention as Actual or provisional.
Data for each Unit and Stage is required to be submitted in additional sheets as per the format.