## Sheet1
Appendix-3
Details of the Schemes whose Expenditure is funded under Special Allowance
Name of the Station: Farakka STPS Stage-I&II (1600 MW)
Sl. No. | Name of Scheme (including completed schemes) | Awarded/ Estimated/ Completed Value (Rs. Cr.) | Exp. Upto 31.03.2018 (Rs. Cr.) | Proposed Expenditure (Rs. Cr) |  |  | Remarks/ Status
|  |  |  | 2018-19 | 2019-20 | 2020-21
1 | Renovation of ESP St-1 (M/s K.C.Cottrel) | 97.48 | 71.83 | 25.66
2 | Upgradation of existing DDCMIS of U-4&5 (M/s BHEL) | 59.35 | 49.51 | 9.84
3 | Retrofitting of ESP-II (M/s Hamon Cottrel) | 124 | 34.4 | 74 | 15.6
4 | Augmentation of fire fighting system at CHP(M/s Techno) | 13.79 | 8.51 | 5.28
5 | RLA study & replacement critical piping (P.O. No.550027584 dtd.29.08.17 Rs.35.95 Lakhs M/s NTPC GE Power Service Ltd. | 0.36 |  |  |  | 0.36
6 | R&M electrical & electronics portions of Reclaimer-3 (PO No.5500030090 dtd.07.06.18 awarded to M/s Elecom) | 3.76 |  | 3.76
7 | 17 nos.of BOBR wagons procurement | 5.24 |  |  |  | 5.24 | Under T/scrutiny
8 | Renovation of FH-4 & FH-7.PR No. 200081806 for FH-4 | 3.62 |  |  |  | 3.62
9 | Elevator at TP-II (PR No.200081600) | 0.42 |  | 0.42
10 | Replacement of 11/0.433 KV 1000 KVA Transformer for township | 0.41 |  |  |  | 0.41
11 | Repair & painting of Plant boundary wall (PO No.4000189102 dtd.19.07.17) M/s Bijoy Ghosh | 1.48 |  |  |  | 1.48
12 | Replacement of Insulation cladding of Boiler | 2 |  |  |  | 2
13 | R&M of coal mills (PO No.4200046843, M/s BHEL) | 2.85 |  | 2.85
14 | Replacement of Boiler, service blg. & Admn. Blg. Lifts | 4.07 |  |  |  | 4.07
15 | Replacement of elecrical Actutors (PR No.600024905&300025003) | 1.5 |  |  |  | 1.5
16 | Replacement of Air Circuit Breakers (PR No.300024812 dtd. 13.10.17) | 6.37 |  |  |  | 6.37
17 | Refurbishment of 200MW HP Turbine Module St.I | 0.97 |  |  |  | 0.97
18 | Complete replacement of 200MW Condensor Tubes(St.1 units) | 12.61 |  |  |  | 12.61
19 | 30 Nos. of BOBR wagons ( M/s Hindusthan Engg. Howrah | 10.5 |  | 10.5
20 | 4 nos. BVZI type 8 wheeler Brake Vans (PR No.300024954) | 1.2 |  |  |  | 1.2 | QR evaluation
21 | Mega R&M of C&I system for NTPC, Farakka St.I (3x200MW) M/s BHEL, LOA No.4120 (R&M-MG-405-9-SC-NOA-6643/6644 dt. 26.02.18) | 26.28 |  | 7 | 10 | 9.28
22 | Raising of Nishindra Dyke-1 (5th raising) | 11 |  |  |  | 11
23 | Inert gas fire extinguishery system(m/s Minimax) | 7.27 |  |  |  | 7.27
24 | Dry Ash Extraction System (M/s Mcnally Bharat) | 97.19 |  |  |  | 97.19
25 | Replacement of Sleepers (M/s RITES) P.O.no.5500003043 | 49.42 | 45.39 | 4.03
26 | Kendua Ash Dyke, M/s Lotus Constructiion | 6.72 |  |  |  | 6.72
| Total | 549.86 | 209.64 | 143.34 | 25.6 | 171.29