## Slide 1: Public hearing on Draft Central Electricity Regulatory Commission (Terms and Conditions of Tariff) (Third Amendment) Regulations, 2022 (23rd November 2022)
Comments from
POWER GRID CORPORATION OF INDIA LIMITED

## Slide 2
Description of Clause in Draft Regulation | Modification proposed
Appendix-II ………. (4) (iii) Shut down availed for shifting of Transmission Line for Project(s) of NHAI, Railways and Border Road Organisation. Member Secretary, RPC may restrict the deemed availability period to that considered reasonable by him for the work Involved. Provided that such deemed availability shall be considered only for the period for which DICs are not affected by the shutdown of the such transmission Line.” | Appendix-II ………… (4) (iii) Shut down availed for shifting of Transmission Line for all national importance infrastructure projects of NHAI, Railways, Border Road Organisation, organizations/ departments of central/ state Govts. etc. Member Secretary, RPC may restrict the deemed availability period to that considered reasonable by him for the work involved. Provided that such deemed availability shall be considered only for the period for which DICs are not affected by the shutdown of the such transmission Line.”

## Slide 3: Justification:
As per MoP letter 03.08.2022, it was mentioned that RPC Secretariat shall provide deemed availability certificate for the shutdown period availed by transmission licensees (both RTM and TBCB) for shifting of their Inter State Transmission System (ISTS) lines for all national importance infrastructure projects of NHAI, Railways, BRO etc.
Apart from projects of NHAI, Railways, BRO, diversion of ISTS lines are also being done for various other important infrastructural projects of departments/ organization of Centre/ State authorities like Bundelkhand Expressway/ Purvanchal expressway by Uttar Pradesh Expressways Industrial Development Authority (UPEIDA), MCD in Delhi, High Speed Rail projects by National High Speed Rail Corporation Limited (NHSRCL), etc. ,Therefore, it is proposed that instead of restricting proposed provision regrading deemed availability to specific organization , the same may be provided for all such important infrastructure projects.

## Slide 4
Description of Clause in Draft Regulation | Modification proposed
3.1 Provisos to sub-clause (ii) to Clause (5) under Appendix-II of the Principal Regulations shall be deleted. 3.2 New sub-clause (iii) shall be added after sub-clause (ii) of Clause (5) under Appendix-II of the Principal Regulations as under: “(iii) The outage period which can be excluded for the purpose of sub-clauses (i) and (ii) of this clause shall be declared as under: a) Maximum upto one month by Member Secretary, RPC | “(iii) The outage period which can be excluded for the purpose of sub-clauses (i) and (ii) of this clause shall be declared as under: a) Maximum upto three month by Member Secretary, RPC. Provided that in case of any disagreement with the transmission licensee regarding reason for outage, same may be referred to Chairperson CEA within 30 days.

## Slide 5
Description of Clause in Draft Regulation | Modification proposed
b) Beyond one month and upto three months after decision at RPC c) Beyond three months by the Commission for which the transmission licensee shall approach the Commission along with reasons, steps taken to mitigate the outage and restoration timeline.” | b) Beyond three month and upto five months after decision at RPC c) Beyond five months by the Commission for which the transmission licensee shall approach the Commission along with reasons, steps taken to mitigate the outage and restoration timeline.”

## Slide 6: Justification:
The restoration period of transmission line mainly depends on following:
Tower Location- Plain, Hilly, River
Accessibility to site
Extent of damage- Foundation damage, Structural damage, etc
Others like hill sinking, inundation of area due to flash flood, river, etc
In recent past, it has been observed that restoration of transmission lines takes more than a month in many cases depending upon actual site conditions and despite best efforts by transmission licensee. Restoration of Transformer/ Reactors after failure may also take 2-3 months.
Further as per CERC SOP Regulation 2012, the limit for restoration time for various type of failures in transmission elements are as below:
Tower after collapse - Plain Terrain | 30
Tower after collapse - River Bed | 50
Tower after collapse - Hilly Terrain | 50
Restoration of the failed ICT | 120
Restoration of the failed reactor | 120

## Slide 7: Justification:
Certification of transmission availability for such cases is presently being done by Member Secretary, RPC as a routine process. In case of outages as referred at clause 5 (i) & (ii) of Appendix-II to Principal Regulation, the certification is done by Member Secretary, RPC in line with due process and prudence check. If required, the Regulation provides for consultation with experts/ transmission licensees or CEA as the case may be.
Further, in case any of the stake holders including beneficiaries/ licensees have any concerns with regard to certified availability, they can approach appropriate forums like RPC, CERC at any time for resolution of their concerns.
Therefore, it is proposed that certification of availability in such cases may be done by Member Secretary, RPC for a period of outage upto 03 months. Further the existing provision of principal Regulation for referring the case to Chairperson, CEA in case of disagreement with transmission licensee regarding reason for outage may be continued for the outages up to three months for proper resolution of case.

## Slide 8
Thank You!