## Slide 1
“Draft Central Electricity Regulatory Commission (Sharing of Inter-State Transmission Charges and Losses) (First Amendment) Regulations,2022 “
----
CTUIL Comments
Date: 10.10.2022

## Slide 2
Amendment Proposed in draft Regulations:
“Designated ISTS Customer’ or ‘DIC’ means the user of any transmission element(s) of the Inter-State Transmission System (ISTS) and shall include generating station, State Transmission Utility (STU), distribution licensee including State Electricity Board or its successor company, Electricity Department of State and any other entity directly connected to the ISTS and shall include an intra-State entity or a trading licensee that has obtained GNA or T-GNA to ISTS;”
CTUIL Comment on proposed draft:
The existing definition of DIC did not include STOA customer whereas in the Amendment, the definition of DIC includes GNA and T-GNA customers.
As per proposed Reg 3(2) in the Amendment, the YTC of Transmission system shall be shared by Drawee DICs i.e by Drawee GNA and Drawee T-GNA Customers. This is not desirable, as First Bill & Second bill are required to be raised only on Drawee GNA Customers and adjustments of T-GNA charges and Transmission Deviation charges in the First Bill are also to be given only to the Drawee GNA Customers.
Hence the definition of DIC may be limited only to drawee entities obtaining GNA (not T-GNA)
Definition of ‘Designated ISTS Customer’ (Regulation 1(j) )

## Slide 3
Amendment Proposed in draft Regulations:
“(1) T-GNA Rate (in Rs./MW/block) shall be published for each billing month by the Implementing Agency which shall be calculated State-wise as under:
Transmission charges for GNA for entities located in the State, for the billing month, under first bill (in rupees) X 1.10 / (number of days in a month X 96 X GNA quantum, in MW, for all such entities located in the State considered for billing, for the corresponding billing period.)”
CTUIL Comment on proposed draft:
The original Regulation 11(5), which provided that no STOA charges are to be payable by a distribution licensee, had been proposed for deletion. This gives an implication regarding applicability of T-GNA charges also on distribution licensees.
The above proposed Regulation 11(2) provides for T-GNA charges payable by embedded entities only.
Therefore, this aspect regarding T–GNA charges to be paid by all the other entities including distribution licensee may need to be clarified in proposed amendment.
11. Transmission charges for T-GNA

## Slide 4
Existing Regulation and no change proposed in draft Amendment :
““(2) Transmission charges collected by the Central Transmission Utility for transmission systems covered under Clauses (3), (6), (8), (9) and (12) of Regulation 13 and not covered under Regulations 5 to 8 of these regulations shall be disbursed directly to the concerned inter-State transmission licensee or the generating company, as the case may be.”
CTUIL proposes to add proviso to the above Regulation :
The Regulation relates to collection of transmission charges against the bilateral billing to be done by CTU.
To address the disputes regarding such bilateral billing by CTU, the following proviso is proposed to be added to the above Regulation 20(2):-
“Provided CTU shall act as the facilitator in raising the bills, collecting and disbursing such transmission charges to the respective transmission licensee or the generating company. Concerned transmission licensee or the generating company shall be responsible to handle any bilateral disputes between themselves.”
20. Collection and Disbursement

## Slide 5
On notifying the Amendment to Sharing Regulations, the “Billing, Collection and Disbursement Procedure” needs to be amended by CTU.
A minimum of 2 months time is required for draft amendment, obtaining comments from DICs / Licensees and notifying the Procedure.
The effective date of implementation of GNA Regulations and Sharing Regulations may be matched so as to minimize the billing issues during transition period.
Implementation of CERC Sharing Regulations (First Amendment),2022

## Slide 6
Thank You