## Annexure-II
Annexure-II
Pro-forma for furnishing Actual annual performance/operational data for the Gas/Liquid Fuel based thermal generating stations for the 5 year period from 2017-18 to 2021-22
| Particulars |  | Units | 2017-18 | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
1 | Name of Company |  |  | 2017-18: North Eastern Electric Power Corporation Limited (NEEPCO LTD.)
2 | Name of Station |  |  | 2017-18: Assam Gas Based Power Station (AGBPS)
3 | Installed Capacity and Configuration |  | MW | 2017-18: 291 MW, (6 X 33.5 +3 X 30) Combined Cycle Gas Based
Stage
3.1 | Date of Commercial Operation - Unit Wise | GTG-1 |  | 2017-18: 1995-05-01
|  | GTG-2 |  | 2017-18: 1995-05-01
|  | GTG-3 |  | 2017-18: 1995-07-01
|  | GTG-4 |  | 2017-18: 1995-08-01
|  | GTG-5 |  | 2017-18: 1997-04-01
|  | GTG-6 |  | 2017-18: 1997-04-01
|  | STG-1 |  | 2017-18: 1999-04-01
|  | STG-2 |  | 2017-18: 1999-04-01
|  | STG-3 |  | 2017-18: 1999-04-01
3.2 | Effective COD |  |  | 2017-18: 1-Apr-1999 (291 MW)
4 | Make of Turbine |  |  | 2017-18: Make of GTG # 1 to 4: M/s Mitsubishi Heavy Industries Ltd., Make of GTG # 5, 6 & STG # 1 to 3: M/s BHEL
5 | Rated Steam Parameters |  |  | 2017-18: Inlet Steam Pressure= 41 Ata, Inlet SteamTemperature = 470 Degree C
6 | Average site ambient conditions |  |  | 2017-18: Average daily Maximum Temp. =27.7 Degree C Average daily Minimum Temp. =18.7 Degree C Annual Mean Relative Humidity = 83 %
7 | Any other Site specific feature | bar: 2017-18
8 | Fuels :
8.1 | Main/Primary Fuel |  |  | 2017-18: Natural Gas
8.1.1 | Annual Allocation/ Requirement |  | MMSCMD | 2017-18: Allocation: 1.4 MMSCMD, Requirement: 1.70 MMSCMD
8.1.2 | Sources of supply |  |  | 2017-18: M/S Oil India Limited , Duliajan, District-Dibrugarh, Assam
8.1.3 | Transportation Distance of the station from the Sources of supply |  | KM | 2017-18: 12 KM
8.1.4 | Mode of Transport |  |  | 2017-18: Pipeline
8.2 | Alternate Fuel :
8.2.1 | Annual Allocation/ Requirement |  | Million Cubic meter or MT or Kilo Litre | bar: 2017-18
8.2.2 | Sources of supply | bar: 2017-18
8.2.3 | Transportation Distance of the station from the Sources of supply |  | KM | bar: 2017-18
8.2.4 | Mode of Transport | bar: 2017-18
8.2.5 | Maximum Station capability to stock secondary fuels |  | KL | bar: 2017-18
9 | Cost of Spares :
9.1 | Cost of Spares capitalized in the books |  | (Rs. Lakhs) | 2017-18: 8470.5998
9.2 | Cost of spares included in capital cost for the purpose of tariff |  | (Rs. Lakhs) | 2017-18: NIL. Cost of Spares not included in the tarrif as the same was disallowed in the truing up petition for the period 01.04.2014 to 31.03.2019. Further, in the projectted CERC petition cost of spares was also not allowed citing the reason that the same may please be allowed at the time of truing up based upon the consumption of spares.; 2018-19: (Rs. Lakhs)
10 | Generation :
10.1 | Actual Gross Generation at generator terminals |  | MU | 1598.5119 | 1639.4545 | 1704.0286 | 1570.1879 | 1787.0953 | 1689.8261
10.1.1 | Total |  | MU
10.1.2 | On Gas |  | MU | 1598.5119 | 1639.4545 | 1704.0286 | 1570.1879 | 1787.0953 | 1689.8261
10.1.3 | On Naphtha or any other liquid fuel |  | MU
10.2 | -Actual Net Generation Ex-bus |  | MU | 1558.0873 | 1596.424 | 1660.7002 | 1529.6787 | 1748.1524 | 1648.8128
10.3 | -Scheduled Generation Ex-bus |  | MU | 1471.7434 | 1509.8682 | 1576.7955 | 1461.6242 | 1714.3902 | 1564.7425
11 | Average Declared Capacity (DC) |  | MW | 176.9951 | 182.1433 | 196.5009 | 182.8783 | 202.41 | 207.5822
12 | Actual Auxiliary Energy Consumption excluding colony consumption & agency power |  | MU | 38.5136 | 41.9743 | 42.936 | 39.0237 | 37.9823 | 39.9921
13 | Actual Energy supplied to Colony from the station and Agency Power |  | MU | 1.9584 | 1.0579 | 0.7478 | 1.4253 | 0.8928 | 1.0211
14 | Main/Primary Fuel :
14.1 | Consumption |  | (MSCM, MT or KL) - Specify
14.1. 1 | Natural Gas | APM Gas | SCM | 358727784 | 352150752 | 360738285 | 352007957 | 364199618 | 364845324
|  | Non-APM Gas | SCM | 77158369 | 93294867 | 120499214 | 106586491 | 155771312 | 125276617
14.1.2 | RLNG |  | SCM | bar: 2017-18 to 2022-23
14.1.3 | Liquid Fuel |  | KL | bar: 2017-18 to 2022-23
14.2 | Weighted Gross Calorific Value (GCV)
14.2.1 | Natural Gas (as received) |  | kCal/SCM | 9117.423 | 9081.53 | 9262.8954 | 9145.7468 | 9181.5587 | 9246.42
14.2.2 | RLNG (as received) |  | kCal/SCM | bar: 2017-18 to 2022-23
14.2.3 | Liquid fuel (as received) |  | kCal/Lt. | bar: 2017-18 to 2022-23
14.3 | Weighted Average Landed Price
14.3.1 | APM Gas |  | Rs. /1000 SCM | 4609.0625 | 5855.5328 | 6471.0293 | 4190.3351 | 4679.7764 | 15140.68 |  | 494.9719
14.3.2 | Non-APM Gas |  | Rs. /1000 SCM | 7482.9696 | 9535.2918 | 10578.5488 | 6790.6701 | 8083.6985 | 32138.72
14.3.3 | RLNG |  | Rs. /1000 SCM | bar: 2017-18 to 2022-23
14.3.4 | Liquid Fuel |  | Rs./KL | bar: 2017-18 to 2022-23
14.4 | Percentage of Declared Capacity
14.4.1 | APM Gas |  | % | bar: 2017-18 to 2022-23
14.4.2 | Non-APM Gas |  | % | bar: 2017-18 to 2022-23
14.4.3 | RLNG |  | % | bar: 2017-18 to 2022-23
14.4.4 | Liquid Fuel |  | % | bar: 2017-18 to 2022-23
14.5 | Actual Average stock maintained for liquid fuel |  | (KL) | bar: 2017-18 to 2022-23
15 | Alternate Fuel : RLNG/Liquid
15.1 | Consumption |  | KL/SCM | bar: 2017-18 to 2022-23
| Weighted Average Gross Calorific value (As received) |  | (kCal /Lt. or SCM) | bar: 2017-18 to 2022-23
15.3 | Weighted Average Landed Price |  | (Rs per KL/SCM) | bar: 2017-18 to 2022-23
15.4 | Actual Average stock maintained |  | KL | bar: 2017-18 to 2022-23
16 | Weighted average duration of outages( Unit-wise details)
16.1 | Planned Outages | GTG1 | (Days) | 0 | 0 | 0 | 8.1639 | 0 | 1.2812
|  | GTG2 | (Days) | 0 | 0 | 0 | 3.3347 | 26.4167 | 15.6854
|  | GTG3 | (Days) | 32.6597 | 0 | 0 | 18.2208 | 0 | 14.6965
|  | GTG4 | (Days) | 0 | 20.5444 | 0 | 5.3021 | 0 | 1.3042
|  | GTG5 | (Days) | 14.7097 | 0 | 29.6562 | 48.916 | 0 | 0
|  | GTG6 | (Days) | 13 | 10.7361 | 0 | 75.309 | 10.425 | 0
|  | STG1 | (Days) | 0 | 0.725 | 5.1354 | 12.8035 | 25.2653 | 23.4431
|  | STG2 | (Days) | 0 | 0 | 0 | 12.066 | 6.5444 | 9.5958
|  | STG3 | (Days) | 0 | 0 | 0 | 11.2562 | 0 | 8.3389
16.2 | Forced Outages | GTG1 | (Days) | 7.9021 | 3.8757 | 5.7819 | 1.0181 | 0.56875 | 2.1687
|  | GTG2 | (Days) | 1.2035 | 10.2965 | 10.1146 | 2.2875 | 1.6187 | 2.0312
|  | GTG3 | (Days) | 3.9917 | 2.1701 | 16.5931 | 10.8417 | 2.2882 | 0.38819
|  | GTG4 | (Days) | 16.6444 | 4.6618 | 8.6132 | 0.85694 | 1.5278 | 0.81736
|  | GTG5 | (Days) | 1.5361 | 1.6937 | 40.509 | 11.4444 | 61.0132 | 3.7486
|  | GTG6 | (Days) | 19.984 | 25.7951 | 11.4778 | 12.3632 | 5.3076 | 14.0931
|  | STG1 | (Days) | 16.4236 | 20.8319 | 7.8083 | 2.6944 | 3.4236 | 7.8132
|  | STG2 | (Days) | 18.2083 | 16.4813 | 14.1736 | 4.7597 | 16.8347 | 2.1465
|  | STG3 | (Days) | 2.0778 | 27.4826 | 19.3271 | 6.3292 | 2.4035 | 3.4118
16.3 | Number of tripping | GTG1 | Nos. | 9 | 6 | 6 | 10 | 5 | 6
|  | GTG2 | Nos. | 11 | 16 | 30 | 28 | 21 | 31
|  | GTG3 | Nos. | 15 | 19 | 12 | 15 | 8 | 4
|  | GTG4 | Nos. | 15 | 14 | 24 | 10 | 12 | 8
|  | GTG5 | Nos. | 9 | 23 | 11 | 20 | 5 | 9
|  | GTG6 | Nos. | 10 | 15 | 15 | 12 | 6 | 17
|  | STG1 | Nos. | 16 | 24 | 17 | 17 | 9 | 14
|  | STG2 | Nos. | 21 | 24 | 10 | 20 | 14 | 12
|  | STG3 | Nos. | 8 | 12 | 17 | 19 | 8 | 15
16.4 | Number of start-ups |  | Nos. | 147 | 208 | 151 | 178 | 96 | 105
16.4.1 | Cold Start-up |  | Nos. | 55 | 67 | 48 | 43 | 17 | 23
16.4.2 | Warm Start-up |  | Nos. | 32 | 38 | 33 | 35 | 4 | 19
16.4.3 | Hot start-up |  | Nos. | 60 | 103 | 70 | 100 | 43 | 63
17 | Cost of spares consumed |  | Rs. Lakhs | 1636.148 | 1958.1514 | 2447.1164 | 5366.805 | 2694.9726 | 872.21 | Cost of Spares consumed includes all the spares related to CAPEX and OPEX. MIN for the same has already been issued and consumption has been determined on the basis of the material issued.
18 | Average stock of spares |  | Rs. Lakhs | 3809.2131 | 4093.4957 | 4324.7395 | 4597.2794 | 4657.8821 | 4706.41 | As the value of the spares in the system defined on the basis of the weighted average method. The value of the average stock of spares has been taken as closing balance of inventory on the reporting date.
19 | NOx and other particulate matter emission :
19.1 | Design value |  | mg/Nm3 | 2017-18: 150 PPM
19.2 | Actual emission |  | mg/Nm3 | 44 | 46 | 49 | 57 | 52 | 47
20 | Number of employees deployed in O&M
20.1 | - Executive |  | Nos. | 97 | 94 | 91 | 87 | 84 | 69
20.2 | - Non Executive |  | Nos. | 165 | 157 | 144 | 139 | 131 | 111
20.3 | Corporate Office |  | Nos. | 87.7105 | 79.8902 | 77.2938 | 50.6456 | 46.1186
21 | Man-MW ratio |  | Man/MW | 1.2018 | 1.1371 | 1.0732 | 0.95067 | 0.89731 | 0.61856
Notes:
1. List of beneficiaries/customers along with allocation by GoI including (allocation of unallocated share) / capacity as contracted shall also be furnished separately.
2. In case of two or more alternate fuels, information should be furnished for each of the alternate fuel. Gross generation on generator terminal for different fuel may be based on estimates.
3. In case of two or more stages or two or more unit sizes, information should be furnished separately to the extent possible.
4. A brief write-up on the methodology to arrive at the performance & operation parameters should also be furnished.
5. Any relevant point or a specific fact having bearing on above performance or operating parameters may also be highlighted or brought to the notice of the Commission.
6. If RLNG , Non APM gas or Liquid fuel is alternate fuel then details should be given under head Alternate fuel.
7. The declared capacity for peak and off peak period should be given separately for high and low demand season as per respective RLDC.

## Annexure-IV
Annexure –IV
PLANT AVAILABILITY/SCHEDULED PLANT LOAD FACTOR ACHIEVED Generating company: North Eastern Electric Power Corporation Limited (NEEPCO LTD.) Name of Generating station: Assam Gas Based Power Station (AGBPS) Installed Capacity (MW) : 291 Normative Annual Plant Availability Factor (%) approved by Commission : 72.00 %
Plant Availability Factor Achieved (%)
Month | 2017-18 | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | Reasons for shortfall in PAF achieved vis-a-vis NAPAF
April | 53.339 | 44.5801 | 66.8804 | 70.5412 | 64.5059 | 71.7755 | Less availability of Gas.
May | 71.5718 | 64.578 | 72.7001 | 72.0755 | 79.5888 | 83.1956 | Less availability of Gas.
June | 70.3986 | 55.7729 | 69.746 | 63.7952 | 78.5597 | 69.4934 | Less availability of Gas.
July | 66.383 | 65.2907 | 73.5664 | 47.1955 | 74.3926 | 69.3384 | Less availability of Gas.
August | 55.7297 | 65.8484 | 66.7695 | 43.7353 | 67.3283 | 70.6422 | Less availability of Gas.
September | 60.8312 | 50.7912 | 59.2111 | 57.4741 | 68.9382 | 72.9196 | Less availability of Gas.
October | 66.0116 | 71.9801 | 58.7703 | 70.7276 | 66.161 | 65.5128 | Less availability of Gas.
November | 52.1589 | 75.9074 | 77.877 | 62.9166 | 70.9495 | 70.3096 | Less availability of Gas.
December | 55.0626 | 75.543 | 60.9421 | 63.5922 | 72.9098 | 74.3829 | Less availability of Gas.
January | 74.7347 | 71.5361 | 76.4469 | 75.7853 | 70.4777 | 72.3514 | Less availability of Gas.
February | 65.1001 | 63.5849 | 77.9934 | 74.6965 | 72.4828 | 76.3971 | Less availability of Gas.
March | 57.1204 | 63.9343 | 72.7456 | 73.7811 | 71.9893 | 83.904 | Less availability of Gas.
Annual | 62.3826 | 64.1971 | 69.4356 | 64.6219 | 71.5244 | 73.3513
Plant Load Factor Achieved (%)
Month | 2017-18 | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | Reasons for shortfall in PLF achieved vis-a-vis Target PLF
April | 53.8372 | 45.065 | 64.9918 | 63.9428 | 64.383 | 71.2507 | Less availability of Gas, URS.
May | 71.0668 | 65.0697 | 68.9807 | 65.1156 | 78.3229 | 78.6576 | Less availability of Gas, URS.
June | 69.7016 | 55.6727 | 67.437 | 58.4182 | 77.3986 | 65.3742 | Less availability of Gas, URS.
July | 66.0364 | 64.6695 | 68.2014 | 44.2915 | 72.7094 | 63.4742 | Less availability of Gas, URS.
August | 55.927 | 65.7197 | 62.0417 | 41.7969 | 66.9807 | 64.8017 | Less availability of Gas, URS.
September | 61.2872 | 51.1655 | 54.0706 | 54.0425 | 68.1833 | 68.3896 | Less availability of Gas, URS.
October | 66.5309 | 72.2326 | 56.556 | 67.1978 | 65.381 | 57.9199 | Less availability of Gas, URS.
November | 52.7427 | 76.4193 | 76.5959 | 60.4997 | 68.7369 | 63.2488 | Less availability of Gas, URS.
December | 55.8472 | 76.2189 | 60.2494 | 62.6279 | 68.8323 | 63.517 | Less availability of Gas, URS.
January | 75.7669 | 71.4868 | 75.2176 | 74.8482 | 66.8109 | 62.0637 | Less availability of Gas, URS.
February | 65.8607 | 63.461 | 76.4498 | 74.1165 | 72.1297 | 66.7123 | Less availability of Gas, URS.
March | 57.7615 | 63.5656 | 69.693 | 73.1634 | 71.5349 | 70.2058 | Less availability of Gas, URS.
Annual | 62.7074 | 64.3135 | 66.664 | 61.5963 | 70.1053 | 66.2895 | Less availability of Gas, URS.

## Annexure-VI (C)
Annexure-VI (C)
DETAILS OF WATER CHARGES
| Name of the Company: | North Eastern Electric Power Corporation Limited (NEEPCO LTD.)
| Name of the Power Station and Stage/Phase: | Assam Gas Based Power Station (AGBPS)
(Rs. In Lakhs)
Sl.No. | ITEM | 2017-18 | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
(A) | Plant
1 | Type of Plant | 2017-18: Combined cycle Gas Based Power Station
2 | Type of Cooling Tower | 2017-18: Induced drought
3 | Type of Cooling Water System | 2017-18: Closed Circuit
4 | Any Special Features which may increase/reduce water consumption
(B) | Quantum of Water : ( Cubic Meter)
5 | Contracted Quantum | bar: 2017-18 to (Rs. In Lakhs) 2022-23
6 | Allocation of Water | bar: 2017-18 to (Rs. In Lakhs) 2022-23
7 | Actual water Consumption | 1606140 | 2038263 | 1911127 | 1503590 | 1995763 | 1834444
8 | Rate of Water Charges | 2017-18: Water Cess paid till Jun 2017 as per bills received from Pollution Control Board, Assam.
9 | Other charges/Fees , if paid as part of Water Charges | NIL | NIL | NIL | NIL | NIL | NIL
Total water Charges Paid
Note:
Any abnormal increase in Water consumption & water Charges on any year shall be explained separately

## Annexure-VI D
Annexure VI (D)
DETAILS OF OPERATIONS AND MAINTENANCE EXPENSES
Name of the Company:North Eastern Electric Power Corporation Limited
Name of the Power Station or Transmission Region: Assam Gas Based Power Station
(Rs. In Lakhs)
Sl. No. | ITEM | 2017-18 | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
(A) | Details of Capital Spares in opening Stock | NIL | NIL | NIL | NIL | NIL | NIL | We don't have opening stock of capital spares in terms of values. As per the policy, spares having value more than INR 5 lacs considers as Capital Spares and value of the same charged to the capital account/Asset as capital spares.The said spares are considered to be as a Non-valuated items.
1 | …
2 | …
3 | …
4 | …
…
(B) | Details of Capital Spares procured during the year | 1444.1196 | 770.5629 | 3377.6848 | 2478.0761 | 400.1564 | 1797.83 | Value of the spares indicated here has got capitalized in the books of accounts as per the spares capitalization policy of the corporation.
1 | …
2 | …
3 | …
4 | …
(C) | Details of capital spares consumed during the year | 86.2862 | 989.5666 | 502.1648 | 3826.1059 | 1353.4738 | 141.56 | Spares consumed on the basis of MIN issued.
1 | …
2 | …
3 | …
4 | …
…
(D) | Details of capital spares closing at the end of the | NIL | NIL | NIL | NIL | NIL | NIL | We don't have closing stock of capital spares in terms of values. As per the policy, spares having value more than INR 5 lacs considers as Capital Spares and value of the same charged to the capital account/Asset as capital spares. The said spares are considered to be as a Non-valuated items.
1 | …
2 | …
3 | …
4 | …

## Annexure-VIII(O&M)
Annexure VIII
Details of actual O&M expenses (Common for Hydro /Thermal Generating Station)
Sl. No. | Item | Unit | 2017-18 | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
1 | Consumption of stores & spares |  | 1549.8618 | 968.5847 | 1944.9516 | 1540.699 | 1341.4988 | 730.646
2 | Repair & Maintenance |  | 2199.6271 | 1822.57 | 1655.1118 | 2272.6732 | 1738.9025 | 1629.5516
3 | Insurance |  | 112.32 | 114.7485 | 250.262 | 1002.3309 | 843.6839 | 719.6113
4 | Security |  | 294.2081 | 372.7936 | 408.5604 | 337.6493 | 329.0387 | 352.7741
4.1 | CISF |  | 2017-18: 0
4.2 | Other than CISF |  | 2017-18: 0
5 | Water Charges |  | 2021-22: 0.40781; 2022-23: 0.13
6 | Administrative Expenses
6.1 | Rent
6.2 | Electricity charges |  | 9.7452 | 9.426 | 445.8432 | 80.8989 | 77.7504 | 416.4875
6.3 | Travelling & Conveyance |  | 28.4074 | 31.067 | 21.0489 | 4.6384 | 15.313 | 20.1399
6.4 | Communication Expenses |  | 8.2822 | 4.0444 | 9.7948 | 4.1212 | 3.3946 | 3.147
6.5 | Advertising |  | 32.4894 | 28.9003 | 16.1339 | 5.565 | 0.1 | 3.38
6.6 | Foundation Laying & Inauguration
6.7 | Donation
6.8 | Entertainment |  | 2022-23: 0.07
6.9 | Filing fee |  | 406.5179 | 187.9054 | 2172.0453 | 209.9438 | 347.4477 | 12.804
| Subtotal (Administrative Expenses) |  | 4641.4592 | 3540.0399 | 6923.7518 | 5458.5196 | 4697.5374 | 3888.7415
7 | Employee Cost
7.1.1 | Salaries, Wages & Allowances |  | 4056.1441 | 5039.0434 | 4746.2175 | 4215.4254 | 4178.4426 | 4208.2913
7.1.1.1 | Salaries, Wages & Allowances (inluding loco pilots and man power associated with stone and metal picking charges and water pumping)
7.1.1.2 | Salaries, Wages & Allowances (Excluding loco pilots and man power associated with stone and metal picking charges and water pumping)
7.1.1.3 | Loco pilots
7.1.1.4 | Stone and metal picking
7.1.1.5 | Water pumping
7.1.2 | Pension |  | 254.8216 | 272.5337 | 285.6833 | 272.6685 | 310.001 | 312.6249
7.1.3 | Gratuity |  | 1327.0765 | 225.5647 | 156.4241 | 147.3023 | 141.3201 | 94.8429
7.1.4 | Provident Fund |  | 360.4596 | 381.4405 | 388.9572 | 395.3596 | 352.6136 | 366.7515
7.1.5 | Leave Encashment |  | 615.0656 | 364.972 | 5.1061 | 311.9294 | 639.3591 | 592.3863
7.2 | Staff welfare expenses |  | 38.6483 | 23.99 | 26.9338 | 284.7987
7.2.1 | Medical expenses on superannuated employees
7.2.2 | Medical expenses on regular employees & others |  | 118.4775 | 149.6896 | 144.8968 | 112.6423 | 89.5253 | 140.3245
7.2.3 - | Uniform/Livries & safety equipment |  | 2019-20: 1.2629; 2022-23: 112.5
7.2.4 - | Canteen expenses
7.2.5 - | Other staff welfare expenses
Subtotal (Staff welfare Expenses)
7.3 | Productivity linked Incentive
7.4 | Expenditure on VRS
7.5 | Ex-gratia
7.6 | Performance Related Pay(PRP) |  | 185.3798 | 22.6528 | 9.7306 | 14.534 | 80.0195
| Sub Total (Employee Cost) |  | 6956.0729 | 6479.8867 | 5765.2123 | 5754.6601 | 5791.2812 | 5827.7215
8 | Loss of Store
9 | Provisions
10 | Prior Period Expenses
11 | Corporate Office expenses allocation |  | 4016.7838 | 3746.8264 | 3875.2031 | 2623.0597 | 2951.5138 | 6303.4154
12 | Others |  | 2019-20: 0.53008
12.1 | Rates & Taxes |  | 25.1684 | 18.8285 | 12.7029 | 13.1442 | 14.4157 | 1.8012
12.2 | Water cess
12.3 | Training & recruitment expenses |  | 11.538 | 14.27 | 19.4822 | 56.3454 | 25.8961 | 2.9537
12.4 | Tender Expenses
12.5 | Guest house expenses |  | 17.7848 | 22.7748 | 29.2711 | 25.8904 | 26.9377 | 23.6033
12.6 | Education expenses |  | 108.4985 | 146.7915 | 160.9885 | 157.4689 | 155 | 190.56
12.7 | Community Development Expenses
12.7.1 | CSR activities |  | 62.4024 | 21.0847 | 69.0769 | 48.6235 | 56.3427 | 16.901
12.8 | Ash utilisation expenses
12.9 | Books & Periodicals
12.1 | Professional Charges |  | 1.639 | 0.04 | 14.963 | 0.059 | 58.8127 | 10.0919
12.11 | Legal expenses |  | 20.9814 | 5.402 | 3.6281 | 0.82836 | 0.1298 | 0
12.12 | EDP Hire & other charges |  | 18.8801 | 32.2403 | 14.1187 | 19.3981 | 14.5999 | 13.8267
12.13 | Printing & Stationery |  | 8.0927 | 5.8684 | 13.2675 | 4.4826 | 3.3276 | 3.3276
12.14 | RLDC Fee & Charges
12.15 | Brokerage & Commission
12.16 | Bank charges |  | 22.3909 | 4.1016 | 1.1427 | 7.8596 | 9.654 | 17.3641
12.17 | Claims/advances written off
12.18 | Hiring of vehicle
12.19 | Payment to auditors |  | 0.14669 | 0.14669 | 0.05559 | 0.05352 | 0.13906
12.2 | Misc. Expenses
(Break-up Of Misc.)
12.20.1 | Horticulture
12.20.2 | Transport- Vehicle Running exp. |  | 86.4063 | 102.4713 | 102.1479 | 92.103 | 118.6785 | 121.3699
12.20.3 | Hire charges & Operating Exp -Construction equipment
12.20.4 - | Tree Plantation exp.
12.20.5 - | R&D expenses
12.20.6 | Other Vehicles
12.20.7 | Consumption-HSD/LDO-(Ind/Imp)-DG Set
12.20.8 | Exp/ Inc from Inv Diff
12.20.9 | Loss on sale of Investments
12.20.10 | Operating exp of diesel generating sets
12.20.11 | Furnishing Expenses |  | 0.05275 |  | 0.32945 |  | 3.1394 | 0.37428
12.20.12 | Subscription to Trade and Other Association
12.20.13 | Hire Charges - Helicopter/Aircraft
12.20.14 | Visa & Entry Permit Charges - Overseas
12.20.15 | FX Monitoring Terminal Expenses
12.20.16 | Works/Conf.(Excl train R&D CENPEEP)Earlier Non FBT
12.20.17 | Workshop/Conf. Exp (train R&D CENPEEP) Earlier FBT
12.20.18 | Hire charges - Office equipment
12.20.19 | Payment for health club etc
12.20.20 | Gifts liable for Fringe Benefit Tax
12.20.21 | Festival expenses liable Earlier (FBT)
12.20.22 | Miscellaneous Expenses |  | 14.0083 | 13.6198 | 13.5259 |  | 11.4636 | 15.0092
12.20.23 | Rounding Off Difference
12.20.24 | Regional Power Committee Expenses
12.20.25 | Misc Exp. trf to CSR and IEDC
12.20.26 | Specify other sub head, if any.
Sub Total (Others)
13 | (Total 1 to 12) |  | 16012.3062 | 14154.3925 | 17019.3976 | 14262.4958 | 13938.8691 | 16437.0611
14 | Revenue / Recoveries |  | 220.76 | 61.4177 | 283.1061 | 114.0954 | 1284.2861 | 121.3982
15 | Net Expenses |  | 15791.5462 | 14092.9748 | 16736.2915 | 14148.4004 | 12654.5829 | 16315.6629
| Total O&M Cost |  | 15791.5462 | 14092.9748 | 16736.2915 | 14148.4004 | 12654.5829 | 16315.6629

## Corporate Expenses
Annexure-VIII
DETAILS OF O & M EXPENSES (At Corporate Level/Regional Level)
Name of the Company:NEEPCO
(Rs. In Lacs)
Sl.No. | ITEM | Unit | 2017-18 | 2018-19 | 2019-20 | 2020-21 | 2021-22
1 | 2 |  | 3 | 4 | 5 | 6 | 7
(A) | Breakup of corporate expenses (Aggregate at Company level)
1 | - Employee expenses:
1.1 | -Salaries, wages and allowances |  | 8504.6615 | 10719.1565 | 10837.3145 | 11681.7735 | 12454.5435
1.2 | -Staff welfare expenses |  | 45.46 | 62.1259 | 20.1926 | 47.2978 | 16.3514
| Medical expenses on superannuated employees |  | 881.06 | 1012.4 | 1137.53 | 563.54 | 678.92
| Medical expenses on regular employees & others |  | 315.5289 | 382.6416 | 399.9326 | 316.4961 | 516.0696
| Canteen expenses |  | 0 | 0 | 0 | 0 | 0
| Salary Arrear ( Pay Parity ) |  | 0 | 208.5309 | 0 | 0 | 0
1.3 | -Productivity linked incentive |  | 7.25 | 3.37 | 8.77 | 1.81 | 11.2
1.4 | - Expenditure on VRS |  | 0 | 0 | 0 | 0 | 0
1.5 | -Ex-gratia |  | 0.59661 | 0.34985 | 0.41982 | 0.38658 | 0
1.6 | -Performance related pay( PRP) |  | 346.62 | 83.425 | 43.0371 | 57.7412 | 225.0905
1.7 | VII Pay Arrears Paid Pertaining to period prior to 2017-18 |  | 0 | 0 | 0 | 0 | 0
| PF Employer Contribution |  | 913.6981 | 919.8647 | 963.0997 | 941.8096 | 1007.8614
| Pension contribution for serving |  | 357.549 | 285.5871 | 256.2031 | 240.6205 | 279.9392
| Leave Encashment |  | 1050.71 | 691.7614 | 779.7868 | 870.3818 | 876.7657
| Honararium |  | 2.57 | 1.05 | 0.43 | 0.2 | 0.13
| Gratuity |  | 2010.75 | 450.7796 | 346.2814 | 380.7149 | 370.26
| Pension for retired |  | 501.12 | 497.05 | 526.61 | 531.08 | 583.08
| Sub - Total (Employee Expenses) |  | 14937.5742 | 15318.0925 | 15319.6075 | 15633.8519 | 17020.2112
2 | Administrative Expenses: |  | 0 | 0 | 0 | 0 | 0
2.1 | - Repair and maintenance |  | 205.7567 | 284.5953 | 295.1604 | 272.1326 | 366.216
2.2 | - Training and Recruitment |  | 137.26 | 78 | 65.7 | 68.99 | 80.59
2.3 | - Communication |  | 207.665 | 259.8959 | 329.0277 | 226.4556 | 94.7967
2.4 | - Traveling & Conveyance |  | 260.4507 | 224.2385 | 175.6408 | 60.8009 | 122.8952
2.5 | - Rent |  | 100.486 | 84.165 | 101.565 | 104.075 | 99.8157
2.6 | Others (Specify items) Social Welfars (Others) |  | 62.5424 | 14.1 | 8.74 | 1.06 | 2.01
| Advertisement and publicity |  | 252.354 | 192.5529 | 120.4345 | 33.5208 | 599.01
| Books & Periodicals |  | 2.1787 | 1.8298 | 1.9797 | 0.45 | 1.495
| EDP Hire and other charges |  | 179.1259 | 154.4971 | 56.2994 | 96.5169 | 244.0753
| Education expenses |  | 0.63289 | 0.13116 | 4.56 | 0.48 | 0
| Entertainment and hospitality expenses |  | 0.28 | 0.15 | 0 | 0 | 19.0752
| Fin Expenses-IndAS |  | 0.74 | 0 | 17.8558 | 14.7559 | 14.46
| Guest house expenses |  | 117.3476 | 147.0626 | 160.17 | 189.9912 | 196.4294
| Hiring of Vehicles |  | 47.5617 | 54.9891 | 43.2061 | 73.5946 | 83.3126
| Insurance |  | 12.5512 | 23.2275 | 33.1948 | 45.6834 | 27.3401
| Legal Expenses |  | 21.9773 | 42.5603 | 45.549 | 29.685 | 259.32
| Miscellaneous Expenses |  | 161.1661 | 170.8846 | 99.2211 | 86.5238 | 106.0024
| Community development Exp. |  | 333.22 | 153.44 | 0 | 0 | 0
| Others ( Bank Charges ) |  | 1.4784 | 1.37 | 2.6559 | 1.8874 | 1.1616
| Payment to auditors |  | 18.5 | 20.29 | 19.79 | 16.33 | 22.42
| Power Charges |  | 296.2318 | 110.8623 | 91.4158 | 74.464 | 82.0198
| Printing and Stationery |  | 27.0781 | 41.841 | 23.1442 | 20.9568 | 18.1422
| Professional charges & consultancy fees |  | 147.04 | 51.4442 | 155.7405 | 116.6821 | 219.002
| R&D EXPS |  | 0 | 0 | 0 | 0 | 0
| Rates and taxes |  | 19.1265 | 35.3685 | 21.8668 | 49.9982 | 39.0701
| Tender expenses |  | 0 | 0 | 0 | 0 | 0
| Trpt Veh running Exp. |  | 155.56 | 197.8 | 178.54 | 154.65 | 168.48
| Water charges |  | 1.75 | 1.74 | 0 | 0 | 0
| Workshop & Conf. Exp. |  | 0 | 0 | 0 | 0 | 0
| Filing fee |  | 0 | 0 | 0 | 0.01 | 0
| Board Meeting / AGM Expenses |  | 26.64 | 53.82 | 42.09 | 8.88 | 7.16
| loss on Wrtite off / Unserv/Obs of Fixed Assets |  | 0.1 | 0.35 | 0.38 | 1.69 | 0.2998
| Loss on Sales |  | 0 | 0 | 0 | 0 | 0.12026
| CSR On going Expenses |  | 0.2 | 0.12 | 92.8666 | 0.42 | 0.61
| CSR expenses |  | 270.61 | 243.31 | 667.5 | 399.08 | 53.39
| Sub - Total (Administrative Expenses) |  | 3067.611 | 2644.6357 | 2854.2943 | 2149.7644 | 2928.7193
3 | Security |  | 0 | 0 | 0 | 0 | 0
| CISF |  | 0 | 0 | 0 | 0 | 0
| Non CISF |  | 203.8559 | 260.2539 | 281.8866 | 156.5727 | 198.425
4 | Donations |  | 0 | 0 | 0 | 0 | 0
5 | Provisions |  | 0 | 0 | 0 | 0 | 0
5A | Depreciation |  | 328.1998 | 257.5171 | 341.8932 | 597.9268 | 701.6972
| On account of Corporate/ Regional establishment |  | 0 | 0 | 0 | 0 | 0
| On account of others ( Interest Expenses Assets under Lease) |  | 0 | 0 | 0.81344 | 2.3683 | 2.5351
5B | Prior period expenses (Interest on Income Tax of earlier years) |  | 7.2275 | 0 | 0 | 0 | 0
| Amortisation Expenses-Leasehold Assets |  | 0 | 0 | 0 | 0 | 11.8617
| Wtite off Killing S&I Projects |  | 0 | 0 | 594.6 | 0 | 0
6 | Others (specify items) DRE Write-off S&I Projects |  | 48.6855 | 279.3842 | 9.5544 | 1.2126 | 0
7 | Total (1 to 6) |  | 18593.154 | 18759.8834 | 19402.6494 | 18541.6966 | 20863.4496
8 | Less recoveries (if any) |  | 0 | 0 | 0 | 0 | 0
9 | Net Corporate Expenses (Aggregate) |  | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0
(B) | Allocation of Corporate Expenses to |  | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0
1 | Power Generation/Transmission O&M |  | 0 | 0 | 0 | 0 | 0
2 | Project management/Projects under Construction |  | 0 | 0 | 0 | 0 | 0
3 | RLDC and ULDC |  | 0 | 0 | 0 | 0 | 0
4 | Consultancy Business |  | 0 | 0 | 0 | 0 | 0
5 | Telecommunication Business |  | 0 | 0 | 0 | 0 | 0
6 | Any other |  | 0 | 0 | 0 | 0 | 0
Note: Heads indicated above are illustrative. Generating companies or the transmission utilities may furnish the allocations in different functional activities suited to their company.
(C) | Allocation of Corporate Expenses relating to functional activity of power Generation or the transmission to various generating stations or the transmission region/systems as the case may be. (Section 62 - cost plus projects)
1 | Kopili |  | 2760.6762 | 2575.1384 | 2663.3699 | 1802.7901 | 2028.5318
2 | Khandong |  | 690.169 | 643.7846 | 665.8425 | 450.6975 | 507.133
3 | KHEP Stg-II now Khandong Stage-II |  | 345.0845 | 321.8923 | 332.9212 | 225.3488 | 253.5665
4 | RHPS now PLHPS |  | 5590.3692 | 5214.6553 | 5393.324 | 3650.65 | 4107.7769
5 | DHPS |  | 1035.2536 | 965.6769 | 998.7637 | 676.0463 | 760.6994
6 | Tuirial |  | 828.2028 | 772.5415 | 799.011 | 540.837 | 608.5595
7 | Pare |  |  | 1416.3261 | 1464.8534 | 991.5346 | 1115.6925
8 | AGBPS |  | 4016.7838 | 3746.8264 | 3875.2031 | 2623.0597 | 2951.5138
9 | AgGBPS |  | 1863.4564 | 1738.2184 | 1797.7747 | 1216.8833 | 1369.259
10 | TGBPS |  | 1394.1415 | 1300.4449 | 1345.0018 | 910.409 | 1024.4086
11 | Solar, Monarchak |  | 69.0169 | 64.3785 | 66.5842 | 45.0698 | 50.7133
12 | Kameng |  |  |  |  | 5408.3704 | 6085.5954
| Total |  | 18593.154 | 18759.8834 | 19402.6494 | 18541.6966 | 20863.4496
Allocation of corporate expenses to other projects
JVs / Subsidiary / section 63 - TBCB project
Note:
Year-wise audited actual O&M expenses submitted for the period 2017-18 to 2021-22 should be clearly indicating the following
(i) Explanation / Justification for year to year variation of more than (±) 10% in any head of O&M expenses
(ii) Details of expenditure under the head "Others".
(iii) Details of the amount indicated under the head "Revenues/Recoveries"
(iv) Details of arrears and prior period adjustments included in the data for the period 2017-18 to 2021-22, if any, pertaining to period prior to the year 2017-18 should be mentioned separately in the following format:
Sl. No. | Year during the period 2017-22 in which arrear/ prior period adjustments have been made | Year to which this arrear and prior period adjustment pertains |  |  | Amount of arrear/ prior period adjustment (Rs. in lakh)
(v) Separately furnish the details of abnormal expenses, if any.
(vi) Future provisions pertaining to period beyond 2021-22 made in the employee cost or any other head during 2017-18 to 2021-22 towards wage revision/arrears or for any other reason shall be provided separately.
(vii) Details of Regional level expenses to be provided separately giving methodology of allocation of Regional expenses.

## Corporate 22-23
FY 2022-23
Particulars | KHEP | RHEP | DHEP | PARE | TRHEP | KAMENG | AGBPP | AgGBPS | TGBP | Solar | Total Corporate Share of Expenditure
Expenses
Employee benefits expense | 0 | 3208.1148 | 413.4247 | 1239.7844 | 475.7822 | 6789.9785 | 3939.2015 | 1971.2675 | 1742.4678 | 15.7118 | 19795.7332
Finance costs | 0 | 106.5953 | 13.7368 | 41.194 | 15.8087 | 225.6091 | 130.887 | 65.4989 | 57.8966 | 0.52205 | 657.7484
Depreciation and amortization expenses | 0 | 177.488 | 22.8726 | 68.5907 | 26.3225 | 375.6536 | 217.9352 | 109.0598 | 96.4015 | 0.86925 | 1095.1933
Other expenses | 0 | 1641.3498 | 211.5182 | 634.304 | 243.4218 | 3473.9188 | 2015.3917 | 1008.5486 | 891.4891 | 8.0385 | 10127.9805
Total expenses | 0 | 5133.5479 | 661.5522 | 1983.8732 | 761.3352 | 10865.16 | 6303.4154 | 3154.3748 | 2788.255 | 25.1416 | 31676.6553

## Annexure-XIX
Annexure-XIX
| Name of Utility: | North Eastern Electric Power Corporation Limited (NEEPCO LTD.) | [8 empty] | North Eastern Electric Power Corporation Limited (NEEPCO LTD.)
| Name of Generating Station: | Assam Gas Based Power Station (AGBPS) | [8 empty] | Assam Gas Based Power Station (AGBPS)
| Station Configuration: | 6 GTG of Capacity 33.5 MW + 3 STG of capacity 30 MW, Combined Cycle Gas Based Power Station
| Capacity (MW): | 291 MW
| COD: | 01.04.1999 (291 MW)
|  | Unit | 2004-05 | 2005-06 | 2006-07 | 2007-08 | 2008-09 | 2009-10 | 2010-11 | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18 | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
1 | Plant Availability Factor (PAF) | % | 77.5141 | 72.0502 | 71.7325 | 69.4326 | 70.8747 | 69.9397 | 74.0612 | 70.2676 | 66.4693 | 68.613 | 69.382 | 70.1591 | 62.0679 | 62.3826 | 64.1971 | 69.4356 | 64.6219 | 71.5244 | 73.3513
2 | Plant Load Factors (PLF) | % | 63.4759 | 67.6693 | 70.8469 | 67.5761 | 69.3318 | 68.6351 | 72.003 | 69.0489 | 65.9103 | 67.7251 | 68.3002 | 68.8213 | 61.6914 | 62.7074 | 64.3135 | 66.664 | 61.5963 | 70.1053 | 66.2895
3 | Scheduled Energy (DC) | MU | 1915.7 | 1802.7 | 1774.6 | 1722.2 | 1752.5081 | 1729.3877 | 1831.3007 | 1742.2558 | 1643.5773 | 1696.5834 | 1715.5973 | 1739.5657 | 1542.6552 | 1550.4774 | 1595.5751 | 1726.064 | 1602.0136 | 1773.1303 | 1818.4203
4 | Scheduled Generation | MU | 1559 | 1666.3 | 1741.7 | 1680.3 | 1742.9545 | 1718.9018 | 1802.4217 | 1734.4299 | 1632.3759 | 1683.8821 | 1685.0712 | 1663.4397 | 1421.6467 | 1471.7434 | 1509.8682 | 1576.7955 | 1461.6242 | 1714.3902 | 1564.7425
5 | Actual Generation (Gross) | MU | 1618.103 | 1725 | 1806 | 1727.3435 | 1767.378 | 1749.6196 | 1835.4715 | 1764.9905 | 1680.1582 | 1726.4202 | 1741.0812 | 1759.1714 | 1572.6117 | 1598.5119 | 1639.4545 | 1704.0286 | 1570.1879 | 1787.0953 | 1689.8261
| Actual Generation (ex-bus) | MU | 1573.2 | 1676.4 | 1756.1 | 1681.4 | 1736.9346 | 1709.3956 | 1805.0758 | 1739.5201 | 1632.9377 | 1687.3874 | 1695.9857 | 1713.0112 | 1531.1081 | 1558.0873 | 1596.424 | 1660.7002 | 1529.6787 | 1748.1524 | 1648.8128
| Actual energy supplied to beneficiaries (Long Term, Medium Term and Short Term) | MU | 1573.2 | 1676.4 | 1756.1 | 1681.4 | 1722.5 | 1715.8 | 1788.3 | 1722.6 | 1627.12 | 1693.13 | 1685.73 | 1664.27 | 1441.61 | 1454.45 | 1485.83 | 1584.98 | 1436.02 | 1707.91
6 | Quantum of coal consumption | MT | bar: 2004-05 to 2022-23
7 | Value of coal | Rs. Lakh | bar: 2004-05 to 2022-23
8 | Specific Coal Consumption | kg/kWh | bar: 2004-05 to 2022-23
9 | Gross Calorific Value of Coal | (Kcal/ Kg) | bar: 2004-05 to 2022-23
10 | Heat Contribution of Coal | (Kcal/ kWh) | bar: 2004-05 to 2022-23
11 | Cost Of Specific Coal Consumption – Finally admitted by CERC (Ex-Bus) | (Rs./kWh) | bar: 2004-05 to 2022-23
12 | Quantum of Oil Consumption | (KL) | bar: 2004-05 to 2022-23
13 | Value of Oil | (Rs. lakh) | bar: 2004-05 to 2022-23
14 | Gross calorific value of oil | (kcal/lit) | bar: 2004-05 to 2022-23
15 | Specific Oil Consumption | (ml/kWh) | bar: 2004-05 to 2022-23
16 | Cost Of Specific Oil Consumption – Finally admitted by CERC | (Rs./kWh) | bar: 2004-05 to 2022-23
17 | Heat Contribution of Oil | (Kcal/ kWh) | bar: 2004-05 to 2022-23
18 | Station Heat Rate | (Kcal/ kWh) | 2683.1545 | 2573.4027 | 2636.7636 | 2660.8051 | 2664.7104 | 2564.9949 | 2665.7452 | 2733.0445 | 2817.1852 | 2816.8221 | 2665.7117 | 2673.861 | 2513.5968 | 2486.2146 | 2466.5008 | 2616.3067 | 2670.2628 | 2670.757 | 2708.3951
19 | Auxiliary Energy Consumption | % | 2.9436 | 2.8786 | 2.86 | 2.3176 | 1.7438 | 1.8234 | 1.5517 | 1.2861 | 2.6828 | 2.1305 | 2.4745 | 2.4945 | 2.5058 | 2.4093 | 2.5603 | 2.5197 | 2.4853 | 2.1254 | 2.3666
20 | Debt at the end of the year | (Rs. Crore) | 468.65 | 397.54 | 326.16 | 254.93 | 183.74 | 106.59 | 29.6317 | 16.7309 | 5.4261 | 1.7201 | 0 | 2.2189 | 18.9816 | 18.3063 | 0 | 0 | 0 | 0 | 0
21 | Equity - Average | (Rs. Crore) | 734.12 | 734.19 | 734.14 | 734.16 | 734.2 | 734.1133 | 734.11 | 734.11 | 734.8298 | 739.1276 | 738.8857 | 741.0655 | 748.2761 | 753.7774 | 754.0447 | 753.4979 | 753.3963 | 753.3963 | 753.3963
22 | Working Capital – finally admitted by CERC | (Rs. Crore) | 77.74 | 78.38 | 78.67 | 78.72 | 78.56 | 111.2492 | 113.221 | 103.9915 | 106.1212 | 109.0319 | 172.9468 | 179.019 | 187.3814 | 189.8019 | 192.8855 | 154.7922 | 156.5557 | 159.2255 | 161.88
23 | Capital cost – finally admitted by CERC | (Rs. Crore) | 1480.7741 | 1481.0041 | 1480.8554 | 1480.9026 | 1481.0344 | 1480.755 | 1480.7439 | 1480.7439 | 1483.1434 | 1497.4694 | 1495.8566 | 1512.0012 | 1543.9278 | 1548.6766 | 1545.7093 | 1563.1125 | 1563.1125 | 1563.1125 | 1579.03
24 | Capacity Charges/ Annual Fixed Cost (AFC) |  | 247.28 | 246.87 | 244.04 | 239.17 | 233.53 | 306.7411 | 309.804 | 244.6221 | 248.13 | 255.2201 | 280.6669 | 300.4462 | 335.8172 | 332.9388 | 332.9009 | 302.5789 | 306.7696 | 311.3631 | 319.81
(a) Return on equity – post tax (admitted by CERC upto 2009) and Pre Tax post 2009 | bar: 2014-15 to 2022-23
| Absolute value | (Rs. Crore) | 102.12 | 102.78 | 102.78 | 102.78 | 102.78 | 137.093 | 142.1107 | 142.2476 | 142.3173 | 144.5248 | 143.6098 | 155.0309 | 177.3639 | 160.8787 | 148.9841 | 141.7873 | 142.0335 | 142.0335 | 141.5
| Rate | (%) | 14 | 14 | 14 | 14 | 14 | 18.674 | 19.358 | 19.377 | 19.377 | 19.61 | 19.44% | 20.92% | 23.7% | 21.34% | 19.76% | 18.78% | 18.78% | 18.78% | 18.78%
(b) interest on Loan | bar: 2014-15 to 2022-23
| Absolute value | (Rs. Crore) | 39.15 | 36.23 | 32.12 | 26.06 | 19.21 | 12.423 | 6.4222 | 2.2678 | 1.0838 | 0.3496 | 8.41 | 10.85 | 103.7 | 182.39 | 89.55 | 0 | 0 | 0 | 0
| Rate – Weighted Average Rate | (%) | 7.74 | 8.37 | 8.88 | 8.97 | 8.76 | 8.558 | 9.429 | 9.783 | 9.783 | 9.783 | 9.783% | 9.783% | 9.783% | 9.783% | 9.783%
(c) Depreciation (finally allowed by CERC) | bar: 2014-15 to 2022-23
| Absolute value | (Rs. Crore) | 70.51 | 71.27 | 71.27 | 71.27 | 71.27 | 76.958 | 76.9505 | 12.9008 | 12.9844 | 13.7342 | 16.3438 | 17.2522 | 21.1615 | 26.0886 | 30.3968 | 32.6824 | 34.6802 | 34.6802 | 38.41
| AAD |  | 2014-15: 1.09%; 2015-16: 1.15%; 2016-17: 1.38%; 2017-18: 1.69%; 2018-19: 1.96%; 2019-20: 2.1%; 2020-21: 2.22%; 2021-22: 2.22%; 2022-23: 2.69%
| Rate | (%) | 2004-05: 4.81; 2005-06: 4.81; 2006-07: 4.81; 2007-08: 4.81; 2008-09: 4.81; 2009-10: 5.202; 2010-11: 5.202
(d) Interest on working Capital | bar: 2014-15 to 2022-23
| Absolute value | (Rs. Crore) | 7.97 | 8.03 | 8.06 | 8.07 | 8.05 | 13.628 | 13.8696 | 12.739 | 12.9998 | 13.3564 | 23.3478 | 24.1676 | 25.2965 | 25.6233 | 26.0395 | 18.6525 | 17.6125 | 16.7187 | 16.99
| Rate | (%) | 10.25 | 10.25 | 10.25 | 10.25 | 10.25 | 12.25 | 12.25 | 12.25 | 12.25 | 12.25 | 13.5% | 13.5% | 13.5% | 13.5% | 13.5% | 12.05% | 11.25% | 10.5% | 10.5%
(e) Operation and maintenance cost (finally admitted by CERC) | bar: 2014-15 to 2022-23
| Absolute value | (Rs. Crore) | 27.53 | 28.55 | 29.8 | 30.99 | 32.21 | 66.639 | 70.4511 | 74.4669 | 78.7446 | 83.2551 | 97.2813 | 103.887 | 110.9583 | 118.5243 | 126.585 | 109.4567 | 112.4433 | 117.9306 | 122.13
| Rate | (%) |  |  | 2.0124 | 2.0926 | 2.1748 | 4.5003 | 4.7578 | 5.029 | 5.3093 | 5.5597 | 33.43 | 35.7 | 38.13 | 40.73 | 43.5 | 36.21 | 37.48 | 38.8 | 40.16
(f) Compensation Allowances | bar: 2014-15 to 2022-23
(g) Special Allowance | bar: 2014-15 to 2022-23
h) Supplementary Tariff - Emission Control | bar: 2014-15 to 2022-23
| Absolute value | (Rs. Crore) | bar: 2014-15 to 2022-23
| Rate | (%) | bar: 2014-15 to 2022-23
| i) Ash Utilisation Expenses | (Rs. Crore) | bar: 2014-15 to 2022-23
25 | AFC | (Rs./ kWh) | 1.5861 | 1.4815 | 1.4012 | 1.4234 | 1.3399 | 1.7845 | 1.7188 | 1.4104 | 1.5201 | 1.5157 | 1.6656 | 1.8062 | 2.3622 | 2.2622 | 2.2048 | 1.9189 | 2.0988 | 1.8162 | 2.0439
26 | Energy Charge ( Rs. /Kwh) | (Rs./kWh) | [5 empty] | 0.78725 | 1.3457 | 1.5306 | 1.742 | 1.977 | 2.208 | 2.322 | 1.405 | 1.445 | 1.806 | 2.019 | 2.041 | 1.881 | 5.2112
26.1 | Supplemental Energy Charges - Emission Control | (Rs./kWh) | bar: 2014-15 to 2022-23
27 | Total tariff | (Rs. kWh) | [5 empty] | 2.5353 | 3.1503 | 2.9768 | 3.1305 | 3.6754 | 3.8283 | 4.052 | 3.384 | 3.403 | 3.917 | 4.194 | 3.387 | 3.49 | 7.169
28 | Revenue realisation before tax | (Rs. Crore) | 2004-05: 357.28; 2005-06: 377.96; 2006-07: 329.65; 2007-08: 341.7
29 | Revenue realisation after tax | (Rs. Crore) | bar: 2014-15 to 2022-23
30 | Profit/ loss | (Rs. Crore) | 2004-05: 85.39; 2005-06: 51.03; 2006-07: 7.88; 2007-08: 59.63
31 | DSM Generation | (MU) | [6 empty] | 3.599 | 3.639 | 16.205 | 13.092 | 16.195 | 50.637 | 108.956 | 86.76 | 87.216 | 83.645 | 68.743 | 34.263 | 82.21
32 | DSM Rate | (Rs/kWh) | bar: 2014-15 to 2022-23
33 | Revenue from DSM | (Rs. Crore) | [6 empty] | 0.085278 | 0.24375 | 1.438 | 0.89207 | 2.0007 | 7.5249 | 15.9004 | 15.717 | 12.319 | 15.247 | 15.015 | 8.197 | 22.64
34 | Compensation received for operation below NAPAF
35 | Part load Compensation received from beneficiriaes
36 | Amount received from SCED | (Rs Crore)
Note: | Generating Companies are required to submit data for all generating stations
This is a general format. Plants of different fuel users have to fill the cells as applicable to them.
Tariff for the Hydro may be understood as composite tariff.
The data provided for the corresponding years need to mention as Actual or provisional.
Data for each Unit and Stage is required to be submitted in additional sheets as per the format

## Annexure - XXII
Annexure-XXII
DETAILS OF EMISSION CONTROL SYSTEM
Generating company: North Eastern Electric Power Corporation Limited (NEEPCO LTD.) Name of Generating station: Assam Gas Based Power Station (AGBPS) Installed Capacity (MW) : 291
Type of Emission Control System:
Under Operation/Anticipated Operation Date:
S.No. | Particulars | Units | 2017-18 | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
A
1 | Gross Generation | MU | 1598.5119 | 1639.4545 | 1704.0286 | 1570.1879 | 1787.0953 | 1689.8261
2 | Auxiliary Consumption - emission control (Actual) | MU | 38.5136 | 41.9743 | 42.936 | 39.0237 | 37.9823 | 39.9921
| Auxiliary Consumption - emission control (Actual) | % | 2.4093 | 2.5603 | 2.5197 | 2.4853 | 2.1254 | 2.3666
3 | Auxiliary Consumption (Normative) | % | 2.5 | 2.5 | 2.75 | 2.75 | 2.75 | 2.75
4 | Hours of Operation (Nine units) | Hrs | 60851:29 | 61932:39 | 66087:40 | 62730:47 | 69997:21 | 69768:07
5 | O&M Expenses (Actual) with Breakup as per format | Rs. Crore
6 | Other maintenace spares consumed^ | Rs. Crore | 15.4986 | 9.6858 | 19.4495 | 15.407 | 13.415 | 7.31 | O&M spares consumed on the reporting date
7 | Initial Spares consumed* | Rs. Crore | NIL | NIL | NIL | NIL | NIL | NIL | We don't have capital inventory lying in the stock since the commising of the project.
Pls. Note: Where the system is yet not operational guaranteed parameter along with spares cost as per awarded contract to be furnished
* Not part of O&M expenses and Pls specify list of the same
S.No. | Particulars | Units | 2017-18: 2017-18; 2019-20: 2018-19; 2021-22: 2019-20 | 2020-21 |  | 2021-22
|  |  | Investment Approval | Approved* | Investment Approval | Approved* | Investment Approval | Approved* | Investment Approval | Approved* | Investment Approval | Approved*
1 | Capital Cost of Emission Control System
1.1 | Hard Cost | Rs. Crore
1.1.1 | Civil Works | Rs. Crore
1.1.2 | Plant and Machinery and others | Rs. Crore
1.1.3 | Initial Spares procured | Rs. Crore
1.2 | IDC | Rs. Crore
1.3 | IEDC | Rs. Crore
1.4 | Others. Pls specify | Rs. Crore
1.4 | Completed Cost | Rs. Crore
* Wherever cost is yet to be approved by CERC and for which petition has been filed the actual claimed shall be submitted.
* Where the work is still under execution utility to submit the details of awarded cost