## Annexure-III
Annexure-III
SH 1/3
Pro-forma for furnishing Actual annual performance/operational data for the Hydro Electric generating stations for the 5-year period from 2017-18 to 2021-22
| Particulars |  | Units | 2017-18 | 2018-19 | 2019-20 | 2020-21 | 2021-22
1 | Name of Company |  |  | North Eastern Electric Power Corporation Limited (NEEPCO LTD.)
2 | Name of Station |  |  | Doyang Hydro Power Station (DHPS)
3 | Installed Capacity and Configuration |  | (MW) | 75 MW (3 X 25 MW) Reservoir Based Hydro Power Station
3.1 | Date of Commercial Operation - Unit Wise |  | Unit # 1 | 2000-06-29
|  |  | Unit # 2 | 2000-07-05
|  |  | Unit # 3 | 2000-07-08
3.2 | Effective COD |  |  | 08-Jul-2000 (75 MW)
4 | Station Location |  | Under ground or Surface | Surface
Stage
5 | Type of Excitation System |  |  | Static Excitation system
6 | Live Storage Capacity |  | (Million Cubic) | 220 MCM at 324.0 M RWL, 400 MCM at 333.0 M RWL
7 | Rated Head |  | Metres | 67
8 | Head at Full Reservoir Level (FRL) |  | Metres | 83.5
9 | Head at Minimum Draw down Level (MDDL) |  | Metres | 43.5
10 | MW Capability at FRL |  | MW | 75
11 | MW Capability at MDDL |  | MW | 45
12 | Cost of spares :
12.1 | Cost of spares capitalized in books of accounts |  | (Rs. Lakhs) | 153.92 | 13.98 | 0 | 87.45 | 222.88
12.2 | Cost of spares included in the capital cost for the purpose of tariff |  | (Rs. Lakhs) | 0 | 13.98 | 0 | 87.45 | 54.03
Period
13 | Generation :
13.1 | Actual Gross Generation at Generator Terminals |  | (MU) | 274.362 | 231.4246 | 180.9225 | 203.8712 | 100.5788
13.2 | Actual Net Generation Ex-bus including free power |  | (MU) | 261.3994 | 221.6999 | 173.7458 | 198.1637 | 96.516
13.3 | Scheduled generation Ex-bus including free power |  | (MU) | 259.9972 | 220.6492 | 171.9323 | 196.8749 | 94.5842
14 | Actual Auxiliary Energy Consumption excluding colony consumption |  | (MU) | 0.49411 | 0.44588 | 0.40726 | 0.38917 | 0.38282
15 | Actual Energy supplied to Colony from the station |  | (MU) | 2.3063 | 2.1328 | 2.155 | 2.0303 | 1.873
16 | Average Declared Capacity (DC) during the year |  | (MW) | 53.1055 | 44.3546 | 48.6347 | 44.6953 | 46.2287
| Actual Declared Capacity |  | MU | 260.1563 | 223.5275 | 172.2121 | 196.9831 | 94.5846
| Deemed Declared Capacity |  |  | NA | NA | NA | NA | NA
| Actual energy supplied to beneficiaries |  | MU | 259.9972 | 219.1516 | 171.4777 | 196.8749 | 94.5842
| Actual energy supplied in DSM |  | MU | 1.4022 | 1.0507 | 1.8135 | 1.2888 | 1.9318
| Actual energy supplied in exchange |  |  |  | 1.4977 | 0.45459
17 | Weighted Average duration of outages ( Unit-wise details)
17.1 | Scheduled outages | Unit # 1 | (Days) | 0 | 37.7604 | 13.6514 | 0 | 28.7535
|  | Unit # 2 | (Days) | 29.5382 | 15.5417 | 18.5417 | 0 | 31.5451
|  | Unit # 3 | (Days) | 17.7292 | 49.1944 | 19.625 | 0 | 29.4583
17.2 | Forced outages | Unit # 1 | (Days) | 1.9653 | 9.8583 | 3.3514 | 2.8875 | 0.94028
|  | Unit # 2 | (Days) | 138.2187 | 56.3208 | 5.1854 | 3.5465 | 0.63889
|  | Unit # 3 | (Days) | 2.7194 | 37.7319 | 27.059 | 324.0813 | 3.2694
Within the control of generator
Beyond the control of generator
| Shortfall in energy claimed / allowed |  | MU | NA | NA | 46.3175 | 23.3688 | 126.6612
18 | Cost of spares actually consumed |  | (Rs. Lakhs) | 80.35 | 67.87 | 26.49 | 24.62 | 15.53
19 | Average stock of spares |  | (Rs. Lakhs) | 460.27 | 413.89 | 432.39 | 470.01 | 684.37
Month wise Design Energy (Existing) Annexure-III contd. SH 2/3
Month |  | Period | Design Energy as approved by CEA (MU) |  | Month | Period | Design Energy as approved by CEA (MU)
April |  | 1-10 | 3.84 |  | October | 1-10 | 6.4548
|  | 11-20 | 3.84 |  |  | 11-20 | 6.4548
|  | 21-30 | 3.84 |  |  | 21-31 | 7.1003
May |  | 1-10 | 4.1258 |  | November | 1-10 | 3.84
|  | 11-20 | 4.1258 |  |  | 11-20 | 3.84
|  | 21-31 | 4.5384 |  |  | 21-30 | 3.84
June |  | 1-10 | 7.6333 |  | December | 1-10 | 3.8387
|  | 11-20 | 7.6333 |  |  | 11-20 | 3.8387
|  | 21-30 | 7.6333 |  |  | 21-31 | 4.2226
July |  | 1-10 | 4.6065 |  | January | 1-10 | 3.8387
|  | 11-20 | 4.6065 |  |  | 11-20 | 3.8387
|  | 21-31 | 5.0671 |  |  | 21-31 | 4.2226
August |  | 1-10 | 18 |  | February | 1-10 | 3.8393
|  | 11-20 | 18 |  |  | 11-20 | 3.8393
|  | 21-31 | 19.8 |  |  | 21-28 | 3.0714
September |  | 1-10 | 10.6567 |  | March | 1-10 | 3.8387
|  | 11-20 | 10.6567 |  |  | 11-20 | 3.8387
|  | 21-30 | 10.6567 |  |  | 21-31 | 4.2226
[5 empty] | Total |  | 227.24
Storage Hydro plants shall also furnish actual monthly average peaking generation in MW achieved during the period 2017-18 to 2021-22 against the monthly average peaking capability approved by CEA as per following format:
Month |  | Expected Avg. of daily 3-hour peaking capacity as approved by CEA |  |  | Actual monthly average of daily 3-hour peaking (MW) for the period 2017-18 to 2021-22
April |  | NA |  |  | 28.3127
May |  | NA |  |  | 31.6876
June |  | NA |  |  | 42.7327
July |  | NA |  |  | 54.5832
August |  | NA |  |  | 61.6101
September |  | NA |  |  | 63.8413
October |  | NA |  |  | 61.5484
November |  | NA |  |  | 58.2009
December |  | NA |  |  | 53.2632
January |  | NA |  |  | 45.3355
February |  | NA |  |  | 42.782
March |  | NA |  |  | 38.3019
Annexure III contd
SH 3/3
1 | List of beneficiaries/customers along with allocation by GoI including (allocation of unallocated share) / capacity as contracted should also be furnished separately for each generating station.
2 | Declared Capacity should be as per Regulation CERC Tariff Regulations including month wise information may be furnished.
3 | Any relevant point or a specific fact having bearing on performance or operating parameters may also be highlighted or brought to the notice of the Commission.
Month wise Design Energy (Post R&M)
Month |  | Period | Design Energy as approved by CEA (MU) |  | Month | Period | Design Energy as approved by CEA (MU)
April |  | 1-10 | NA |  | October | 1-10 | NA
|  | 11-20 | NA |  |  | 11-20 | NA
|  | 21-30 | NA |  |  | 21-31 | NA
May |  | 1-10 | NA |  | November | 1-10 | NA
|  | 11-20 | NA |  |  | 11-20 | NA
|  | 21-31 | NA |  |  | 21-30 | NA
June |  | 1-10 | NA |  | December | 1-10 | NA
|  | 11-20 | NA |  |  | 11-20 | NA
|  | 21-30 | NA |  |  | 21-31 | NA
July |  | 1-10 | NA |  | January | 1-10 | NA
|  | 11-20 | NA |  |  | 11-20 | NA
|  | 21-31 | NA |  |  | 21-31 | NA
August |  | 1-10 | NA |  | February | 1-10 | NA
|  | 11-20 | NA |  |  | 11-20 | NA
|  | 21-31 | NA |  |  | 21-28 | NA
September |  | 1-10 | NA |  | March | 1-10 | NA
|  | 11-20 | NA |  |  | 11-20 | NA
|  | 21-30 | NA |  |  | 21-31 | NA
Total

## Annexure-IV
Annexure –IV
PLANT AVAILABILITY/SCHEDULED PLANT LOAD FACTOR ACHIEVED Generating company: North Eastern Electric Power Corporation Limited (NEEPCO LTD.) Name of Generating station: Doyang Hydro Power Station (DHPS) Installed Capacity (MW) : 75 Normative Annual Plant Availability Factor (%) approved by Commission : 73% up-to 2018-19 and 70% from 2019-20
Plant Availability Factor Achieved (%)
Month | 2017-18 | 2018-19 | 2019-20 | 2020-21 | 2021-22 | Reasons for shortfall in PAF achieved vis-a-vis NAPAF
April | 49.1582 | 31.8878 | 22.987 | 30.4363 | 49.6626 | Generator Transformer Winding failure of U2 from 20/11/2017 to 23/05/2018. U-III governor problem, rotor earth fault and APM works of U3 from 24/10/2018 to 16/12/2018. Rectification of GT problem of U3 from 08/03/2020 to 17/02/2021 and Very less Water Availability.
May | 52.4601 | 38.7314 | 41.5959 | 36.1282 | 36.8935
June | 65.3603 | 61.4501 | 59.5861 | 47.0805 | 45.5466
July | 86.5819 | 86.5776 | 62.8053 | 60.2586 | 63.4626
August | 95.6577 | 97.0349 | 78.7906 | 65.9963 | 68.9478
September | 96.844 | 90.8193 | 84.9978 | 62.2132 | 86.5812
October | 92.8467 | 73.14 | 90.192 | 62.9359 | 88.1895
November | 81.5758 | 54.2357 | 92.6541 | 67.3054 | 87.6437
December | 60.3541 | 62.9738 | 86.705 | 67.4764 | 74.7769
January | 60.6191 | 54.6541 | 64.0416 | 66.819 | 52.9729
February | 59.2352 | 35.7768 | 57.3549 | 75.9254 | 52.4595
March | 56.6091 | 27.2236 | 45.2875 | 81.6421 | 41.1871
Annual | 71.5225 | 59.7368 | 65.6339 | 60.3176 | 62.3869
Plant Load Factor Achieved (%)
Month | 2017-18 | 2018-19 | 2019-20 | 2020-21 | 2021-22 | Reasons for shortfall in PLF achieved vis-a-vis Target PLF
April
May
June
July
August
September
October
November
December
January
February
March
Annual

## Annexure-VII
Annexure-VII
Details of operation & Maintenance expenses (to be filled by each Hydro generating station)
Name of Generation Company:NEEPCO LTD
Name of the hydro-electric station:Doyang Hydro Electric Plant
Rs. In Lakh
(A) | Break up of O&M expenses | 2017-18 | 2018-19 | 2019-20 | 2020-21 | 2021-22
1 | Consumption of stores & spares | 80.351 | 67.872 | 26.4858 | 24.6242 | 15.5305
2 | Repair and Maintenance
2.1 | For Dam , Intake, WCS, De- silting chamber | 2.6431 | 11.1405 | 11.1405 | 0.09681 | 6.369
2.2 | For Power House and all other works | 141.3742 | 236.8319 | 218.0616 | 183.5392 | 181.1527
| Sub-Total (Repair and Maintenance) | 144.0173 | 247.9724 | 229.2021 | 183.636 | 187.5216
3 | Insurance | 85.1252 | 82.9957 | 103.6411 | 185.7742 | 179.2942
4 | Security | 1316.3538 | 1419.8912 | 1545.9561 | 1770.0802 | 1453.2344
5 | Administrative expenses
5.1 | Rent | 2.8831 | 3.2384 | 2.3842 | 3.1804 | 4.3696
5.2 | Electricity charges
5.3 | Traveling & conveyance | 2.8831 | 3.2384 | 2.3842 | 3.1804 | 4.3696
5.4 | Telephone, Postage etc., Communication | 1.2862 | 2.3568 | 0.7652 | 1.1522 | 0.76452
5.5 | Advertisement | 8.5861 | 7.6921 | 8.6197 | 1.5435
5.6 | Donations
5.7 | Entertainment
Sub-total (Admn expenses)
6 | Employee cost
6.1 | Salaries,wages & allowances | 2839.0498 | 3436.8259 | 3113.4221 | 3181.4963 | 3346.9724
6.2 | Staff welfare expenses | 16.3001 | 6.8434 | 3.6282 | 6.138 | 8.1343
6.3 | Productivity linked incentive | 136.6059 | 12.0189 | 0 | 13.0406 | 70.1371
6.4 | Expenditure on VRS
6.5 | Ex-gratia | 12.8824 | 8 | 13
6.6 | Performance related pay (PRP)
6.7 | VII Pay Arrears Paid Pertaining to period prior to 2017-18
Sub-total (Employee cost)
7 | Loss of stores | 0.35461 |  |  | 0.04101 | 1.3015
8 | Provisions
9 | Allocation of Corporate office expenses
10 | Other expenses (Specify items)
10.1 | Bank charges | 0.015088 | 0.025544 | 0.014328 | 0.010096 | 0.011676
10.2 | Books & Periodicals | 0.203 | 0.046 | 0.13194 | 0.17352 | 0.25
10.3 | Professional Charges | 0.2594 | 0.2078 | 7.4127 | 0.72757 | 1.2087
10.4 | Rates & Taxes | 1.1802 | 2.0499 | 4.5494 | 6.1032 | 5.2985
10.5 | Uniform/Livries & safety equipment | 1.6591 | 0.3852 | 0.8615 | 0.348
10.6 | Other Vehicles | 2.5569 | 6.6693 | 1.2529 | 3.0952
10.7 | Printing & Stationery | 2.7323 | 2.4652 | 2.5875 | 1.5098 | 1.2401
10.8 | Filing fee | 3.3 | 3.3 | 3.3 | 17.82 | 3.3
10.9 | Misc. Expenses | 4.3462 | 3.651 | 3.5344 | 2.5358 | 1.9636
10.1 | Training & recruitment expenses | 4.6335 | 0.44858 | 0.025 |  | 0.774
10.11 | Other staff welfare expenses | 5.2098 | 6.5951 | 8.349 | 24.0025 | 7.7431
10.12 | CSR activities | 8.9387 | 41.9728 | 65.1399 | 31.7755 | 40.5759
10.13 | Guest house expenses | 9.2628 | 9.5851 | 10.0983 | 11.1167 | 12.3792
10.14 | Legal expenses | 27.3063 | 14.2773 | 15.3657 | 8.389
10.15 | Transport- Vehicle Running exp. | 35.9129 | 33.5581 | 33.647 | 29.8042 | 30.1782
10.16 | EDP Hire & other charges | 42.7255 | 20.1582 | 16.385 | 14.5372 | 12.3605
10.17 | RLDC Fee & Charges | 45.4906 | 37.7005 | 55.2671 | 29.8425 | 33.6847
10.18 | Hiring of vehicle | 65.4207 | 68.0759 | 70.4604 | 68.1489 | 73.9352
10.19 | Medical expenses on regular employees & others | 82.9967 | 66.1967 | 91.1091 | 57.2061 | 63.4953
10.2 | Education expenses | 132.2098 | 161.3384 | 146.1851 | 135 | 140.25
10.21 | Pension | 192.1951 | 195.0898 | 200.5294 | 208.4743 | 316.0456
10.22 | Provident Fund | 260.3811 | 272.2012 | 280.1268 | 289.7741 | 204.4629
10.23 | Leave Encashment | 439.2521 | 286.2659 | 354.002 | 158.2217 | 350.8114
10.24 | Gratuity | 909.6161 | 153.5868 | 115.5188 | 129.5855 | 129.7673
10.25 | Furnishing Expenses |  |  | 0.1341 | 0.028
11 | Total (1 to 10)
12 | Revenue/Recoveries, if any | 93.5952 | 9.506 | 354.8539 | 5.2891 | 41.5574
13 | Net expenses
14 | Capital spares consumed not included in (A) (1) above and not claimed /allowed by Commission for capitalisation
15 | Number of employees: | 260 | 247 | 242 | 235 | 224
15.1 | Executives | 46 | 42 | 39 | 41 | 39
15.2 | Non- Executives | 214 | 205 | 203 | 194 | 185
15.3 | Corporate Office
16 | Man-MW ratio (Man/MW) | 3.46 | 3.29 | 3.22 | 3.13 | 2.98
16.1 | Number of employees deployed in O&M | 260 | 247 | 242 | 235 | 224
16.2 | Executives | 46 | 42 | 39 | 41 | 39
16.3 | Non Executives | 214 | 205 | 203 | 194 | 185
Note:
Year-wise audited actual O&M expenses submitted for the period 2017-18 to 2021-22 should be clearly indicating the following
(i) Explanation / Justification for year to year variation of more than (±) 10% in any head of O&M expenses
(ii) Details of expenditure under the head "Others".
(iii) Details of the amount indicated under the head "Revenues/Recoveries"
(iv) Details of arrears and prior period adjustments included in the data for the period 2017-18 to 2021-22, if any, pertaining to period prior to the year 2017-18 should be mentioned separately in the following format:
Sl. No. | Year during the period 2017-22 in which arrear/ prior period adjustments have been made | Year to which this arrear and prior period adjustment pertains |  | Amount of arrear/ prior period adjustment (Rs. in lakh)
(v) Separately furnish the details of abnormal expenses, if any.
(vi) Future provisions pertaining to period beyond 2021-22 made in the employee cost or any other head during 2017-18 to 2021-22 towards wage revision/arrears or for any other reason shall be provided separately.

## Annexure-VIII(O&M)
Annexure VIII
Details of actual O&M expenses (Common for Hydro /Thermal Generating Station)
DOYANG HYDRO POWER STATION, DOYANG NAGALAND
Sl. No. | Item | Unit | 2017-18 | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 |  | 2022-23
1 | Consumption of stores & spares |  | 80.351 | 67.872 | 26.4858 | 24.6242 | 15.5305 | 28.9417 | 0.00028942 | 2894167.38
2 | Repair & Maintenance |  | 144.0173 | 247.9724 | 229.2021 | 183.636 | 187.5216 | 169.9768 |  | 17400181.48
3 | Insurance |  | 85.1252 | 82.9957 | 103.6411 | 185.7742 | 179.2942 | 163.6425 |  | 16599780
4 | Security
4.1 | CISF |  | 1070.4252 | 1170.9542 | 1253.4754 | 1522.6476 | 1409.8599 | 1507.912 |  | 150791199.56
4.2 | Other than CISF |  | 245.9286 | 248.9369 | 292.4807 | 247.4326 | 43.3745 | 47.3477 |  | 4734768.94
5 | Water Charges
6 | Administrative Expenses
6.1 | Rent |  | 2.8831 | 3.2384 | 2.3842 | 3.1804 | 4.3696 | 4.6381 |  | 463810
6.2 | Electricity charges
6.3 | Travelling & Conveyance |  | 34.3132 | 26.5236 | 22.712 | 5.3999 | 9.4219 | 15.4767 |  | 1479153
6.4 | Communication Expenses |  | 1.2862 | 2.3568 | 0.7652 | 1.1522 | 0.76452 |  |  | 56580
6.5 | Advertising |  | 8.5861 | 7.6921 | 8.6197 | 1.5435 | 0
6.6 | Foundation Laying & Inauguration
6.7 | Donation
6.8 | Entertainment |  | 2021-22: 0.34 |  | 2030
6.9 | Filing fee |  | 3.3 | 3.3 | 3.3 | 17.82 | 3.3 | 3.3 |  | 330000
Subtotal (Administrative Expenses)
7 | Employee Cost
7.1.1 | Salaries, Wages & Allowances
7.1.1.1 | Salaries, Wages & Allowances (inluding loco pilots and man power associated with stone and metal picking charges and water pumping)
7.1.1.2 | Salaries, Wages & Allowances (Excluding loco pilots and man power associated with stone and metal picking charges and water pumping) |  | 2839.0498 | 3436.8259 | 3113.4221 | 3181.4963 | 3346.9724 | 3342.5529 |  | 334483852
7.1.1.3 | Loco pilots
7.1.1.4 | Stone and metal picking
7.1.1.5 | Water pumping
7.1.2 | Pension |  | 192.1951 | 195.0898 | 200.5294 | 208.4743 | 316.0456 | 252.6657 |  | 25949549
7.1.3 | Gratuity |  | 909.6161 | 153.5868 | 115.5188 | 129.5855 | 129.7673 | 108.4235 |  | 8708959
7.1.4 | Provident Fund |  | 260.3811 | 272.2012 | 280.1268 | 289.7741 | 204.4629 | 270.8494 |  | 26981446
7.1.5 | Leave Encashment |  | 439.2521 | 286.2659 | 354.002 | 158.2217 | 350.8114 | 383.2689 |  | 38739752
7.2 | Staff welfare expenses |  | 16.3001 | 6.8434 | 3.6282 | 6.138 | 8.1343 | 8.4151 |  | 33131
7.2.1 | Medical expenses on superannuated employees
7.2.2 | Medical expenses on regular employees & others |  | 82.9967 | 66.1967 | 91.1091 | 57.2061 | 63.4953 | 54.814 |  | 5554181.5
7.2.3 - | Uniform/Livries & safety equipment |  | 1.6591 | 0.3852 | 0.8615 | 0.348 | 0 | 114 |  | 11400000
7.2.4 - | Canteen expenses
7.2.5 - | Other staff welfare expenses |  | 5.2098 | 6.5951 | 8.349 | 24.0025 | 7.7431 | 0.0203
Subtotal (Staff welfare Expenses)
7.3 | Productivity linked Incentive |  | 136.6059 | 12.0189 | 0 | 13.0406 | 70.1371 |  |  | 18805960
7.4 | Expenditure on VRS
7.5 | Ex-gratia |  | 2017-18: 12.8824; 2018-19: 8; 2019-20: 13
7.6 | Performance Related Pay(PRP) |  | 2022-23: 466.2897
Sub Total (Employee Cost)
8 | Loss of Store |  | 0.35461 |  |  | 0.04101 | 1.3015 | 4.5754 |  | 710627.11
9 | Provisions
10 | Prior Period Expenses
11 | Corporate Office expenses allocation |  | 1035.2536 | 965.6769 | 998.7637 | 676.0463 | 760.6994 | 661.5522
12 | Others
12.1 | Rates & Taxes |  | 1.1802 | 2.0499 | 4.5494 | 6.1032 | 5.2985 | 0.21348 |  | 21348
12.2 | Water cess
12.3 | Training & recruitment expenses |  | 4.6335 | 0.44858 | 0.025 | 0 | 0.774 | 2.925 |  | 63932
12.4 | Tender Expenses
12.5 | Guest house expenses |  | 9.2628 | 9.5851 | 10.0983 | 11.1167 | 12.3792 | 11.3947 |  | 1139467.92
12.6 | Education expenses |  | 132.2098 | 161.3384 | 146.1851 | 135 | 140.25 | 180.52 |  | 18052000
12.7 | Community Development Expenses
12.7.1 | CSR activities |  | 8.9387 | 41.9728 | 65.1399 | 31.7755 | 40.5759 | 19.7133
12.8 | Ash utilisation expenses
12.9 | Books & Periodicals |  | 0.203 | 0.046 | 0.13194 | 0.17352 | 0.25
12.1 | Professional Charges |  | 0.2594 | 0.2078 | 7.4127 | 0.72757 | 1.2087 | 0.26481 |  | 26481
12.11 | Legal expenses |  | 27.3063 | 14.2773 | 15.3657 | 8.389 | 0
12.12 | EDP Hire & other charges |  | 42.7255 | 20.1582 | 16.385 | 14.5372 | 12.3605 | 16.5171 |  | 1651709.27
12.13 | Printing & Stationery |  | 2.7323 | 2.4652 | 2.5875 | 1.5098 | 1.2401 | 1.4021 |  | 124476
12.14 | RLDC Fee & Charges |  | 45.4906 | 37.7005 | 55.2671 | 29.8425 | 33.6847 | 28.9935 |  | 6762706
12.15 | Brokerage & Commission
12.16 | Bank charges |  | 0.015088 | 0.025544 | 0.014328 | 0.010096 | 0.011676 | 0.075624 |  | 756.24
12.17 | Claims/advances written off
12.18 | Hiring of vehicle |  | 65.4207 | 68.0759 | 70.4604 | 68.1489 | 73.9352 | 77.2858 |  | 7728583
12.19 | Payment to auditors |  | 2022-23: 2.9818 |  | 298178.44
12.2 | Misc. Expenses |  | 4.3462 | 3.651 | 3.5344 | 2.5358 | 1.9636 |  |  | 500298
(Break-up Of Misc.)
12.20.1 | Horticulture
12.20.2 | Transport- Vehicle Running exp. |  | 35.9129 | 33.5581 | 33.647 | 29.8042 | 30.1782 | 40.0521 |  | 4005213.28
12.20.3 | Hire charges & Operating Exp -Construction equipment
12.20.4 - | Tree Plantation exp.
12.20.5 - | R&D expenses
12.20.6 | Other Vehicles |  | 2.5569 | 6.6693 | 1.2529 | 3.0952
12.20.7 | Consumption-HSD/LDO-(Ind/Imp)-DG Set
12.20.8 | Exp/ Inc from Inv Diff
12.20.9 | Loss on sale of Investments
12.20.10 | Operating exp of diesel generating sets
12.20.11 | Furnishing Expenses |  | 2019-20: 0.1341; 2020-21: 0.028 |  | 0
12.20.12 | Subscription to Trade and Other Association
12.20.13 | Hire Charges - Helicopter/Aircraft
12.20.14 | Visa & Entry Permit Charges - Overseas
12.20.15 | FX Monitoring Terminal Expenses
12.20.16 | Works/Conf.(Excl train R&D CENPEEP)Earlier Non FBT
12.20.17 | Workshop/Conf. Exp (train R&D CENPEEP) Earlier FBT
12.20.18 | Hire charges - Office equipment
12.20.19 | Payment for health club etc
12.20.20 | Gifts liable for Fringe Benefit Tax
12.20.21 | Festival expenses liable Earlier (FBT)
12.20.22 | Miscellaneous Expenses |  | 2022-23: 171.8737 |  | 5131921
12.20.23 | Rounding Off Difference
12.20.24 | Regional Power Committee Expenses
12.20.25 | Misc Exp. trf to CSR and IEDC
12.20.26 | Specify other sub head, if any. |  | 2022-23: 48.2216
Sub Total (Others)
13 | (Total 1 to 12) |  | 7991.1661 | 7673.7576 | 7554.5674 | 7280.3825 | 7467.4575 | 8211.0971 |  | 711626198.12
14 | Revenue / Recoveries |  | 93.5952 | 9.506 | 354.8539 | 5.2891 | 41.5574 | 2.5551 |  | 41.5574
15 | Net Expenses |  | 7897.5708 | 7664.2515 | 7199.7135 | 7275.0934 | 7425.9001 | 8208.542 |  | 711626156.5626
| Total O&M Cost |  | 6862.3173 | 6698.5746 | 6200.9498 | 6599.0471 | 6665.2007 | 8208.542 |  | 6665.2007

## Corporate Expenses
Annexure-VIII
DETAILS OF O & M EXPENSES (At Corporate Level/Regional Level)
Name of the Company:NEEPCO
(Rs. In Lacs)
Sl.No. | ITEM | Unit | 2017-18 | 2018-19 | 2019-20 | 2020-21 | 2021-22
1 | 2 |  | 3 | 4 | 5 | 6 | 7
(A) | Breakup of corporate expenses (Aggregate at Company level)
1 | - Employee expenses:
1.1 | -Salaries, wages and allowances |  | 8504.6615 | 10719.1565 | 10837.3145 | 11681.7735 | 12454.5435
1.2 | -Staff welfare expenses |  | 45.46 | 62.1259 | 20.1926 | 47.2978 | 16.3514
| Medical expenses on superannuated employees |  | 881.06 | 1012.4 | 1137.53 | 563.54 | 678.92
| Medical expenses on regular employees & others |  | 315.5289 | 382.6416 | 399.9326 | 316.4961 | 516.0696
| Canteen expenses |  | 0 | 0 | 0 | 0 | 0
| Salary Arrear ( Pay Parity ) |  | 0 | 208.5309 | 0 | 0 | 0
1.3 | -Productivity linked incentive |  | 7.25 | 3.37 | 8.77 | 1.81 | 11.2
1.4 | - Expenditure on VRS |  | 0 | 0 | 0 | 0 | 0
1.5 | -Ex-gratia |  | 0.59661 | 0.34985 | 0.41982 | 0.38658 | 0
1.6 | -Performance related pay( PRP) |  | 346.62 | 83.425 | 43.0371 | 57.7412 | 225.0905
1.7 | VII Pay Arrears Paid Pertaining to period prior to 2017-18 |  | 0 | 0 | 0 | 0 | 0
| PF Employer Contribution |  | 913.6981 | 919.8647 | 963.0997 | 941.8096 | 1007.8614
| Pension contribution for serving |  | 357.549 | 285.5871 | 256.2031 | 240.6205 | 279.9392
| Leave Encashment |  | 1050.71 | 691.7614 | 779.7868 | 870.3818 | 876.7657
| Honararium |  | 2.57 | 1.05 | 0.43 | 0.2 | 0.13
| Gratuity |  | 2010.75 | 450.7796 | 346.2814 | 380.7149 | 370.26
| Pension for retired |  | 501.12 | 497.05 | 526.61 | 531.08 | 583.08
| Sub - Total (Employee Expenses) |  | 14937.5742 | 15318.0925 | 15319.6075 | 15633.8519 | 17020.2112
2 | Administrative Expenses: |  | 0 | 0 | 0 | 0 | 0
2.1 | - Repair and maintenance |  | 205.7567 | 284.5953 | 295.1604 | 272.1326 | 366.216
2.2 | - Training and Recruitment |  | 137.26 | 78 | 65.7 | 68.99 | 80.59
2.3 | - Communication |  | 207.665 | 259.8959 | 329.0277 | 226.4556 | 94.7967
2.4 | - Traveling & Conveyance |  | 260.4507 | 224.2385 | 175.6408 | 60.8009 | 122.8952
2.5 | - Rent |  | 100.486 | 84.165 | 101.565 | 104.075 | 99.8157
2.6 | Others (Specify items) Social Welfars (Others) |  | 62.5424 | 14.1 | 8.74 | 1.06 | 2.01
| Advertisement and publicity |  | 252.354 | 192.5529 | 120.4345 | 33.5208 | 599.01
| Books & Periodicals |  | 2.1787 | 1.8298 | 1.9797 | 0.45 | 1.495
| EDP Hire and other charges |  | 179.1259 | 154.4971 | 56.2994 | 96.5169 | 244.0753
| Education expenses |  | 0.63289 | 0.13116 | 4.56 | 0.48 | 0
| Entertainment and hospitality expenses |  | 0.28 | 0.15 | 0 | 0 | 19.0752
| Fin Expenses-IndAS |  | 0.74 | 0 | 17.8558 | 14.7559 | 14.46
| Guest house expenses |  | 117.3476 | 147.0626 | 160.17 | 189.9912 | 196.4294
| Hiring of Vehicles |  | 47.5617 | 54.9891 | 43.2061 | 73.5946 | 83.3126
| Insurance |  | 12.5512 | 23.2275 | 33.1948 | 45.6834 | 27.3401
| Legal Expenses |  | 21.9773 | 42.5603 | 45.549 | 29.685 | 259.32
| Miscellaneous Expenses |  | 161.1661 | 170.8846 | 99.2211 | 86.5238 | 106.0024
| Community development Exp. |  | 333.22 | 153.44 | 0 | 0 | 0
| Others ( Bank Charges ) |  | 1.4784 | 1.37 | 2.6559 | 1.8874 | 1.1616
| Payment to auditors |  | 18.5 | 20.29 | 19.79 | 16.33 | 22.42
| Power Charges |  | 296.2318 | 110.8623 | 91.4158 | 74.464 | 82.0198
| Printing and Stationery |  | 27.0781 | 41.841 | 23.1442 | 20.9568 | 18.1422
| Professional charges & consultancy fees |  | 147.04 | 51.4442 | 155.7405 | 116.6821 | 219.002
| R&D EXPS |  | 0 | 0 | 0 | 0 | 0
| Rates and taxes |  | 19.1265 | 35.3685 | 21.8668 | 49.9982 | 39.0701
| Tender expenses |  | 0 | 0 | 0 | 0 | 0
| Trpt Veh running Exp. |  | 155.56 | 197.8 | 178.54 | 154.65 | 168.48
| Water charges |  | 1.75 | 1.74 | 0 | 0 | 0
| Workshop & Conf. Exp. |  | 0 | 0 | 0 | 0 | 0
| Filing fee |  | 0 | 0 | 0 | 0.01 | 0
| Board Meeting / AGM Expenses |  | 26.64 | 53.82 | 42.09 | 8.88 | 7.16
| loss on Wrtite off / Unserv/Obs of Fixed Assets |  | 0.1 | 0.35 | 0.38 | 1.69 | 0.2998
| Loss on Sales |  | 0 | 0 | 0 | 0 | 0.12026
| CSR On going Expenses |  | 0.2 | 0.12 | 92.8666 | 0.42 | 0.61
| CSR expenses |  | 270.61 | 243.31 | 667.5 | 399.08 | 53.39
| Sub - Total (Administrative Expenses) |  | 3067.611 | 2644.6357 | 2854.2943 | 2149.7644 | 2928.7193
3 | Security |  | 0 | 0 | 0 | 0 | 0
| CISF |  | 0 | 0 | 0 | 0 | 0
| Non CISF |  | 203.8559 | 260.2539 | 281.8866 | 156.5727 | 198.425
4 | Donations |  | 0 | 0 | 0 | 0 | 0
5 | Provisions |  | 0 | 0 | 0 | 0 | 0
5A | Depreciation |  | 328.1998 | 257.5171 | 341.8932 | 597.9268 | 701.6972
| On account of Corporate/ Regional establishment |  | 0 | 0 | 0 | 0 | 0
| On account of others ( Interest Expenses Assets under Lease) |  | 0 | 0 | 0.81344 | 2.3683 | 2.5351
5B | Prior period expenses (Interest on Income Tax of earlier years) |  | 7.2275 | 0 | 0 | 0 | 0
| Amortisation Expenses-Leasehold Assets |  | 0 | 0 | 0 | 0 | 11.8617
| Wtite off Killing S&I Projects |  | 0 | 0 | 594.6 | 0 | 0
6 | Others (specify items) DRE Write-off S&I Projects |  | 48.6855 | 279.3842 | 9.5544 | 1.2126 | 0
7 | Total (1 to 6) |  | 18593.154 | 18759.8834 | 19402.6494 | 18541.6966 | 20863.4496
8 | Less recoveries (if any) |  | 0 | 0 | 0 | 0 | 0
9 | Net Corporate Expenses (Aggregate) |  | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0
(B) | Allocation of Corporate Expenses to |  | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0
1 | Power Generation/Transmission O&M |  | 0 | 0 | 0 | 0 | 0
2 | Project management/Projects under Construction |  | 0 | 0 | 0 | 0 | 0
3 | RLDC and ULDC |  | 0 | 0 | 0 | 0 | 0
4 | Consultancy Business |  | 0 | 0 | 0 | 0 | 0
5 | Telecommunication Business |  | 0 | 0 | 0 | 0 | 0
6 | Any other |  | 0 | 0 | 0 | 0 | 0
Note: Heads indicated above are illustrative. Generating companies or the transmission utilities may furnish the allocations in different functional activities suited to their company.
(C) | Allocation of Corporate Expenses relating to functional activity of power Generation or the transmission to various generating stations or the transmission region/systems as the case may be. (Section 62 - cost plus projects)
1 | Kopili |  | 2760.6762 | 2575.1384 | 2663.3699 | 1802.7901 | 2028.5318
2 | Khandong |  | 690.169 | 643.7846 | 665.8425 | 450.6975 | 507.133
3 | KHEP Stg-II now Khandong Stage-II |  | 345.0845 | 321.8923 | 332.9212 | 225.3488 | 253.5665
4 | RHPS now PLHPS |  | 5590.3692 | 5214.6553 | 5393.324 | 3650.65 | 4107.7769
5 | DHPS |  | 1035.2536 | 965.6769 | 998.7637 | 676.0463 | 760.6994
6 | Tuirial |  | 828.2028 | 772.5415 | 799.011 | 540.837 | 608.5595
7 | Pare |  |  | 1416.3261 | 1464.8534 | 991.5346 | 1115.6925
8 | AGBPS |  | 4016.7838 | 3746.8264 | 3875.2031 | 2623.0597 | 2951.5138
9 | AgGBPS |  | 1863.4564 | 1738.2184 | 1797.7747 | 1216.8833 | 1369.259
10 | TGBPS |  | 1394.1415 | 1300.4449 | 1345.0018 | 910.409 | 1024.4086
11 | Solar, Monarchak |  | 69.0169 | 64.3785 | 66.5842 | 45.0698 | 50.7133
12 | Kameng |  |  |  |  | 5408.3704 | 6085.5954
| Total |  | 18593.154 | 18759.8834 | 19402.6494 | 18541.6966 | 20863.4496
Allocation of corporate expenses to other projects
JVs / Subsidiary / section 63 - TBCB project
Note:
Year-wise audited actual O&M expenses submitted for the period 2017-18 to 2021-22 should be clearly indicating the following
(i) Explanation / Justification for year to year variation of more than (±) 10% in any head of O&M expenses
(ii) Details of expenditure under the head "Others".
(iii) Details of the amount indicated under the head "Revenues/Recoveries"
(iv) Details of arrears and prior period adjustments included in the data for the period 2017-18 to 2021-22, if any, pertaining to period prior to the year 2017-18 should be mentioned separately in the following format:
Sl. No. | Year during the period 2017-22 in which arrear/ prior period adjustments have been made | Year to which this arrear and prior period adjustment pertains |  |  | Amount of arrear/ prior period adjustment (Rs. in lakh)
(v) Separately furnish the details of abnormal expenses, if any.
(vi) Future provisions pertaining to period beyond 2021-22 made in the employee cost or any other head during 2017-18 to 2021-22 towards wage revision/arrears or for any other reason shall be provided separately.
(vii) Details of Regional level expenses to be provided separately giving methodology of allocation of Regional expenses.

## Corporate 22-23
FY 2022-23
Particulars | KHEP | RHEP | DHEP | PARE | TRHEP | KAMENG | AGBPP | AgGBPS | TGBP | Solar | Total Corporate Share of Expenditure
Expenses
Employee benefits expense | 0 | 3208.1148 | 413.4247 | 1239.7844 | 475.7822 | 6789.9785 | 3939.2015 | 1971.2675 | 1742.4678 | 15.7118 | 19795.7332
Finance costs | 0 | 106.5953 | 13.7368 | 41.194 | 15.8087 | 225.6091 | 130.887 | 65.4989 | 57.8966 | 0.52205 | 657.7484
Depreciation and amortization expenses | 0 | 177.488 | 22.8726 | 68.5907 | 26.3225 | 375.6536 | 217.9352 | 109.0598 | 96.4015 | 0.86925 | 1095.1933
Other expenses | 0 | 1641.3498 | 211.5182 | 634.304 | 243.4218 | 3473.9188 | 2015.3917 | 1008.5486 | 891.4891 | 8.0385 | 10127.9805
Total expenses | 0 | 5133.5479 | 661.5522 | 1983.8732 | 761.3352 | 10865.16 | 6303.4154 | 3154.3748 | 2788.255 | 25.1416 | 31676.6553

## Annexure-XIX
Annexure-XIX
| Name of Utility: | North Eastern Electric Power Corporation Limited (NEEPCO LTD.)
| Name of Generating Station: | Doyang Hydro Power Station (DHPS)
| Station Configuration: | (3 X 25 MW) Reservoir Based Hydro Power Station
| Capacity (MW): | 75
| COD: (Effective) | 08.07.2000
|  | Unit | 2004-05 | 2005-06 | 2006-07 | 2007-08 | 2008-09 | 2009-10 | 2010-11 | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18 | 2018-19 | 2019-20 | 2020-21 | 2021-22
1 | Plant Availability Factor (PAF) | % | 93.3603 | 87.0762 | 92.2917 | 94.9239 | 96.5633 | 62.3883 | 76.5426 | 73.8238 | 66.3955 | 75.1146 | 63.0591 | 62.1788 | 75.2227 | 71.5225 | 59.7368 | 65.6339 | 60.3176 | 62.3869
2 | Plant Load Factors (PLF) | % | 38.8941 | 28.0061 | 27.7017 | 40.7009 | 36.2731 | 27.4591 | 39.0641 | 34.7345 | 32.4688 | 37.403 | 25.1546 | 24.759 | 39.4103 | 41.7598 | 35.2244 | 27.4624 | 31.0306 | 15.3088
3 | Scheduled Energy (DC) | MU | 299.76 | 181.28 | 179.93 | 260.51 | 239.2336 | 175.1862 | 247.5554 | 218.1997 | 223.3847 | 236.1732 | 156.6539 | 156.1226 | 249.5784 | 260.1563 | 223.5275 | 172.2121 | 196.9831 | 94.5846
4 | Scheduled Generation | MU | 243.31 | 173.28 | 172.93 | 255.63 | 232.7787 | 172.9116 | 244.4771 | 218.649 | 197.887 | 233.0419 | 155.8344 | 155.1471 | 244.1681 | 259.9972 | 220.6492 | 171.9323 | 196.8749 | 94.5842
5 | Actual Generation (Gross) | MU | 255.534 | 184 | 182 | 268.1377 | 238.314 | 180.406 | 256.6509 | 228.8311 | 213.3203 | 245.7377 | 165.2655 | 163.1123 | 258.9254 | 274.362 | 231.4246 | 180.9225 | 203.8712 | 100.5788
| Actual Generation (ex-bus) | MU | 246.22 | 175.84 | 174.1 | 257.83 | 234.977 | 174.9427 | 249.7613 | 219.8294 | 205.1798 | 235.6051 | 156.976 | 154.7651 | 246.6364 | 261.3994 | 221.6999 | 173.7458 | 198.1637 | 96.516
| Actual energy supplied to beneficiaries (Long Term, Medium Term and Short Term) | MU | 243.31 | 173.28 | 172.93 | 255.63 | 232.7787 | 172.9116 | 244.4771 | 218.649 | 197.887 | 233.0419 | 155.8344 | 155.1471 | 244.1681 | 259.9972 | 220.6492 | 171.9323 | 196.8749 | 94.5842
6 | Quantum of coal consumption | MT | bar: 2004-05 to 2021-22
7 | Value of coal | Rs. Lakh | bar: 2004-05 to 2021-22
8 | Specific Coal Consumption | kg/kWh | bar: 2004-05 to 2021-22
9 | Gross Calorific Value of Coal | (Kcal/ Kg) | bar: 2004-05 to 2021-22
10 | Heat Contribution of Coal | (Kcal/ kWh) | bar: 2004-05 to 2021-22
11 | Cost Of Specific Coal Consumption – Finally admitted by CERC (Ex-Bus) | (Rs./kWh) | bar: 2004-05 to 2021-22
12 | Quantum of Oil Consumption | (KL) | bar: 2004-05 to 2021-22
13 | Value of Oil | (Rs. lakh) | bar: 2004-05 to 2021-22
14 | Gross calorific value of oil | (kcal/lit) | bar: 2004-05 to 2021-22
15 | Specific Oil Consumption | (ml/kWh) | bar: 2004-05 to 2021-22
16 | Cost Of Specific Oil Consumption – Finally admitted by CERC | (Rs./kWh) | bar: 2004-05 to 2021-22
17 | Heat Contribution of Oil | (Kcal/ kWh) | bar: 2004-05 to 2021-22
18 | Station Heat Rate | (Kcal/ kWh) | bar: 2004-05 to 2021-22
19 | Auxiliary Energy Consumption | MU |  | 0.038188 |  | 0.042738 | 0.033941 | 0.03202 | 0.46968 | 0.76175 | 0.41874 | 0.45886 | 0.40196 | 0.39942 | 0.41702 | 0.49411 | 0.44588 | 0.40726 | 0.38917 | 0.38282
|  | (%) | 0 | 0.020754 | 0 | 0.015939 | 0.014242 | 0.017749 | 0.183 | 0.33289 | 0.1963 | 0.18673 | 0.24322 | 0.24487 | 0.16106 | 0.18009 | 0.19267 | 0.2251 | 0.19089 | 0.38062
20 | Debt at the end of the year | (Rs. Crore) | 2004-05: 191.4887; 2005-06: 177.2306; 2006-07: 98.6823; 2007-08: 27.6882; 2008-09: 13.4875
21 | Equity - Average | (Rs. Crore) | 331.3136 | 331.2986 | 331.2776 | 331.2806 | 331.2896 | 327.5673 | 327.5907 | 327.6785 | 327.9441 | 328.1271 | 328.1224 | 329.3535 | 330.547 | 330.4695 | 329.424 | 328.9435 | 330.2632 | 331.5515 | 2509.67 | 2653.22 | 2804.98 | 2965.42 | 3135.04 | 3900.1 | 4159.22 | 4435.56 | 4730.26 | 5044.54 | 5654.57 | 5924.1 | 6206.47
22 | Working Capital – finally admitted by CERC | (Rs. Crore) | 20.4242 | 16.978 | 19.2393 | 19.2835 | 18.026 | 19.9604 | 21.3259 | 22.6644 | 24.0225 | 20.8203 | 24.8974 | 26.5729 | 28.7814 | 29.1356 | 29.8188 | 30.9735 | 32.2385 | 33.5394 | 25.0967 | 26.5322 | 28.0498 | 29.6542 | 31.3504 | 39.001 | 41.5922 | 44.3556 | 47.3026 | 50.4454 | 56.5457 | 59.241 | 62.0647
23 | Capital cost – finally admitted by CERC | (Rs. Crore) | 648.6658 | 648.6158 | 648.5458 | 648.5558 | 636.0999 | 636.2563 | 636.2563 | 636.8413 | 688.0272 | 638.0614 | 639.857 | 648.4877 | 648.9414 | 648.9729 | 647.6835 | 651.7409 | 657.8907 | 662.4677
24 | Capacity Charges/ Annual Fixed Cost (AFC) |  | 71.3733 | 47.7333 | 58.1654 | 55.1107 | 44.0514 | 84.6268 | 90.8104 | 96.7165 | 102.619 | 81.0315 | 94.7829 | 101.2085 | 110.5907 | 108.5897 | 108.289 | 121.5674 | 125.1837 | 129.0288
(a) Return on equity – post tax (admitted by CERC upto 2009) and Pre Tax post 2009 | bar: 2009-10 to 2018-19
| Absolute value | (Rs. Crore) | 0 | 0 | 0 | 3.3128 | 13.3177 | 19.654 | 24.4678 | 28.6751 | 32.7551 | 37.0718 | 41.1465 | 44.4528 | 50.5473 | 45.5057 | 41.9917 | 39.8581 | 40.018 | 40.1741
| Rate | (%) | 0 | 0 | 0 | 1 | 4.02 | 6% | 7.469% | 8.751% | 9.988% | 11.3% | 12.54% | 13.5% | 15.29% | 13.77% | 12.75% | 12.12% | 12.12% | 12.12%
(b) interest on Loan | bar: 2009-10 to 2018-19
| Absolute value | (Rs. Crore) | 27.0808 | 20.5684 | 12.8122 | 5.9791 | 2.0643 | 0.2374 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Rate – Weighted Average Rate | (%) | 2004-05: 12; 2005-06: 11.16; 2006-07: 9.29; 2007-08: 9.46; 2008-09: 10.03; 2009-10: 10
(c) Depreciation (finally allowed by CERC) | bar: 2009-10 to 2018-19
| Absolute value | (Rs. Crore) | 14.1757 | 14.2232 | 14.2219 | 14.2212 | 14.2216 | 37.1935 | 37.1981 | 37.2152 | 37.2669 | 10.0588 | 11.2743 | 11.5762 | 11.8024 | 11.8482 | 11.8264 | 9.2913 | 9.5179 | 9.7684
AAD | bar: 2009-10 to 2018-19
| Rate | (%) | 2.193 | 2.193 | 2.193 | 2.193 | 2.193 | 5.846% | 5.846% | 5.846% | 5.844% | 5.844% | 1.76 | 1.8 | 1.82 | 1.83 | 1.82 | 1.43 | 1.45 | 1.48
(d) Interest on working Capital | bar: 2009-10 to 2018-19
| Absolute value | (Rs. Crore) | 2.0935 | 1.7402 | 1.972 | 1.9766 | 1.8477 | 2.4451 | 2.6124 | 2.7764 | 2.9428 | 2.5505 | 3.3611 | 3.5873 | 3.8855 | 3.9333 | 4.0255 | 3.7323 | 3.6268 | 3.5216
| Rate | (%) | 10.25 | 10.25 | 10.25 | 10.25 | 10.25 | 12.25 | 12.25 | 12.25 | 12.25 | 12.25 | 13.5 | 13.5 | 13.5 | 13.5 | 13.5 | 12.05 | 11.25 | 10.5
(e) Operation and maintenance cost (finally admitted by CERC) | bar: 2009-10 to 2018-19
| Absolute value | (Rs. Crore) | 10.7706 | 11.2014 | 11.6495 | 12.1155 | 12.6001 | 25.0967 | 26.5322 | 28.0498 | 29.6542 | 31.3504 | 39.001 | 41.5922 | 44.3556 | 47.3026 | 50.4454 | 56.5457 | 59.241 | 62.0647
| Rate | (%) | 1.6604 | 1.727 | 1.7962 | 1.8681 | 1.9808 | 3.9444 | 4.17 | 4.4045 | 4.31 | 4.9134 | 6.0953 | 6.4137 | 6.8351 | 7.2888 | 7.7886 | 8.6761 | 9.0047 | 9.3687
(f) Compensation Allowances | bar: 2009-10 to 2018-19
(g) Special Allowance | bar: 2009-10 to 2018-19
h) Supplementary Tariff - Emission Control | bar: 2009-10 to 2018-19
| Absolute value | (Rs. Crore) | bar: 2009-10 to 2018-19
| Rate | (%) | bar: 2009-10 to 2018-19
| i) Ash Utilisation Expenses | (Rs. Crore) | bar: 2009-10 to 2018-19
25 | AFC | (Rs./ kWh) | 3.3334 | 3.1303 | 3.8222 | 2.4499 | 2.1505 | 5.5616 | 4.221 | 5.0266 | 5.8929 | 3.9513 | 6.9117 | 7.4129 | 5.1469 | 4.7461 | 5.577 | 8.0348 | 7.2256 | 15.5019
26 | Energy Charge | (Rs./kWh) | [5 empty] | 2.137 | 2.294 | 2.443 | 2.592 | 2.047 | 2.38 | 2.47 | 2.114 | 2.416 | 2.859 | 3.171 | 2.821 | 5.732
26.1 | Supplemental Energy Charges - Emission Control | (Rs./kWh) | bar: 2009-10 to 2018-19
27 | Total tariff | (Rs. kWh) | [5 empty] | 4.5162 | 4.3047 | 4.9772 | 5.2735 | 4.0587 | 5.3491 | 5.547 | 4.838 | 4.831 | 5.022 | 5.862 | 5.745 | 8.429
28 | Revenue realisation before tax | (Rs. Crore) | bar: 2009-10 to 2018-19
29 | Revenue realisation after tax | (Rs. Crore) | bar: 2009-10 to 2018-19
30 | Profit/ loss | (Rs. Crore) | bar: 2009-10 to 2018-19
31 | DSM Generation | (MU) | [6 empty] | 4.391 | 2.741 | 7.93 | 3.398 | 1.59 | 3.575 | 4.631 | 2.322 | 2.064 | 2.368 | 1.961 | 1.99
32 | DSM Rate | (Rs/kWh) | bar: 2009-10 to 2018-19
33 | Revenue from DSM | (Rs. Crore) | [6 empty] | 1.0416 | 0.48765 | 1.651 | 0.30951 | 0.2022 | 0.26699 | 0.61285 | 0.424 | 0.462 | 0.436 | 0.407 | 0.43
34 | Compensation received for operation below NAPAF
35 | Part load Compensation received from beneficiriaes
36 | Amount received from SCED | (Rs Crore)
Note: | Generating Companies are required to submit data for all generating stations
This is a general format. Plants of different fuel users have to fill the cells as applicable to them.
Tariff for the Hydro may be understood as composite tariff.
The data provided for the corresponding years need to mention as Actual or provisional.
Data for each Unit and Stage is required to be submitted in additional sheets as per the format