NEEPCO comments on Draft Regulation 2024 on terms and conditions of tariff regulation for tariff period 01/04/2024 to 31/03/2029.

Ref:-	CERC letter No. CERC/L-1/268/2022/CERC 	 Dated 4th January’2024.

| Sl. No. | Para No. | In the Draft Regulation | NEEPCO’s comments |
| --- | --- | --- | --- |
| 1 | 3(56) | Operation and Maintenance Expenses' or 'O&M expenses' means the expenditure incurred for operation and maintenance of the project, or part thereof, and includes the expenditure on manpower, maintenance, repairs and maintenance spares, other spares of capital nature valuing less than Rs. 20 lakhs, additional capital expenditure of an individual asset costing up to Rs. 20 lakhs, consumables, insurance and overheads and fuel other than used for generation of electricity | 1.As per most of the power generating companies Accounting Guidelines, spares of capital nature above Rs.5.00 Lakh are capitalised. 2. NEEPCO is based in the NER and having 14 nos. of units in the range between 25 MW to 55 MW in Hydro Stations and another 15 nos of units below 33 MW in Gas Based stations. This is because of logistical challenges. Also most generator transformers which otherwise would have been three phase, are actually single phase types leading to more number of units and also necessitating requirement of spare transformers. As cost of majority of such spares will be well below 20 lakhs, therefore, spares for such small sized units may allowed to be included in the capital cost as the cost of these cannot be absorbed in the 0 & M expenses proposed. It is therefore requested that spares above Rs 5 lakhs may be allowed as capital spares considering the size of the units and logistical/geological challenges/socio political issues of the N. E Region. |
| 2 | 3(67) | Reference Rate of Interest means the one year marginal cost of funds based lending rate (MCLR) of the State Bank of India (SBI) issued from time to time plus 325 basis points | NEEPCO proposes to modify by keeping Reference Rate of Interest same as was mentioned in the approach paper i.e Marginal Cost of Lending Rate (MCLR)+350 bps |
| 3 | 3(88) | “..Provided that in the case of coal/lignite based thermal generating stations and hydro generating stations, the Operational Life may be 35 years and 50 years, respectively” | The Operational Life for Gas Based Power Station is not mentioned in this Regulation. In this regard, Hon’ble Commission may kindly appreciate that NEEPCO’s Gas Stations having been running on high PLF and hence for continual efficient running of the same, the operational life for Gas Based Power Stations may please be considered as 40 years and included in the Regulation. Accordingly , R & M for Residual Life Extension of such Gas Based Power Stations be allowed. |
| 4 | 9(2) | In case of an existing generating station or unit thereof, or transmission system or element thereof, the application shall be made by the generating company or the transmission licensee, as the case may be, by 31.10.2024, based on admitted capital cost including additional capital expenditure already admitted and incurred up to 31.3.2024 (either based on actual or projected additional capital expenditure) and estimated additional capital expenditure for the respective years of the tariff period 2024-29 along with the true up petition for the period 2019-24 in accordance with the CERC (Terms and Conditions of Tariff) Regulations, 2019 | The finalization and audit of annual accounts takes time and is generally completed by end of August. It is therefore requested before the Hon’ble Commission to extend the date upto 31.12.2024 for filing of Truing-up petition as well petition for final tariff determination. |
| 5 | 19.4(C) | Expenditure incurred towards developing local infrastructure not exceeding Rs. 10 lakh/MW in the vicinity of the power plant approved in original scheme if funding is not provided for under “Budgetary Support for Flood Moderation and for Budgetary support for enabling infrastructure”. | Request to modify as ” Expenditure incurred towards developing local infrastructure not exceeding Rs. 10 lakh/MW in the vicinity of the power plant approved in original scheme which is not provided under “Budgetary Support for Flood Moderation and for Budgetary support for enabling infrastructure”. |
| 6 | 21(5) | … Provided that in case of activities like obtaining forest clearance, NHAI Clearance, approval of Railways, and acquisition of government land, where delay is on account of delay in approval of concerned authority, in such cases maximum condonation shall be allowed up to 90% of the delay associated with obtaining such approvals or clearances. | Delay in completion of the Power Plants leads to huge impact on Actual RoE of the Generating Companies. Further, delays not attributable to the Generating Company will cause financial stress to the generator, if not condoned fully. As the clearances mentioned are uncontrollable in nature, NEEPCO requests for condonation of 100% delay instead of 90% as mentioned in the draft Regulation. Further NEEPCO also requests that the term “Forest Clearance” should be defined as actual physical handover of cleared forest land ready for commencement of Project activities, free of any encumbrance |
| 7 | 22(2) | (2) The "uncontrollable factors" shall include but shall not be limited to the following: | Rehabilitation and Resettlement issues are a major factor for time & cost overrun, as State Authorities are implementing the same & CPSU has no control over overcoming local resistance. Therefore, this may be pleased be considered as an uncontrollable factor. |
| 8 | 23 | Initial Spares | Due to the severe acidity problem, Kopili HPS was flooded due to rapture of Penstock. Vide Petition no 189/MP/2022 Hon’ble Commission has approved the R&M of plant. NEEPCO requests the Hon’ble commission to allow 8% Initial Spares for Kopili in place of 4% of Normative O&M in the draft regulation as the acidity in the water still persists and will require more maintenance/ replacement of parts. |
| 9 | 26(2) | Any claim of additional capitalisation less than Rs. 20 lakhs shall not be considered under Clause (1) of this regulation | NEEPCO requests that only items below Rs.5.00 Lakh may not be considered as Additional Capitalization. In Hydro Power Plants there are substantial amount of items/works of capital nature, the cost of which varies between Rs 5.00 Lakhs to Rs. 20 Lakhs. If these works are to be treated under O&M expenses, then it will impact profitability and financial parameters and will have negative impact on economic viability as IRR will be impeded. NEEPCO is based in the NER and having 14 nos. of units in the range between 25 MW to 55 MW in Hydro Stations and another 15 nos of units below 33 MW in Gas Based stations. This is because of logistical challenges. Also most generator transformers which otherwise would have been three phase, are actually single phase types leading to more number of units and also necessitating requirement of spare transformers. As cost of majority of such spares & works will be well below 20 lakhs. It is therefore requested that additional capitalization above Rs 5 lakhs may be allowed considering the size of the units and logistical/geological challenges/socio political issues of the N. E Region. |
| 10 | 26(3) | In case of de-capitalisation of assets of a generating company or the transmission licensee, as the case may be, the original cost of such asset as on the date of de-capitalisation shall be deducted from the value of gross fixed asset and corresponding loan as well as equity shall be deducted from outstanding loan and the equity respectively in the year such de-capitalisation takes place with corresponding adjustments in cumulative depreciation and cumulative repayment of loan, duly taking into consideration the year in which it was capitalised. Provided that in cases where an asset forming part of a scheme is de-capitalised and wherein the historical value of such asset is not available, the value of de-capitalisation shall be computed by de-escalating the value of the new asset by 5% per year until the year of capitalisation of the old asset subject to a minimum of 10% of the replacement cost of the asset. | NEEPCO requested Hon’ble Commission to allow the recovery of balance depreciation in case of assets replaced before useful life, upto salvage value. |
| 11 | 30(3) | Return on equity for new project achieving COD on or after 01.04.2024 shall be computed at the base rate of 15.00% for the transmission system, including the communication system, at the base rate of 15.50% for Thermal Generating Station and run-of-river hydro generating station and at the base rate of 17.00% for storage type hydro generating stations, pumped storage hydro generating stations and run-of-river generating station with pondage; … Provided that return on equity in respect of additional capitalization beyond the original scope, including additional capitalization on account of the emission control system, Change in Law, and Force Majeure shall be computed at the base rate of one-year marginal cost of lending rate (MCLR) of the State Bank of India plus 350 basis points as on 1st April of the year, subject to a ceiling of 14%; | In the NER, while developing the Hydro Power station we have faced several issues viz. remoteness/poor infrastructure, natural calamities, law and order issues, geological surprises, local resistance, social and political issues etc. Because of these uncertainties the projects often require higher gestation/completion time and due to this, the effective RoE is much lesser than the normative prescribed RoE. It is there requested to increase the RoE to 18.5% instead of 17.00% for storage type hydro generating stations, pumped storage hydro generating stations and run-of-river generating station with pondage. Further, the revised rate may also be extended to the existing power stations. Return on equity in respect of additional capitalization beyond the original scope, including additional capitalization on account of the emission control system, Change in Law, and Force Majeure are beyond the control of generating station and therefore original RoE should be allowed on it. Further, as NEEPCO is running its Gas Based Power stations at high PLF, (much above the national average) , scheduled maintenance of these plants is imperative and additional capitalization at regular intervals is very much essential as the fund is required for efficient operation of the existing plants. Therefore, capping of RoE will have a negative impact on financials. It is proposed that the RoE be maintained at 15.5%( basic). |
| 12 | 32.(5)&(6) | …Provided that if there is no actual loan outstanding for a particular year but the normative loan is still outstanding, the last available weighted average rate of interest of the loan portfolio for the project shall be considered In the case of New Project(s), the rate of interest shall be the weighted average rate of interest calculated on the basis of the actual loan portfolio of the generating company or the transmission licensee, as the case may be; Provided further that if the generating station or the transmission system, as the case may be, does not have any actual loan, then the rate of interest for a loan shall be considered as 1-year MCLR of the State Bank of India as applicable as on April 01, of the relevant financial year. Provided that the rate of interest on the loan for installation of the emission control system shall be the weighted average rate of interest of the actual loan portfolio of the emission control system, and in the absence of the actual loan portfolio, the weighted average rate of interest of the generating company as a whole shall be considered subject to a ceiling of 14%. | Request to modify the same by MCLR of SBI as on 1st April of the relevant year plus 100 basis points. Request to modify the same by MCLR of SBI as on 1st April of the relevant year plus 100 basis points. |
| 13 | 34.1.C(i) | Interest on Working Capital : Fuel cost for 15 days corresponding to the normative annual plant availability factor, duly taking into account the mode of operation of the generating station on gas fuel and liquid fuel | Monthly bills are raised as per Regional Energy Account published monthly by NERPC Therefore, it is requested to continue the fuel cost for 30 days as per the existing Tariff Regulation 2019. |
| 14 | 36.1.(3) | Operation and Maintenance Expenses Open Cycle Gas Turbine/Combined Cycle generating stations Year; Gas Turbine Combined Cycle generating stations other than small gas turbine power generating stations; Small gas turbine power generating stations; Agartala GPS; Advance F Class Machines. FY 2024-25; 17.22; 38.16; 42.76; 32.02. FY 2025-26; 18.24; 40.41; 45.28; 33.91. FY 2026-27; 19.31; 42.79; 47.94; 35.91. FY 2027-28; 20.45; 45.31; 50.77; 38.02. FY 2028-29; 21.66; 47.98; 53.76; 40.26. | In the Draft Tariff Regulation 2024, It was observed that the Normative O&M expenses proposed for 2024-25 against Assam Gas Based Power Station is less by 13.07 % from 2023-24 and similarly for Agartala Gas Based Power Station it is 8.20% less from 2023-24. Further , the normative O&M expenses allowed in case of our Tripura Gas Based Power Station ( advance class 6FA) is much lower than the average actual O&M for last six years. Detail Comparison is provided as ANNEXURE-1 We apprehend that such a difference may have arisen due to non-consideration of the Corporate Share of O&M expenses against individual Power Stations, which had been attached in a separate sheet submitted along with other forms, while submitting information of generation stations in connection with finalization of terms and conditions of tariff for the tariff period 2024-29, before the Hon'ble Commission vide letter no. NEEPCO/COMML/T-13/2023-24/258 dated 26.05.2023 . We once again submit the same forms for our Gas Based Power Stations incorporating the Corporate share of O&M expenses which had been earlier submitted separately as ANNEXURE-2 The Hon'ble Commission may kindly appreciate the fact that all the Power Stations of NEEPCO are situated in the far-flung area of the North East part of India with geographical/logistical constraints. Therefore the O&M expenses for NEEPCO’s Stations ( located in NE Region) may please be considered favourably as it has been done in draft regulation 36,clause 3 for transmission system , by multiplying 1.50% to the normative O&M expenses prescribed . Further, it may please be noted that NEEPCO’s gas stations are having small units of Frame-V , VI & VI FA and hence the number of units are three times more than similar capacity stations of NTPC having Frame-9 machines. This is because of challenging logistics in the NE Region where heavy ODI equipment transportation is limited. Hence cost of inventory and associated manpower for O&M is substantially more. The O&M expenses allowed for advance class machines should be separate for smaller size 6FA and bigger size 9FA. As in the draft Regulation it is observed that the Normative O&M expenses allowed for 6FA and 9FA is same and the O&M expenses allowed for our Tripura Gas Based Power Station having 6FA machine is much lower than the average of actual O&M incurred in last 5 years (ANNEXURE-1) We request the Hon’ble commission to look into the matter and issue a separate rate of normative O&M for the advance class 6FA category machine. Additional O&M expenses pertaining to Cyber Security may be allowed separately. |
| 15 | 36(2) | O&M Expenditure of Hydro Plant | We apprehend that there may be non-consideration of non-consideration of the Corporate Share of O&M expenses against individual Power Stations during calculation of Normative O&M, which had been attached in a separate sheet submitted along with other forms, while submitting information of generation stations in connection with finalization of terms and conditions of tariff for the tariff period 2024-29, before the Hon'ble Commission vide letter no. NEEPCO/COMML/T-13/2023-24/258 dated 26.05.2023 . We once again submit the same forms for our Hydro Power Stations incorporating the Corporate share of O&M expenses which had been earlier submitted separately as ANNEXURE-3 Further NEEPCO requests the Hon’ble commission to consider reimbursement of Insurance Expenditure separately after prudence check similar to Capital Spares and Security Expenses due to exorbitant hike in insurance premium. Or else, the annual escalation of O&M expenses needs to be increased to accommodate the enhanced insurance charges. Additional O&M expenses pertaining to Cyber Security may be allowed separately. NEEPCO requested Hon’ble Commission to increase the O&M expenses from 3.5% and 5% mentioned in the Draft Regulation for new Power Plant declared under commercial operation on or after 1.4.2024 as 5% & 7.5% for NE Region considering the remoteness and other difficulties. |
| 16 | 66(3) | The energy charge shall be payable by every beneficiary for the total energy scheduled to be supplied to the beneficiary in excess of the design energy plus 75% of the energy utilized in pumping the water from the lower elevation reservoir to the higher elevation reservoir, at a flat rate equal to the average energy charge rate of 20 paise per kWh, if any, during the calendar month, on ex power plant basis | The following modification in the Regulation is suggested by NEEPCO : “ The energy charge shall be payable by every beneficiary for the total energy scheduled to be supplied to the beneficiary in excess of the design energy plus 100% of the energy utilized in pumping the water from the lower elevation reservoir to the higher elevation reservoir, at a flat rate equal to the average energy charge rate of 20 Paise per kWh, if any, during the calendar month, on ex. Power plant basis. ” Or else 25% of the energy utilized will not be recovered and the generating station will be overburdened with the non-recoverable portion. |
| 17 | 70.C.a(v) | Gross Station Heat Rate: Open Cycle Gas Turbine/Combined Cycle Generating Stations: For the following gas-based thermal generating stations | For NEEPCO’s Tripura Gas Based Power Station the Normative gross Station Heat Rate needs to be included as it has not been mentioned in the Draft Regulation. |
| 18 | 70.E.(C) | Auxiliary Energy Consumption: For Gas Turbine /Combined Cycle generating stations: Provided further that an additional Auxiliary Energy Consumption of 0.35% shall be allowed for Combined Cycle Generating Stations having direct cooling air cooled condensers with mechanical draft fans. (iii) Tripura CCPP : 3.50% | The last 5 years Auxiliary Consumption of Agartala Gas Based Power Station having air cooled condensers are as follows: Average %. 17-18; 3.7282. 18-19; 3.552188. 19-20; 3.244135. 20-21; 3.72204. 21-22; 3.444124. 22-23; 3.72741. 23-24 (upto Dec'23); 3.6625. 3.582942. Considering the actual figures NEEPCO requests the Hon'ble Commission to increase the Auxiliary consumption to 3.5% instead of 3.10% (2.75+35) presently granted. The Tripura Gas Based Station, Monarchak may please be mentioned as Tripura Gas Based Power Station instead of Tripura CCPP with Auxiliary Consumption as 3.50% |
| 19 | 71.A(b) | In the case of storage and pondage type plants with head variation between full reservoir level and minimum draw down level is more than 8% and when plant availability is not affected by silt, the month-wise peaking capability as provided by the project authorities in the DPR (approved by CEA or the State Government) shall form the basis of fixation of NAPAF | Following modification in the Regulation is suggested by NEEPCO: “ In the case of storage and pondage type plants with head variation between full reservoir level and minimum draw down level is more than 8% and when plant availability is not affected by silt, the month-wise peaking capability as provided by the project authorities either in the DPR (approved by CEA or the State Government) or as confirmed by physical model study of the Turbine as vetted by CEA shall form the basis of fixation of NAPAF.” |
| 20 | 71.A.4 | Based on the above, the Normative annual plant availability factor (NAPAF) of the hydro generating stations already in operation shall be as follows | The NAPAF of NEEPCO’s Tuirial Hydro Power Station is not included in the list. The same may be included and mentioned as 75% as allowed in the Petition 125/MP/2021 |
| 21 | 71.C | Auxiliary Energy Consumption (AEC): For Hydro | Auxiliary consumption for NEEPCO’s 60 MW Tuirial HPS is more than 4%. The same has been given cognizance in the order against Petition 125/MP/2021 by allowing Auxiliary consumption of 4.304% for 2014-19 with a direction to get recommendation for 2019-24 from CEA. Therefore, requests the Hon’ble Commission to consider 4.304% Auxiliary Consumption for Tuirial HPS. |
| 22 | 88 | Deviation from ceiling tariff (2) The generating company or the transmission licensee, may opt to charge a lower tariff for a period not exceeding the validity of these regulations on agreeing to deviation from operational parameters, reduction in operation and maintenance expenses, reduced return on equity and incentive specified in these regulations…. (6)Where a generating company and its beneficiaries or a transmission licensee and its long term customers have mutually agreed to charge a lower tariff in respect of a particular generating station or transmission system in terms of Clauses (1) to (3) of this Regulation, the said agreed tariff shall not be revised upwards at the time of truing up based on the capital cost and additional capital expenditures in accordance with these regulations: Provided that where the trued up tariff is lower than the agreed tariff, the generating company or the transmission licensee shall charge such trued-up tariff only: Provided further that the difference between the agreed tariff and the trued-up tariff shall be settled between the parties in accordance with Regulations 10(7) and 10(8) of these regulations. | After the notification of office memorandum dated 8th March 2019 regarding “ Measure to Promote Hydro Sector” , some developers have signed agreements with the beneficiaries through tariff rationalization measure for bringing down the tariff by backloading of tariff ( levelized tariff approach) . NEEPCO had signed an agreement with APDCL( Assam Discom) with same levelized tariff approach for the useful life, bringing down the tariff by backloading of tariff (levelized tariff approach) for the life of the power station. Hon’ble Commission has ratified the tariff till 2023-24 ( 548/GT/2020) While proceeding through this approach NEEPCO has lost in the tune of approximately Rs.570/- Crore till date. As the tariff is fixed in escalating approach for entire life of the plant, then Regulation 88(6) will defeat the purpose of Tariff Rationalization. Therefore , one specific clause may please be inserted in this regulation for the generator adhering to backloading of tariff (levelized tariff approach) for the whole life of the station, by allowing the agreed tariff as per the agreement between Generator and beneficiaries and should not be connected with the Truing-up. |
| 23 | 91 | Award of Arbitration: In cases where there is a liability with respect to capital works on account of award of arbitration having principal amount along with interest payment, the principal amount actually paid shall be capitalised. Provided that any interest amount associated with the arbitration award and actually paid shall be recovered in instalments along with carrying cost at the rate specified under Regulation 10(7) and 10(8) of these Regulations. Provided further that such number of instalments shall be decided by the Commission on a case-to-case basis depending upon the amount to be reimbursed. | Non-inclusion of interest part of the payment in the Capital cost will lead to forfeiting of our claim on various parameters as a part of capital cost. It is requested that the Hon’ble commission may allow the interest portion up to COD as a part of Capital Cost along with the Principal. The interest part after COD may be considered to be reimbursed in number of instalments as may be considered by Commission. |