SRPC Secretariat comments on Draft T & C for Tariff Determination 2024-29- Additional Comments

| Regulation No/Page No | Regulation as in Draft | Proposed Amendment | Comment/Reason |
| --- | --- | --- | --- |
| 93/Page 153 | Approval Process of Non-ISTS Lines carrying Inter-State Power: | Not to be part of Tariff Regulation | Approval process could be part of Sharing Regulation instead of Tariff Regulation. |
| A new clause at 64(8) |  | 64(8) Part load Compensation “Provided also that till the mechanism of part load compensation is notified by the Commission, the mechanism in this regard already in force under the Central Electricity Regulatory Commission (Indian Electricity Grid Code) Regulations, 2010 shall continue to be in operation. However this would include compensation under SCED and SCUC. Further compensation for SFC for USD cases would also continue till Procedure is notified by the Commission” | Methodology may be brought out in Tariff Regulations. As per IEGC Regulations 2023, it is mentioned as below: “Provided also that till the mechanism of part load compensation is notified by the Commission, the mechanism in this regard already in force under the Central Electricity Regulatory Commission (Indian Electricity Grid Code) Regulations, 2010 shall continue to be in operation.” |
| 62(4)/Page 107/108 | The Plant Availability Factor for a Month ('PAFM') shall be computed in accordance with the following formula: 𝑃𝐴𝐹𝑀=10000 𝑥Σ𝐷𝐶𝑖[𝑁 𝑥 𝐼𝐶 𝑥 (100−𝐴𝑈𝑋𝑛−𝐴𝑈𝑋𝑒𝑛)]% … IC = Installed Capacity (in MW) of the generating station; | The Plant Availability Factor for a Month ('PAFM') shall be computed in accordance with the following formula: 𝑃𝐴𝐹𝑀=10000 𝑥Σ𝐷𝐶𝑖[𝑁 𝑥 𝐼𝐶 𝑥 (100−𝐴𝑈𝑋𝑛−𝐴𝑈𝑋𝑒𝑛)]% … IC = Installed Capacity (in MW) of the generating station; Provided that in case of generating station or unit thereof under shutdown due to Renovation and Modernisation, the generating company shall be allowed to recover O&M expenses and interest on loan in respect of emission control system only and the capacity would not be considered in IC during this period | As there will be no DC during the shutdown for units to comply to emission norms there may an ambiguity whether deemed DC is to given or that capacity has to excluded from PAFM computations. So as suggested in 1st Amendment the unit capacity under shutdown may be taken out from IC. Generating station may recover O&M expenses and interest on loan for the unit. Otherwise the generator may bill accordingly but the Outage period need to be specified in the REA. |
| A new sub clause 62(4)/Page 107 | DCi = Average declared capacity (in ex-bus MW), for the ith day of the period i.e. the month or the year, as the case may be, as certified by the concerned load dispatch centre after the day is over; | DCi = Average declared capacity (in ex-bus MW), for the ith day of the period i.e. the month or the year, as the case may be, as certified by the concerned load dispatch centre after the day is over; Provided in case of force majeure /natural calamity deemed DC may be considered by RPC forum | Currently, RPC forum decides and deemed DC in some cases (Example in case of cyclone etc) is being allowed without Regulatory support. The same can be provided for the Regulatory support. |
| 70/Page 125 | Norms of operation for thermal generating station: | Details of Super critical Generators can be included. | Super critical Generators are available in Grid system. Hence, the same may be incorporated as they are more efficient. |