## Slide 1: Draft CERC (Connectivity and General Network Access to the inter-State Transmission System) (Third Amendment) Regulations, 2024
Public Hearing
04-10-24

## Slide 2: Initial observations -
Grid-India welcomes the Third Amendment to the Connectivity and General Network Access Regulation-2024.
Key addition: Provisions for RLDCs/NLDC operating charges introduced.
Definition of “Complex of ISTS substations” or “Cluster of ISTS substations” introduced.
Methodology for the withdrawal of GNA and connectivity for partial or full quantum has been amended.
Eligibility for Connectivity to ISTS for Renewable Power Park Developers is limited to a minimum quantum of 50 MW and above.
Provisions for Grant of Connectivity to REGS seeking to get connected to transmission network of Bhakra Beas Management Board (BBMB) introduced.
Provisions for Reallocation of the terminal bay(s) falling vacant due to the surrender or revocation of the Connectivity granted to another entity introduced.

## Slide 3: 1. Definition of Cluster/Complex of ISTS substations-
Definition of Cluster/ Complex of ISTS substations may be elaborated to incorporate technical (Voltage, Reactive Power) and Geographical (distance b/w substations)constraints.
2. Grant of Connectivity after change in energy source-
The change in energy sources by REGS may be limited to before the submission of Con-4 documents.
3. Reallocation of Connectivity of ISTS Substation-
Provision for detailed study of interconnection by the nodal agency should be incorporated to avoid operational challenges
4. Grant of GNA at existing ISTS substation-
Nodal agency may specify the condition for sharing of connectivity grant in the detailed procedure, including any priority in scheduling and curtailment.
5. Web portal for GNA grantees-
CTU is the nodal agency for GNA grant/transfer. Hence, the onus of developing web portal for GNA grantees may be assigned to CTU.
Suggestions -

## Slide 4
6. RLDCs/ NLDC Operating charges-
Provision in draft Regulation Clause 34 A.1
Quote
“34A Operating charges for transactions under T-GNA
34 A.1. Operating charges at the rate of Rs 1000 per day or part of the day for Advance T-GNA or Exigency T-GNA under bilateral transactions shall be payable by the applicant to the host Regional Load Despatch Centre.”
Unquote
Modifications Proposed:
34A Operating charges for transactions under T-GNA
1. Operating charges at the rate of Rs 1000 per day or part of the day for buyer and seller each for Advance T-GNA or Exigency T-GNA under bilateral transactions shall be payable by the applicant for to the host Nodal Regional Load Despatch Centre.
2. T-GNA granted under Advance application category for a period of more than one month may be reduced to zero quantum for the balance period with a prior notice of one (1) month by the T-GNA grantee:
Provided that applicable T-GNA operating charges for the quantum of T-GNA granted shall be payable for the notice period of one (1) month.”
3. In case of curtailment of the approved schedule by the Regional Load Despatch Centre, the operating charges shall not be revised.
Suggestions -

## Slide 5: Thank you