## Slide 1
Manikaran Power Limited
Comments on Central Electricity Regulatory Commission (Connectivity and General Network Access to the inter-State Transmission System) (Third Amendment) Regulations, 2024

## Slide 2
Comments on CERC Draft GNA 3rd Amendment
Clause | Exiting Clause | Amended Clause | Comments
17.1 (ii) | A drawee entity connected to intra-State transmission system; | • A drawee entity connected to intra-State transmission system or distribution system; | This is a praiseworthy step by the commission and we cordially accept the terms.
23.3 | Clause added | • NLDC shall make a web portal where a list of GNA grantees with their GNA quantum shall be displayed. • The GNA Grantees shall be able to indicate the GNA quantum, dates, and time blocks for which such quantum can be made available, for use by other GNA grantees. • GNA grantees who wish to use the GNA of another GNA grantee shall also be able to indicate their requirement of GNA quantum along with dates and time blocks for which such quantum is required | Suggestion: The web portal should also be accessible to electricity traders requires to analyze the supply demand in various states which helps traders to support utilities in managing their portfolio and mitigate risks associated with DSM. Traders should also be allowed to get access to scheduling web portal where the scheduling of all GNA grantees are reflected.
25.1(b) | Relinquishment of GNA: For Bulk consumers and DISCCOM directly connected to ISTS, if GNA is relinquished prior to date of effectiveness of GNA, Conn-BG1 and Conn-BG3 shall be encashed corresponding to the relinquished quantum as relinquishment charges | Addition of New Proviso • For Bulk consumers and DISCCOM directly connected to ISTS, the notice period shall be 6 months, and • If GNA is relinquished at least six months prior to the date of effectiveness of GNA, only ConnBG1 and Conn-BG3 shall be encashed corresponding to the relinquished quantum as relinquishment charges | Clarification required: What happens if the notice period for relinquishment of GNA is less than 6 months from the date of effectiveness of GNA? Suggestion: If notice period is 6 months or more, then ConnBG1 and Conn-BG3 should not be 100% encashed rather 50% corresponding to the relinquished quantum should be returned to the applicant after the available GNA corridor after relinquishment will be allocated to a new connectivity grantee.

## Slide 3
Comments on CERC Draft GNA 3rd Amendment
Clause | Exiting Clause | Amended Clause | Comments
26.1(d) | Clause added | An injecting entity connected to InSTS or distribution system and seeking T-GNA for the purpose of injection into ISTS would be eligible for T-GNA for the purpose of injection | This is a praiseworthy step by the commission and we cordially accept the terms.
26.2 | A GNA grantee (Bulk consumer, DISCOM, Buyer connected to InSTS, Generating station for meeting auxiliary/start-up power, Captive generating plant, REGS for drawl during non-generation hours) shall be eligible to apply for T-GNA over and above the GNA granted to it | Addition of New Proviso: • Bulk consumer directly connected to ISTS may seek T-GNA maximum up to 30% of the GNA granted.” | Clarification required: We seek clarity on how has CERC come to this 30% capping? And also we seek to understand the rationale behind this capping. Further, this capping can create a chaos among the bulk consumer to mitigate their daily load requirement.
34A | New Regulation Transmission Charge for T-GNA | Operating Charges in addition to Transmission Charges • Operating charges of INR 1,000/Day payable to RLDC for bilateral transactions (includes Advance T-GNA or Exigency T-GNA) • Power exchange to pay for each successful Buyer and Seller INR 1/MWh subject to max of INR 200/day | We request CERC not to introduce this clause it proves an additional financial burden on the generators and buyers. As state specific charges have significantly impacted the commercial feasibility in short term transactions including green energy open access for majority of the states, these additional charges may reduce the short term transactions to a negligible percentage. Suggestion: All other charges applicable to buyer should be billed on monthly basis.