## Slide 1: Comments and Suggestions on the Draft CERC(Sharing of Transmission Charges and Losses, Fourth Amendment) Regulations, 2024.

## Slide 2
ISTS Wavier Extension due to Transmission Delay (Clause 13 7 (h) )
Amendment
(7) A new sub-clause (h) shall be inserted after sub-clause (g) under Clause (2) of Regulation 13 of the Principal Regulations as under: (h) Any REGS based on wind or solar source which is eligible for a waiver of inter-state transmission charges under Regulation 13(2) of these regulation and is having its scheduled date of commissioning on or before 30th June 2025 is granted extension of time to achieve COD by the competent authority in terms of the Power Purchase Agreements (where PPA has been entered into with, a Renewable Energy Implementing Agency or a distribution licensee or an authorized agency on behalf of distribution licensee, consequent to tari􀀁 based competitive bidding) or the Commission (for cases other than speciﬁed PPA, on an appropriate application made by the entity), on account of any Force Majeure event including non-availability of transmission or for reasons not attributable to the REGS, and the project achieves COD before the extended date, it shall be eligible for a waiver of inter-state transmission charges as if the said REGS had achieved COD on 30.6.2025
Provided that REGS who had applied for connectivity to CTU for a connectivity operationalization date on or before 30th June 2025 and that such application was ﬁled considering reasonable time for construction of project, are subsequently granted ﬁnal connectivity by CTU bearing connectivity effective date after 30th June 2025, shall be eligible for extension in COD and corresponding ISTS charge waver extension on account of transmission delay for the period beyond 30th June 2025 and till connectivity effective date. The CTU shall share within 30 days from notiﬁcation of this regulation details of all such projects to the commission for extension in ISTS charge waver. Provided that, for the purpose of this Clause, such extension shall not exceed a period of six months at a time and not more than two times.”
Remarks: - We also suggest that the proviso regarding two extensions of 6 months on account of FM, Delay in Transmission & Delay in government approval is restrictive, delays can be more than 1 year and should be granted.
Rationale
Deletion of eligible :- Eligibility for ISTS charge waiver is basis COD. But extension for same is demanded due to delays beyond developer's control. Hence deletion suggested
Eligibility for Extension: REGS projects with planned COD mentioned in connectivity application being earlier than 30th June 2025, application filed giving reasonable time for construction, gets a connectivity effective date later than June 2025 due to transmission delay
Cause of Transmission Delays: Transmission delays arise from prolonged transmission scheme bidding, SPV acquisition for transmission networks, and the 2023 transition to GNA regulations
Impact of Delays: Significant ISTS charge to be borne by generator (netted off from Generator receivables by Buyer) impacting project viability

## Slide 3
ISTS Wavier Extension due to Transmission Delay (Clause 13.7.(h) )
Rationale
Proposed Mandate: CTU/CTUIL to submit a list of affected projects eligible for COD extensions and ISTS waivers within 30 days of regulation notification.
Streamlined Approach: Suo Moto approval for extensions and waivers reduces case-by-case reviews, following CERC precedent in 13/SM/2018 order.
Mitigation of Risks: Ensures project viability, preserves investor confidence, and supports India's renewable energy targets.
Alignment with Objectives: Ensures commissioning of renewable projects, aligning with national clean energy goals.

## Slide 4
Determination of Charges for Terminal Bay 13 (3) Second proviso
Amendment
8) The second Proviso of Clause (3) of Regulation 13 of the Principal Regulations shall be substituted as follows:
“Provided further that for cases of augmentation without ATS and where the Terminal Bay(s) at the ISTS sub-station, in the scope of the transmission licensee have achieved COD, which is not earlier than the start date of Connectivity, and the COD of a Connectivity grantee or the Renewable Power Park Developer, as the case may be, has not been achieved, the connectivity Grantee or the Renewable Power Park Developer, as the case may be, shall pay Yearly Transmission Charges for the Terminal Bay(s) As per methodology speciﬁed by the commission corresponding to the Connectivity capacity which has not achieved COD:
Provided also that Yearly Transmission Charges in respect of the Associated Transmission System and terminal bay(s) corresponding to the Connectivity capacity that have achieved COD shall be included for determination of transmission charges of DICs in accordance with Regulations 5 to 8 of these regulations.”
Rationale
Current Issue: No predefined percentage of Yearly Transmission Charges (YTC) exists for terminal bays in TBCB projects.
Bid Structure: Bids quote levelized YTC for the entire project, with no clear YTC allocation for terminal bays.
Proposed Solution: The commission should define a methodology for calculating liability for terminal bays.
Suggestion 1: Specify % YTC for terminal bays in upcoming TBCB projects.
Suggestion 2: Use a pro-rata method based on Con BG2 submitted by the connectivity grantee to CTUIL.

## Slide 5
Thank You