## NR (2)
Annexure -A
Northern Region
Amount - Rs in Lakhs
Variation Analysis
Sr.No. | ITEM | 2013-14 | 2014-15 | Variation % | Reasons | 2015-16 | Variation % | Reasons | 2016-17 | Variation % | Reasons | 2017-18 | Variation % | Reasons
A | Growth in assets (%)
1 | Bays |  |  | 7.5859 | The growth in the asset during the year should be taken into acount while considering the expenses during the year |  | 4.4783 | The growth in the asset during the year should be taken into acount while considering the expenses during the year |  | 8.1623 | The growth in the asset during the year should be taken into acount while considering the expenses during the year |  | 8.6425 | The growth in the asset during the year should be taken into acount while considering the expenses during the year
2 | MVA |  |  | 7.9526 |  |  | 4.6083 |  |  | 10.4633 |  |  | 13.2266
3 | Lines |  |  | 55.31 |  |  | 17.7046 |  |  | 14.5546 |  |  | 6.2838
B | Variation in Cost
1 | Repairs of Plant & Machinery | 2510.16 | 3530.02 | 40.6293 | Overhauling of 80 MVAR Reactor at Ballabgarh - Rs 299 lakhs Addition of 04 new AC substation during 2013-14 | 2253.64 | -36.1579 | Procurement of ERS System booked in O&M during previous year now capitalised -Rs 900 lakhs, Road repair work at Moga & Patiala Substation- Rs 150 lakhs | 6561.19 | 191.1374 | Major Repairing of FSC R-ph for Meerut= Rs 833 lakhs- Dadri HVDC repair work Rs 10 Crs Repairing of 80 MVAR Reactor at Kota= Rs 276 lakhs. Spares for Balia Bhiwadi - Rs 547 lakhs booked in Repair and Maintenance. Addition of 04 nos AC substation | 6605.2748 | 0.6719 | Within Normal variation range
2 | Consumption of Spares (not capitalized ) | 8440.94 | 11507.76 | 36.3327 | Snubber Capacitor and thyristor Valves at HVDC Dadri - Rs 1484 lkahs | 14311.42 | 24.3632 | Light guide for 2 Quadrupile and HVDC Valveat Dadri - Rs 710 lakhs. | 16871.2338 | 17.8865 | Replacemen of CT at Dadri - RS 465 lakhs.. | 13104.8733 | -22.3242 | Excluding Replacemen tof CT at Dadri - RS 465 lakhs during 2016-17 . The variationis within Normal range.
3 | Power Charges (electricity consumed for repairing activity) | 2726.93 | 8509.56 | 212.0564 | Tertiary billing for substations at Balia, Lucknow, Mandola,Meerut, Bassi, Bhiwadi, Knakroli, Bhimmal, Gurgaon, Manesar & Maharanibagh , Agra, Allahabad, Mainpuri,Jind, Hissar, Bhiwani, Sonepat, Bhagadurgarh, Moga, Jalandhar,Amristar- Rs 5149lakhs ( Approx Rs 4100 lakhs pertains toprevious years) | 5150.37 | -39.4755 | Approx Rs 4100 lakhs of tertiary charges pertaining to previous years was included in 2014-15. | 7063.58 | 37.147 | Rs. 804 lakhs pertains to Agra HVDC sub station being new sub station. And Rs. 206 lakhs increase due to AUX POWER CONSUMPTION at ballia SS. | 8714.751 | 23.3758 | Rs 1000 lakhs pertains to HVDC Champa & Kurukshtra, beng new HVDC terminals. Rs 300 lakhs on account of Tertiary power for Punjab Stations.
4 | Any other A&G expenses (Provide details)(Excluding Loss on Disposal) | 1913.67 | 6962.08 | 263.8078 | Unallocated CC O&M Expenses - Rs 4599.45 lakhs | 2800.91 | -59.7691 | Unallocated CC Expenses amounting to Rs 4599.45 lakhs was included in 2014-15. Excluding this, the variation is in Normal range. Caltural exp during the year Rs198.44 lakhs | 2071.11 | -26.0558 | last year expenses includes caltural exp 198.44 lakhs | 9650.7288 | 365.9689

## ER (2)
Eastern Region
Amount - Rs in Lakhs
Variation Analysis
Sr.No. | ITEM | 2013-14 | 2014-15 | Variation % | Reasons | 2015-16 | Variation % | Reasons | 2016-17 | Variation % | Reasons | 2017-18 | Variation % | Reasons
A | Growth in assets (%)
1 | Bays |  |  | 15.0987 | The growth in the asset during the year should be taken into acount while considering the expenses during the year |  | 13.1181 |  |  | 7.3149 | The growth in the asset during the year should be taken into acount while considering the expenses during the year |  | 7.6475 | The growth in the asset during the year should be taken into acount while considering the expenses during the year
2 | MVA |  |  | 25.1472 |  |  | 30.8242 |  |  | 9.5228 |  |  | 6.7349
3 | Lines |  |  | 78.5285 |  |  | 7.3909 |  |  | 8.6916 |  |  | 3.9852
B | Variation in Cost
1 | Repairs of Plant & Machinery | 1622.47 | 3135.49 | 93.2541 | (1) Repair of Transmission Line) - Rs 698.98 lacs; Mainly towards major maintenance of Sasaram Fatehpur Line-Rs 382.33 lacs, Repairing of Township Buildings-Rs 217.39 lacs and NTPC BILL for Kahalgaon Emp Benefits like 90.94 lacs (2) Material expenditure in Farakka, Durgapur project corresponding to previous year booked this year - 334.11 Lacs (3) Chukha 028 Malda SLG of Rs. 223.92 lacs | 2667.94 | -14.9115 | Within Normal variation range | 4035.86 | 51.2725 | Pile fouindation work of river crossing 400 KV DC Patna Kishanganj Line - Rs 927 lacs, major maintenance of 765 KV Gaya Fatehpur Line - Rs 123.27 lacs+ Repairing of Township Buildings Rs 200.19 lacs mainly towardsNTPC BILL for Kahalgaon Emp Benefits like 31.65 lacs | 5632.1021 | 39.5515 | 1. Major repairs in old Quarter in Siliguri & Jeypore amounting to Rs 1.85 crs 2. Expenses of Rs. 1.5 crores for reactor repairs at Binaguri and Rs. 1 crore at Malda 3. Bay maintenance expenses for Jeerat, Kharagpur, PPSP & Gokrana & MISC S/S for. Rs 6.01 Crs . 4.Replacement of Insulators in various old lines near 3 .00 crores. 5.Emergency Restoration (including pile foundation works) in 220 kV Alipuduar Salakati TL -238.58 lakhs. 6. Pile Foundation at Anchor Tower-2 of 400kV/DC (Quad) New Siliguri-New Purnea Transmission Line.- Rs2.67 Crs
2 | Consumption of Spares (not capitalized ) | 3236.13 | 3342.01 | 3.2718 | Within Normal variation range | 3567.19 | 6.7379 | Within Normal variation range | 7297.336 | 104.5682 | Major increase due to consumption of Polymer Insulator for replacement in transmission line - 371 lacs. Payment of Entry tax towards O&M material 346.44 lacs. Reconcilation of all inventories lying in various stores of ER 2 to reconcile with SAP after PV by independent external agencies and major booking done in 2016-17 & 2017-18 amounting to Rs 30.55 Cr (in 2016-17) | 8878.4401 | 21.6669 | Reconcilation of all inventories lying in various stores of ER 2 to reconcile with SAP after PV by independent external agencies and major booking done in 2016-17 & 2017-18 amounting to Rs 5 Cr (in 2017-18)
3 | Power Charges (electricity consumed for repairing activity) | 1271.833 | 3328.06 | 161.6743 | 1. Major increase in 2014-15 in Power charges towards auxillary/Tertiary booked for various Substation of Bihar Rs 16.64 crs pertaining to period prior to 2013-14. 2. Commissioning of 3 new AC Substations during 2013-14 | 1741.49 | -47.6725 | Within Normal variation range after adjustment of arear payments made in previous year | 3344.22 | 92.0321 | 1.Major increase in Power charges in 2016-17 was due to booking of auxilliary power charges for various S/s in Bihar: SBDCL - Rs 6.97 crs, NBDCL 5.63 crs which was paid against fixed/capacity charges for previous years prior to 2016-17. | 3486.5725 | 4.2567 | 1. In 2017-18, Major increase in Power charges was due to booking of auxilliary power charges of Rs. 3.59 crore which was paid against fixed/capacity charges for previous years prior to 2017-18. 2. Increase in current year power charges is due to addition of tertiary loading of Kishanganj and also due to increase of power tarrif
4 | Any other A&G expenses (Provide details)(Excluding Loss on Disposal) | 1498.88 | 1956.09 | 30.5034 | Corporate center exp chargeable to revenue amounted Rs.597.47 lakhs | 1214.31 | -37.9216 | Within Normal variation range after adjustment of CC exp allocation included in previous year | 2912.22 | 139.8251 | Corporate center exp chargeable to revenue of rs. 515.00 lakhs more in 16-17 grouped under misc exp FERV attributable to state sector ULD increses by 171.36 Lakhs Capital Grants to Educational Instn. Of Rs. 65.11 lakhs | 1651.7611 | -43.2817 | Within Normal variation range after adjustment of CC exp allocation included in previous year

## WR (2)
Western Region
Variation Analysis
Amount - Rs in Lakhs
Sr.No. | ITEM | 2013-14 | 2014-15 | Variation % | Reasons | 2015-16 | Variation % | Reasons | 2016-17 | Variation % | Reasons | 2017-18 | Variation % | Reasons
A | Growth in assets (%)
1 | Bays |  |  | 23.3333 | The growth in the asset during the year should be taken into acount while considering the expenses during the year |  | 12.1292 | The growth in the asset during the year should be taken into acount while considering the expenses during the year |  | 6.0553 | The growth in the asset during the year should be taken into acount while considering the expenses during the year |  | 7.2616 | The growth in the asset during the year should be taken into acount while considering the expenses during the year
2 | MVA |  |  | 37.851 |  |  | 14.2065 |  |  | 11.1276 |  |  | 10.4594
3 | Lines |  |  | 65.8561 |  |  | 6.9784 |  |  | 4.4124 |  |  | 10.0063
B | Variation in Cost
1 | Repairs of Plant & Machinery | 2049.12 | 4663.02 | 127.5621 | Replacement of Long Rod Insulator in Kawas-Haldarwa, Kawas-Navsari, Kawas Vapi Transmission Lines, Mundra-Jetpur-Limbdi, Gandhar Dehgam, Kawas Lines, Sugen-Vapi, Indore Asoj I& II - Rs 1115.94 lakhs Aerial Patrolling exp. -140 lakhs Tower footing protection work at Wardha, replacement of disc insulators, and shifting of Bhilai-Raipur-Bhadrawati Line - Rs 146 lakhs Addition of 07 new AC S/stn Addition of MVA capacity -38% Addition of bays -23% Addition of Lines capacity - 66% | 4228.29 | -9.3229 | Within normal variation | 4064.65 | -3.8701 | Within normal variation | 5009.0775 | 23.2352 | Repairing of reactor at Akola Cleat & Anchor Shackle replacement in vairous T L - Rs 139 lakhs Civil works at Mapusa, Bhadrawati & Seoni Rs 98 lakhs Quarter repairing at Durg - Rs 100 lakhs.
2 | Consumption of Spares (not capitalized ) | 2739.09 | 3741.98 | 36.614 | Lightning Surge arrestors at Jablapur, Damoh, Sujalpur, Khandwa, Satna and Itarsi Rs 265 lakhs.. ICGL breaker overhauling at Raipur and Bharatpur (Rs 200 lakhs) Replacement of Insulator in various TLs - Rs 123 lakhs . | 6012.45 | 60.6756 | Repair of 400/220kV 315 MVA ICT of Jabalpur SS - Rs 503.80 lakhs. Replacement of Antifog porcelain Disc insulators with Long Rod Composite(Polymer) insulators in 400kV Gandhar-Navsari D/C line,400kV Vapi- Navsari lines , etc - Rs 211.13 lakhs. Replacementof Bushing, CTs and Thyristorat HVDC Bhadrawati - Rs 382 lakhs, Replacement of Insulators inNagdq-Dehgam lin -Rs 250.91 lakhs | 7209.38 | 19.9075 | Within Normal variation range | 8591.1519 | 19.1663
3 | Power Charges (electricity consumed for repairing activity) | 2550.42 | 2947.39 | 15.5649 | Within Normal variation range | 3684.83 | 25.0201 | New Substations at Magarwada GIS, Vindhyachal PS, Vadodara GIS, Extn of Jabalpur PS, Pune GIS and Korba. | 4407.76 | 19.6191 | Within Normal variation range | 4665.3339 | 5.8436 | Within Normal variation range
4 | Any other A&G expenses (Provide details)(Excluding Loss on Disposal) | 2503.2 | 8598.83 | 243.5135 | Unallocated O&M Expenses (Rs 6727 lakhs) of CC allocated during the year | 2613.59 | -69.6053 | Decrease due to unusual hike in the previous year. | 7515.9 | 187.57 | CC expenses allocated-Rs 2969 lakhs. Entry Tax along with interest for Rs 2230 lakhs. | 9751.9456 | 29.7509

## NER
Northern Eastern Region
Variation Analysis
Amount - Rs in Lakhs
Sr.No. | ITEM | 2013-14 | 2014-15 | Variation % | Reasons | 2015-16 | Variation % | Reasons | 2016-17 | Variation % | Reasons | 2017-18 | Variation % | Reasons
A | Growth in assets (%)
1 | Bays |  |  | 5.9172 | The growth in the asset during the year should be taken into acount while considering the expenses during the year |  | 13.4078 | The growth in the asset during the year should be taken into acount while considering the expenses during the year |  | 8.867 | The growth in the asset during the year should be taken into acount while considering the expenses during the year |  | 6.5611 | The growth in the asset during the year should be taken into acount while considering the expenses during the year
2 | MVA |  |  | 1.2528 |  |  | 11.9311 |  |  | 16.7588 |  |  | 9.0448
3 | Lines |  |  | 168.6744 |  |  | 9.5927 |  |  | 0 |  |  | 5.1471
B | Variation in Cost
1 | Repairs of Plant & Machinery | 1619.7 | 1305.34 | -19.4085 | Within Normal variation range | 1509.77 | 15.6611 | Within Normal variation range | 2293.73 | 51.9258 | Pile Foundation work at Ranganadi-Balipara TL - Rs 638 lakhs | 2886.42 | 25.8396 | Consumption of spares has been partially booked under this head. Hence it can be seen that under consumption of spares, the variationis negative in 2017-18 | 2752.476 | 133.944
2 | Consumption of Spares (not capitalized ) | 1261.36 | 1111.47 | -11.8832 | Within Normal variation range | 1125.4 | 1.2533 | Within Normal variation range | 1339.88 | 19.0581 | Within Normal variation range | 768.47 | -42.6464 | Consumption of spares has been partially booked under Repair & mainttenance.. Hence it can be seen that under Repair & Maintenance, the variation is on the higher side than normal. |  | 571.41
3 | Power Charges (electricity consumed for repairing activity) | 303.15 | 416.02 | 37.2324 | Due to increase in tariff in ASEB | 479.95 | 15.367 | Within Normal variation range | 1671.07 | 248.1759 | Power charges paid to NTPC for Biswanath Chariali HVDC Station - Rs 1072.53 lakhs | 1563.24 | -6.4528 | Within Normal variation range
4 | Any other A&G expenses (Provide details)(Excluding Loss on Disposal) | 635.35 | 2066.5159 | 225.2563 | Bad debtof Rs 1398.44 lakhs written off for13th adjustment bill of Transmission debtors. | 536.6352 | -74.0319 | Unusual hike in 2014-15. Excluding this, the variation is in normal range | 1119.7939 | 108.6695 | CC O&M expenses allocated amounting to Rs 543.42 lakhs | 520.37 | -53.5298 | Unusual hike in 2016-17 on account of allocation of CC O&M expenses. Excluding this, the variation is in normal range

## SR (2)
Southern Region
Amount - Rs in Lakhs
Variation Analysis
Sr.No. | ITEM | 2013-14 | 2014-15 | Variation % | Reasons | 2015-16 | Variation % | Reasons | 2016-17 | Variation % | Reasons | 2017-18 | Variation % | Reasons
A | Growth in assets (%)
1 | Bays |  |  | 9.7814 | The growth in the asset during the year should be taken into acount while considering the expenses during the year |  | 6.8134 | The growth in the asset during the year should be taken into acount while considering the expenses during the year |  | 9.2247 | The growth in the asset during the year should be taken into acount while considering the expenses during the year |  | 11.1411 | The growth in the asset during the year should be taken into acount while considering the expenses during the year
2 | MVA |  |  | 32.1777 |  |  | 7.3597 |  |  | 14.2582 |  |  | 19.159
3 | Lines |  |  | 65.8252 |  |  | 11.0379 |  |  | 4.2892 |  |  | 3.7202
B | Variation in Cost
1 | Repairs of Plant & Machinery | 1530.22 | 1853.61 | 21.1336 | Major maintenance in TL affected by Hudhud cyclone at HVDC Gazuwaka project & STRN Proj - Rs. 4 Crs Insulator Replacement on Nellore-Vijayawada TL, Neyveli TLM, Narendra Davangerrer TL - Rs. 1.20 crs | 1317.69 | -28.9122 | Unusual hike in 2014-15. Excluding this, the variation is in normal range | 1613.9 | 22.4795 | Additions of New Substations commissioned at Kurnool, Vemagiri etc. | 2586 | 60.233 | 1. HVDC station RTV Silicon Rubber HVIC Rs. 4 Crs 2.Insulator Replacement (River crossig) Rs. 2 Crs 3. Bays increased by 19%
2 | Consumption of Spares (not capitalized ) | 3168.96 | 4114.65 | 29.8423 | Major maintenance in TLs affected by Hudhud cyclone - Rs 11 Cr | 2845.94 | -30.834 | Unusual hike in 2014-15. Excluding this, the variation is in normal range | 4094.128 | 43.8585 | Replacement of Insulator in Sim-Gwk-2, CTPH_Chandrap_RDM2 with CLR Polymer Insulators amounted to Rs.410 lakhs | 5318.69 | 29.9102 | Replacement of Bushings, Power Control Cards, Grading Capacitor, etc in RATL and CTPH Transmissione sytems- Rs 227 lakhs. Special Tools For OLTC-Convxmer -Rs 235 lakhs.
3 | Power Charges (electricity consumed for repairing activity) | 2911.42 | 3540.29 | 21.6001 | Increased due to new commissioned of Assets Nellore, Raichur, Kovilpatti SS, Nagapatinnam SS & Thiruvallam ss | 3632.86 | 2.6148 | Within Nomal variation | 4314.5 | 18.7632 | Within Nomal variation | 4590.19 | 6.3898 | Within Nomal variation
4 | Any other A&G expenses (Provide details)(Excluding Loss on Disposal) | 2064.52 | 2112.92 | 2.3444 | Within Nomal variation | 888.36 | -57.9558 | In 2014-15, expenditure under CC Exp and System operation charges heads are booked but NIL in FY 2015-16 | 1906.93 | 114.6573 | Expenditure under CC Exp and System operation charges heads are booked in FY 2016-17 | 1524.2117 | -20.0699 | Within Nomal variation