## Transmission-Index
List of Transmission Licensee*
Sl.No. | Name of Transmission Licensee
1 | Power Grid Corporation of India
2 | Powerlinks Transmission Ltd.
3 | Torrent Power Grid Private Limited
4 | Jaypee Power grid Limited (JPPGL)
5 | Essar Power Transmission Company Ltd.
6 | ParbatiKoldam Transmission Company Ltd.
7 | Western Region Transmission (Maharashtra) Pvt. Ltd.
8 | Western Region Transmission (Gujarat) Pvt. Ltd.
9 | Teestavalley Power Transmission Ltd. New Delhi
10 | North East Transmission Company Ltd, New Delhi
11 | East-North Inter-connection Company Ltd
12 | Cross Border Power Transmission Company Limited, Gurgaon
13 | Jindal Power Limited, Chhattisgarh
14 | Raichur Sholapur Transmission Company Ltd
15 | Jabalpur Transmission Company Ltd, New Delhi
16 | Bhopal-Dhule Transmission Company Ltd., New Delhi
17 | Adani Transmission (India) Limited
18 | Kudgi Transmission Limited
19 | PowergridVizag Transmission Limited
20 | Darbhanga - Motihari Transmission Company Limited
21 | Purulia&Kharagpur Transmission Company Limited
22 | Patran Transmission Company Limited
23 | RAPP Transmission Company Limited
24 | NRSS XXXI (B) Transmission Limited
25 | NRSS XXIX Transmission Limited
*Any other transmission licensee for which license has been granted by the CERC

## Annexure-I SH 1-4
Annexure –I SH 1/4
Pro-forma for furnishing Actual annual performance / operational data for the coal/lignite based thermal generating stations for the 5-year period from 2012-13 to 2016-17.
Sl. No. | Particulars | Units | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | Name of the Company |  | Damodar Valley Corporation
2 | Name of Station /Pit head or Non-pit head |  | Chandrapuran Thermal Power Station/Non-pit head
3 | Installed Capacity and Configuration | MW | 890 (3x130+2x250)
4 | Rated Steam Parameters (Also state the type of Steam turbine and Boiler) |  | U#1-3 (3x130 MW) :Unit,MS Temp-538 0C,MS Pr.-126 Kg/cm2,MS Flow-435 T/Hr.Boiler-Corner fire tube CE,USA,Turbine- Tanden compound,3 Cylinder (HP-IP&LP) GE,USA, U#7&8(2x250 MW): MS Temp-537 0C,MS Pr.-150 Kg/cm2,MS Flow-742 T/Hr.Boiler-Corner fire tube,BHEL Turbine- BHEL KWU
5 | Type of BFP (Electrical driven / Steam driven) |  | In all the Unit BFP is Electical driven.
6 | Circulating water system (Closed cycle / Open cycle) |  | Closed Cycle
7 | Any other Site specific feature |  | 0 | 0 | 0 | 0 | 0
8 | Fuels:
8.1 | Primary Fuel : |  | Coal
8.1.1 | Annual Allocation or / and Requirement | MT | ͠ 45,00,000 for running all 05 units
8.1.2 | Sources of supply / procurement along with contracted quantity and garde of coal |  | CCL - 2075000 MT (GRADE - W-IV, G-9,G-10,G-11,G-12,WCP,NCWC) BCCL -655000 MT (GRADE-W-III, W-IV, G-3,G-6, G-8,WCP) DVC BERMO MINES
8.1.2.1 | FSA | MT | 4287010 | 3728458.51 | 3825964.11 | 3861181.03 | 3447651.563
8.1.2.2 | Imported | MT | NIL | NIL | NIL | NIL | NIL
8.1.2.3 | Spot Market/ e-auction | MT | NIL | NIL | NIL | NIL | NIL
8.1.3 | Transportation Distance of the station from the sources of supply | km | Road (Block-IV-35 km, West Modidih-44 km, Katapahari-39 km, Nichitpur- 44 km, Tetulmari-37 km, Amlo-19 km, Tarmi- 18 km, Kalyani- 17 km, Jarangdih-33 km, Govindpur-43 km) Rail (Tarmi- 16 km, Jarangdih-II-35 km, Jarangdih-I-35 km, Karo- 20 km, Bansjora- 36 km, Kusunda- 39 km, Sijua- 33 km, North Govindpur- 33 km, Kessurgarh- 41 km, Bachra- 140 km, k.d.h. - 151 km, Dhori- 30 km)
8.1.4 | Mode of Transport |  | Rail / Road
8.1.5 | Maximum Station capability to stock primary fuel | Days & MT | 40 Days & 5,00,000 MT
8.1.6 | Maximun Stock maintained for primary fuel |  | 5,00,000 MT
8.1.7 | Minimum Stock maintained for primary fuel |  | 10000 MT
8.1.8 | Average Stock maintained for primary fuel |  | 15 days & 195000 MT
8.2 | Secondary Fuel
8.2.1 | Annual Allocation or / and Requirement | KL | ͠ 2500
8.2.2 | Sources of supply |  | IOCL & HPCL
8.2.3 | Transportation Distance of the station from the sources of supply | km | Rail (Haldia- 356 km, Bongaigaon- 835 km, Barauni- 339 km, Vizag- 960 km) Road (Haldia- 375 km)
8.2.4 | Mode of Transport |  | Rail / Road
8.2.5 | Maximum Station capability to stock Secondary fuel | KL | 9950
8.2.6 | Maximun Stock maintained for Secondary fuel | KL | 3000
8.2.7 | Minimum Stock maintained for Secondary fuel | KL | 1000
8.2.8 | Average Stock maintained for Secondary fuel | KL | 1500
9 | Cost of Spares : |  | 0 | 0 | 0 | 0 | 0
9.1 | Cost of Spares capitalized in the books of accounts | (Rs. Lakh) | 0 | 0 | 0 | 0 | 0
9.2 | Cost of spares included in capital cost for the purpose of tariff | (Rs. Lakh) | 0 | 0 | 0 | 0 | 0

## Annexure-I SH 1-4 Unitwise
Annexure –I SH 1/4 Unitwise
Pro-forma for furnishing Actual annual performance / operational data for the coal/lignite based thermal generating stations for the 5-year period from 2012-13 to 2016-17.
Sl. No. | Particulars | Units | 2012-13 |  |  | 2013-14 |  |  | 2014-15 |  |  | 2015-16 |  |  | 2016-17
| Units |  | Total CTPS- Item-wise Revenue Exp. | CTPS 1-3 | CTPS 7&8 | Total CTPS- Item-wise Revenue Exp. | CTPS 1-3 | CTPS 7&8 | Total CTPS- Item-wise Revenue Exp. | CTPS 1-3 | CTPS 7&8 | Total CTPS- Item-wise Revenue Exp. | CTPS 1-3 | CTPS 7&8 | Total CTPS- Item-wise Revenue Exp. | CTPS 1-3 | CTPS 7&8
| Capacity |  | 890 | 390 | 500 | 890 | 390 | 500 | 890 | 390 | 500 | 890 | 390 | 500 | 890 | 390 | 500
8 | Fuels:
8.1 | Primary Fuel : |  | Coal
8.1.2.1 | FSA | MT | 4287010 | 1878577.4157 | 2408432.5843 | 3728458.51 | 1633818.8976 | 2094639.6124 | 3825964.11 | 1676546.0707 | 2149418.0393 | 3861181.03 | 1691978.2042 | 2169202.8258 | 3447651.563 | 1510768.6624 | 1936882.9006
8.1.2.2 | Imported | MT | NIL |  |  | NIL |  |  | NIL |  |  | NIL |  |  | NIL
8.1.2.3 | Spot Market/ e-auction | MT | NIL |  |  | NIL |  |  | NIL |  |  | NIL |  |  | NIL
8.1.4 | Mode of Transport |  | Rail / Road
8.1.6 | Maximun Stock maintained for primary fuel | MT | 500000 | 219101.1236 | 280898.8764 | 500000 | 219101.1236 | 280898.8764 | 500000 | 219101.1236 | 280898.8764 | 500000 | 219101.1236 | 280898.8764 | 500000 | 219101.1236 | 280898.8764
8.1.7 | Minimum Stock maintained for primary fuel | MT | 10000 | 4382.0225 | 5617.9775 | 10000 | 4382.0225 | 5617.9775 | 10000 | 4382.0225 | 5617.9775 | 10000 | 4382.0225 | 5617.9775 | 10000 | 4382.0225 | 5617.9775
8.2 | Secondary Fuel
8.2.1 | Annual Allocation or / and Requirement | KL | 2500 | 1095.5056 | 1404.4944 | 2500 | 1095.5056 | 1404.4944 | 2500 | 1095.5056 | 1404.4944 | 2500 | 1095.5056 | 1404.4944 | 2500 | 1095.5056 | 1404.4944
8.2.2 | Sources of supply |  | IOCL & HPCL
8.2.3 | Transportation Distance of the station from the sources of supply | km | Rail (Haldia- 356 km, Bongaigaon- 835 km, Barauni- 339 km, Vizag- 960 km) Road (Haldia- 375 km)
8.2.4 | Mode of Transport |  | Rail / Road
8.2.5 | Maximum Station capability to stock Secondary fuel | KL | 9950 | 4360.1124 | 5589.8876 | 9950 | 4360.1124 | 5589.8876 | 9950 | 4360.1124 | 5589.8876 | 9950 | 4360.1124 | 5589.8876 | 9950 | 4360.1124 | 5589.8876
8.2.6 | Maximun Stock maintained for Secondary fuel | KL | 3000 | 1314.6067 | 1685.3933 | 3000 | 1314.6067 | 1685.3933 | 3000 | 1314.6067 | 1685.3933 | 3000 | 1314.6067 | 1685.3933 | 3000 | 1314.6067 | 1685.3933
8.2.7 | Minimum Stock maintained for Secondary fuel | KL | 1000 | 438.2022 | 561.7978 | 1000 | 438.2022 | 561.7978 | 1000 | 438.2022 | 561.7978 | 1000 | 438.2022 | 561.7978 | 1000 | 438.2022 | 561.7978
8.2.8 | Average Stock maintained for Secondary fuel | KL | 1500 | 657.3034 | 842.6966 | 1500 | 657.3034 | 842.6966 | 1500 | 657.3034 | 842.6966 | 1500 | 657.3034 | 842.6966 | 1500 | 657.3034 | 842.6966

## Annexure-I SH 2-4
Annexure-I SH 2/4
Sl. No. | Period | Details | Unit | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
10 | Generation :
10.1 | Actual Gross Generation at generator terminals |  | MU | 5548.29 | 4831.193 | 4976.59 | 5075.4804 | 5642.7717
10.2 | Actual Net Generation Ex-bus |  | MU | 5018.9831 | 4348.0737 | 4487.8889 | 4585.6965 | 5106.1441
10.3 | Scheduled Generation Ex-bus |  | MU | NA | 4409.916 | 4524.293 | 4561.7265 | 5103.257
11 | Average Declared Capacity (DC) |  | MW | NA | 597.042 | 550.12 | 601.896 | 674.706
12 | Actual Auxiliary Energy Consumption excluding colony consumption |  | MU | 529.3069 | 483.1193 | 488.7011 | 489.7839 | 536.6276
13 | Actual Energy supplied to Colony from the station |  | MU | 30.57 | 30.142 | 31.632 | 33.571 | 29.922
14 | Primary Fuel :
14.1 | Consumption :
14.1.1 | Domestic coal | From linked mines | MT | 4083428.14 | 3732384 | 3714797 | 3728426 | 3662654
|  | Non-linked mines | MT | NIL | NIL | NIL | NIL | NIL
14.1.2 | Imported Coal |  | MT | NIL | NIL | NIL | NIL | NIL
14.1.3 | Spot market/ e-auction coal |  | MT | NIL | NIL | NIL | NIL | NIL
14.2 | Gross Calorific Value (GCV) :
14.2.1 | Domestic coal | As Billed (Non-coking coal) | Kcal/kg | 5360.0909 | 5285.8182 | 5192.5455 | 5060.1667 | 5015
|  | As Received | Kcal/kg | 3271.6667 | 3253.4167 | 3516 | 3688 | 3958
|  | As Fired | Kcal/kg | 3459 | 3395 | 3613 | 3786 | 3983
14.2.2 | Imported coal | As Billed | Kcal/kg | NIL | NIL | NIL | NIL | NIL
|  | As Received | Kcal/kg | NIL | NIL | NIL | NIL | NIL
14.2.3 | Spot market/ e-auction coal | As Billed | Kcal/kg | NIL | NIL | NIL | NIL | NIL
|  | As Received | Kcal/kg | NIL | NIL | NIL | NIL | NIL
14.2.4 | Weighted Average Gross Calorific Value (As Billed-Non-coking) |  | Kcal/kg | 5360.0909 | 5285.8182 | 5192.5455 | 5060.1667 | 5015
14.2.5 | Weighted Average Gross Calorific Value (As Received) |  | Kcal/kg | 3271.6667 | 3253.4167 | 3501.4583 | 3683.75 | 3969
14.2.6 | Weighted Average Gross Calorific Value (As Fired) |  | Kcal/kg | 3459 | 3395 | 3613 | 3786 | 3983
14.3 | Price of coal :
14.3.1 | Weighted Average Landed price of Domestic coal |  | RS./MT | 1970.14 | 2322.59 | 2736.46 | 2932.22 | 2900.27
14.3.2 | Weighted Average Landed price of Imported coal |  | RS./MT | NIL | NIL | NIL | NIL | NIL
14.3.3 | Weighted Average Landed price of Spot market/ e-auction coal |  | RS./MT | NIL | NIL | NIL | NIL | NIL
14.3.4 | Weighted Average Landed price of all the coals |  | RS./MT | 1970.14 | 2322.59 | 2736.46 | 2932.22 | 2900.27
14.4 | Blending : |  | % and MT (of the total coal consumed) | NIL | NIL | NIL | NIL | NIL
14.4.1 | Blending ratio of imported coal with domestic coal |  | Equivalent to domestic coal | NIL | NIL | NIL | NIL | NIL
14.4.2 | Proportion of e-auction coal in the blending |  |  | NIL | NIL | NIL | NIL | NIL
14.5 | Actual Average coal stock maintained |  | Days & MT | 9 & 119904.09 | 10 & 128779.51 | 10 & 132764.58 | 21 & 275106.88 | 24 & 313271.49
14.5 | Actual Transit & Handling Losses for coal |  | %
14.5.1 | Pit-Head Station
14.5.1.1 | Transit loss from linked mines |  |  | 0.8 | 0.8 | 0.8 | 0.8 | 0.8
14.5.1.2 | Transit loss from non-linked mines including e-auction coal mines |  |  | NIL | NIL | NIL | NIL | NIL
14.5.1.3 | Transit loss of imported coal |  |  | NIL | NIL | NIL | NIL | NIL
14.5.2 | Non-Pit Head Station
14.5.2.1 | Transit loss from linked mines |  |  | NIL | NIL | NIL | NIL | NIL
14.5.2.2 | Transit loss from non-linked mines including e-auction coal mines |  |  | NIL | NIL | NIL | NIL | NIL
14.5.2.3 | Transit loss of imported coal |  |  | NIL | NIL | NIL | NIL | NIL
15 | Secondary Fuel Oil
15.1 | Consumption |  | KL | 8499.286 | 5853.975 | 3230.33 | 3558.5 | 1678.798
15.2 | Weighted Average Gross Calorfic Value (As Received) |  | Kcal/lit. | 9310 | 9374 | 9378 | 9335 | 9418
15.3 | Weighted Average Price |  | Rs./KL | 54731.6 | 51554.63 | 50478.2836 | 41654.3827 | 21284.9864
15.4 | Actual Average Stock maintained |  | KL | 3222.51 | 3320.05 | 2783.82 | 1877.74 | 1713.04
14 | Primary Fuel :
14.1 | Consumption :
14.1.1 | Domestic coal | From linked mines | MT | 4083428.14 | 3732384 | 3714797 | 3728426 | 3662654
|  | Non-linked mines | MT | NIL | NIL | NIL | NIL | NIL
14.1.2 | Imported Coal |  | MT | NIL | NIL | NIL | NIL | NIL
14.1.3 | Spot market/ e-auction coal |  | MT | NIL | NIL | NIL | NIL | NIL
14.2 | Gross Calorific Value (GCV) :
14.2.1 | Domestic coal | As Billed (Non-coking coal) | Kcal/kg | 5360.0909 | 5285.8182 | 5192.5455 | 5060.1667 | 5015
|  | As Received | Kcal/kg | 3271.6667 | 3253.4167 | 3516 | 3688 | 3958
|  | As Fired | Kcal/kg | 3459 | 3395 | 3613 | 3786 | 3983
14.2.2 | Imported coal | As Billed | Kcal/kg | NIL | NIL | NIL | NIL | NIL
|  | As Received | Kcal/kg | NIL | NIL | NIL | NIL | NIL
14.2.3 | Spot market/ e-auction coal | As Billed | Kcal/kg | NIL | NIL | NIL | NIL | NIL
|  | As Received | Kcal/kg | NIL | NIL | NIL | NIL | NIL
14.2.4 | Weighted Average Gross Calorific Value (As Billed-Non-coking) |  | Kcal/kg | 5360.0909 | 5285.8182 | 5192.5455 | 5060.1667 | 5015
14.2.5 | Weighted Average Gross Calorific Value (As Received) |  | Kcal/kg | 3271.6667 | 3253.4167 | 3501.4583 | 3683.75 | 3969
14.2.6 | Weighted Average Gross Calorific Value (As Fired) |  | Kcal/kg | 3459 | 3395 | 3613 | 3786 | 3983
14.3 | Price of coal :
14.3.1 | Weighted Average Landed price of Domestic coal |  | RS./MT | 1970.14 | 2322.59 | 2736.46 | 2932.22 | 2900.27
14.3.2 | Weighted Average Landed price of Imported coal |  | RS./MT | NIL | NIL | NIL | NIL | NIL
14.3.3 | Weighted Average Landed price of Spot market/ e-auction coal |  | RS./MT | NIL | NIL | NIL | NIL | NIL
14.3.4 | Weighted Average Landed price of all the coals |  | RS./MT | 1970.14 | 2322.59 | 2736.46 | 2932.22 | 2900.27
14.4 | Blending : |  | % and MT (of the total coal consumed) | NIL | NIL | NIL | NIL | NIL
14.4.1 | Blending ratio of imported coal with domestic coal |  | Equivalent to domestic coal | NIL | NIL | NIL | NIL | NIL
14.4.2 | Proportion of e-auction coal in the blending |  |  | NIL | NIL | NIL | NIL | NIL
14.5 | Actual Average coal stock maintained |  | Days & MT | 9 & 119904.09 | 10 & 128779.51 | 10 & 132764.58 | 21 & 275106.88 | 24 & 313271.49
14.5 | Actual Transit & Handling Losses for coal |  | %
14.5.1 | Pit-Head Station
14.5.1.1 | Transit loss from linked mines |  |  | 0.8 | 0.8 | 0.8 | 0.8 | 0.8
14.5.1.2 | Transit loss from non-linked mines including e-auction coal mines |  |  | NIL | NIL | NIL | NIL | NIL
14.5.1.3 | Transit loss of imported coal |  |  | NIL | NIL | NIL | NIL | NIL
14.5.2 | Non-Pit Head Station
14.5.2.1 | Transit loss from linked mines |  |  | NIL | NIL | NIL | NIL | NIL
14.5.2.2 | Transit loss from non-linked mines including e-auction coal mines |  |  | NIL | NIL | NIL | NIL | NIL
14.5.2.3 | Transit loss of imported coal |  |  | NIL | NIL | NIL | NIL | NIL
15 | Secondary Fuel Oil
15.1 | Consumption |  | KL | 8499.286 | 5853.975 | 3230.33 | 3558.5 | 1678.798
15.2 | Weighted Average Gross Calorfic Value (As Received) |  | Kcal/lit. | 9310 | 9374 | 9378 | 9335 | 9418
15.3 | Weighted Average Price |  | Rs./KL | 54731.6 | 51554.63 | 50478.2836 | 41654.3827 | 21284.9864
15.4 | Actual Average Stock maintained |  | KL | 3222.51 | 3320.05 | 2783.82 | 1877.74 | 1713.04
16 | Weighted average duration of outages (unit-wise details): |  | Chandrapuran Thermal Power Station
|  |  | 2012-13 |  |  | 2013-14
|  |  | U#3 | U#7 | U#8 | U#3 | U#7 | U#8
16.1 | Planned Outages | (Days) | 0 | 0 | 0 | 32 | 30.83 | 0
16.2 | Forced Outages | (Days) | 43 | 33.8192 | 34.1346 | 38 | 27.6108 | 74.0118
16.3 | Number of tripping |  | 29 | 41 | 36 | 15 | 28 | 21
16.4 | Number of start-ups: |  | 28 |  |  | 15
16.4.1 | Cold Start-up | Nos. | 5 | 1 | 1 | 5 | 5 | 5
16.4.2 | Warm Start-up | Nos. | 10 | 7 | 7 | 4 | 4 | 4
16.4.3 | Hot start-up | Nos. | 13 | 33 | 28 | 6 | 19 | 11
|  |  | 2014-15 |  |  | 2015-16
|  |  | U#3 | U#7 | U#8 | U#3 | U#7 | U#8
16.1 | Planned Outages | (Days) | 0 | 0 | 28 | 9 | 15 | 0
16.2 | Forced Outages | (Days) | 65 | 16.8196 | 60.8783 | 16 | 145.6754 | 60.3661
16.3 | Number of tripping |  | 15 | 15 | 20 | 8 | 24 | 11
16.4 | Number of start-ups: |  | 15 |  |  | 8
16.4.1 | Cold Start-up | Nos. | 5 | 1 | 2* | 5 | 7 | 2
16.4.2 | Warm Start-up | Nos. | 3 | 2 | 1 | 2 | 3 | 5
16.4.3 | Hot start-up | Nos. | 7 | 11* | 17 | 1 | 14 | 5
2016-17
|  |  | U#3 | U#7 | U#8
16.1 | Planned Outages | (Days) | 59 | 0 | 0
16.2 | Forced Outages | (Days) | 30 | 51.0146 | 15.9558
16.3 | Number of tripping |  | 12 | 8 | 11
16.4 | Number of start-ups: |  | 12
16.4.1 | Cold Start-up | Nos. | 7 | 2 | 1
16.4.2 | Warm Start-up | Nos. | 5 | 2** | 4
16.4.3 | Hot start-up | Nos. | 0 | 5 | 6
CTPS U#1- Retired w.e.f. 13.01.2017 & CTPS U#2-Retired w.e.f. 30.07.2017

## Annexure-I SH 3-4
Annexure-I SH 3/4
Sl. No. | Particulars | Units |  | 2012-13 | [5 empty] | 2013-14 | [5 empty] | 2014-15 | [5 empty] | 2015-16 | [5 empty] | 2016-17
17 | Nox, Sox and other particulate matter emission in | ppm or mg/Nm3 |  | SPM |  | SOx |  | NOx |  | SPM |  | SOx |  | NOx |  | SPM |  | SOx |  | NOx |  | SPM |  | SOx |  | NOx |  | SPM |  | SOx |  | NOx
|  |  |  | Design value | values | Design value | values | Design value | values | Design value | values | Design value | values | Design value | values | Design value | values | Design value | values | Design value | values | Design value | values | Design value | values | Design value | values | Design value | values | Design value | values | Design value | values
17.1 | Design value of emission control equipment ( New norms w.e.f Dec'2017) | ppm or mg/Nm3 | U#3 | 150 | 81-148 | N.A | N.A | N.A | N.A | 150 | 83-149 | N.A | N.A | N.A | N.A | 150 | 88-162 | N.A | N.A | N.A | N.A | 150 | 89-191 | N.A | 438-689 | N.A | 478-700 | 150 | 92-225 | N.A | 540-695 | N.A | 511-875
|  |  | U#7&8 | 75 | 31-52 | N.A | N.A | N.A | N.A | 75 | 37-51 | N.A | N.A | N.A | N.A | 75 | 40-69 | N.A | N.A | N.A | N.A | 75 | 45-75 | N.A | 529-627 | N.A | 433-866 | 75 | 39-176 | N.A | 532-651 | N.A | 435-870
19 | Detail of Ash utilization % of fly ash produced | Qty Produced
19.1 | Conversion of value added product | % |  | 1.05 | [5 empty] | 2.39 | [5 empty] | 1.69 | [5 empty] | 1.72 | [5 empty] | 2.83
19.2 | For making roads & embarkment | % |  | 0 | [5 empty] | 0 | [5 empty] | 0 | [5 empty] | 0 | [5 empty] | 0
19.3 | Land filling | % |  | 0 | [5 empty] | 0 | [5 empty] | 6.95 | [5 empty] | 0.073 | [5 empty] | 0
19.4 | Used in plant site in one or other form or used in some other site | % |  | 67.13 | [5 empty] | 104.12 | [5 empty] | 77.45 | [5 empty] | 88.58 | [5 empty] | 95.01
19.5 | Any other use, Please specify | Qty & usages |  | 0 | [5 empty] | 0 | [5 empty] | 0 | [5 empty] | 0 | [5 empty] | 0

## Annexure-I SH 4-4-CTPS
Annexure-I SH 4/4
Sl. No. | Period | Unit | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
20 | Cost of spares actually consumed | ( Rs. Lakh)
21 | Average stock of spares | (Rs. Lakhs)
22 | Number of employees deployed in O&M
22.1 | - Executives |  | 315 | 316 | 312 | 311
22.2 | - Non Executives |  | 1276 | 1192 | 1172 | 1077
22.3 | - Corporate office
23 | Man-MW ratio | Man/MW | 1.7876 | 1.6944 | 1.6674 | 1.5596 | 0
Note :- * Not applicable to lignite based thermal power station.
Note:
1. List of beneficiaries/customers along with allocation by GoI including variable (allocation of unallocated share) / capacity as contracted shall also be furnished separately.In case of two or more secondary fuels, information should be furnished for each of the secondary fuel.
2. In case of two or more stages or two or more unit sizes, information should be furnished separately to the extent possible.
3. A brief write-up on the methodology to arrive at the above performance & operation parameters should also be furnished.
4. Any relevant point or a specific fact having bearing on performance or operating parameters may also be highlighted or brought to the notice of the Commission.
5. A note on stock of primary fuel maintained giving details of stacking etc. should be furnished.
6. Details of the instances where the generating stations has invoked the 2014 Tariff Regulations blending with imported or open market coal (within the 30% limit of ECR) with/ without consent of beneficiaries.
7. The declared capacity for peak and off peak period should be given separately as per respective RLDC.

## CTPS-Anx-IV
Annexure-IV
PLANT AVAILABILITY/SCHEDULED PLANT LOAD FACTOR ACHIEVED
Generating company: Damodar Valley Corporation
Name of Generating station: Chandrapura Thermal Power Station
Installed Capacity (MW): 890 (3X130+2X250)
Normative Annual Plant Availability Factor (%) approved by Commission : U#3-75% & U#7&8-83%
Plant Availability Factor Achieved (PAF %)
Month | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | Reason for shortfall in PAF achieved vis-à-vis NAPAF
April | N/A | 84.2313 | 65.2277 | 59.6821 | 94.3035 | FY 2013-14:- BTL & Ash evacuation prob. U#8: Bursting of PRDS line. FY 2014-15:- Coal shortgae, Ash evacuation prob. U#2-LP Turb. blade failure & U#8-Stator bar failure. FY 2015-16:-U#7-Generator Rotor E/F,U#8- Stator inter turn fault. FY 2016-17: - No shortfall.
May | N/A | 84.2013 | 79.6201 | 85.5261 | 88.4267
June | N/A | 58.0458 | 73.0744 | 81.1041 | 83.538
July | N/A | 77.6856 | 64.5153 | 83.027 | 72.7611
August | N/A | 80.9853 | 69.6651 | 86.1746 | 63.1304
September | N/A | 90.5532 | 61.5743 | 79.7128 | 85.4282
October | N/A | 71.6125 | 65.6907 | 71.5036 | 90.6299
November | N/A | 69.4568 | 70.7089 | 61.6173 | 93.1572
December | N/A | 66.2334 | 76.3321 | 63.1616 | 90.4445
January | N/A | 76.2134 | 76.232 | 64.3323 | 91.6
February | N/A | 69.4231 | 48.2092 | 65.6979 | 80.978
March | N/A | 56.3422 | 62.7851 | 90.5755 | 75.2665
Annual | N/A | 73.7642 | 67.9657 | 74.4318 | 83.4133
Plant Load Factor Achieved (PLF / SG %)
Month | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | Reason for shortfall in PLF achieved vis-à-vis Target PLF
April | N/A | 72.1433 | 59.9197 | 55.5203 | 84.9717 | In addition to the reason explained for shortfall of PAF achieved vis-à-vis NAPAF, Low System Demand (LSD) is the another reason for shortfall in PLF achieved vis-à-vis Target PLF
May | N/A | 71.0804 | 69.002 | 69.1744 | 82.065
June | N/A | 50.0336 | 68.2635 | 73.2738 | 77.9838
July | N/A | 62.2472 | 63.7393 | 70.9326 | 66.0042
August | N/A | 65.4005 | 68.3187 | 73.1456 | 48.7385
September | N/A | 68.912 | 61.4325 | 74.2463 | 72.7886
October | N/A | 52.6678 | 64.2388 | 65.815 | 75.8395
November | N/A | 64.6946 | 68.46 | 54.2979 | 73.9472
December | N/A | 63.1993 | 72.6429 | 50.1595 | 73.0765
January | N/A | 68.3386 | 68.3895 | 52.2421 | 77.8
February | N/A | 63.4739 | 44.6511 | 54.315 | 72.8028
March | N/A | 52.9769 | 56.2385 | 77.5607 | 66.9107
Annual | N/A | 62.9151 | 63.9237 | 64.2765 | 72.1039
CTPS U#1- Retired w.e.f. 13.01.2017 & CTPS U#2-Retired w.e.f. 30.07.2017

## Annexure VI(A).
Annexure VI(A)
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
(To be filled for each of the Thermal /Hydro Generating Station)
Name of the Company: Damodar Valley Corporation
| Name of the Power Station: | Chandrapura Thermal Power station
|  | CTPS |  |  | (Rs. In Lakhs)
Sl.No. | ITEM | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | 2 | 3 | 4 | 5 | 6 | 7
(A) | Breakup of O&M expenses :
1 | Consumption of Stores and Spares | 4918.3884 | 4343.6386 | 4589.6688 | 2804.6542 | 3245.6973
2 | Repair and Maintenance | 7839.0028 | 7359.3948 | 7223.7635 | 8180.2364 | 8717.4409
3 | Insurance | 116.0019 | 111.8932 | 111.2921 | 28.4927 | 100.4302
4 | Security (normal) | 1689.1064 | 2182.702 | 2434.9144 | 2396.8738 | 2754.692
4.1 | Additional Security it any on the advise of Govt. Agency/Statutory Authority
5 | Water Charges | 669.6465 | 0 | 0 | 1233.6941 | 622.4417
6 | Administrative Expenses : |  |  | 0
6.1 | - Rent | 0 | 0 | 0 | 0 | 0
6.2 | - Electricity Charges | 0 | 0 | 31.3807 | 0 | 0
6.3 | - Traveling and conveyance | 94.1277 | 139.5981 | 152.4918 | 168.5859 | 200.7135
6.4 | - Communication expenses | 16.7562 | 18.9487 | 20.9655 | 19.6006 | 20.8344
6.5 | - Advertising | 41.6623 | 61.2542 | 47.5893 | 0 | 21.6325
6.6 | - Foundation laying and inauguration | 0 | 0 | 0 | 0 | 0
6.7 | - Donations | 0 | 0 | 0 | 0 | 0
6.8 | - Entertainment | 1.5822 | 1.1686 | 2.7818 | 5.0828 | 5.2386
6.9 | -Filing Fees |  | 0 | 0 | 0 | 0
| Sub-Total (Administrative Expenses) | 154.1283 | 220.9695 | 255.2091 | 193.2693 | 248.4191
7 | Employee Cost
7.1 | -Salaries, wages and allowances | 8938.9431 | 9480.0445 | 10125.0446 | 10103.0131 | 13218.2766
| Contribution to Pension & Gratuity | 2733.4843 | 5609.6571 | 2017.2159 | 5218.1459 | 6300.6522
7.2 | -Staff welfare expenses | 503.8561 | 542.6445 | 490.5766 | 601.9665 | 572.0884
7.3 | -Productivity linked incentive | 2.495 | 0 | 0 | 0 | 0
7.4 | - Expenditure on VRS | 0 | 0 | 0 | 0 | 0
7.5 | -Ex-gratia | 158.7857 | 240.9797 | 226.5983 | 253.635 | 238.12
7.6 | -Performance related pay (PRP) | 0 | 0 | 0 | 0 | 0
| Sub-Total (Employee Cost) | 12337.5643 | 15873.3257 | 12859.4353 | 16176.7606 | 20329.1372
8 | Loss of store | 0 | 0 | 0 | 0 | 0
9 | Provisions | 0 | 0 | 0 | 0 | 2150
10 | Prior Period Adjustment , if any | 0 | 0 | 0 | 0 | 0
11 | Corporate office expenses allocation
i | Share of Subsidiary Activity | 628.6039 | 631.0861 | 677.2783 | 640.4353 | 388.484
ii | Share of Other Corporate office Expenses | 1080.7183 | 1019.0218 | 1420.1903 | 1342.4543 | 1313.5281
| Sub-Total (Corporate Office Expenses) | 1709.3222 | 1650.1079 | 2097.4686 | 1982.8896 | 1702.0122
12 | - Others (Specify items) | 942.4869 | 556.2867 | 411.0513 | 287.0456 | 299.5077
14 | Total (1 to 12) | 30375.6477 | 32298.3185 | 29982.803 | 33283.9163 | 40169.7783
14 | Revenue/ Recoveries, if any | 0 | 0 | 0 | 0 | 0
15 | Net Expenses | 30375.6477 | 32298.3185 | 29982.803 | 33283.9163 | 40169.7783
16 | Capital spares consumed not included in (A) (1)above and not claimed /allowed by Commission for | 0
Notes: |  | 0 | 0 | 0 | 0 | 0
I. The details of Corporate Expenses and the methodology of allocation of corporate expenses to various functional activities and allocation of Corporate expenses pertaining to power generation/transmission system to each operating stations/ transmission region/system and stations/transmission region/system under construction should be clearly specified in ANNEXURE-VIII as provided here separately.
II. An annual increase in O&M expenses under a given head in excess of 10% percent should be explained.
III. The data should be based on audited balance sheets, duly reconciled and certified.
IV. Employee cost should be excluding arrears paid for pay hike/prior period adjustment /payment
IV. Details of arrears, if any, pertaining to period prior to the year 2008-09 should be mentioned separately.
V. No. of employees opting for VRS during each year should be indicated.
VI. Details of abnormal expenses, if any, shall be furnished separately.
VII Break-up of staff welfare expenses should be furnished
VIII Details of Consumptive Water requirement , contracted quantum and actual water consumed with source , rate etc.
should be furnished year-wise for Thermal Power Stations
IX. Details of capital spares consumed each year which were not claimed/allowed in the tariff
should be furnished giving item wise unit price and quantity consumed.
X. Salaries and staff welfare expenses shall be provided into different heads such as pension,
gratuity, provident fund, leave encashment. Also provides provision for revision in wage allowance.
Part of Annex-VI(A) SL No. 7.2
Breakup of Staff welfare Expenses
(To be filled for each of the Thermal /Hydro Generating Station)
Name of the Company: Damodar Valley Corporation
| Name of the Power Station: | Chandrapura Thermal Power station
(Rs. In Lakhs)
Sl.No. | ITEM | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | Canteen Expenses | 21.8372 | 19.9619 | 22.6793 | 25.2728 | 15.5085
2 | Subsidy to Central and Other Schools | 205.8885 | 218.1815 | 214.71 | 280.62 | 329.41
3 | Family Planning Incentive | 0 | 0.15725 | 0.066 | 0.03297 | 0.26
4 | Exgratia on Death | 1.41 | 0.21 | 0.72 | 0.18 | 10.66
5 | Funeral Expenses | 0.18 | 0.12 | 0.12 | 0.24 | 0.09
6 | Employees Sports and Cultural Expenses | 0 | 0 | 0 | 0.7675 | 1.0893
7 | Cash Award to Employees | 0 | 0.18 | 0.176 | 0.222 | 0.4425
8 | Cash Award to Employees Children | 0.284 | 0.142 | 0.227 | 0.328 | 0.282
9 | S.W.E Misc.Expns | 1.6902 | 1.9809 | 1.346 | 0 | 4.6139
10 | Training of Personnel-Staff | 16.5172 | 12.6677 |  | 4.012 | 16.3642
11 | Compensation - Grants in lieu of Compassionate Employment | 35 | 5 | 0 | 30 | 0
12 | Medical Reimbursement- Indore & Outdoor | 221.049 | 284.0464 | 250.5323 | 260.2917 | 193.368
| Total Staff Wel Fare Expenses | 503.8561 | 542.6476 | 490.5766 | 601.967 | 572.0884
Part of Annex-VI(A) SL No.12
Breakup of Others Expenses (Specify Item)
(To be filled for each of the Thermal /Hydro Generating Station)
| Name of the Company: Damodar Valley Corporation | [5 empty] | 995.43 | 906.6
| Name of the Power Station: | Chandrapura Thermal Power station |  |  |  |  | 1143.29
[5 empty] | (Rs. In Lakhs) |  | 1333.56
Sl.No. | ITEM | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | General Office Expenses, Printing & Stationary, Legal, Postage, Etc. | 49.6806 | 56.6748 | 66.1374 | 130.6353 | 62.3521
2 | Environment Protection and Other State Cess | 24.1673 | 20.7559 | 0 | 55.0169 | 9.161 | 3472.28
3 | SIP Expenses | 43.233 | 50.3324 | 24.8497 | 73.3831 | 172.7837
4 | Misc Expenses on Non Core Activities and Others | 8.7796 | 2.7943 | 294.7645 | 0 | 55.211
5 | Amortization of Deferred Revenue Expenses | 778.5578 | 401.5036 | 0 | 0 | 0
6 | Marketing and Selling Expenses | 14.0617 | 24.2293 | 25.2996 | 28.0142 | 0
7 | Professional and Consultancy Charges | 24.0068 | 0 | 0 | 0 | 0
| Total | 942.4869 | 556.2902 | 411.0513 | 287.0494 | 299.5077

## Annexure VI(A) Unitwise
Annexure VI(A)
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
(To be filled for each of the Thermal /Hydro Generating Station)
Name of the Company: Damodar Valley Corporation
| Name of the Power Station: | Chandrapura Thermal Power station
(Rs. In Lakhs)
Sl.No. | ITEM | 2012-13 |  |  | 2013-14 |  |  | 2014-15 |  |  | 2015-16 |  |  | 2016-17
| Units | Total MTPS- Item-wise Revenue Exp. | CTPS 1-3 | CTPS 7&8 | Total MTPS- Item-wise Revenue Exp. | CTPS 1-3 | CTPS 7&8 | Total MTPS- Item-wise Revenue Exp. | CTPS 1-3 | CTPS 7&8 | Total MTPS- Item-wise Revenue Exp. | CTPS 1-3 | CTPS 7&8 | Total MTPS- Item-wise Revenue Exp. | CTPS 1-3 | CTPS 7&8
1 | Capacity | 890 | 390 | 500 | 890 | 390 | 500 | 890 | 390 | 500 | 890 | 390 | 500 | 890 | 390 | 500
(A) | Breakup of O&M expenses :
1 | Consumption of Stores and Spares | 4918.3884 | 2155.2489 | 2763.1396 | 4343.6386 | 1903.3922 | 2440.2464 | 4589.6688 | 2011.2032 | 2578.4656 | 2804.6542 | 1229.0058 | 1575.6484 | 3245.6973 | 1422.2719 | 1823.4255
2 | Repair and Maintenance | 7839.0028 | 3435.0686 | 4403.9341 | 7359.3948 | 3224.9034 | 4134.4915 | 7223.7635 | 3165.4694 | 4058.2941 | 8180.2364 | 3584.598 | 4595.6384 | 8717.4409 | 3820.0022 | 4897.4387
3 | Insurance | 116.0019 | 50.8323 | 65.1696 | 111.8932 | 49.0319 | 62.8614 | 111.2921 | 48.7685 | 62.5237 | 28.4927 | 12.4855 | 16.0071 | 100.4302 | 44.0087 | 56.4214
4 | Security (normal) | 1689.1064 | 740.1702 | 948.9362 | 2182.702 | 956.4649 | 1226.2371 | 2434.9144 | 1066.9849 | 1367.9294 | 2396.8738 | 1050.3155 | 1346.5583 | 2754.692 | 1207.1122 | 1547.5798
4.1 | Additional Security it any on the advise of Govt. Agency/Statutory Authority |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
5 | Water Charges | 669.6465 | 293.4406 | 376.2059 | 0 | 0 | 0 | 0 | 0 | 0 | 1233.6941 | 540.6075 | 693.0866 | 622.4417 | 272.7553 | 349.6863
6 | Administrative Expenses : |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0
6.1 | - Rent | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6.2 | - Electricity Charges | 0 | 0 | 0 | 0 | 0 | 0 | 31.3807 | 13.7511 | 17.6296 | 0 | 0 | 0 | 0 | 0 | 0
6.3 | - Traveling and conveyance | 94.1277 | 41.247 | 52.8807 | 139.5981 | 61.1722 | 78.4259 | 152.4918 | 66.8223 | 85.6696 | 168.5859 | 73.8747 | 94.7112 | 200.7135 | 87.9531 | 112.7604
6.4 | - Communication expenses | 16.7562 | 7.3426 | 9.4136 | 18.9487 | 8.3033 | 10.6453 | 20.9655 | 9.1871 | 11.7784 | 19.6006 | 8.589 | 11.0116 | 20.8344 | 9.1297 | 11.7047
6.5 | - Advertising | 41.6623 | 18.2565 | 23.4058 | 61.2542 | 26.8417 | 34.4124 | 47.5893 | 20.8537 | 26.7356 | 0 | 0 | 0 | 21.6325 | 9.4794 | 12.1531
6.6 | - Foundation laying and inauguration | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6.7 | - Donations | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6.8 | - Entertainment | 1.5822 | 0.69331 | 0.88887 | 1.1686 | 0.51207 | 0.6565 | 2.7818 | 1.219 | 1.5628 | 5.0828 | 2.2273 | 2.8555 | 5.2386 | 2.2956 | 2.943
6.9 | -Filing Fees |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Sub-Total (Administrative Expenses) | 154.1283 | 67.5394 | 86.5889 | 220.9695 | 96.8293 | 124.1401 | 255.2091 | 111.8332 | 143.3759 | 193.2693 | 84.6911 | 108.5783 | 248.4191 | 108.8578 | 139.5613
7 | Employee Cost |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
7.1 | -Salaries, wages and allowances | 8938.9431 | 3917.065 | 5021.8782 | 9480.0445 | 4154.1768 | 5325.8677 | 10125.0446 | 4436.8173 | 5688.2273 | 10103.0131 | 4427.1631 | 5675.8501 | 13218.2766 | 5792.2785 | 7425.9981
| Contribution to Pension & Gratuity | 2733.4843 | 1197.819 | 1535.6654 | 5609.6571 | 2458.1643 | 3151.4927 | 2017.2159 | 883.9485 | 1133.2673 | 5218.1459 | 2286.6033 | 2931.5426 | 6300.6522 | 2760.9599 | 3539.6922
7.2 | -Staff welfare expenses | 503.8561 | 220.7909 | 283.0652 | 542.6445 | 237.788 | 304.8564 | 490.5766 | 214.9718 | 275.6048 | 601.9665 | 263.7831 | 338.1834 | 572.0884 | 250.6904 | 321.398
7.3 | -Productivity linked incentive | 2.495 | 1.0933 | 1.4017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7.4 | - Expenditure on VRS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7.5 | -Ex-gratia | 158.7857 | 69.5803 | 89.2054 | 240.9797 | 105.5979 | 135.3819 | 226.5983 | 99.2959 | 127.3024 | 253.635 | 111.1434 | 142.4916 | 238.12 | 104.3447 | 133.7753
7.6 | -Performance related pay (PRP) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Sub-Total (Employee Cost) | 12337.5643 | 5406.3484 | 6931.2159 | 15873.3257 | 6955.727 | 8917.5987 | 12859.4353 | 5635.0334 | 7224.4018 | 16176.7606 | 7088.6928 | 9088.0677 | 20329.1372 | 8908.2736 | 11420.8636
8 | Loss of store | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | Provisions | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2150 | 942.1348 | 1207.8652
10 | Prior Period Adjustment , if any | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | Corporate office expenses allocation |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
i | Share of Subsidiary Activity | 628.6039 | 275.4556 | 353.1482 | 631.0861 | 276.5434 | 354.5428 | 677.2783 | 296.7849 | 380.4934 | 640.4353 | 280.6402 | 359.7951 | 388.484 | 170.2346 | 218.2495
ii | Share of Other Corporate office Expenses | 1080.7183 | 473.5732 | 607.1451 | 1019.0218 | 446.5376 | 572.4842 | 1420.1903 | 622.3306 | 797.8597 | 1342.4543 | 588.2665 | 754.1878 | 1313.5281 | 575.591 | 737.9372
| Sub-Total (Corporate Office Expenses) | 1709.3222 | 749.0288 | 960.2934 | 1650.1079 | 723.081 | 927.0269 | 2097.4686 | 919.1154 | 1178.3531 | 1982.8896 | 868.9067 | 1113.9829 | 1702.0122 | 745.8255 | 956.1866
12 | - Others (Specify items) | 942.4869 | 412.9999 | 529.487 | 556.2867 | 243.7661 | 312.5206 | 411.0513 | 180.1236 | 230.9277 | 287.0456 | 125.784 | 161.2616 | 299.5077 | 131.245 | 168.2628
14 | Total (1 to 12) | 30375.6477 | 13310.6771 | 17064.9706 | 32298.3185 | 14153.1957 | 18145.1228 | 29982.803 | 13138.5316 | 16844.2713 | 33283.9163 | 14585.0869 | 18698.8294 | 40169.7783 | 17602.4871 | 22567.2912
14 | Revenue/ Recoveries, if any | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | Net Expenses | 30375.6477 | 13310.6771 | 17064.9706 | 32298.3185 | 14153.1957 | 18145.1228 | 29982.803 | 13138.5316 | 16844.2713 | 33283.9163 | 14585.0869 | 18698.8294 | 40169.7783 | 17602.4871 | 22567.2912
16 | Capital spares consumed not included in (A) (1)above and not claimed /allowed by Commission for | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
Notes: |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
I. The details of Corporate Expenses and the methodology of allocation of corporate expenses to various functional activities and allocation of Corporate expenses pertaining to power generation/transmission system to each operating stations/ transmission region/system and stations/transmission region/system under construction should be clearly specified in ANNEXURE-VIII as provided here separately.
II. An annual increase in O&M expenses under a given head in excess of 10% percent should be explained.
III. The data should be based on audited balance sheets, duly reconciled and certified.
IV. Employee cost should be excluding arrears paid for pay hike/prior period adjustment /payment
IV. Details of arrears, if any, pertaining to period prior to the year 2008-09 should be mentioned separately.
V. No. of employees opting for VRS during each year should be indicated.
VI. Details of abnormal expenses, if any, shall be furnished separately.
VII Break-up of staff welfare expenses should be furnished
VIII Details of Consumptive Water requirement , contracted quantum and actual water consumed with source , rate etc.
should be furnished year-wise for Thermal Power Stations
IX. Details of capital spares consumed each year which were not claimed/allowed in the tariff
should be furnished giving item wise unit price and quantity consumed.
X. Salaries and staff welfare expenses shall be provided into different heads such as pension,
gratuity, provident fund, leave encashment. Also provides provision for revision in wage allowance.
Note : VII
Breakup of Staff welfare Expenses
(To be filled for each of the Thermal /Hydro Generating Station)
Name of the Company: Damodar Valley Corporation
| Name of the Power Station: | Chandrapura Thermal Power station
|  | 0 | [8 empty] | (Rs. In Lakhs)
Sl.No. | ITEM | 2012-13 |  |  | 2013-14 |  |  | 2014-15 |  |  | 2015-16 |  |  | 2016-17
| Units | Total MTPS- Item-wise Revenue Exp. | CTPS 1-3 | CTPS 7&8 | Total MTPS- Item-wise Revenue Exp. | CTPS 1-3 | CTPS 7&8 | Total MTPS- Item-wise Revenue Exp. | CTPS 1-3 | CTPS 7&8 | Total MTPS- Item-wise Revenue Exp. | CTPS 1-3 | CTPS 7&8 | Total MTPS- Item-wise Revenue Exp. | CTPS 1-3 | CTPS 7&8
| Capacity | 2340 | 390 | 500 |  | 390 | 500 |  | 390 | 500 |  | 390 | 500 |  | 390 | 500
1 | Canteen Expenses | 21.8372 | 9.5691 | 12.2681 | 19.9619 | 8.7473 | 11.2145 | 22.6793 | 9.9381 | 12.7412 | 25.2728 | 11.0746 | 14.1982 | 15.5085 | 6.7959 | 8.7127
2 | Subsidy to Central and Other Schools | 205.8885 | 90.2208 | 115.6677 | 218.1815 | 95.6076 | 122.5739 | 214.71 | 94.0864 | 120.6236 | 280.62 | 122.9683 | 157.6517 | 329.41 | 144.3482 | 185.0618
3 | Family Planning Incentive | 0 | 0 | 0 | 0.15725 | 0.068907 | 0.088343 | 0.066 | 0.028921 | 0.037079 | 0.03297 | 0.014448 | 0.018522 | 0.26 | 0.11393 | 0.14607
4 | Exgratia on Death | 1.41 | 0.61787 | 0.79213 | 0.21 | 0.092022 | 0.11798 | 0.72 | 0.31551 | 0.40449 | 0.18 | 0.078876 | 0.10112 | 10.66 | 4.6712 | 5.9888
5 | Funeral Expenses | 0.18 | 0.078876 | 0.10112 | 0.12 | 0.052584 | 0.067416 | 0.12 | 0.052584 | 0.067416 | 0.24 | 0.10517 | 0.13483 | 0.09 | 0.039438 | 0.050562
6 | Employees Sports and Cultural Expenses | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7675 | 0.33632 | 0.43118 | 1.0893 | 0.47732 | 0.61196
7 | Cash Award to Employees | 0 | 0 | 0 | 0.18 | 0.078876 | 0.10112 | 0.176 | 0.077124 | 0.098876 | 0.222 | 0.097281 | 0.12472 | 0.4425 | 0.1939 | 0.2486
8 | Cash Award to Employees Children | 0.284 | 0.12445 | 0.15955 | 0.142 | 0.062225 | 0.079775 | 0.227 | 0.099472 | 0.12753 | 0.328 | 0.14373 | 0.18427 | 0.282 | 0.12357 | 0.15843
9 | S.W.E Misc.Expns | 1.6902 | 0.74063 | 0.94953 | 1.9809 | 0.86802 | 1.1128 | 1.346 | 0.58982 | 0.75618 | 0 | 0 | 0 | 4.6139 | 2.0218 | 2.5921
10 | Training of Personnel-Staff | 16.5172 | 7.2379 | 9.2793 | 12.6677 | 5.551 | 7.1167 |  | 0 | 0 | 4.012 | 1.7581 | 2.254 | 16.3642 | 7.1709 | 9.1934
11 | Compensation - Grants in lieu of Compassionate Employment | 35 | 15.3371 | 19.6629 | 5 | 2.191 | 2.809 | 0 | 0 | 0 | 30 | 13.1461 | 16.8539 | 0 | 0 | 0
12 | Medical Reimbursement- Indore & Outdoor | 221.049 | 96.8642 | 124.1848 | 284.0464 | 124.4698 | 159.5766 | 250.5323 | 109.7838 | 140.7485 | 260.2917 | 114.0604 | 146.2313 | 193.368 | 84.7343 | 108.6337
| Total Staff Wel Fare Expenses | 503.8561 | 220.7909 | 283.0652 | 542.6476 | 237.7894 | 304.8582 | 490.5766 | 214.9718 | 275.6048 | 601.967 | 263.7833 | 338.1837 | 572.0884 | 250.6904 | 321.398
Part of Annex-VI(A) SL No.12
Breakup of Others Expenses (Specify Item)
(To be filled for each of the Thermal /Hydro Generating Station)
| Name of the Company: Damodar Valley Corporation | [15 empty] | 995.43 | 906.6
| Name of the Power Station: | Chandrapura Thermal Power station | [14 empty] | 1143.29
[11 empty] | (Rs. In Lakhs) | [5 empty] | 1333.56
Sl.No. | ITEM | 2012-13 |  |  | 2013-14 |  |  | 2014-15 |  |  | 2015-16 |  |  | 2016-17
| Units | Total MTPS- Item-wise Revenue Exp. | CTPS 1-3 | CTPS 7&8 | Total MTPS- Item-wise Revenue Exp. | CTPS 1-3 | CTPS 7&8 | Total MTPS- Item-wise Revenue Exp. | CTPS 1-3 | CTPS 7&8 | Total MTPS- Item-wise Revenue Exp. | CTPS 1-3 | CTPS 7&8 | Total MTPS- Item-wise Revenue Exp. | CTPS 1-3 | CTPS 7&8
| Capacity | 2340 | 390 | 500 |  | 390 | 500 |  | 390 | 500 |  | 390 | 500 |  | 390 | 500
1 | General Office Expenses, Printing & Stationary, Legal, Postage, Etc. | 49.6806 | 21.7701 | 27.9104 | 56.6748 | 24.835 | 31.8398 | 66.1374 | 28.9815 | 37.1558 | 130.6353 | 57.2447 | 73.3906 | 62.3521 | 27.3228 | 35.0293
2 | Environment Protection and Other State Cess | 24.1673 | 10.5902 | 13.5771 | 20.7559 | 9.0953 | 11.6606 | 0 | 0 | 0 | 55.0169 | 24.1085 | 30.9084 | 9.161 | 4.0144 | 5.1466 | 3472.28
3 | SIP Expenses | 43.233 | 18.9448 | 24.2882 | 50.3324 | 22.0558 | 28.2766 | 24.8497 | 10.8892 | 13.9605 | 73.3831 | 32.1566 | 41.2265 | 172.7837 | 75.7142 | 97.0695
4 | Misc Expenses on Non Core Activities and Others | 8.7796 | 3.8473 | 4.9324 | 2.7943 | 1.2245 | 1.5698 | 294.7645 | 129.1665 | 165.5981 | 0 | 0 | 0 | 55.211 | 24.1936 | 31.0174
5 | Amortization of Deferred Revenue Expenses | 778.5578 | 341.1658 | 437.392 | 401.5036 | 175.9398 | 225.5638 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | Marketing and Selling Expenses | 14.0617 | 6.1619 | 7.8998 | 24.2293 | 10.6173 | 13.6119 | 25.2996 | 11.0864 | 14.2133 | 28.0142 | 12.2759 | 15.7383 | 0 | 0 | 0
7 | Professional and Consultancy Charges | 24.0068 | 10.5198 | 13.487 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total | 942.4869 | 412.9999 | 529.487 | 556.2902 | 243.7676 | 312.5226 | 411.0513 | 180.1236 | 230.9277 | 287.0494 | 125.7857 | 161.2637 | 299.5077 | 131.245 | 168.2628

## Annexure VI(A)
Annexure VI(A)
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
(To be filled for each of the Thermal /Hydro Generating Station)
Name of the Company:
Name of the Power Station:
(Rs. In Lakhs)
Sl.No. | ITEM |  |  | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | 2 |  |  | 3 | 4 | 5 | 6 | 7
(A) | Breakup of O&M expenses :
1 | Consumption of Stores and Spares
2 | Repair and Maintenance
3 | Insurance
4 | Security (normal)
4.1 | Additional Security it any on the advise of Govt. Agency/
Statutory Authorityf
5 | Water Charges
6 | Administrative Expenses :
6.1 | - Rent
6.2 | - Electricity Charges
6.3 | - Traveling and conveyance
6.4 | - Communication expenses
6.5 | - Advertising
6.6 | - Foundation laying and inauguration
6.7 | - Donations
6.8 | - Entertainment
6.9 | -Filing Fees
Sub-Total (Administrative Expenses)
7 | Employee Cost
7.1 | -Salaries, wages and allowances
7.2 | -Staff welfare expenses
7.3 | -Productivity linked incentive
7.4 | - Expenditure on VRS
7.5 | -Ex-gratia
7.6 | -Performance related pay (PRP)
Sub-Total (Employee Cost)
8 | Loss of store
9 | Provisions
10 | Prior Period Adjustment , if any
11 | Corporate office expenses allocation
12 | - Others (Specify items)
14 | Total (1 to 12)
14 | Revenue/ Recoveries, if any
15 | Net Expenses
16 | Capital spares consumed not included in (A) (1)
above and not claimed /allowed by Commission for
Notes:
I. The details of Corporate Expenses and the methodology of allocation of corporate expenses to various functional activities and allocation of Corporate expenses pertaining to power generation/transmission system to each operating stations/ transmission region/system and stations/transmission region/system under construction should be clearly specified in ANNEXURE-VIII as provided here separately.
II. An annual increase in O&M expenses under a given head in excess of 10% percent should be explained.
III. The data should be based on audited balance sheets,duly reconciled and certified.
IV. Employee cost should be excluding arrears paid for pay hike/prior period adjustment /payment
IV. Details of arrears, if any, pertaining to period prior to the year 2008-09 should be mentioned
separately.
V. No. of employees opting for VRS during each year should be indicated.
VI. Details of abnormal expenses, if any, shall be furnished separately.
VII Break-up of staff welfare expenses should be furnished
VIII Details of Consumptive Water requirement , contracted quantum and actual water consumed
with source , rate etc. should be furnished year-wise for Thermal Power Stations
IX. Details of capital spares consumedeach year which were not claimed/allowed in the tariff
should be furnished giving item wise unit price and quantity consumed.
X. Salaries and staff welfare expenses shall be provided into different heads such as pension,
gratuity, provident fund, leave encashment. Also provides provision for revision in wage allowance.

## Annexure VI(A) Unitwise 1-3
Annexure VI(A)
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
(To be filled for each of the Thermal /Hydro Generating Station)
Name of the Company: Damodar Valley Corporation
| Name of the Power Station: | Chandrapura Thermal Power station
| Unit | CTPS 1-3
| Capacity | 130MW x 3
Sl.No. | ITEM | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
(A) | Breakup of O&M expenses :
1 | Consumption of Stores and Spares | 2155.2489 | 1903.3922 | 2011.2032 | 1229.0058 | 1422.2719
2 | Repair and Maintenance | 3435.0686 | 3224.9034 | 3165.4694 | 3584.598 | 3820.0022
3 | Insurance | 50.8323 | 49.0319 | 48.7685 | 12.4855 | 44.0087
4 | Security (normal) | 740.1702 | 956.4649 | 1066.9849 | 1050.3155 | 1207.1122
4.1 | Additional Security it any on the advise of Govt. Agency/Statutory Authority | 0 | 0 | 0 | 0 | 0
5 | Water Charges | 293.4406 | 0 | 0 | 540.6075 | 272.7553
6 | Administrative Expenses : | 0 | 0 | 0 | 0 | 0
6.1 | - Rent | 0 | 0 | 0 | 0 | 0
6.2 | - Electricity Charges | 0 | 0 | 13.7511 | 0 | 0
6.3 | - Traveling and conveyance | 41.247 | 61.1722 | 66.8223 | 73.8747 | 87.9531
6.4 | - Communication expenses | 7.3426 | 8.3033 | 9.1871 | 8.589 | 9.1297
6.5 | - Advertising | 18.2565 | 26.8417 | 20.8537 | 0 | 9.4794
6.6 | - Foundation laying and inauguration | 0 | 0 | 0 | 0 | 0
6.7 | - Donations | 0 | 0 | 0 | 0 | 0
6.8 | - Entertainment | 0.69331 | 0.51207 | 1.219 | 2.2273 | 2.2956
6.9 | -Filing Fees | 0 | 0 | 0 | 0 | 0
| Sub-Total (Administrative Expenses) | 67.5394 | 96.8293 | 111.8332 | 84.6911 | 108.8578
7 | Employee Cost | 0 | 0 | 0 | 0 | 0
7.1 | -Salaries, wages and allowances | 3917.065 | 4154.1768 | 4436.8173 | 4427.1631 | 5792.2785
| Contribution to Pension & Gratuity | 1197.819 | 2458.1643 | 883.9485 | 2286.6033 | 2760.9599
7.2 | -Staff welfare expenses | 220.7909 | 237.788 | 214.9718 | 263.7831 | 250.6904
7.3 | -Productivity linked incentive | 1.0933 | 0 | 0 | 0 | 0
7.4 | - Expenditure on VRS | 0 | 0 | 0 | 0 | 0
7.5 | -Ex-gratia | 69.5803 | 105.5979 | 99.2959 | 111.1434 | 104.3447
7.6 | -Performance related pay (PRP) | 0 | 0 | 0 | 0 | 0
| Sub-Total (Employee Cost) | 5406.3484 | 6955.727 | 5635.0334 | 7088.6928 | 8908.2736
8 | Loss of store | 0 | 0 | 0 | 0 | 0
9 | Provisions | 0 | 0 | 0 | 0 | 942.1348
10 | Prior Period Adjustment , if any | 0 | 0 | 0 | 0 | 0
11 | Corporate office expenses allocation | 0 | 0 | 0 | 0 | 0
i | Share of Subsidiary Activity | 275.4556 | 276.5434 | 296.7849 | 280.6402 | 170.2346
ii | Share of Other Corporate office Expenses | 473.5732 | 446.5376 | 622.3306 | 588.2665 | 575.591
| Sub-Total (Corporate Office Expenses) | 749.0288 | 723.081 | 919.1154 | 868.9067 | 745.8255
12 | - Others (Specify items) | 412.9999 | 243.7661 | 180.1236 | 125.784 | 131.245
14 | Total (1 to 12) | 13310.6771 | 14153.1957 | 13138.5316 | 14585.0869 | 17602.4871
14 | Revenue/ Recoveries, if any | 0 | 0 | 0 | 0 | 0
15 | Net Expenses | 13310.6771 | 14153.1957 | 13138.5316 | 14585.0869 | 17602.4871
16 | Capital spares consumed not included in (A) (1)above and not claimed /allowed by Commission for | 0 | 0 | 0 | 0 | 0
Notes:
I. The details of Corporate Expenses and the methodology of allocation of corporate expenses to various functional activities and allocation of Corporate expenses pertaining to power generation/transmission system to each operating stations/ transmission region/system and stations/transmission region/system under construction should be clearly specified in ANNEXURE-VIII as provided here separately.
II. An annual increase in O&M expenses under a given head in excess of 10% percent should be explained.
III. The data should be based on audited balance sheets, duly reconciled and certified.
IV. Employee cost should be excluding arrears paid for pay hike/prior period adjustment /payment
IV. Details of arrears, if any, pertaining to period prior to the year 2008-09 should be mentioned separately.
V. No. of employees opting for VRS during each year should be indicated.
VI. Details of abnormal expenses, if any, shall be furnished separately.
VII Break-up of staff welfare expenses should be furnished
VIII Details of Consumptive Water requirement , contracted quantum and actual water consumed with source , rate etc.
should be furnished year-wise for Thermal Power Stations
IX. Details of capital spares consumed each year which were not claimed/allowed in the tariff
should be furnished giving item wise unit price and quantity consumed.
X. Salaries and staff welfare expenses shall be provided into different heads such as pension,
gratuity, provident fund, leave encashment. Also provides provision for revision in wage allowance.
Breakup of Staff welfare Expenses
(To be filled for each of the Thermal /Hydro Generating Station)
Name of the Company: Damodar Valley Corporation
Name of the Power Station:
Sl.No. | ITEM
| Units | CTPS 1-3 | CTPS 1-3 | CTPS 1-3 | CTPS 1-3 | CTPS 1-3
| Capacity | 390 | 390 | 390 | 390 | 390
1 | Canteen Expenses | 9.5691 | 8.7473 | 9.9381 | 11.0746 | 6.7959
2 | Subsidy to Central and Other Schools | 90.2208 | 95.6076 | 94.0864 | 122.9683 | 144.3482
3 | Family Planning Incentive | 0 | 0.068907 | 0.028921 | 0.014448 | 0.11393
4 | Exgratia on Death | 0.61787 | 0.092022 | 0.31551 | 0.078876 | 4.6712
5 | Funeral Expenses | 0.078876 | 0.052584 | 0.052584 | 0.10517 | 0.039438
6 | Employees Sports and Cultural Expenses | 0 | 0 | 0 | 0.33632 | 0.47732
7 | Cash Award to Employees | 0 | 0.078876 | 0.077124 | 0.097281 | 0.1939
8 | Cash Award to Employees Children | 0.12445 | 0.062225 | 0.099472 | 0.14373 | 0.12357
9 | S.W.E Misc.Expns | 0.74063 | 0.86802 | 0.58982 | 0 | 2.0218
10 | Training of Personnel-Staff | 7.2379 | 5.551 | 0 | 1.7581 | 7.1709
11 | Compensation - Grants in lieu of Compassionate Employment | 15.3371 | 2.191 | 0 | 13.1461 | 0
12 | Medical Reimbursement- Indore & Outdoor | 96.8642 | 124.4698 | 109.7838 | 114.0604 | 84.7343
| Total Staff Wel Fare Expenses | 220.7909 | 237.7894 | 214.9718 | 263.7833 | 250.6904
Breakup of Others Expenses (Specify Item)
(To be filled for each of the Thermal /Hydro Generating Station)
| Name of the Company: Damodar Valley Corporation | [5 empty] | 995.43 | 906.6
| Name of the Power Station: | [5 empty] | 1143.29
1333.56
Sl.No. | ITEM
| Units | CTPS 1-3 | CTPS 1-3 | CTPS 1-3 | CTPS 1-3 | CTPS 1-3
| Capacity | 390 | 390 | 390 | 390 | 390
1 | General Office Expenses, Printing & Stationary, Legal, Postage, Etc. | 21.7701 | 24.835 | 28.9815 | 57.2447 | 27.3228
2 | Environment Protection and Other State Cess | 10.5902 | 9.0953 | 0 | 24.1085 | 4.0144 | 3472.28
3 | SIP Expenses | 18.9448 | 22.0558 | 10.8892 | 32.1566 | 75.7142
4 | Misc Expenses on Non Core Activities and Others | 3.8473 | 1.2245 | 129.1665 | 0 | 24.1936
5 | Amortization of Deferred Revenue Expenses | 341.1658 | 175.9398 | 0 | 0 | 0
6 | Marketing and Selling Expenses | 6.1619 | 10.6173 | 11.0864 | 12.2759 | 0
7 | Professional and Consultancy Charges | 10.5198 | 0 | 0 | 0 | 0
| Total | 412.9999 | 243.7676 | 180.1236 | 125.7857 | 131.245
Note: Prepared based on actual expenditure provided in Annexure VI(A) in the ratio of Installed Capacity of the Plant. This expenditure excludes share of Corporate O&M expenditure.

## Annexure VI(A) Unitwise 7-8
Annexure VI(A)
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
(To be filled for each of the Thermal /Hydro Generating Station)
Name of the Company: Damodar Valley Corporation
| Name of the Power Station: | Chandrapura Thermal Power station
| Unit | CTPS 7-8
| Capacity | 250MW x 2
Sl.No | ITEM | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
(A) | Breakup of O&M expenses :
1 | Consumption of Stores and Spares | 2763.1396 | 2440.2464 | 2578.4656 | 1575.6484 | 1823.4255
2 | Repair and Maintenance | 4403.9341 | 4134.4915 | 4058.2941 | 4595.6384 | 4897.4387
3 | Insurance | 65.1696 | 62.8614 | 62.5237 | 16.0071 | 56.4214
4 | Security (normal) | 948.9362 | 1226.2371 | 1367.9294 | 1346.5583 | 1547.5798
4.1 | Additional Security it any on the advise of Govt. Agency/Statutory Authority | 0 | 0 | 0 | 0 | 0
5 | Water Charges | 376.2059 | 0 | 0 | 693.0866 | 349.6863
6 | Administrative Expenses : | 0 | 0 | 0 | 0 | 0
6.1 | - Rent | 0 | 0 | 0 | 0 | 0
6.2 | - Electricity Charges | 0 | 0 | 17.6296 | 0 | 0
6.3 | - Traveling and conveyance | 52.8807 | 78.4259 | 85.6696 | 94.7112 | 112.7604
6.4 | - Communication expenses | 9.4136 | 10.6453 | 11.7784 | 11.0116 | 11.7047
6.5 | - Advertising | 23.4058 | 34.4124 | 26.7356 | 0 | 12.1531
6.6 | - Foundation laying and inauguration | 0 | 0 | 0 | 0 | 0
6.7 | - Donations | 0 | 0 | 0 | 0 | 0
6.8 | - Entertainment | 0.88887 | 0.6565 | 1.5628 | 2.8555 | 2.943
6.9 | -Filing Fees | 0 | 0 | 0 | 0 | 0
| Sub-Total (Administrative Expenses) | 86.5889 | 124.1401 | 143.3759 | 108.5783 | 139.5613
7 | Employee Cost | 0 | 0 | 0 | 0 | 0
7.1 | -Salaries, wages and allowances | 5021.8782 | 5325.8677 | 5688.2273 | 5675.8501 | 7425.9981
| Contribution to Pension & Gratuity | 1535.6654 | 3151.4927 | 1133.2673 | 2931.5426 | 3539.6922
7.2 | -Staff welfare expenses | 283.0652 | 304.8564 | 275.6048 | 338.1834 | 321.398
7.3 | -Productivity linked incentive | 1.4017 | 0 | 0 | 0 | 0
7.4 | - Expenditure on VRS | 0 | 0 | 0 | 0 | 0
7.5 | -Ex-gratia | 89.2054 | 135.3819 | 127.3024 | 142.4916 | 133.7753
7.6 | -Performance related pay (PRP) | 0 | 0 | 0 | 0 | 0
| Sub-Total (Employee Cost) | 6931.2159 | 8917.5987 | 7224.4018 | 9088.0677 | 11420.8636
8 | Loss of store | 0 | 0 | 0 | 0 | 0
9 | Provisions | 0 | 0 | 0 | 0 | 1207.8652
10 | Prior Period Adjustment , if any | 0 | 0 | 0 | 0 | 0
11 | Corporate office expenses allocation | 0 | 0 | 0 | 0 | 0
i | Share of Subsidiary Activity | 353.1482 | 354.5428 | 380.4934 | 359.7951 | 218.2495
ii | Share of Other Corporate office Expenses | 607.1451 | 572.4842 | 797.8597 | 754.1878 | 737.9372
| Sub-Total (Corporate Office Expenses) | 960.2934 | 927.0269 | 1178.3531 | 1113.9829 | 956.1866
12 | - Others (Specify items) | 529.487 | 312.5206 | 230.9277 | 161.2616 | 168.2628
14 | Total (1 to 12) | 17064.9706 | 18145.1228 | 16844.2713 | 18698.8294 | 22567.2912
14 | Revenue/ Recoveries, if any | 0 | 0 | 0 | 0 | 0
15 | Net Expenses | 17064.9706 | 18145.1228 | 16844.2713 | 18698.8294 | 22567.2912
16 | Capital spares consumed not included in (A) (1)above and not claimed /allowed by Commission for | 0 | 0 | 0 | 0 | 0
Notes:
I. The details of Corporate Expenses and the methodology of allocation of corporate expenses to various functional activities and allocation of Corporate expenses pertaining to power generation/transmission system to each operating stations/ transmission region/system and stations/transmission region/system under construction should be clearly specified in ANNEXURE-VIII as provided here separately.
II. An annual increase in O&M expenses under a given head in excess of 10% percent should be explained.
III. The data should be based on audited balance sheets, duly reconciled and certified.
IV. Employee cost should be excluding arrears paid for pay hike/prior period adjustment /payment
IV. Details of arrears, if any, pertaining to period prior to the year 2008-09 should be mentioned separately.
V. No. of employees opting for VRS during each year should be indicated.
VI. Details of abnormal expenses, if any, shall be furnished separately.
VII Break-up of staff welfare expenses should be furnished
VIII Details of Consumptive Water requirement , contracted quantum and actual water consumed with source , rate etc.
should be furnished year-wise for Thermal Power Stations
IX. Details of capital spares consumed each year which were not claimed/allowed in the tariff
should be furnished giving item wise unit price and quantity consumed.
X. Salaries and staff welfare expenses shall be provided into different heads such as pension,
gratuity, provident fund, leave encashment. Also provides provision for revision in wage allowance.
Breakup of Staff welfare Expenses
(To be filled for each of the Thermal /Hydro Generating Station)
Name of the Company: Damodar Valley Corporation
Name of the Power Station:
Sl.No. | ITEM
| Units | CTPS 7&8 | CTPS 7&8 | CTPS 7&8 | CTPS 7&8 | CTPS 7&8
| Capacity | 500 | 500 | 500 | 500 | 500
1 | Canteen Expenses | 12.2681 | 11.2145 | 12.7412 | 14.1982 | 8.7127
2 | Subsidy to Central and Other Schools | 115.6677 | 122.5739 | 120.6236 | 157.6517 | 185.0618
3 | Family Planning Incentive | 0 | 0.088343 | 0.037079 | 0.018522 | 0.14607
4 | Exgratia on Death | 0.79213 | 0.11798 | 0.40449 | 0.10112 | 5.9888
5 | Funeral Expenses | 0.10112 | 0.067416 | 0.067416 | 0.13483 | 0.050562
6 | Employees Sports and Cultural Expenses | 0 | 0 | 0 | 0.43118 | 0.61196
7 | Cash Award to Employees | 0 | 0.10112 | 0.098876 | 0.12472 | 0.2486
8 | Cash Award to Employees Children | 0.15955 | 0.079775 | 0.12753 | 0.18427 | 0.15843
9 | S.W.E Misc.Expns | 0.94953 | 1.1128 | 0.75618 | 0 | 2.5921
10 | Training of Personnel-Staff | 9.2793 | 7.1167 | 0 | 2.254 | 9.1934
11 | Compensation - Grants in lieu of Compassionate Employment | 19.6629 | 2.809 | 0 | 16.8539 | 0
12 | Medical Reimbursement- Indore & Outdoor | 124.1848 | 159.5766 | 140.7485 | 146.2313 | 108.6337
| Total Staff Wel Fare Expenses | 283.0652 | 304.8582 | 275.6048 | 338.1837 | 321.398
Breakup of Others Expenses (Specify Item)
(To be filled for each of the Thermal /Hydro Generating Station)
| Name of the Company: Damodar Valley Corporation | [5 empty] | 995.43 | 906.6
| Name of the Power Station: | [5 empty] | 1143.29
1333.56
Sl.No. | ITEM
| Units | CTPS 7&8 | CTPS 7&8 | CTPS 7&8 | CTPS 7&8 | CTPS 7&8
| Capacity | 500 | 500 | 500 | 500 | 500
1 | General Office Expenses, Printing & Stationary, Legal, Postage, Etc. | 27.9104 | 31.8398 | 37.1558 | 73.3906 | 35.0293
2 | Environment Protection and Other State Cess | 13.5771 | 11.6606 | 0 | 30.9084 | 5.1466 | 3472.28
3 | SIP Expenses | 24.2882 | 28.2766 | 13.9605 | 41.2265 | 97.0695
4 | Misc Expenses on Non Core Activities and Others | 4.9324 | 1.5698 | 165.5981 | 0 | 31.0174
5 | Amortization of Deferred Revenue Expenses | 437.392 | 225.5638 | 0 | 0 | 0
6 | Marketing and Selling Expenses | 7.8998 | 13.6119 | 14.2133 | 15.7383 | 0
7 | Professional and Consultancy Charges | 13.487 | 0 | 0 | 0 | 0
| Total | 529.487 | 312.5226 | 230.9277 | 161.2637 | 168.2628
Note: Prepared based on actual expenditure provided in Annexure VI(A) in the ratio of Installed Capacity of the Plant. This expenditure excludes share of Corporate O&M expenditure.

## Annexure-VIII
Annexure-VIII
DETAILS OF O & M EXPENSES (At Corporate Level/Regional Level)
Name of the Company:
( Rs. In Lacs)
Sl.No. | ITEM | unit | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | 2 |  | 3 | 4 | 5 | 6 | 7
(A) | Breakup of corporate expenses (Aggregate at Company level)
1 | - Employee expenses:
1.1 | -Salaries, wages and allowances
1.2 | -Staff welfare expenses
1.3 | -Productivity linked incentive
1.4 | - Expenditure on VRS
1.5 | -Ex-gratia
1.6 | -Performance related pay( PRP)
2 | Administrative Expenses:
2.1 | - Repair and maintenance
2.2 | - Training and Recruitment
2.3 | - Communication
2.4 | - Traveling & Conveyance
2.5 | - Rent
2.6 | - Others (Specify items)
Sub - Total (Administrative
3 | Security
4 | Donations
5 | Provisions
6 | Others (specify items)
7 | Total (1 to 6)
8 | Less recoveries (if any)
9 | Net Corporate Expenses (Aggregate)
(B) | Allocation of Corporate Expenses to
1 | Power Generation/Transmission O&M
2 | Project management/Projects under
Construction
3 | RLDC and ULDC
4 | Consultancy Business
5 | Telecommunication Business
6 | Any other
Note: Heads indicated above are illustrative. Generating companies or the transmission utilities may furnish the allocations in different functional activities suited to their company.
(C) | Allocation of Corporate Expenses relating to functional activity of power. Generation or the transmission to various generating stations or the transmission region/systems as the case may be.
1 | Generating station 1 / Transmission
Region 1
2 | Generating station 2 /
Transmission Region 2 ……..
Note:
Year-wise audited actual O&M expenses submitted for the period 2012-13 to 2016-17 should be clearly indicating the following:
(i)Explanation / Justification for year to year variation of more than (±) 10% in any head of O&M
expenses.
(ii) Details of expenditure under the head "Others".
(iii) Details of the amount indicated under the head "Revenues/Recoveries".
(iv) Details of arrears and prior period adjustments included in the data for the period 2012-13 to 2016-17, if any, pertaining to period prior to the year 2012-13 should be mentioned separately in the following format:
Sl. No | Year during the period 2012-17 in which arrear/ prior period adjustments have been made | Year to which this arrear and prior period adjustment pertains |  | Amount of arrear/ prior period adjustment (Rs. in lakh)
(v) Separately furnish the details of abnormal expenses, if any.
(vi) Future provisions pertaining to period beyond 2016-17 made in the employee cost or any other head during
2012-13 to 2016-17 towards wage revision/arrears or for any other reason shall be provided separately.
(vii) Details of Regional level expenses to be provided separately giving methodology of allocation of Regional expenses.

## Annexure-XIX U 1-3
Annexure-XIX
Name of the Utility: DVC
Name of the Generating Station : CTPS
Station/ Stage/ Unit : U # 1-3
Fuel Type (Coal/ Lignite/ Gas/ Liquid Fuel/ Nuclear/ Hydro : Coal
Capacity of Plant (MW) : 130MW x 3
COD : Jul 1968
|  | 2004-05 | 2005-06 | 2006-07 | 2007-08 | 2008-09 | 2009-10 | 2010-11 | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | Plant Availability Factor (PAF) (%) |  |  | 62.77 | 70.25 | 74.24 | 64.39 | 77.15 | 64.29 | 61.57 | 69.75 | 55.2093 | 79.73 | 78.08
2 | Plant Load Factors (PLF) (%) |  |  | 62.77 | 70.25 | 74.24 | 64.39 | 77.15 | 64.29 | 58.46 | 57.9633 | 50.8967 | 64.55
3 | Scheduled Energy (MU)
4 | Scheduled Generation (MU)
5 | Actual Generation (MU) |  |  | 1897.86 | 2123.89 | 2244.735 | 1946.933 | 2332.727 | 1943.691 | 1767.398 | 1779.9695 | 1561.7105 | 1993.2839 | 1705.26
6 | Quantum of coal consumption (MT)
7 | Value of coal (Rs. Lakh)
8 | Specific Coal Consumption (kg/kwh)
9 | Gross Calorific Value of Coal (Kcal/ Kg)
10 | Heat Contribution of Coal (Kcal/Kwh)
11 | Cost Of Specific Coal Consumption (Rs./Kwh) – Finally admitted by CERC
12 | Quantum of Oil Consumption (Lit.)
13 | Value of Oil (Rs. lakh)
14 | Gross calorific value of oil (kcal/lit)
15 | Specific Oil Consumption (ml/KWh) | [5 empty] | 3 | 3 | 3 | 3 | 3 | 1.5 | 1.5 | 1.5
16 | Cost Of Specific Oil Consumption (Rs./Kwh) – Finally admitted by CERC
17 | Heat Contribution of Oil (Kcal/ kwh)
18 | Station Heat Rate (kcal/kwh) | [5 empty] | 3100 | 3100 | 3100 | 3100 | 3100 | 3100 | 3100 | 3100
19 | Auxiliary Energy Consumption (%) | [5 empty] | 11.5 | 11.5 | 11.5 | 11.5 | 11.5 | 9.5 | 9.5 | 9.5
20 | Debt at the end of the year (Rs. Crore) | [5 empty] | 4.9859 | 0 | 0 | 0 | 0 | 0 | 0.4712 | 0
21 | Equity (Rs. Crore) | [5 empty] | 138.3045 | 144.5237 | 145.7906 | 148.3855 | 149.0365 | 149.2615 | 150.2779 | 150.9174
22 | Working Capital (Rs. Crore) – finally admitted by CERC | [5 empty] | 138.8282 | 141.3794 | 144.0371 | 145.9878 | 147.6367 | 285.8118 | 290.6199 | 294.4502
23 | Capital cost (Rs. Crore) – finally admitted by CERC | [5 empty] | 303.2979 | 324.0286 | 328.2514 | 336.901 | 339.071 | 339.8206 | 343.2085 | 345.3401
24 | Capacity Charges/ Annual Fixed Cost (AFC) | [5 empty] | 220.3392 | 226.0728 | 239.3389 | 242.2333 | 240.5194 | 203.4962 | 213.8213 | 224.3447
(a) Return on equity – pre tax (admitted by CERC)
| Absolute value | [5 empty] | 24.869 | 21.9192 | 28.1271 | 28.5012 | 23.0502 | 23.1181 | 23.2143 | 23.3426
| Rate (%) | [5 empty] | 11.29% | 9.696% | 11.75% | 11.77% | 9.584% | 11.36% | 10.86% | 10.4%
(b) interest on Loan
| Absolute value (Rs. Crore) | [5 empty] | 0.2321 | 0.2199 | 0 | 0 | 0 | 0 | 0.0244 | 0.0244
| Rate (%) – Weighted Average Rate | [5 empty] | 0.1053% | 0.09727% | 0% | 0% | 0% | 0% | 0.01141% | 0.01088%
(c) Depreciation (finally allowed by CERC
| Absolute value (Rs. Crore) | [5 empty] | 22.5255 | 24.6871 | 16.2291 | 10.9778 | 7.4818 | 1.2447 | 2.0348 | 2.5903
| Rate (%) | [5 empty] | 10.22% | 10.92% | 6.781% | 4.532% | 3.111% | 0.6117% | 0.9516% | 1.155%
(d) Interest on working Capital
| Absolute value (Rs. Crore) | [5 empty] | 17.0065 | 17.319 | 17.6445 | 17.8835 | 18.0855 | 38.5846 | 39.2337 | 39.7508
| Rate (%) | [5 empty] | 7.718% | 7.661% | 7.372% | 7.383% | 7.519% | 18.96% | 18.35% | 17.72%
(e) Operation and maintenance cost (finally admitted by CERC)
| Absolute value (Rs. Crore) | [5 empty] | 102.375 | 108.225 | 114.426 | 120.978 | 127.881 | 139.932 | 148.746 | 158.106
| Rate (%) | [5 empty] | 46.46% | 47.87% | 47.81% | 49.94% | 53.17% | 68.76% | 69.57% | 70.47%
(f) Compensation Allowances
| Absolute value (Rs. Crore) | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Rate (%) | bar: 2009-10 to 2016-17
25 | AFC (Rs. Kwh) | [5 empty] | 1.2146 | 1.2462 | 1.3157 | 1.3353 | 1.3258 | 0.87756 | 0.91957 | 0.96747
26 | Energy Charge (Rs./Kwh) | [5 empty] | 1.3814 | 1.5536 | 1.8726 | 2.128 | 2.4769 | 2.808 | 2.763 | 2.542
27 | Total tariff (Rs. Kwh) | [5 empty] | 2.596 | 2.7998 | 3.1883 | 3.4633 | 3.8027 | 3.6856 | 3.6826 | 3.5095
28 | Revenue realisation before tax (Rs. Crore)
29 | Revenue realisation after tax (Rs. Crore)
30 | Profit/ loss (Rs. Crore0
31 | DSM Generation (MU)
32 | DSM Rate (Ps/Kwh)
33 | Revenue from DSM (Rs. Crore)
Note: Generating Companies are required to submit data for all generating stations.
This is a general format. Plants of different fuel users have to fill the cells as applicable to them. Tariff for the Hydro may be understood as composite tariff.
The data provided for the corresponding years need to mention as Actual or provisional.
Data for each Unit and Stage is required to be submitted in additional sheets as per the format.

## Annexure-XIX U 7-8
Annexure-XIX
Name of the Utility : DVC
Name of the Generating Station : CTPS
Station/ Stage/ Unit : U 7-8
Fuel Type (Coal/ Lignite/ Gas/ Liquid Fuel/ Nuclear/ Hydro : Coal
Capacity of Plant (MW) : 250MW x 2
COD : Nov 2011
|  | 2004-05 | 2005-06 | 2006-07 | 2007-08 | 2008-09 | 2009-10 | 2010-11 | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | Plant Availability Factor (PAF) (%) | 2011-12: 59.02; 2012-13: 88.8; 2013-14: 83.52; 2014-15: 77.861; 2015-16: 70.24; 2016-17: 91.87
2 | Plant Load Factors (PLF) (%) | 2011-12: 59.02; 2012-13: 81.58; 2013-14: 65.09; 2014-15: 73.925; 2015-16: 65.21
3 | Scheduled Energy (MU)
4 | Scheduled Generation (MU)
5 | Actual Generation (MU) | 2011-12: 1327.722; 2012-13: 3251.5295; 2013-14: 2568.104; 2014-15: 2926.3444; 2015-16: 2592.6004; 2016-17: 3401.09
6 | Quantum of coal consumption (MT)
7 | Value of coal (Rs. Lakh)
8 | Specific Coal Consumption (kg/kwh)
9 | Gross Calorific Value of Coal (Kcal/ Kg)
10 | Heat Contribution of Coal (Kcal/Kwh)
11 | Cost Of Specific Coal Consumption (Rs./Kwh) – Finally admitted by CERC
12 | Quantum of Oil Consumption (Lit.)
13 | Value of Oil (Rs. lakh)
14 | Gross calorific value of oil (kcal/lit)
15 | Specific Oil Consumption (ml/KWh) | 2011-12: 1; 2012-13: 1; 2013-14: 1; 2014-15: 0.5; 2015-16: 0.5; 2016-17: 0.5
16 | Cost Of Specific Oil Consumption (Rs./Kwh) – Finally admitted by CERC
17 | Heat Contribution of Oil (Kcal/ kwh)
18 | Station Heat Rate (kcal/kwh) | 2011-12: 2403; 2012-13: 2403; 2013-14: 2403; 2014-15: 2357.34; 2015-16: 2357.34; 2016-17: 2357.34
19 | Auxiliary Energy Consumption (%) | 2011-12: 9; 2012-13: 9; 2013-14: 9; 2014-15: 9; 2015-16: 9; 2016-17: 9
20 | Debt at the end of the year (Rs. Crore) | 2011-12: 1383.4665; 2012-13: 1306.4371; 2013-14: 1158.5726; 2014-15: 995.273; 2015-16: 831.79; 2016-17: 668.306
21 | Equity (Rs. Crore) | 2011-12: 629.4599; 2012-13: 662.9712; 2013-14: 669.3247; 2014-15: 669.3997; 2015-16: 669.3997; 2016-17: 669.3997
22 | Working Capital (Rs. Crore) – finally admitted by CERC | 2011-12: 293.1588; 2012-13: 299.4389; 2013-14: 297.7121; 2014-15: 278.2454; 2015-16: 279.2626; 2016-17: 279.5888
23 | Capital cost (Rs. Crore) – finally admitted by CERC | 2011-12: 2098.1996; 2012-13: 2209.904; 2013-14: 2231.0823; 2014-15: 2231.3323; 2015-16: 2231.3323; 2016-17: 2231.3323
24 | Capacity Charges/ Annual Fixed Cost (AFC) | 2011-12: 561.3411; 2012-13: 609.533; 2013-14: 595.8669; 2014-15: 559.8647; 2015-16: 552.1615; 2016-17: 544.6784
(a) Return on equity – pre tax (admitted by CERC)
| Absolute value | 2011-12: 97.29; 2012-13: 125.2172; 2013-14: 103.2529; 2014-15: 103.7511; 2015-16: 103.757; 2016-17: 103.757
| Rate (%) | 2011-12: 17.33%; 2012-13: 20.54%; 2013-14: 17.33%; 2014-15: 18.53%; 2015-16: 18.79%; 2016-17: 19.05%
(b) interest on Loan
| Absolute value (Rs. Crore) | 2011-12: 148.1718; 2012-13: 140.1091; 2013-14: 127.8437; 2014-15: 112.6086; 2015-16: 95.7631; 2016-17: 78.6229
| Rate (%) – Weighted Average Rate | 2011-12: 26.4%; 2012-13: 22.99%; 2013-14: 21.46%; 2014-15: 20.11%; 2015-16: 17.34%; 2016-17: 14.43%
(c) Depreciation (finally allowed by CERC
| Absolute value (Rs. Crore) | 2011-12: 151.061; 2012-13: 155.2225; 2013-14: 162.6893; 2014-15: 163.4743; 2015-16: 163.4835; 2016-17: 163.4835
| Rate (%) | 2011-12: 26.91%; 2012-13: 25.47%; 2013-14: 27.3%; 2014-15: 29.2%; 2015-16: 29.61%; 2016-17: 30.01%
(d) Interest on working Capital
| Absolute value (Rs. Crore) | 2011-12: 34.4462; 2012-13: 35.1841; 2013-14: 34.9812; 2014-15: 37.5631; 2015-16: 37.7004; 2016-17: 37.7445
| Rate (%) | 2011-12: 6.136%; 2012-13: 5.772%; 2013-14: 5.871%; 2014-15: 6.709%; 2015-16: 6.828%; 2016-17: 6.93%
(e) Operation and maintenance cost (finally admitted by CERC)
| Absolute value (Rs. Crore) | 2011-12: 101.7; 2012-13: 107.55; 2013-14: 113.7; 2014-15: 119.5; 2015-16: 127; 2016-17: 135
| Rate (%) | 2011-12: 18.12%; 2012-13: 17.64%; 2013-14: 19.08%; 2014-15: 21.34%; 2015-16: 23%; 2016-17: 24.79%
(f) Compensation Allowances
Absolute value (Rs. Crore)
Rate (%) | bar: 2011-12 to 2016-17
25 | AFC (Rs. Kwh) | 2011-12: 1.6524; 2012-13: 1.7991; 2013-14: 1.7588; 2014-15: 1.6525; 2015-16: 1.6253; 2016-17: 1.6077
26 | Energy Charge (Rs./Kwh) | 2012-13: 1.6122; 2013-14: 1.8766; 2014-15: 1.986; 2015-16: 2.111; 2016-17: 1.891
27 | Total tariff (Rs. Kwh) | 2011-12: 1.6524; 2012-13: 3.4113; 2013-14: 3.6354; 2014-15: 3.6385; 2015-16: 3.7363; 2016-17: 3.4987
28 | Revenue realisation before tax (Rs. Crore)
29 | Revenue realisation after tax (Rs. Crore)
30 | Profit/ loss (Rs. Crore0
31 | DSM Generation (MU)
32 | DSM Rate (Ps/Kwh)
33 | Revenue from DSM (Rs. Crore)
Note: Generating Companies are required to submit data for all generating stations.
This is a general format. Plants of different fuel users have to fill the cells as applicable to them. Tariff for the Hydro may be understood as composite tariff.
The data provided for the corresponding years need to mention as Actual or provisional.
Data for each Unit and Stage is required to be submitted in additional sheets as per the format.