## Annexure-III 1 to 3
Annexure-III
SH 1/3
Pro-forma for furnishing Actual annual performance/operational data for the Hydro Electric generating stations for the 5-year period from 2012-13 to 2016-17
| Particulars |  | Units | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | Name of Company |  |  | NHPC LTD.
2 | Name of Station |  |  | Chamera-III Power Station
3 | Installed Capacity and Configuration |  | (MW) | 231
4 | Station Location |  | Under ground or Surface | Under Ground
5 | Type of Excitation System |  |  | Static
6 | Live Storage Capacity |  | (Million Cubic) | 3.2
7 | Rated Head |  | Metres | 200 M | 200 M | 200 M | 200 M | 200 M
8 | Head at Full Reservoir Level (FRL) |  | Metres | 227.0 M | 227.0 M | 227.0 M | 227.0 M | 227.0 M
9 | Head at Minimum Draw down Level (MDDL) |  | Metres | 188.71 M | 188.71 M | 188.71 M | 188.71 M | 188.71 M
10 | MW Capability at FRL |  | MW | 231.0 M | 231.0 M | 231.0 M | 231.0 M | 231.0 M
11 | MW Capability at MDDL |  | MW | 217.97 M | 217.97 M | 217.97 M | 217.97 M | 217.97 M
12 | Cost of spares :
12.1 | Cost of spares capitalized in books of accounts |  | (Rs. Lakhs) | 55.1617 | 487.3426 | 0 | 47.2863 | 33.1145
12.2 | Cost of spares included in the capital cost for the purpose of tariff |  | (Rs. Lakhs)
Period
13 | Generation :
13.1 | Actual Gross Generation at Generator Terminals |  | (MU) | 716.41 | 937.78 | 1020.7711 | 1043.6692 | 916.935
13.2 | Actual Net Generation Ex-bus including free power |  | (MU) | 711.0694 | 930.9103 | 1013.2253 | 1039.9015 | 910.0615
13.3 | Scheduled generation Ex-bus including free power |  | (MU) | 646.049 | 930.3499 | 994.7604 | 1007.0928 | 892.7615
14 | Actual Auxiliary Energy Consumption excluding colony consumption |  | (MU) | 6.548 | 7.3 | 8.168 | 7.9831 | 7.3577
15 | Actual Energy supplied to Colony from the station |  | (MU) | NIL | NIL | NIL | NIL | NIL
16 | Average Declared Capacity (DC) during the year |  | (MW) | 215.9 | 202.21 | 217.5 | 210.65 | 182.92
Annexure-III
SH 2/3
| Period |  | Units | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
17 | Weighted Average duration of outages ( Unit-wise details)
17.1 | Scheduled outages |  | (Days) | 55.1687 | 134.9583 | 37.7535 | 35.1854 | 180.8868
17.2 | Forced outages |  | (Days) | 4.3937 | 9.0736 | 0.82986 | 3.7799 | 0.17639
18 | Cost of spares actually consumed |  | (Rs. Lakhs) | - | 21.045 | 183.337 | 29.9923 | 2.1401
19 | Average stock of spares |  | (Rs. Lakhs) | 85.6203 | 121.8558 | 68.9392 | 143.4126 | 237.1808
Month wise Design Energy
Month |  | Period | Design Energy as approved by CEA (MU) |  | Month | Period | Design Energy as approved by CEA (MU)
April |  | 1-10 | 19.4078 |  | October | 1-10 | 29.6315
|  | 11-20 | 28.1153 | 28.1153 |  | 11-20 | 24.9529 | 24.9529
|  | 21-30 | 33.0106 | 33.0106 |  | 21-31 | 24.2078 | 24.2078
May |  | 1-10 | 44.7072 | 44.7072 | November | 1-10 | 19.6677 | 19.6677
|  | 11-20 | 52.668 | 52.668 |  | 11-20 | 17.8916 | 17.8916
|  | 21-31 | 57.9348 | 57.9348 |  | 21-30 | 15.2923 | 15.2923
June |  | 1-10 | 52.668 | 52.668 | December | 1-10 | 13.7327 | 13.7327
|  | 11-20 | 52.668 | 52.668 |  | 11-20 | 12.693 | 12.693
|  | 21-30 | 49.126 | 49.126 |  | 21-31 | 11.6273 | 11.6273
July |  | 1-10 | 51.292 | 51.292 | January | 1-10 | 11.0902 | 11.0902
|  | 11-20 | 52.668 | 52.668 |  | 11-20 | 9.8339 | 9.8339
|  | 21-31 | 57.9348 | 57.9348 |  | 21-31 | 9.7689 | 9.7689
August |  | 1-10 | 52.668 | 52.668 | February | 1-10 | 9.1407 | 9.1407
|  | 11-20 | 52.668 | 52.668 |  | 11-20 | 9.2274 | 9.2274
|  | 21-31 | 57.9348 | 57.9348 |  | 21-28 | 6.3768 | 6.3768
September |  | 1-10 | 46.57 | 46.57 | March | 1-10 | 9.7039 | 9.7039
|  | 11-20 | 39.1188 | 39.1188 |  | 11-20 | 15.6822 | 15.6822
|  | 21-30 | 34.0936 | 34.0936 |  | 21-31 | 22.3969 | 22.3969
[5 empty] | Total |  | 1108.1715
Storage Hydro plants shall also furnish actual monthly average peaking generation in MW achieved during the period 2012-13 to 2016-17 against the monthly average peaking capability approved by CEAas per following format:
Month |  | Expected Avg. of daily 3-hour peaking capacity as approved by CEA |  |  | Actual monthly average of daily 3-hour peaking (MW) for the period 2012-13 to 2016-17
April |  | 228.228 |  |  |  | 162.06
May |  | 228.228 |  |  |  | 181.8812
June |  | 228.228 |  |  |  | 227.2665
July |  | 228.228 |  |  |  | 227.791
August |  | 228.228 |  |  |  | 214.3944
September |  | 228.228 |  |  |  | 228.21
October |  | 228.228 |  |  |  | 220.3075
November |  | 228.228 |  |  |  | 228.3245
December |  | 228.228 |  |  |  | 197.9751
January |  | 228.228 |  |  |  | 170.8152
February |  | 228.228 |  |  |  | 139.2059
March |  | 228.228 |  |  |  | 184.4484
Annexure III
SH 3/3
1 | List of beneficiaries/customers along with allocation by GoI including (allocation of unallocated share) / capacity as contracted should also be furnished separately for each generating station.
2 | Declared Capacity should be as per Regulation 31(3) of CERC Tariff Regulations for the period 2014-19 including month wise information may be furnished.
3 | Any relevant point or a specific fact having bearing on performance or operating parameters may also be highlighted or brought to the notice of the Commission.

## Annexure-IV
Annexure –IV
PLANT AVAILABILITY/SCHEDULED PLANT LOAD FACTOR ACHIEVED Generating company: NHPC LTD. Name of Generating station: Chamera-III Power Station Installed Capacity (MW) : 231 MW Normative Annual Plant Availability Factor (%) approved by Commission : 85%
Plant Availability Factor Achieved (%)
Month | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | Reasons for shortfall in PAF achieved vis-a-vis NAPAF
April | 0 | 50.6073 | 101.2146 | 101.419 | 101.7988 | DURING 2016-17: COMPLETE SHUTDOWN OF POWER HOUSE W.E.F 01- FEB-2017 TO 06-APR-2017 FOR REPAIR WORKS OF HRT & ANNUAL MAINTENANCE. | 162.06
May | 0 | 100.1262 | 100.4513 | 101.4301 | 96.4562 |  | 181.8812
June | 101.28 | 101.2146 | 100.3383 | 98.3958 | 96.665 |  | 227.2665
July | 101.1863 | 101.2146 | 97.2895 | 97.8931 | 101.4591 |  | 227.791
August | 86.7035 | 97.9496 | 101.2146 | 82.7413 | 101.0845 |  | 214.3944
September | 100.8421 | 98.9654 | 101.2146 | 97.8408 | 101.0977 |  | 228.21
October | 78.3597 | 101.2146 | 100.6704 | 101.2146 | 101.1887 |  | 220.3075
November | 101.2146 | 95.5915 | 100.9761 | 101.2146 | 101.2146 |  | 228.3245
December | 97.9496 | 101.2146 | 77.9652 | 77.4138 | 79.179 |  | 197.9751
January | 92.5079 | 65.2997 | 69.2105 | 70.878 | 76.3244 |  | 170.8152
February | 91.5751 | 44.5826 | 91.3651 | 77.4483 | 0 |  | 139.2059
March | 101.2146 | 101.2146 | 102.529 | 99.1298 | 0 |  | 184.4484
Annual | 94.5958 | 88.6436 | 95.3418 | 92.2509 | 80.1363
Plant Load Factor Achieved (%)
Month | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | Reasons for shortfall in PLF achieved vis-a-vis Target PLF
April
May
June
July | NA
August
September
October
November
December
January
February
March
Annual

## Annexure-XIX (CH-III)
Annexure-XIX
Name of the Utility |  | NHPC LTD.
Name of the Generating Station |  | Chamera-III Power Station
Station/ Stage/ Unit |  | 3 x 77 MW
Fuel Type (Coal/ Lignite/ Gas/ Liquid Fuel/ Nuclear/ Hydro | [7 empty] | Hydro
Capacity of Plant (MW) |  | 231 MW
COD |  | 2012-07-04
|  | 2004-05 | 2005-06 | 2006-07 | 2007-08 | 2008-09 | 2009-10 | 2010-11 | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
1 | Plant Availability Factor (PAF) (%) | 2012-07-04 2012-13: 94.5958; 2012-07-04 2013-14: 88.6436; 2012-07-04 2014-15: 95.3418; 2012-07-04 2015-16: 92.2509; 2012-07-04 2016-17: 80.1363
2 | Plant Load Factors (PLF) (%)
3 | Scheduled Energy (MU) | 2012-07-04 2004-05: Not Commissioned; 2012-07-04 2012-13: 646.049; 2012-07-04 2013-14: 930.3499; 2012-07-04 2014-15: 994.7604; 2012-07-04 2015-16: 1007.0928; 2012-07-04 2016-17: 892.7615
4 | Scheduled Generation (MU)
5 | Actual Generation (MU) | 2012-07-04 2004-05: Not Commissioned; 2012-07-04 2012-13: 716.41; 2012-07-04 2013-14: 937.78; 2012-07-04 2014-15: 1020.7711; 2012-07-04 2015-16: 1043.6692; 2012-07-04 2016-17: 916.935
6 | Quantum of coal consumption (MT)
7 | Value of coal (Rs. Lakh)
8 | Specific Coal Consumption (kg/kwh)
9 | Gross Calorific Value of Coal (Kcal/ Kg)
10 | Heat Contribution of Coal (Kcal/ kwh)
11 | Cost Of Specific Coal Consumption (Rs./Kwh) – Finally admitted by CERC
12 | Quantum of Oil Consumption (Lit.)
13 | Value of Oil (Rs. lakh)
14 | Gross calorific value of oil (kcal/lit)
15 | Specific Oil Consumption (ml/ kwh)
16 | Cost Of Specific Oil Consumption (Rs./Kwh) – Finally admitted by CERC
17 | Heat Contribution of Oil (Kcal/ kwh)
18 | Station Heat Rate (kcal/kwh)
19 | Auxiliary Energy Consumption (%) | 2012-07-04 2004-05: Not Commissioned; 2012-07-04 2012-13: 0.78; 2012-07-04 2013-14: 0.81; 2012-07-04 2014-15: 0.8; 2012-07-04 2015-16: 0.76; 2012-07-04 2016-17: 0.84
20 | Debt at the end of the year (Rs. Crore) | 2012-07-04 2012-13: 1330.8681; 2012-07-04 2013-14: 1249.8846
21 | Equity (Rs. Crore) | 2012-07-04 2012-13: 602.5118; 2012-07-04 2013-14: 611.9273
22 | Working Capital (Rs. Crore) – finally admitted by CERC | 2012-07-04 2012-13: 50.87; 2012-07-04 2013-14: 75.0602
23 | Capital cost (Rs. Crore) – finally admitted by CERC | 2012-07-04 2012-13: 2008.3726; 2012-07-04 2013-14: 2039.7576
24 | Capacity Charges/ Annual Fixed Cost (AFC)
(a) Return on equity – pre tax (admitted by CERC)
| Absolute value | 2012-07-04 2012-13: 78.9587; 2012-07-04 2013-14: 112.9934
| Rate (%) | 2012-07-04 2012-13: 17.85%; 2012-07-04 2013-14: 18.61%
(b) interest on Loan
| Absolute value | 2012-07-04 2012-13: 71.5495; 2012-07-04 2013-14: 121.5445
| Rate (%) – Weighted Average Rate | 2012-07-04 2012-13: 7.13%; 2012-07-04 2013-14: 9.42%
(c) Depreciation (finally allowed by CERC)
| Absolute value | 2012-07-04 2012-13: 74.9927; 2012-07-04 2013-14: 102.9531
| Rate (%) | 2012-07-04 2012-13: 5.09%; 2012-07-04 2013-14: 5.09%
(d) Interest on working Capital
| Absolute value | 2012-07-04 2012-13: 6.8668; 2012-07-04 2013-14: 10.1331
| Rate (%) | 2012-07-04 2012-13: 13.5%; 2012-07-04 2013-14: 13.5%
(e) Operation and maintenance cost (finally admitted by CERC)
| Absolute value | 2012-07-04 2012-13: 30.3424; 2012-07-04 2013-14: 42.8072
Rate (%) | bar: 2012-07-04 2012-13
(f) Compensation Allowances | bar: 2012-07-04 2004-05
25 | AFC (Rs. Crore) | 2012-07-04 2012-13: 262.7101; 2012-07-04 2013-14: 390.4313 | 952.5386
26 | Energy Charge (Rs./Kwh) | 2012-07-04 2013-14: 2.0494
27 | Total tariff (Rs. Kwh) | 2012-07-04 2013-14: 4.0989
28 | Revenue realisation before tax (Rs. Crore) | 2012-07-04 2012-13: 284.1817; 2012-07-04 2013-14: 347.8232; 2012-07-04 2014-15: 517.336; 2012-07-04 2015-16: 426.0482; 2012-07-04 2016-17: 374.8466
29 | Revenue realisation after tax (Rs. Crore) #
30 | Profit/ loss before tax (Rs. Crore) | 2012-07-04 2012-13: 41.2219; 2012-07-04 2013-14: 78.3541; 2012-07-04 2014-15: 252.1256; 2012-07-04 2015-16: 172.0536; 2012-07-04 2016-17: 115.1122
31 | DSM Generation (MU) | 2012-07-04 2012-13: 0.18655; 2012-07-04 2013-14: 1.3292; 2012-07-04 2014-15: 18.7966; 2012-07-04 2015-16: 29.2349; 2012-07-04 2016-17: 17.6703
32 | DSM Rate (Ps/Kwh)
33 | Revenue from DSM (Rs. Crore) | 2012-07-04 2012-13: 1.0083; 2012-07-04 2013-14: 2.4642; 2012-07-04 2014-15: 7.9629; 2012-07-04 2015-16: 8.8293; 2012-07-04 2016-17: 3.9966
1. The data at Sl No. 20 to 27 has been filled based on CERC order dated 24.03.2015
2. The capital cost sl no. 23 & equity at sl no. 21 has been considered as closing equity & capital cost respectively as on 31st March of respective year.
3. The billing for the period 2014-19 is being carried out based on allowed AFC for 2013-14 grossed up with MAT rate.
4. # NHPC calculate Corporate Tax as a whole after considering all the admissible deductions, exemptions etc. as per Income Tax Act. Therefore unitwise calculation has not been made.
Note: Generating Companies are required to submit data for all generating stations.
This is a general format. Plants of different fuel users have to fill the cells as applicable to them. Tariff for the Hydro may be understood as composite tariff.
The data provided for the corresponding years need to mention as Actual or provisional.
Data for each Unit and Stage is required to be submitted in additional sheets as per the format.

## 2015-16 & 2016-17
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
Name of the Company : NHPC Ltd
Name of Power Station: |  | CHAMERA III POWER STATION
Sl. No. | ITEMS | 2015-16 | 2016-17 | Variance (In Rs.) | Variance (In %) | Reason
1
(A) | Breakup of O&M Expenses
1 | Consumption of stores & spares | 2999231 | 214007 | -2785224 | -92.86% | Decrease is due to less consumption of capital spares and other spares for annual maintance in the year of 2016-17 as compared to year 2015-16.
2 | Repair & Maintenance
2.1 | For Dam,Intake,WCS,De-silting chamber | 12610292 | 55624419 | 43014127 | 341.1% | The abnormal increase in expenditure due to major repair work of Rs. 3.95 crore in HRT at Adit IV and Adit VI due to leakage from HRT. (*), Repair of damaged / washed away road at various locations of Right Bank road the Repair and Maintenance Expenditure has been increased by Rs. 33.75 Lakhs.
2.2 | For Power House and all other works | 54067612 | 69682380 | 15614768 | 28.88% | Due Restoration of damaged Retaining Wall between RD 87.30m to RD 101.55m on MAT road below Switch Yard area the Repair and Mainteances - Payment to outside agency-Power Plant Building has been increased by Rs. 22.52 lakhs .Construction of contour drain on hill – slope above Switch Yard area at Chamera-III Power Station,Dharwala the Repair and maintenance expenditure has been increased by Rs. 16.77 lakhs. Providing Concrete work and boulder trap along hill slope above Surge Shaft, Chamera-III Power Station,Dharwala, the Repair and maintenance expenditure has been increased by Rs. 23.61 lakhs and some other works also done in the year 2016-17 valuing Rs. 10 lakhs and below.These all works were protection work and very necessary for the safety of the structure and efficient running of power plant.
| Sub-Total (Repair and Maintenance) | 66677904 | 125306799 | 58628895 | 87.93%
3 | Insurance | 49291908 | 50435273 | 1143365 | 2.32%
4 | Security Expenses | 39852183 | 63009084 | 23156901 | 58.11% | Increase in security expenditure is due to increase of DA and annual increment of the security personnel and wage revision of 7th pay commission and payment of arms and ammunition.
5 | Administrative Expenses
5.1 | Rent | 22187773 | 19116947 | -3070826 | -13.84% | Due to non payment of subsistence allowance to mokhri village and decrease in number of lease rent cases and house rent cases.
5.2 | Electricity charges | 15441498 | 19085304 | 3643806 | 23.6% | Due to induction of CISF , new electrical connection are provided to CISF staff in various township of Project. So the increase of Electricity Load of project as compared to Corresponding previous period.
5.3 | Travelling & Conveyance | 2603116 | 3210186 | 607070 | 23.32% | Due to Increase of number of training as compared to Corresponding previous period ( INLAND TRAVEL and DAILY ALLOWANCE/BOARDING AND LODGING CHARGES )
5.4 | Telephone, Telex & Postage (Communication) | 4700506 | 9963669 | 5263163 | 112% | Liability provided in books for 4 Mbps MPLS port charges of M/s PGCIL Delhi amounting to Rs43,33,307/-Booked as per debit advice received from C.O.
5.5 | Advertisement | 1463122 | 1805203 | 342081 | 23.38% | Due to increase of number of advertisement of tender/newspaper as compared to Corresponding previous year
5.6 | Donation | 0 | 0 | 0 | 0%
5.7 | Entertainment | 26025 | 23550 | -2475 | -9.51% | Decrease is due to providing dinner to worker during silt flushing at power house in year 2015-16.
| Sub-total (Administrative expenses) | 46422040 | 53204859 | 6782819 | 14.61%
6 | Employee Cost
6.1a | Salaries, wages & allow. -Project | 316381096 | 397974964 | 81593868 | 25.79% | Due to increase of COMPANY'S CONTRIBUTION TO SUPERANNUATION /PENSION FUND (Executive ) and GRATUITY ACTUARIAL VALUATION EXPENSE respectively as compared to Corresponding previous period
6.2 | Staff welfare expenses | 14306352 | 12277556 | -2028796 | -14.18% | Due to decrease of RETIRED EMPLOYEES MEDICAL BENEFIT ACTUARIAL VALUATION PROVISION lakhs as compared to Corresponding previous period
6.3 | Productivity Linked incentive | 11577425 | 29651252 | 18073827 | 156.1% | Increase is due to payment of arrears for the year 2010-2011 to 2014-2015 in year 2016-17.
6.4 | VRS-Ex-gratia | 0 | 0 | 0 | 0%
6.5 | Ex-gratia | 0 | 0 | 0 | 0%
6.6 | Performance related pay (PRP) | 13861326 | 15433103 | 1571777 | 11.34% | Due to slight increase in PRP rates.
| Sub-total (Employee Cost) | 356126199 | 455336875 | 99210676 | 27.86%
7 | Loss of Store
9.1 | Allocation of CO Office expenses | 106468110 | 291246485 | 184778375 | 173.6% | As per expenditure provided by corporate office and regional office.
10 | Others (Specify items) | 31312588 | 21466141 | -9846447 | -31.45% | Excess Provision reversed based on actual expenditure & On the basis of Advice received from Corporate Office
11 | Total (1 to 10) | 699150163 | 1060219523 | 361069360 | 51.64%
12 | Revenue /Recoveries | 11720851 | 7544463 | -4176388 | -35.63% | Decrease is due to :- 1. Refund of NRLDC Charges less of the year 2016-17 amounting to Rs. 18.64 Lakhs compared to year 2015-16 amounting to Rs. 39.50 lakhs. 2. Some other recoveries from contractors and other is less of the year 2016-17 amounting to Rs. 21.95 lakhs compared to year 2015-16 amounting to Rs. 32.77 Lakhs.
13 | Net Expenses | 687429312 | 1052675060 | 365245748 | 53.13%
14 | Capital spares consumed not included in A(1) above and not claimed/allowed by commission for capitalisation

## 2014-15 & 2015-16
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
Name of the Company : National Hydroelectric Power Corporation Ltd
Name of Power Station: |  | CHAMERA III POWER STATION
Sl. No. | ITEMS | 2014-15 | 2015-16 | Variance (In Rs.) | Variance (In %) | Reason
1
(A) | Breakup of O&M Expenses
1 | Consumption of stores & spares | 18333699 | 2999231 | -15334468 | -83.64% | Decrease is due to less consumption of capital spares and other spares for annual maintance in the year of 2015-16 as compared to year 2014-15.
2 | Repair & Maintenance
2.1 | For Dam,Intake,WCS,De-silting chamber | 11684370 | 12610292 | 925922 | 7.924%
2.2 | For Power House and all other works | 44544592 | 54067612 | 9523020 | 21.38% | Due to Construction of boulders traps on hillside and concrete cladding wall behind GIS Building at CPS-III,Dharwala, the Repair and Maintenance - Powr Plant Building has been increased by Rs 32.23 lakhs. Providing and fixing crash barrier along the reservoir (Left bank) between RD 400.00M to 1100.00M at Dam site Kharamukh, Expenditure incurred on Maintenance/Creation of Facilities Not Controlled by Company has been increased by Rs. 21.36 lakhs and Removal of Boulder / Mulba /RBM from stilling basin D/s Dam the Repair and Maintenance DAM AND RESERVOIR has been increased by Rs. 20.21 lakhs.Providing vitrified flooring and miscellaneous repair works for renovation of Temporary Type “A” quarters at Karian the Repair and Maintenance - Residential Building has been increase by Rs. 26.41. Besides above seven number of FTB enginner appoint through contractor for operation of main mother plant
| Sub-Total (Repair and Maintenance) | 56228962 | 66677904 | 10448942 | 18.58%
3 | Insurance | 33566132 | 49291908 | 15725776 | 46.85% | The insurance cost for the period from 01.07.2015 to 30.06.2016 for the Rs 550.46 lakhs as compared to previous period is Rs 362.84 lakhs. The insurance premimum (fire-0.850,earthquake-0.434, MBD-1.85 ,BI/flop cover-2.73) has increased as compared to corresponding previous year (fire-0.60,earthquake-0.434, MBD-1.30 ,BI/flop cover-1.61)
4 | Security Expenses | 31816347 | 39852183 | 8035836 | 25.26% | Increase in security expenditure is due to induction CISF and increase of DA and annual increment of the security personnel.
5 | Administrative Expenses
5.1 | Rent | 22417697 | 22187773 | -229924 | -1.026%
5.2 | Electricity charges | 14190760 | 15441498 | 1250738 | 8.814%
5.3 | Travelling & Conveyance | 3636372 | 2603116 | -1033256 | -28.41% | Due to decrease of number of training as compared to Corresponding previous period ( INLAND TRAVEL and DAILY ALLOWANCE/BOARDING AND LODGING CHARGES )
5.4 | Telephone, Telex & Postage (Communication) | 5213255 | 4700506 | -512749 | -9.835% | Due to decrease of SATELLITE COMMUNICATION EXPENSES of Rs 5.90 lakhs as compared to previous corresponding period (AS per the C.O Advice) .
5.5 | Advertisement | 1439520 | 1463122 | 23602 | 1.64%
5.6 | Donation | 0 | 0 | 0 | 0%
5.7 | Entertainment | 26750 | 26025 | -725 | -2.71%
| Sub-total (Administrative expenses) | 46924354 | 46422040 | -502314 | -1.07%
6 | Employee Cost
6.1a | Salaries,wages & allow. -Project | 312417536 | 316381096 | 3963560 | 1.269%
6.2 | Staff welfare expenses | 20298174 | 14306352 | -5991822 | -29.52% | As per the circular no 460 and 397 the booking of REHS expenditure has transferred from "staff welfare to REHS trust expenses".Amounting to Rs 7.64 lakhs through debit advice to corporate office
6.3 | Productivity Linked incentive | 11552363 | 11577425 | 25062 | 0.2169%
6.4 | VRS-Ex-gratia | 4154974 | 0 | -4154974 | -100% | decrease is due to VRS has been taken by employees in year 2014-15 where as no case of VRS was in 2015-16.
6.5 | Ex-gratia | 0 | 0 | 0 | 0%
6.6 | Performance related pay (PRP) | 12381370 | 13861326 | 1479956 | 11.95% | Due to increase in strength of executives in year 2015-16 as compared to year 2014-15..
| Sub-total (Employee Cost) | 360804417 | 356126199 | -4678218 | -1.297%
7 | Loss of Store
9.1 | Allocation of CO Office expenses | 176367687 | 106468110 | -69899577 | -39.63%
10 | Others (Specify items) | 21448703 | 31312588 | 9863885 | 45.99% | Due to change of accounting the POL Expenditure OF DG SET transferred from POL ON OTHERS (921707) to OPERATING EXP.OF DG SET OTHER THAN RESIDENTIAL(925001 ) .
11 | Total (1 to 10) | 745490301 | 699150163 | -46340138 | -6.216%
12 | Revenue /Recoveries | 8096002 | 11720851 | 3624849 | 44.77% | Increase is due to reversal of excess liabilities and provisions amounting to Rs 37.40 Lakhs.
13 | Net Expenses | 737394299 | 687429312 | -49964987 | -6.776%
14 | Capital spares consumed not included in A(1) above and not claimed/allowed by commission for capitalisation

## 2013-14 & 2014-15
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
Name of the Company : NHPC Ltd
Name of Power Station: |  | CHAMERA III POWER STATION
Sl. No. | ITEMS | 2013-14 | 2014-15 | Variance (In Rs.) | Variance (In %) | Reason
1
(A) | Breakup of O&M Expenses
1 | Consumption of stores & spares | 2104504 | 18333699 | 16229195 | 771.2% | Due to consumption of capital spares like 110KW submersible pump, online data card , PLCC cards etc in year 2014-15.
2 | Repair & Maintenance
2.1 | For Dam,Intake,WCS,De-silting chamber | 11932045 | 11684370 | -247675 | -2.076%
2.2 | For Power House and all other works | 35250850 | 44544592 | 9293742 | 26.36% | The increase is Due to restrengthing of existing wall/road/culvert below switchyard by Rs 96.66 lakhs and Laying of premix carpet including soling, metalling and side drains on existing PWD road from NHPC Office main gate to MAT portal at Dharwala the Expenditure incurred on Maintenance/Creation of Facilities Not Controlled by Company has been increased by Rs. 35 lakhs.
| Sub-Total (Repair and Maintenance) | 47182895 | 56228962 | 9046067 | 19.17%
3 | Insurance | 26436325 | 33566132 | 7129807 | 26.97% | 1). Increase in premium rates on account of deteriorating claim ratio as a result of loss at Dhauliganga & Tanak Pur Power Station due to flood in June 2013 and other factors in the reinsurance market. 2). Increase in sum-insured due to Increase in reinstatement cost of assets on Valuation. 3).Increase in premium rates of CPM Policy on account of deteriorating claim ratio as a result of loss at Dhauliganga Power Station due to flood in June 2013.
4 | Security Expenses | 26053856 | 31816347 | 5762491 | 22.12% | Increase in security expenditure is due to increase of DA and increment of the security personnel.
5 | Administrative Expenses
5.1 | Rent | 25443508 | 22417697 | -3025811 | -11.89% | Due to non payment of subsistance allowance to mokhari village and decrease in number of lease rent cases and house rent cases, there is decrease of Rs 9.63 lakhs as compared to year 2013.14. Amount of Rs 11.05 lakhs and Rs 7.20 lakhs has been reduced due to withdrawal of one number HRTC bus and 2 number hired vehicle respectively as compared to year 2013-14.
5.2 | Electricity charges | 16134300 | 14190760 | -1943540 | -12.05% | Decrease in ELECTRICITY EXPENSES as compared to Corresponding previous year (Gl code 921506) is due to longer winter period in previous year.
5.3 | Travelling & Conveyance | 2543005 | 3636372 | 1093367 | 43% | The DAILY ALLOWANCE/BOARDING AND LODGING expenditure (as per the new circular of C.O) has been increased by Rs 7.26 Lakhs as compared to Corresponding previous year. Beside to this INLAND TRAVEL(train fare & travel by own vechile) has also been increase by Rs 3.54 lakhs as compared to Corresponding previous year
5.4 | Telephone, Telex & Postage (Communication) | 4997013 | 5213255 | 216242 | 4.327%
5.5 | Advertisement | 1270837 | 1439520 | 168683 | 13.27% | Due to increase of number of advertisment of tender/newspaper as compared to Corresponding previous year
5.6 | Donation | 0 | 0 | 0 | 0%
5.7 | Entertainment | 30650 | 26750 | -3900 | -12.72% | Due to decrease in number of Chief Engineers from 2 to 1.
| Sub-total (Administrative expenses) | 50419313 | 46924354 | -3494959 | -6.932%
6 | Employee Cost
6.1a | Salaries,wages & allow. -Project | 348412441 | 312417536 | -35994905 | -10.33% | Mainly due to reduction in number of employees from 299 to 259 . Correspondingly company leased accommodation has also be reduced by Rs 12.53 lakhs as compared to corresponding previous year
6.2 | Staff welfare expenses | 21004571 | 20298174 | -706397 | -3.363%
6.3 | Productivity Linked incentive | 8957567 | 11552363 | 2594796 | 28.97% | Due to increase in Rate of PLGi in year 2014-15 as compared to year 2013-14.
6.4 | VRS-Ex-gratia | 0 | 4154974 | 4154974 | 100% | VRS has been taken by employees in year 2014-15 where as no case of VRS was in 2013-14.
6.5 | Ex-gratia | 0 | 0 | 0 | 0%
6.6 | Performance related pay (PRP) | 8237545 | 12381370 | 4143825 | 50.3% | Due to increase in strength of executives in year 2014-15 as compared to year 2013-14 from 69 to 77.
| Sub-total (Employee Cost) | 386612124 | 360804417 | -25807707 | -6.675%
7 | Loss of Store | 0
9.1 | Allocation of CO Office expenses | 206601097 | 176367687 | -30233410 | -14.63% | As per actual allocation received from Corporate Office.
10 | Others (Specify items) | 21150302 | 21448703 | 298401 | 1.411%
11 | Total (1 to 10) | 766560416 | 745490301 | -21070115 | -2.749%
12 | Revenue /Recoveries | 3931276 | 8096002 | 4164726 | 105.9% | Reversal of Excess liability provided for PRP payable to Executive and supervisors of Rs 21.68 lacs and Excess liability reversal of Amount payable to Ex-employee of Rs 24.50 lacs
13 | Net Expenses | 762629140 | 737394299 | -25234841 | -3.309%
14 | Capital spares consumed not included in A(1) above and not claimed/allowed by commission for capitalisation

## 2012-13 & 2013-14
DETAILS OF OPERATION AND MAINTENANCE EXPENSES
Name of the Company : NHPC Ltd
Name of Power Station: |  | CHAMERA III POWER STATION
Sl. No. | ITEMS | 2012-13 | 2013-14 | Variance (In Rs.) | Variance (In %) | Reason
1
(A) | Breakup of O&M Expenses
1 | Consumption of stores & spares | 0 | 2104504 | 2104504 | 1 | Since COD of the power station was July 2012 and hence their was no consumption of capital spares in year 2012-13.
2 | Repair & Maintenance
2.1 | For Dam,Intake,WCS,De-silting chamber | 2886136 | 11932045 | 9045909 | 0.75812 | Due to increase on a/c of repair and maintenance of Power plant of Rs 26.62 lakhs for Drilling and Grouting Work around Penstocks of Unit-I, II and III (Power House), and repair and maintenance of residential building of Rs 10.44 lakhs .Beside the above expenditure for the current period increase is also due to considering minimum wages as per Central Govt. notification instead of State Govt. considered in previous period. Also expenditure for the year 2012-13 is for part year i.e. 9 month form July 2012 to March 2013.
2.2 | For Power House and all other works | 18241669 | 35250850 | 17009181 | 0.48252 | Due to increase on a/c of repair and maintenance of Water regulatory system of Dam (Rs 39.60 lakhs), repair and maintenance of Electrical installation (Rs 53.83 lakhs) , repair and maintenance of -Other Expenses- Road,Bridges, Culverts (Rs. 8.96 lakhs) for Reconstruction of Retaining wall at Adit-6 Road RD 300 to 316M andrepair and maintenance of -Other Expenses- Road,Bridges, Culverts (Rs. 5.13 lakhs) for Restoration of Damage retaining wall RD. 23.50 M to 36.50 on the Access road to Switch yard .Beside the above expenditure for the current period increase is due to consindering minimum wages as per Central Govt. notification instead of State Govt. considered in previous period. Also expenditure for the year 2012-13 is for part year i.e. 9 month form July 2012 to March 2013.
| Sub-Total (Repair and Maintenance) | 21127805 | 47182895 | 26055090 | 0.55221
3 | Insurance | 16746357 | 26436325 | 9689968 | 0.36654 | 1). Increase in premium rates on account of deteriorating claim ratio as a result of loss at Dhauliganga & Tanak Pur Power Station due to flood in June 2013 and other factors in the reinsurance market. 2). Increase in sum-insured due to Increase in reinstatement cost of assets on Valuation. 3).Increase in premium rates of CPM Policy on account of deteriorating claim ratio as a result of loss at Dhauliganga Power Station due to flood in June 2013 and increase in Sum-insured.
4 | Security Expenses | 14172232 | 26053856 | 11881624 | 0.45604 | In the year 2013-14 security was provided by IRBN (66 personnel)against HP EX service man(45 personnel). In the first year the salary ,DA and other allowance are much more in case of IRBN which is a paramilitary force. The number of security personal deputed is more as compared to previous year
5 | Administrative Expenses
5.1 | Rent | 16501400 | 25443508 | 8942108 | 0.35145 | Due to lease rent paid to provide accommodation to local affected people due to leakage in HRT near surge shaft area. Also previous year expenditure is for part year.
5.2 | Electricity charges | 10292072 | 16134300 | 5842228 | 0.3621 | Due to increase in cost of electricity from Rs 4.00 per KWH to Rs 4.35 per KWH from HPSEB and also increase in fixed cost from Rs 240per KWH to Rs 300 per KWH.Beside the above the winter seasons months were more as compared to previous year. Also previous year expenditure is for part year.
5.3 | Travelling & Conveyance | 2389277 | 2543005 | 153728 | 0.060451
5.4 | Telephone, Telex & Postage (Communication) | 2579591 | 4997013 | 2417422 | 0.48377 | Due to new Vsat lease line connection in karian office complex amounting to Rs 14.41 lakh after start of operation of power station and increase in telephone expenses i.e BSNL Bonglore, BSNL FARIDABAD, which is based on advices received from C.O.
5.5 | Advertisement | 1175605 | 1270837 | 95232 | 0.074936
5.6 | Donation | 0 | 0 | 0 | 0
5.7 | Entertainment | 45037 | 30650 | -14387 | -0.4694 | Due to decrease in number of Chief Engineers from 3 to 2.
| Sub-total (Administrative expenses) | 32982982 | 50419313 | 17436331 | 0.34583
6 | Employee Cost
6.1a | Salaries,wages & allow. -Project | 200615510 | 348412441 | 147796931 | 0.4242 | Expendtiure in the year 2012-13 is for part year i.e. 9 month from July to decemebr and also increase in DA rates.
6.2 | Staff welfare expenses | 18775472 | 21004571 | 2229099 | 0.10612 | During the year 2012-13 no amount paid as project commissing award , But the in the year 2013-14 of Rs 46.17 Lakhs booked under the project commissing award.
6.3 | Productivity Linked incentive | 19287895 | 8957567 | -10330328 | -1.1533 | Due to payment of PRP/PLI of the year 2010-11 & 2011-12 made in the year 2012-13.
6.4 | VRS-Ex-gratia | 4303070 | 0 | -4303070 | -1 | VRS has been taken by employees in 2012-13 where as no case of VRS was in 2013-14.
6.5 | Ex-gratia | 0 | 0 | 0 | 0
6.6 | Performance related pay (PRP) | 16234082 | 8237545 | -7996537 | -0.97074 | Due to payment of PRP/PLI of the yaer 2010-11 & 2011-12 made in the year 2012-13.
| Sub-total (Employee Cost) | 259216029 | 386612124 | 127396095 | 0.32952
7 | Loss of Store | 0 | 0
9.1 | Allocation of CO Office expenses | 209251760 | 206601097 | -2650663 | -0.01283
10 | Others (Specify items) | -2261095 | 21150302 | 23411397 | 1.1069 | Increase is due to expenditure on a/c of Compensatory afforestation / catchment area treatment amounting to Rs. 227.22 lakhs incurred during year 2012-13 has been transfered to IEDC in the same year.
11 | Total (1 to 10) | 551236070 | 766560416 | 215324346 | 0.2809
12 | Revenue /Recoveries | 37847047 | 3931276 | -33915771 | -8.6272 | Decrease is due to :- 1. Write off of provisions of PRP/PLGI/PLI Rs. 100.98 Lakhs during 2012.13. 2. Wirte off of provisions of supperannuation/pension in year 2012.13 Rs. 22.93 Lakhs. 3. Write off of provisions of others amounting to Rs. 11.31 Lakhs. 4. In the year 2012.13 Interest of UI charges amounting to Rs. 141.38 Lakhs booked under the HOA (841001) of Other income but in the year 2013.14 interest of UI charges booked in HOA 841403. 5. The Rent/Hire charges from contractor was reduced by Rs. 13.54 Lakhs because the civil contractor handed over the Balogi store shed to NHPC Ltd.
13 | Net Expenses | 513389023 | 762629140 | 249240117 | 0.32682
14 | Capital spares consumed not included in A(1) above and not claimed/allowed by commission for capitalisation